|  | Michigan Department of Environmental Quality Air Quality Division |  |
| --- | --- | --- |
| EFFECTIVE DATE: July 23, 2014 REVISION DATE: November 21, 2014 ISSUED TO ANR Storage Company State Registration Number (SRN): B7198 LOCATED AT 10000 Pflum Road, Mancelona, Kalkaska County, Michigan 49659 |  |  |

RENEWABLE OPERATING PERMIT Permit Number: MI-ROP-B7198-2014a Expiration Date: July 23, 2019 Administratively Complete ROP Renewal Application Due Between January 23, 2018 and January 23, 2019 This Renewable Operating Permit (ROP) is issued in accordance with and subject to Section 5506(3) of Part 55, Air Pollution Control, of the Natural Resources and Environmental Protection Act, 1994 PA 451, as amended (Act 451). Pursuant to Michigan Air Pollution Control Rule 210(1), this ROP constitutes the permittee’s authority to operate the stationary source identified above in accordance with the general conditions, special conditions and attachments contained herein. Operation of the stationary source and all emission units listed in the permit are subject to all applicable future or amended rules and regulations pursuant to Act 451 and the federal Clean Air Act.

SOURCE-WIDE PERMIT TO INSTALL Permit Number: MI-PTI-B7198-2014a This Permit to Install (PTI) is issued in accordance with and subject to Section 5505(5) of Act 451. Pursuant to Michigan Air Pollution Control Rule 214a, the terms and conditions herein, identified by the underlying applicable requirement citation of Rule 201(1)(a), constitute a federally enforceable PTI. The PTl terms and conditions do not expire and remain in effect unless the criteria of Rule 201(6) are met. Operation of all emission units identified in the PTI is subject to all applicable future or amended rules and regulations pursuant to Act 451 and the federal Clean Air Act.

Michigan Department of Environmental Quality

______________________________________

Janis Ransom, Cadillac District Supervisor

TABLE OF CONTENTS

AUTHORITY AND ENFORCEABILITY	6

SECTION 1 – COLD SPRINGS 12 COMPRESSOR STATION	7

A.  GENERAL CONDITIONS	8

Permit Enforceability	8

General Provisions	8

Equipment & Design	9

Emission Limits	9

Testing/Sampling	9

Monitoring/Recordkeeping	10

Certification & Reporting	10

Permit Shield	11

Revisions	12

Reopenings	12

Renewals	12

Stratospheric Ozone Protection	13

Risk Management Plan	13

Emission Trading	13

Permit To Install (PTI)	13

B.  SOURCE-WIDE CONDITIONS	15

C.  EMISSION UNIT CONDITIONS	16

EMISSION UNIT SUMMARY TABLE	16

EU CS12GLYDHY EMISSION UNIT CONDITIONS	18

EU CS12HHH EMISSION UNIT CONDITIONS	21

D.  FLEXIBLE GROUP CONDITIONS	31

FLEXIBLE GROUP SUMMARY TABLE	31

FG CS12DDDDD FLEXIBLE GROUP CONDITIONS	32

FG CS12CMPRS	35

FG CS12ZZZZ EMERGENCY GENERATORS	38

E.  NON-APPLICABLE REQUIREMENTS	41

APPENDICES	42

Appendix 1-S1.  Abbreviations and Acronyms	42

Appendix 2-S1.  Schedule of Compliance	43

Appendix 3-S1.  Monitoring Requirements	43

Appendix 4-S1.  Recordkeeping	43

Appendix 5-S1.  Testing Procedures	43

Appendix 6-S1.  Permits to Install	43

Appendix 7-S1.  Emission Calculations	44

Appendix 8-S1.  Reporting	44

SECTION 2 – BLUE LAKE GAS STORAGE COMPANY	45

A.  GENERAL CONDITIONS	46

Permit Enforceability	46

General Provisions	46

Equipment & Design	47

Emission Limits	47

Testing/Sampling	47

Monitoring/Recordkeeping	48

Certification & Reporting	48

Permit Shield	49

Revisions	50

Reopenings	50

Renewals	51

Stratospheric Ozone Protection	51

Risk Management Plan	51

Emission Trading	51

Permit To Install (PTI)	52

B.  SOURCE-WIDE CONDITIONS	53

C.  EMISSION UNIT CONDITIONS	54

EMISSION UNIT SUMMARY TABLE	54

EU BLGLYDHY	57

EU BLHHH	61

D.  FLEXIBLE GROUP CONDITIONS	71

FLEXIBLE GROUP SUMMARY TABLE	71

FG BLDDDDD	72

FG BLCMPRS	75

FG BLHEATERS	79

FG BLGENS	82

FG BLCLEANERS	86

E.  NON-APPLICABLE REQUIREMENTS	88

APPENDICES	89

Appendix 1-S2.  Abbreviations and Acronyms	89

Appendix 2-S2.  Schedule of Compliance	90

Appendix 3-S2.  Monitoring Requirements	90

Appendix 4-S2.  Recordkeeping	90

Appendix 5-S2.  Testing Procedures	90

Appendix 6-S2.  Permits to Install	90

Appendix 7-S2.  Emission Calculations	91

Appendix 8-S2.  Reporting	92

SECTION 3 – COLD SPRINGS 1 COMPRESSOR STATION	93

A.  GENERAL CONDITIONS	94

Permit Enforceability	94

General Provisions	94

Equipment & Design	95

Emission Limits	95

Testing/Sampling	95

Monitoring/Recordkeeping	96

Certification & Reporting	96

Permit Shield	97

Revisions	98

Reopenings	98

Renewals	99

Stratospheric Ozone Protection	99

Risk Management Plan	99

Emission Trading	100

Permit To Install (PTI)	100

B.  SOURCE-WIDE CONDITIONS	101

C.  EMISSION UNIT CONDITIONS	102

EMISSION UNIT SUMMARY TABLE	102

EUCS1GLYDHY	105

EU CS1HHH	109

D.  FLEXIBLE GROUP CONDITIONS	119

FLEXIBLE GROUP SUMMARY TABLE	119

FG CS1DDDDD	120

FG CS1CNDTANKS	123

E.  NON-APPLICABLE REQUIREMENTS	125

APPENDICES	126

Appendix 1-S3.  Abbreviations and Acronyms	126

Appendix 2-S3.  Schedule of Compliance	127

Appendix 3-S3.  Monitoring Requirements	127

Appendix 4-S3.  Recordkeeping	127

Appendix 5-S3.  Testing Procedures	127

Appendix 6-S3.  Permits to Install	127

Appendix 7-S3.  Emission Calculations	128

Appendix 8-S3.  Reporting	128

# AUTHORITY AND ENFORCEABILITY

For the purpose of this permit, the permittee is defined as any person who owns or operates an emission unit at a stationary source for which this permit has been issued.  The department is defined in Rule 104(d) as the Director of the Michigan Department of Environmental Quality (MDEQ) or his or her designee.

The permittee shall comply with all specific details in the permit terms and conditions and the cited underlying applicable requirements.  All terms and conditions in this ROP are both federally enforceable and state enforceable unless otherwise footnoted.  Certain terms and conditions are applicable to most stationary sources for which an ROP has been issued.  These general conditions are included in Part A of this ROP.  Other terms and conditions may apply to a specific emission unit, several emission units which are represented as a flexible group, or the entire stationary source which is represented as a source-wide group.  Special conditions are identified in Parts B, C, D and/or the appendices.

In accordance with Rule 213(2)(a), all underlying applicable requirements will be identified for each ROP term or condition.  All terms and conditions that are included in a PTI are streamlined or subsumed, or is state only enforceable will be noted as such.

In accordance with Section 5507 of Act 451, the permittee has included in the ROP application a compliance certification, a schedule of compliance, and a compliance plan.  For applicable requirements with which the source is in compliance, the source will continue to comply with these requirements.  For applicable requirements with which the source is not in compliance, the source will comply with the detailed schedule of compliance requirements that are incorporated as an appendix in this ROP.  Furthermore, for any applicable requirements effective after the date of issuance of this ROP, the stationary source will meet the requirements on a timely basis, unless the underlying applicable requirement requires a more detailed schedule of compliance.

Issuance of this permit does not obviate the necessity of obtaining such permits or approvals from other units of government as required by law.

# SECTION 1 – COLD SPRINGS 12 COMPRESSOR STATION

# A.  GENERAL CONDITIONS

## Permit Enforceability

- All conditions in this permit are both federally enforceable and state enforceable unless otherwise noted. (R 336.1213(5))

- Those conditions that are hereby incorporated in a state-only enforceable Source-Wide PTI pursuant to Rule 201(2)(d) are designated by footnote one.  (R 336.1213(5)(a), R 336.1214a(5))

- Those conditions that are hereby incorporated in a federally enforceable Source-Wide PTI pursuant to Rule 201(2)(c) are designated by footnote two.  (R 336.1213(5)(b), R 336.1214a(3))

## General Provisions

- The permittee shall comply with all conditions of this ROP.  Any ROP noncompliance constitutes a violation of Act 451, and is grounds for enforcement action, for ROP revocation or revision, or for denial of the renewal of the ROP.  All terms and conditions of this ROP that are designated as federally enforceable are enforceable by the Administrator of the United States Environmental Protection Agency (USEPA) and by citizens under the provisions of the federal Clean Air Act (CAA).  Any terms and conditions based on applicable requirements which are designated as “state-only” are not enforceable by the USEPA or citizens pursuant to the CAA.  (R 336.1213(1)(a))

- It shall not be a defense for the permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this ROP.  (R 336.1213(1)(b))

- This ROP may be modified, revised, or revoked for cause.  The filing of a request by the permittee for a permit modification, revision, or termination, or a notification of planned changes or anticipated noncompliance does not stay any ROP term or condition.  This does not supersede or affect the ability of the permittee to make changes, at the permittee’s own risk, pursuant to Rule 215 and Rule 216.  (R 336.1213(1)(c))

- The permittee shall allow the department, or an authorized representative of the department, upon presentation of credentials and other documents as may be required by law and upon stating the authority for and purpose of the investigation, to perform any of the following activities (R 336.1213(1)(d)):

  - Enter, at reasonable times, a stationary source or other premises where emissions-related activity is conducted or where records must be kept under the conditions of the ROP.

  - Have access to and copy, at reasonable times, any records that must be kept under the conditions of the ROP.

  - Inspect, at reasonable times, any of the following:

    - Any stationary source.

    - Any emission unit.

    - Any equipment, including monitoring and air pollution control equipment.

    - Any work practices or operations regulated or required under the ROP.

  - As authorized by Section 5526 of Act 451, sample or monitor at reasonable times substances or parameters for the purpose of assuring compliance with the ROP or applicable requirements.

- The permittee shall furnish to the department, within a reasonable time, any information the department may request, in writing, to determine whether cause exists for modifying, revising, or revoking the ROP or to determine compliance with this ROP.  Upon request, the permittee shall also furnish to the department copies

of any records that are required to be kept as a term or condition of this ROP.  For information which is claimed by the permittee to be confidential, consistent with the requirements of the 1976 PA 442, MCL §15.231 et seq., and known as the Freedom of Information Act, the person may also be required to furnish the records directly to the USEPA together with a claim of confidentiality.  (R 336.1213(1)(e))

- A challenge by any person, the Administrator of the USEPA, or the department to a particular condition or a part of this ROP shall not set aside, delay, stay, or in any way affect the applicability or enforceability of any other condition or part of this ROP.  (R 336.1213(1)(f))

- The permittee shall pay fees consistent with the fee schedule and requirements pursuant to Section 5522 of Act 451.  (R 336.1213(1)(g))

- This ROP does not convey any property rights or any exclusive privilege.  (R 336.1213(1)(h))

## Equipment & Design

- Any collected air contaminants shall be removed as necessary to maintain the equipment at the required operating efficiency.  The collection and disposal of air contaminants shall be performed in a manner so as to minimize the introduction of contaminants to the outer air.  Transport of collected air contaminants in Priority I and II areas requires the use of material handling methods specified in Rule 370(2).  (R 336.1370)

- Any air cleaning device shall be installed, maintained, and operated in a satisfactory manner and in accordance with the Michigan Air Pollution Control rules and existing law.  (R 336.1910)

## Emission Limits

- Unless otherwise specified in this ROP, the permittee shall comply with Rule 301, which states, in part, “Except as provided in subrules 2, 3, and 4 of this rule, a person shall not cause or permit to be discharged into the outer air from a process or process equipment a visible emission of a density greater than the most stringent of the following:  (R 336.1301(1))

  - A 6-minute average of 20 percent opacity, except for one 6-minute average per hour of not more than 27 percent opacity.

  - A limit specified by an applicable federal new source performance standard.

The grading of visible emissions shall be determined in accordance with Rule 303.

- The permittee shall not cause or permit the emission of an air contaminant or water vapor in quantities that cause, alone or in reaction with other air contaminants, either of the following:

  - Injurious effects to human health or safety, animal life, plant life of significant economic value, or property.1  (R 336.1901(a))

  - Unreasonable interference with the comfortable enjoyment of life and property.1  (R 336.1901(b))

## Testing/Sampling

- The department may require the owner or operator of any source of an air contaminant to conduct acceptable performance tests, at the owner’s or operator’s expense, in accordance with Rule 1001 and Rule 1003, under any of the conditions listed in Rule 1001(1).  (R 336.2001)

- Any required performance testing shall be conducted in accordance with Rule 1001(2), Rule 1001(3) and Rule 1003.  (R 336.2001(2), R 336.2001(3), R 336.2003(1))

- Any required test results shall be submitted to the Air Quality Division (AQD) in the format prescribed by the applicable reference test method within 60 days following the last date of the test.  (R 336.2001(5))

## Monitoring/Recordkeeping

- Records of any periodic emission or parametric monitoring required in this ROP shall include the following information specified in Rule 213(3)(b)(i), where appropriate  (R 336.1213(3)(b)):

  - The date, location, time, and method of sampling or measurements.

  - The dates the analyses of the samples were performed.

  - The company or entity that performed the analyses of the samples.

  - The analytical techniques or methods used.

  - The results of the analyses.

  - The related process operating conditions or parameters that existed at the time of sampling or measurement.

- All required monitoring data, support information and all reports, including reports of all instances of deviation from permit requirements, shall be kept and furnished to the department upon request for a period of not less than 5 years from the date of the monitoring sample, measurement, report or application.  Support information includes all calibration and maintenance records and all original strip-chart recordings, or other original data records, for continuous monitoring instrumentation and copies of all reports required by the ROP.  (R 336.1213(1)(e), R 336.1213(3)(b)(ii))

## Certification & Reporting

- Except for the alternate certification schedule provided in Rule 213(3)(c)(iii)(B), any document required to be submitted to the department as a term or condition of this ROP shall contain an original certification by a Responsible Official which states that, based on information and belief formed after reasonable inquiry, the statements and information in the document are true, accurate, and complete.  (R 336.1213(3)(c))

- A Responsible Official shall certify to the appropriate AQD District Office and to the USEPA that the stationary source is and has been in compliance with all terms and conditions contained in the ROP except for deviations that have been or are being reported to the appropriate AQD District Office pursuant to Rule 213(3)(c).  This certification shall include all the information specified in Rule 213(4)(c)(i) through (v) and shall state that, based on information and belief formed after reasonable inquiry, the statements and information in the certification are true, accurate, and complete.  The USEPA address is:  USEPA, Air Compliance Data - Michigan, Air and Radiation Division, 77 West Jackson Boulevard, Chicago, Illinois 60604.  (R 336.1213(4)(c))

- The certification of compliance shall be submitted annually for the term of this ROP as detailed in the special conditions, or more frequently if specified in an applicable requirement or in this ROP.  (R 336.1213(4)(c))

- The permittee shall promptly report any deviations from ROP requirements and certify the reports.  The prompt reporting of deviations from ROP requirements is defined in Rule 213(3)(c)(ii) as follows, unless otherwise described in this ROP. (R 336.1213(3)(c))

  - For deviations that exceed the emissions allowed under the ROP, prompt reporting means reporting consistent with the requirements of Rule 912 as detailed in Condition 25.  All reports submitted pursuant to this paragraph shall be promptly certified as specified in Rule 213(3)(c)(iii).

  - For deviations which exceed the emissions allowed under the ROP and which are not reported pursuant to Rule 912 due to the duration of the deviation, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i).  The report shall describe reasons for each deviation and the actions taken to minimize or correct each deviation.

  - For deviations that do not exceed the emissions allowed under the ROP, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i).  The report shall describe the reasons for each deviation and the actions taken to minimize or correct each deviation.

- For reports required pursuant to Rule 213(3)(c)(ii), prompt certification of the reports is described in Rule 213(3)(c)(iii) as either of the following  (R 336.1213(3)(c)):

  - Submitting a certification by a Responsible Official with each report which states that, based on information and belief formed after reasonable inquiry, the statements and information in the report are true, accurate, and complete.

  - Submitting, within 30 days following the end of a calendar month during which one or more prompt reports of deviations from the emissions allowed under the ROP were submitted to the department pursuant to Rule 213(3)(c)(ii), a certification by a Responsible Official which states that, “based on information and belief formed after reasonable inquiry, the statements and information contained in each of the reports submitted during the previous month were true, accurate, and complete”.  The certification shall include a listing of the reports that are being certified.  Any report submitted pursuant to Rule 213(3)(c)(ii) that will be certified on a monthly basis pursuant to this paragraph shall include a statement that certification of the report will be provided within 30 days following the end of the calendar month.

- Semiannually for the term of the ROP as detailed in the special conditions, or more frequently if specified, the permittee shall submit certified reports of any required monitoring to the appropriate AQD District Office.  All instances of deviations from ROP requirements during the reporting period shall be clearly identified in the reports.  (R 336.1213(3)(c)(i))

- On an annual basis, the permittee shall report the actual emissions, or the information necessary to determine the actual emissions, of each regulated air pollutant as defined in Rule 212(6) for each emission unit utilizing the emissions inventory forms provided by the department.  (R 336.1212(6))

- The permittee shall provide notice of an abnormal condition, start-up, shutdown, or malfunction that results in emissions of a hazardous or toxic air pollutant which continue for more than one hour in excess of any applicable standard or limitation, or emissions of any air contaminant continuing for more than two hours in excess of an applicable standard or limitation, as required in Rule 912, to the appropriate AQD District Office.  The notice shall be provided not later than two business days after the start-up, shutdown, or discovery of the abnormal conditions or malfunction.  Notice shall be by any reasonable means, including electronic, telephonic, or oral communication.  Written reports, if required under Rule 912, must be submitted to the appropriate AQD District Supervisor within 10 days after the start-up or shutdown occurred, within 10 days after the abnormal conditions or malfunction has been corrected, or within 30 days of discovery of the abnormal conditions or malfunction, whichever is first.  The written reports shall include all of the information required in Rule 912(5) and shall be certified by a Responsible Official in a manner consistent with the CAA.  (R 336.1912)

## Permit Shield

- Compliance with the conditions of the ROP shall be considered compliance with any applicable requirements as of the date of ROP issuance, if either of the following provisions is satisfied. (R 336.1213(6)(a)(i), R 336.1213(6)(a)(ii))

  - The applicable requirements are included and are specifically identified in the ROP.

  - The permit includes a determination or concise summary of the determination by the department that other specifically identified requirements are not applicable to the stationary source.

Any requirements identified in Part E of this ROP have been identified as non-applicable to this ROP and are included in the permit shield.

- Nothing in this ROP shall alter or affect any of the following:

  - The provisions of Section 303 of the CAA, emergency orders, including the authority of the USEPA under Section 303 of the CAA.  (R 336.1213(6)(b)(i))

  - The liability of the owner or operator of this source for any violation of applicable requirements prior to or at the time of this ROP issuance.  (R 336.1213(6)(b)(ii))

  - The applicable requirements of the acid rain program, consistent with Section 408(a) of the CAA.  (R 336.1213(6)(b)(iii))

  - The ability of the USEPA to obtain information from a source pursuant to Section 114 of the CAA.  (R 336.1213(6)(b)(iv))

- The permit shield shall not apply to provisions incorporated into this ROP through procedures for any of the following:

  - Operational flexibility changes made pursuant to Rule 215.  (R 336.1215(5))

  - Administrative Amendments made pursuant to Rule 216(1)(a)(i)-(iv).  (R 336.1216(1)(b)(iii))

  - Administrative Amendments made pursuant to Rule 216(1)(a)(v) until the amendment has been approved by the department.  (R 336.1216(1)(c)(iii))

  - Minor Permit Modifications made pursuant to Rule 216(2).  (R 336.1216(2)(f))

  - State-Only Modifications made pursuant to Rule 216(4) until the changes have been approved by the department.  (R 336.1216(4)(e))

- Expiration of this ROP results in the loss of the permit shield.  If a timely and administratively complete application for renewal is submitted not more than 18 months, but not less than 6 months, before the expiration date of the ROP, but the department fails to take final action before the end of the ROP term, the existing ROP does not expire until the renewal is issued or denied, and the permit shield shall extend beyond the original ROP term until the department takes final action.  (R 336.1217(1)(c), R 336.1217(1)(a))

## Revisions

- For changes to any process or process equipment covered by this ROP that do not require a revision of the ROP pursuant to Rule 216, the permittee must comply with Rule 215.  (R 336.1215, R 336.1216)

- A change in ownership or operational control of a stationary source covered by this ROP shall be made pursuant to Rule 216(1).  (R 336.1219(2))

- For revisions to this ROP, an administratively complete application shall be considered timely if it is received by the department in accordance with the time frames specified in Rule 216.  (R 336.1210(9))

- Pursuant to Rule 216(1)(b)(iii), Rule 216(2)(d) and Rule 216(4)(d), after a change has been made, and until the department takes final action, the permittee shall comply with both the applicable requirements governing the change and the ROP terms and conditions proposed in the application for the modification.  During this time period, the permittee may choose to not comply with the existing ROP terms and conditions that the application seeks to change.  However, if the permittee fails to comply with the ROP terms and conditions proposed in the application during this time period, the terms and conditions in the ROP are enforceable.  (R 336.1216(1)(c)(iii), R 336.1216(2)(d), R 336.1216(4)(d))

## Reopenings

- A ROP shall be reopened by the department prior to the expiration date and revised by the department under any of the following circumstances:

  - If additional requirements become applicable to this stationary source with three or more years remaining in the term of the ROP, but not if the effective date of the new applicable requirement is later than the ROP expiration date.  (R 336.1217(2)(a)(i))

  - If additional requirements pursuant to Title IV of the CAA become applicable to this stationary source.  (R 336.1217(2)(a)(ii))

  - If the department determines that the ROP contains a material mistake, information required by any applicable requirement was omitted, or inaccurate statements were made in establishing emission limits or the terms or conditions of the ROP.  (R 336.1217(2)(a)(iii))

  - If the department determines that the ROP must be revised to ensure compliance with the applicable requirements.  (R 336.1217(2)(a)(iv))

## Renewals

- For renewal of this ROP, an administratively complete application shall be considered timely if it is received by the department not more than 18 months, but not less than 6 months, before the expiration date of the ROP.  (R 336.1210(7))

## Stratospheric Ozone Protection

- If the permittee is subject to Title 40 of the Code of Federal Regulations (CFR), Part 82 and services, maintains, or repairs appliances except for motor vehicle air conditioners (MVAC), or disposes of appliances containing refrigerant, including MVAC and small appliances, or if the permittee is a refrigerant reclaimer, appliance owner or a manufacturer of appliances or recycling and recovery equipment, the permittee shall comply with all applicable standards for recycling and emissions reduction pursuant to 40 CFR, Part 82, Subpart F.

- If the permittee is subject to 40 CFR, Part 82, and performs a service on motor (fleet) vehicles when this service involves refrigerant in the MVAC, the permittee is subject to all the applicable requirements as specified in 40 CFR, Part 82, Subpart B, Servicing of Motor Vehicle Air Conditioners.  The term “motor vehicle” as used in Subpart B does not include a vehicle in which final assembly of the vehicle has not been completed by the original equipment manufacturer.  The term MVAC as used in Subpart B does not include the air-tight sealed refrigeration system used for refrigerated cargo or an air conditioning system on passenger buses using Hydrochlorofluorocarbon-22 refrigerant.

## Risk Management Plan

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall register and submit to the USEPA the required data related to the risk management plan for reducing the probability of accidental releases of any regulated substances listed pursuant to Section 112(r)(3) of the CAA as amended in 40 CFR, Part 68.130.  The list of substances, threshold quantities, and accident prevention regulations promulgated under 40 CFR, Part 68, do not limit in any way the general duty provisions under Section 112(r)(1).

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall comply with the requirements of 40 CFR, Part 68, no later than the latest of the following dates as provided in 40 CFR, Part 68.10(a):

  - June 21, 1999,

  - Three years after the date on which a regulated substance is first listed under 40 CFR, Part 68.130, or

  - The date on which a regulated substance is first present above a threshold quantity in a process.

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall submit any additional relevant information requested by any regulatory agency necessary to ensure compliance with the requirements of 40 CFR, Part 68.

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall annually certify compliance with all applicable requirements of Section 112(r) as detailed in Rule 213(4)(c)).  (40 CFR, Part 68)

## Emission Trading

- Emission averaging and emission reduction credit trading are allowed pursuant to any applicable interstate or regional emission trading program that has been approved by the Administrator of the USEPA as a part of Michigan’s State Implementation Plan.  Such activities must comply with Rule 215 and Rule 216. (R 336.1213(12))

## Permit To Install (PTI)

- The process or process equipment included in this permit shall not be reconstructed, relocated, or modified unless a PTI authorizing such action is issued by the department, except to the extent such action is exempt from the PTI requirements by any applicable rule. 2  (R 336.1201(1))

- The department may, after notice and opportunity for a hearing, revoke PTI terms or conditions if evidence indicates the process or process equipment is not performing in accordance with the terms and conditions of the PTI or is violating the department’s rules or the CAA. 2  (R 336.1201(8), Section 5510 of Act 451)

- The terms and conditions of a PTI shall apply to any person or legal entity that now or hereafter owns or operates the process or process equipment at the location authorized by the PTI.  If a new owner or operator submits a written request to the department pursuant to Rule 219 and the department approves the request, this PTI will be amended to reflect the change of ownership or operational control.  The request must include all of the information required by Subrules (1)(a), (b) and (c) of Rule 219.  The written request shall be sent to the appropriate AQD District Supervisor, MDEQ. 2  (R 336.1219)

- If the installation, reconstruction, relocation, or modification of the equipment for which PTI terms and conditions have been approved has not commenced within 18 months of the original PTI issuance date, or has been interrupted for 18 months, the applicable terms and conditions from that PTI, as incorporated into the ROP, shall become void unless otherwise authorized by the department.  Furthermore, the person to whom that PTI was issued, or the designated authorized agent, shall notify the department via the Supervisor, Permit Section, MDEQ, AQD, P. O. Box 30260, Lansing, Michigan 48909, if it is decided not to pursue the installation, reconstruction, relocation, or modification of the equipment allowed by the terms and conditions from that PTI. 2  (R 336.1201(4))

Footnotes:

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# B.  SOURCE-WIDE CONDITIONS

Part B outlines the Source-Wide Terms and Conditions that apply to this stationary source.  The permittee is subject to these special conditions for the stationary source in addition to the general conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited.  If a specific condition type does not apply to this source, NA (not applicable) has been used in the table.  If there are no Source-Wide Conditions, this section will be left blank.

# C.  EMISSION UNIT CONDITIONS

Part C outlines terms and conditions that are specific to individual emission units listed in the Emission Unit Summary Table.  The permittee is subject to the special conditions for each emission unit in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited.  If a specific condition type does not apply, NA (not applicable) has been used in the table.  If there are no conditions specific to individual emission units, this section will be left blank.

## EMISSION UNIT SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| Emission Unit ID | Emission Unit Description (Including Process Equipment & Control Device(s)) | Installation Date/ Modification Date | Flexible Group ID |
| --- | --- | --- | --- |
| EU CS12GLYDHY | The glycol dehydration system operates in two modes (glycol injection and glycol absorption) to remove water from the natural gas withdrawn from the storage reservoir. The glycol dehydrator has a condenser and thermal oxidizer as control devices. | 01/01/89 | NA |
| EU CS12HHH | 40 CFR, Part 63, Subpart HHH establishes national emission limitations and operating limitations for natural gas transmission and storage facilities that are major sources of HAP emissions. The rule affects facilities that transport or store natural gas prior to entering the pipeline to a local distribution company or to a final user. Subpart HHH is applicable to EU CS12GLYDHY. The glycol dehydrator has the option of using a condenser and/or thermal oxidizer to comply with this regulation. | 10/15/15 Compliance date | NA |
| EU CS12HEATER-A | A natural gas-fired Sivalls 7.5 MMBtu/hr indirect gas withdrawal heater. The emission unit does not have a control device. | Before 6/4/2010 | FG CS12DDDDD |
| EU CS12HEATER-B | A natural gas-fired Sivalls 7.5 MMBtu/hr indirect gas withdrawal heater. The emission unit does not have a control device. | Before 6/4/2010 | FG CS12DDDDD |
| EU CS12BOILER | A natural gas-fired Cleaver-Brooks 2.51 MMBtu/hr Boiler used for building and comfort heating throughout the facility. The emission unit does not have a control device. | Before 6/4/2010 | FG CS12DDDDD |
| EU CS12CMPR-A | A natural gas-fired, 3,750, HP 4-stroke lean burn Ingersoll Rand 410 KVR IC compressor engine used to compress natural gas into the storage reservoir during injection, and into the pipeline during withdrawal. The emission unit does not have a control device. | 01/01/1980 | FG CS12CMPRS |
| EU CS12CMPR-B | A natural gas-fired, 3,750, HP 4-stroke lean burn Ingersoll Rand 410 KVR IC compressor engine used to compress natural gas into the storage reservoir during injection, and into the pipeline during withdrawal. The emission unit does not have a control device. | 01/01/1980 | FG CS12CMPRS |
| EU CS12CMPR-C | A natural gas-fired, 3,750, HP 4-stroke lean burn Ingersoll Rand 410 KVR IC compressor engine used to compress natural gas into the storage reservoir during injection, and into the pipeline during withdrawal. The emission unit does not have a control device. | 01/01/1980 | FG CS12CMPRS |
| EU CS12EMRGEN-A | A 580 horsepower 4-stroke rich burn Waukesha VHP5108G emergency generator. The emission unit does not have a control device. | 1979 | FG CS12ZZZZ |
| EU CS12EMRGEN-B | A 580 horsepower 4-stroke rich burn Waukesha VHP5108G emergency generator. The emission unit does not have a control device. | 1979 | FG CS12ZZZZ |

## EU CS12GLYDHY
EMISSION UNIT CONDITIONS

DESCRIPTION

The glycol dehydration system can operate in two modes.  Glycol injection occurs when a process called low temperature separation is used to remove liquids from the gas stream.  Di-ethylene glycol (DEG) is injected into the gas stream and mixes with the liquids to prevent freezing during low temperature separation.  Glycol absorption is used when low temperature separation does not adequately remove the liquids from the gas stream.  DEG is circulated through a contactor tower countercurrent to the gas stream.  The DEG absorbs the liquid from the gas stream during the glycol absorption process.  During both modes of operation, the glycol enriched gas stream liquid is regenerated in a reboiler for continual use.

POLLUTION CONTROL EQUIPMENT:  Condenser and thermal oxidizer.

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| - Benzene | Less than 1 tpy2 | 12 month rolling time period as determined at the end of each calendar month. | EU CS12GLYDHY | V.1, VI.1, VI.3, VI.4 | R 336.1702(a), R 336.1205(1) 79-97B EUSCGLYDEH-S1 I.1; 79-97A, 3 |
| - VOC | 86 lbs/day2 |  | EU CS12GLYDHY | V.1, VI.2, VI.3, VI.4 | R 336.1702(a) 79-97B EUSCGLYDEH-S1 I.2; 79-97A, 3 |
| - VOC | 15.7 tpy2 | 12 month rolling time period as determined at the end of each calendar month. | EU CS12GLYDHY | V.1, VI.1, VI.3, VI.4, | R 336.1702(a) 79-97B EUSCGLYDEH-S1 I.3 |

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The permittee shall not use any stripping gas in EU CS12GLYDHY.2  (R 336.1702(a), R 336.1901)
79-97B EUSCGLYDEH-S1 III.1

- The permittee shall not operate EU CS12GLYDHY unless the glycol flash tank is installed and operating properly.  A properly operating flash tank will volatilize organic compounds out of the rich glycol stream and route the VOCs to the glycol regenerator re-boiler burner or thermal oxidizer for destruction.2  (R 336.1702(a))  79-97B EUSCGLYDEH-S1 III.3; 79-97A 5

- Except as provided in the condition below, the permittee shall not operate EU CS12GLYDHY unless the thermal oxidizer is installed and operating properly.  Proper operation includes but is not limited to maintaining a minimum operating temperature of 1400°F, a minimum residence time of 0.5 seconds, and a VOC destruction efficiency of at least 95 percent by weight.2  (R 336.1702(a)) 79-97B EUSCGLYDEH-S1 III.4

- If the thermal oxidizer malfunctions, the permittee may operate EU CS12GLYDHY provided the condenser is installed and operating properly.  Proper operation includes maintaining a maximum condenser exhaust gas temperature of 120°F.2  (R 336.1702(a)) 79-97B EUSCGLYDEH-S1 III.5; 79-97A 7

- Sweet natural gas shall be the only fuel supplied to and fired in EU CS12GLYDHY.  Sweet gas is defined as any gas containing no more than 1 grain of hydrogen sulfide or 10 grains of total sulfur per 100 standard cubic feet.  The permittee may also incinerate emissions from the glycol-flash tank in the glycol reboiler burner2  (R 336.1119(i) and (dd)) 79-97B EUSCGLYDEH-S1 III.6

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- EU CS12GLYDHY shall be equipped with a thermal oxidizer.  (R 336.1702(a))79-97B, EUSCGLYDEH-S1 IV.1

- EU CS12GLYDHY shall be equipped with a condenser.  (R 336.1702(a)) 
79-97B, EUSCGLYDEH-S1 IV.2

- EU CS12GLYDHY shall be equipped with a flash tank.  (R 336.1702(a)) 
79-97B, EUSCGLYDEH-S1 IV.3

- EU CS12GLYDHY thermal oxidizer  and condenser shall each be equipped with working temperature monitors to continuously monitor thermal oxidizer  and condenser operating temperatures.2  (R 336.1702(a)) 
79-97B, EUSCGLYDEH-S1 IV.4, 6; 79-97A 8 & 9

- EU CS12GLYDHY thermal oxidizer and condenser temperature monitor systems shall each be designed and equipped with alarm systems that will alarm if the operating temperature is less than 1400°F for the thermal oxidizer and greater than 120°F for the condenser.  (R 336.1911, R 336.1213(3)) 
79-97B, EUSCGLYDEH-S1 IV.5,7

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- Once every five years the permittee shall analyze the pre-dehydration natural gas processed in EU CS12GLYDHY to determine its non-methane VOC and Benzene content and composition using a method or methods standard in the natural gas industry, subject to approval by the AQD.2  (R 336.1205) 
79-97B, EUSCGLYDEH-S1 V.1

- Once every five years the permittee shall analyze the sweet natural gas fuel supplied to and fired in EU CS12GLYDHY for grains of hydrogen sulfide or grains of total sulfur per 100 standard cubic feet.2  (R 336.1119(i) and (d)) 
79-97B EUSCGLYDEH-S1, III.6

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee shall calculate and record, in a satisfactory manner, monthly and 12–month rolling time period Benzene and VOC emission calculation records in tons from EU CS12GLYDHY.   The emissions calculations shall be available to the AQD upon request by 15th of the following month.2  (R 336.1205(1), R 336.702(a), R 336.1901) 79-97B, EUSCGLYDEH-S1 VI.10

- The permittee shall calculate and record, in a satisfactory manner, VOC emissions in pounds per calendar day from EU CS12GLYDHY.  The emissions calculations shall be available to the AQD upon request by the 15th of the following month.2  (R 336.1702(a), R336.1901) 79-97B, EUSCGLYDEH-S1 VI.7; 79-97A 17

- The permittee may calculate and record the Benzene and VOC emissions from EU CS12GLYDHY by using the GRI-GLYCalc (tm) computer model, version 3.0 or later or other method acceptable to the AQD District Supervisor.  Inputs to the model shall be representative of actual operating conditions of EU CS12GLYDHY.2  (R 336.1213(3) R 336.1702(a), R 336.1901)) 
79-97B, EUSCGLYDEH-S1 VI.9 and VI.11

- The permittee shall recalculate the Benzene and VOC emission rates in Condition 3 above each time the natural gas is analyzed to determine its Benzene and VOC content.  (R 336.1213(3)(a)) 
79-97B, EUSCGLYDEH-S1 VI.12

- When EU CS12GLYDHY is operating, the permittee shall continuously monitor, and record daily, the temperature of the control device in use (condenser or thermal oxidizer).2  (R 336.1205(1), R 336.1702(a), 
R 336.1901) 
79-97A, EUCSGLYREG 10, 11,12, 13;  79-97B, EUSCGLYDEH-S1 VI.2

- The permittee shall monitor and record the alarm events actuated because the temperature limit of the condenser or thermal oxidizer was not met.  The permittee shall record the action taken in response to an alarm event.  (R 336.1702(a)) 
79-97B, EUSCGLYDEH-S1 VI.1

- The permittee shall maintain in a manner acceptable to the AQD calculations showing the VOC destruction efficiency of the thermal oxidizer is at least 95 percent by weight. (R 336.1213(3)) 79-97B, EUSCGLYDEH-S1 VI.3

- The permittee shall monitor and record the amount of natural gas processed through EU CS12GLYDHY for each calendar day EU CS12GLYDHY operates.2  (R336.1205(1), R336.1702(a), R336.1901) 79-97B, EUSCGLYDEH-S1 VI.5; 79-97A 15

- Each calendar day EU CS12GLYDHY operates, the permittee shall monitor and record the total hours of operation of EU CS12GLYDHY.2  (R336.1205(1), R336.1702(a), R336.1901) 79-97B, EUSCGLYDEH-S1 VI.6; 79-97A 16

- The permittee shall monitor and record the number of hours EU BLGLYDHY operated with the condenser only.  (R 336.1213(3))

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- The permittee shall submit a complete analysis plan (for the sweet natural gas fuel) to the AQD District Supervisor for approval at least 30 days prior to the anticipated analysis date.2 (R 336.1205, R 336.1119(i) and (dd)) 
79-97B, EUSCGLYDEH-S1 V.1

- The permittee shall submit a complete report of the analysis results to the AQD District Supervisor, within 60 days following the last date of the analysis.2  (R 336.1205, R 336.1119(i) and (dd))
79-97B, EUSCGLYDEH-S1 V.1

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| - SV-010A (Thermal Oxidizer) | NA | 171 | R 336.1901 79-97B, EUSCGLYDEH-S1 VIII.1;79-97A, 19 |
| - SV-010B (Condenser) | 31 | 171 | R 336.1901 79-97B, EUSCGLYDEH-S1 VIII.2;79-97A, 20 |

IX.  OTHER REQUIREMENT(S)

NA

Footnotes:

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EU CS12HHH
EMISSION UNIT CONDITIONS

DESCRIPTION

One glycol dehydration system operates in two modes (glycol injection and glycol absorption) to remove water from the natural gas withdrawn from the storage reservoir.  The glycol dehydration system meets the definition in 40 CFR 63.1271 and was constructed prior to August 23, 2011 and must attain compliance with the requirements in 40 CFR, Part 63, Subpart HHH by October 15, 2015.

Emission Units:  EUCS12GLYDHY

POLLUTION CONTROL EQUIPMENT  Condenser and/or Thermal Oxidizer.

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| 1. BTEX | Calculated using the equation in Appendix 7A | Annual | EU CS12GLYDHY | V.2, V.4, V.5, VI.9 | 40 CFR 63.1275(b)(1)(iii) |

See Appendix 7A

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The process vent from EU CS12GLYDHY shall be vented to a control device or a combination of control devices through a closed-vent system.  (40 CFR 63.1275(b)(1)(iii)(A))

- The control device(s) shall be one of those specified below and must be designed and operated in accordance with the following requirements:  (40 CFR 63.1281(f)(1))

  - A thermal oxidizer that reduces the concentration of BTEX to meet the emission limit in I.1, or the TOC or total HAP concentration in the exhaust gases at the outlet of the oxidizer is reduced to a level equal to or less than 20 ppmv on a dry basis corrected to 3 percent oxygen.

  - A condenser or other non-destructive control device that is designed and operated to reduce the mass content of BTEX in the gases vented by 95 percent.

- The permittee shall control HAP emissions from each GCG separator (flash tank) vent unless BTEX emissions from the reboiler vent and the flash tank are reduced to a level less than the limit in Condition I.1.  
(40 CFR 63.1275(c)(3))

- The permittee shall operate and maintain EU CS12HHH, including associated air pollution control equipment and monitoring equipment, in a manner consistent with safety and good air pollution control practices for minimizing emissions. (40 CFR 63.1274(h))

- The permittee shall operate each control device in accordance with the requirements specified below:

(40 CFR 63.1281(f)(2))

- Each control device used to comply with this subpart shall be operating at all times.  More than one unit may be vented to a control device.

- For each control device monitored in accordance with the requirements of Conditions VI.8 - 13, the permittee shall demonstrate compliance according to the requirements of VI.2 (§ 63.1282(e)).

- When using a condenser to demonstrate continuous compliance with emission limits, the control device shall be operated at a maximum operating temperature established in accordance with the requirements of VI.8. When using a thermal oxidizer to demonstrate continuous compliance with emission limits the control device shall be operated at the minimum operating temperature established in accordance with the requirements of VI.8 or a minimum of 1400°F. (40 CFR 63.1282(e)(1))

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- The closed vent system shall be designed and operated in accordance with the following requirements:  (40 CFR 63.1281(c), 40 CFR 63.1283(c)(2)(iii))

  - The closed-vent system shall route all gases, vapors, and fumes emitted from the material in and emission unit to a control device that meets the requirements specified in Condition III.2.

  - The closed-vent system shall be designed and operated with no detectable emissions.

  - Any bypass devices in the closed-vent system that could divert emissions from entering the control device shall be equipped with a flow indicator at the inlet to the bypass device that takes readings every 15 minutes, and that sounds an alarm when the bypass device is open; or the bypass device valve at the inlet to the bypass device shall be secured using a car-seal or lock and key.

- Each continuous parameter monitoring system  (CPMS) shall meet the following specifications and requirements: (40 CFR 63.1283(d)(1))

- Each CPMS shall measure data values at least once every hour and record either:

- Each measured data value; or

- Each block average value for each 1-hour period or shorter periods calculated from all measured data values during each period. If values are measured more frequently than once per minute, a single value for each minute may be used to calculate the hourly (or shorter period) block average instead of all measured values.

- The permittee shall install a device equipped with a continuous recorder to measure the values of operating parameters appropriate for the control device as specified below.  (40 CFR 63.1283(d)(3))

  - For a thermal oxidizer, the temperature monitoring device shall have a minimum accuracy of ±2 percent of the temperature being monitored in °C, or ±2.5°C, whichever value is greater.  The temperature sensor shall be installed at a location representative of the combustion zone temperature

  - For a condenser, the temperature monitoring device shall have a minimum accuracy of ±2 percent of the temperature being monitored in °C, or ±2.5°C, whichever value is greater.  The temperature sensor shall be installed at a location in the exhaust vent stream from the condenser.

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- Determination of the actual flow rate of natural gas to EU CS12GLYDHY shall be made using either of the following procedures:  (40 CFR 63.1282(a)(1))

- Install and operate a monitoring instrument that directly measures natural gas flow rate to EU CS12GLYDHY with an accuracy of ± 2 percent or better.  The annual natural gas flow rate shall be converted to a daily average by dividing the annual flow rate by the number of days per year each EU processed natural gas.

- Document to the AQD’s satisfaction, the actual annual average natural gas flow rate to EU CS12GLYDHY.

- Determination of the actual average BTEX emissions from EU CS12GLYDHY with condenser and/or thermal oxidizer control device shall be made using the following procedure:  (40 CFR 63.1282(a)(2))

- Use GRI-GLYCalc™, Version 3.0 or higher.  Inputs to the model shall be representative of actual operating conditions of each glycol dehydration unit.

3.	The Permittee shall perform “no detectable emissions” testing for closed vent systems using the test methods and procedures specified in 40 CFR 63.1282(b).  (40 CFR 63.1282(b))

- If the permittee chooses to conduct a performance test to demonstrate that a control device meets the requirements of III.2 (40 CFR 1281(f)(1)) the permittee shall conduct emissions testing for compliance with the BTEX emission limit calculated using Equation 1 or the 20 ppmv TOC or Total HAP exhaust gas concentration reduction requirement using the following test methods and procedures:  (40 CFR 63.1282(d)(3)

a.	Method 1 or 1A, 40 CFR, Part 60, Appendix A, as appropriate, shall be used for selection of the sampling sites. The sampling site shall be located at the outlet of the combustion device.

b.	The gas volumetric flow rate shall be determined using Method 2, 2A, 2C, or 2D, 40 CFR, Part 60, Appendix A, as appropriate.

c.	To determine compliance with the BTEX emission limit or the 20 ppmv TOC or Total HAP exhaust gas concentration reduction requirement, the permittee shall use one of the following methods: Method 18, 40 CFR, Part60, Appendix A; ASTM D64200-99 (Reapproved 2004); or any other method or data that have been validated according to the applicable procedures in Method 301, 40 CFR, Part 63, Appendix A.

d.	The permittee shall conduct performance tests according to the following schedule:

i.	An initial performance test shall be conducted no later than October 15, 2015.

ii.	The first periodic performance test shall be conducted not later than 60 months after the initial performance test. Subsequent periodic performance tests shall be conducted at intervals no longer than 60 months following the previous periodic performance test or whenever a source desires to establish a new operating limit. Combustion control devices meeting either of the following criteria are not required to conduct periodic performance tests;

- A control device whose model is tested under, and meets the criteria of manufacturers performance test in 40 CFR 63.1282(g).

- A combustion control device demonstrating during the performance test that combustion zone temperature is an indicator of destruction efficiency and operates at a minimum temperature of 1400 degrees F.

5.	As an alternative to the performance test referenced in V.4 the permittee may elect to use the procedures documented in the GRI report entitled “Atmospheric Rich/Lean method for Determining Glycol Dehydrator Emissions” (GRI-95/0368.1) as inputs for the model GRI-GLYCalc™, version 3.0 or higher, to generate a condenser performance curve. (40 CFR 63.1282(d)(5))

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

1.	The permittee shall maintain records of the annual facility natural gas throughput each year.

(40 CFR 63.1270(a)(3))

- The permittee shall continuously monitor and record the temperature on the thermal oxidizer or condenser and calculate the daily average temperature for each operating day.  (40 CFR 63.1282(e), 40 CFR 63.1283(d)(4))

  - Establish a site specific maximum (condenser) or minimum (thermal oxidizer) temperature to define the conditions at which the control device must be operated to continuously achieve compliance with the emission limit.

  - Calculate the daily average of the temperature readings in accordance with Condition VI.8.

  - Compliance is achieved when the daily average of the temperature readings calculated under 2.b. is either equal to or greater than the minimum or equal to or less than the maximum monitoring value established under 2.a.

- When using a condenser as the control device the permittee may demonstrate compliance with BTEX emission reductions by complying with the following requirements:  (40 CFR 63.1282(f))

a.	The permittee shall establish a site-specific condenser performance curve according to the procedures specified in Condition VI.10.

b.	The permittee must calculate the daily average condenser outlet temperature in accordance with Condition VI.10.

c.	The permittee shall determine the condenser efficiency for the current operating day using the daily average condenser outlet temperature and the condenser performance curve.

  - At the end of each operating day the permittee shall calculate the 30-day average BTEX emission reduction from the condenser efficiencies for the preceding 30 operating days.

  - Compliance is achieved if the average BTEX emission reduction is equal to or greater than the minimum percent reduction established in Condition VI.10.

4.	For each closed-vent system, the permittee shall comply with the following requirements:

(40 CFR 63.1283(c)(2-4))

- Except for parts of the closed-vent system or cover that are designated unsafe to inspect or difficult to inspect, each closed-vent system and each bypass device shall be inspected according to the procedures specified below according the following schedule:

    - For each closed-vent system joints, seams, or other connections that are permanently or semi-permanently sealed (e.g., a welded joint between two sections of hard piping or a bolted or gasketed ducting flange):

      - Conduct an initial inspection to demonstrate that the closed-vent system operates with no detectable emissions.

      - Conduct annual visual inspections for defects that could result in air emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in piping; loose connections; or broken or missing caps or other closure devices.

    - For closed-vent system components other than those specified in VI.5.a.i above:

    - Conduct an initial inspection to demonstrate that the closed-vent system operates with no detectable emissions.

    - Conduct annual inspections to demonstrate that the components or connections operate with no detectable emissions.

    - Conduct annual visual inspections for defects that could result in air emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in ductwork; loose connections; or broken or missing caps or other closure devices.

    - For each bypass device, except low leg drains, high point bleeds, analyzer vents, open-ended valves or lines, and safety devices, the permittee shall either:

      - At the inlet to the bypass device that could divert the steam away from the control device to the atmosphere, set the flow indicator to take a reading at least once every 15 minutes; or

      - If the bypass device valve installed at the inlet to the bypass device is secured in the non-diverting position using a car-seal or a lock-and-key type configuration, visually inspect the seal or closure mechanism at least once every month to verify that the valve is maintained in the non-diverting position and the vent stream is not diverted through the bypass device.

- In the event that a leak or defect is detected, the permittee shall repair the leak or defect as soon as practicable, except as provided in VI.5.c.

- A first attempt at repair shall be made no later than 5 calendar days after the leak is detected.

- Repair shall be completed no later than 15 calendar days after the leak is detected.

- Delay of repair of a closed-vent system for which leaks or defects have been detected is allowed if the repair is technically infeasible without a shutdown, as defined in § 63.1271, or if the permittee determines that emissions resulting from immediate repair would be greater than the fugitive emissions likely to result from delay of repair.  Repair of such equipment shall be completed by the end of the next shutdown.

- Any parts of the closed-vent system or cover that are designated, as described below, as unsafe to inspect are exempt from the inspection requirements of Condition VI.5 if:  (40 CFR 63.1283(c)(5))

a.	The permittee determines that the equipment is unsafe to inspect because inspecting personnel would be exposed to an imminent or potential danger as a consequence of complying with Condition VI.5.a.i or ii.

b.	The permittee has a written plan that requires inspection of the equipment as frequently as practicable during safe-to-inspect times.

6.	Any parts of the closed-vent system or cover that are designated, as described below, as difficult to inspect are exempt from the inspection requirements of Condition VI.5 if:  (40 CFR 63.1283(c)(6))

a.	The permittee determines that the equipment cannot be inspected without elevating the inspecting personnel more than 2 meters above a support surface; and

b.	The permittee has a written plan that requires inspection of the equipment at least once every 5 years.

7. 	Using the data recorded by the monitoring system, except for inlet gas flow rate, the permittee must calculate the daily average value for each monitored operating parameter for each operating day. If the emissions unit operation is continuous, the operating day is a 24-hour period. If the emissions unit operation is not continuous, the operating day is the total number of hours of control device operation per 24-hour period. Valid data points must be available for 75 percent of the operating hours in an operating day to compute the daily average.

(40 CFR 63.1283(d)(4))

- For the control devices used to comply with 40 CFR, Part 63, Subpart HHH, the permittee shall establish a minimum operating parameter value or a maximum operating parameter value, as appropriate for the control device, to define the conditions at which the control device must be operated to continuously achieve the emission limits in Section I of FGMACTHHH.  Each minimum or maximum operating parameter value shall be established as follows:  (40 CFR 63.1283(d)(5)(i))

  - If the permittee conducts performance tests to demonstrate that the control device achieves the applicable performance requirements, then the minimum operating parameter value or the maximum operating parameter value shall be established based on values measured during the performance test and supplemented, as necessary, by a condenser design analysis or control device manufacturer's recommendations or a combination of both.

  - If the permittee uses a condenser design analysis to demonstrate that the control device achieves the applicable performance requirements, then the minimum operating parameter value or the maximum operating parameter value shall be established based on the condenser design analysis and may be supplemented by the condenser manufacturer's recommendations.

  - If the permittee operates a control device where the performance test requirement was met under manufacturers’ performance test to demonstrate that the control device achieves the applicable performance requirements, then the maximum inlet gas flow rate shall be established based on the performance test and supplemented, as necessary, by the manufacturer recommendations.

- When using condensers as the control device the permittee shall also establish a condenser performance curve showing the relationship between condenser outlet temperature and condenser control efficiency.  The curve shall be established using the procedures documented in the GRI report entitled, “Atmospheric Rich/Lean Method for Determining Glycol Dehydrator Emissions” (GRI-95/0368.1) as inputs for the model GRI-GLYCalctm, Version 3.0 or higher, to generate a condenser performance curve.  (40 CFR 63.1283(d)(5)(ii))

- A deviation for a control device is determined to have occurred when the monitoring data or lack of monitoring data result in any one of the criteria specified below being met.  When multiple operating parameters are monitored for the same control device and during the same operating day, and more than one of these operating parameters meets an excursion criterion specified below, then a single excursion is determined to have occurred for the control device for that operating day.  (40 CFR 63.1283(d)(6)(i-iii))

- When the daily average value of a monitored operating parameter is less than the minimum operating parameter limit (or, if applicable, greater than the maximum operating parameter limit) established for the operating parameter.

- When the 30-day average condenser efficiency calculated according to the requirements of Condition VI.3.d is less than the identified 30-day required percent reduction.

- When the monitoring data are not available for at least 75 percent of the operating hours in a day.

- A deviation occurs for a closed-vent system containing one or more bypass devices that could be used to divert all or a portion of the gases, vapors, or fumes from entering the control device when:

(40 CFR 63.1283(d)(6)(iv))

a.	The flow indicator indicates that flow has been detected and that the stream has been diverted away from the control device to the atmosphere.

b.	If the seal or closure mechanism has been broken, the bypass line valve position has a changed, the key for the lock-and-key type lock has been checked out, or the car-seal has broken.

- For each deviation, the permittee shall be deemed to have failed to have applied control in a manner that achieves the required operating parameter limits. Failure to achieve the required operating parameter limits is a violation of this standard.  (40 CFR 63.1283(d)(7))

- Nothing in Conditions VI.8 through VI.13 shall be construed to allow or excuse a monitoring parameter deviation caused by any activity that violates other applicable provisions of this subpart. (40 CFR 63.1283(d)(9))

- The permittee shall maintain the records specified in 40 CFR 63.10(b)(2). (40 CFR 63.1284(b)(2))

- The permittee shall maintain the following records:  (40 CFR 63.1284(b)(4), 40 CFR 63.1284(g))

  - Continuous records of the equipment operating parameters specified to be monitored in Conditions VI.8-10.

  - Records of the daily average value of each continuously monitored parameter for each operating day determined according to the procedures specified in Condition VI.8.

  - For condensers using reduction efficiency for compliance, records of the annual 30-day rolling average condenser efficiency determined in Condition VI.3.d shall be kept in addition to the daily averages.

  - The following records for a control device whose model is tested under the manufacturers’ performance test:

    - All visible emission readings and flow rate calculations made during the compliance determination

    - All hourly records and other recorded periods when the pilot flame is absent.

  - Hourly records of the times and durations of all periods when the vent stream is diverted from the control device or the device is not operating.

  - Where a seal or closure mechanism is used to comply with the closed vent bypass, hourly records of flow are not required. In such cases, the owner or operator shall record that the monthly visual inspection of the seals or closure mechanism has been done, and shall record the duration of all periods when the seal mechanism is broken, the bypass line valve position has changed, or the key for a lock-and-key type lock has been checked out, and records of any car-seal that has broken.

- The permittee shall maintain records identifying all parts of the closed-vent system that are designated as unsafe to inspect in accordance with Condition VI.6, an explanation of why the equipment is unsafe to inspect, and the plan for inspecting the equipment.  (40 CFR 63.1284(b)(5))

- The permittee shall maintain records identifying all parts of the closed-vent system that are designated as difficult to inspect in accordance with Condition VI.7, an explanation of why the equipment is difficult to inspect, and the plan for inspecting the equipment.  (40 CFR 63.1284(b)(6))

- The permittee shall maintain the following records for each inspection conducted in accordance with Condition VI.5 during which a leak or defect is detected.  (40 CFR 63.1284(b)(7))

  - The instrument identification numbers, operator name or initials, and identification of the equipment.

  - The date the leak or defect was detected and the date of the first attempt to repair the leak or defect.

  - Maximum instrument reading measured by the method specified in Condition V.3 after the leak or defect is successfully repaired or determined to be non-repairable.

  - “Repair delayed” and the reason for the delay if a leak or defect is not repaired within 15 calendar days after discovery of the leak or defect.

  - The name, initials, or other form of identification of the permittee (or designee) whose decision it was that repair could not be affected without a shutdown.

  - The expected date of successful repair of the leak or defect if a leak or defect is not repaired within 15 calendar days.

  - Dates of shutdowns that occur while the equipment is unrepaired.

  - The date of successful repair of the leak or defect.

- For each inspection conducted in accordance with Condition VI.5 during which no leaks or defects are detected, the permittee shall maintain a record that the inspection was performed, the date of the inspection, and a statement that no leaks or defects were detected.  (40 CFR 63.1284(b)(8))

- The permittee shall maintain records of the occurrence and duration of each malfunction of process equipment or the air pollution control equipment and monitoring equipment.  The permittee shall maintain records of actions taken during periods of malfunction to minimize emissions in accordance with Condition III.4 including corrective actions to restore malfunctioning process and air pollution control and monitoring equipment to its normal or usual manner of operation.  (40 CFR 63.1284(f))

VII.  REPORTING

1.	Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

2.	Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

3.	Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

4.	The permittee shall submit the notification of the planned date of a performance test and site–specific test plan at least 60 days before the test. (40 CFR 63.1285(b)(3))

5.	The permittee shall submit a Notification of Compliance Status Report as required under § 63.9(h) within 180 days after October 15, 2015.  In addition to the information required under § 63.9(h) the Notification of Compliance Status Report shall include the information specified in paragraphs 5.a. through l. of this section. If an owner or operator submits the required information at different times, and/or different submittals, subsequent submittals may refer to previous submittals instead of duplicating and resubmitting the previously submitted information. (40 CFR 63.1285(d))

a.	If a closed-vent system and a control device other than a flare are used to comply with § 63.1274, the owner or operator shall submit the information in Condition 5.a.iii and the information in either paragraph 5.a.i. or ii.

i.	The condenser design analysis documentation specified in § 63.1282(d)(4) if the owner or operator elects to prepare a design analysis; or

ii.	If the owner or operator is required to conduct a performance test, the performance test results including the information specified in Condition 5.a.ii.A and B Results of a performance test conducted prior to the compliance date of this subpart can be used provided that the test was conducted using the methods specified in § 63.1282(d)(3), and that the test conditions are representative of current operating conditions. If the owner or operator operates a combustion control device model tested under § 63.1282(g), an electronic copy of the performance test results shall be submitted via email to Oil_and_Gas_PT@EPA.GOV unless the test results for that model of combustion control device are posted at the following Web site: epa.gov/air quality/oil and gas.

A. 	The percent reduction of HAP or TOC, or the outlet concentration of HAP or TOC (parts per million by volume on a dry basis), determined as specified in § 63.1282(d)(3); and

B. 	The value of the monitored parameters specified in § 63.1283(d), or a site-specific parameter approved by the permitting agency, averaged over the full period of the performance test.

iii. 	The results of the closed-vent system initial inspections performed according to the requirements in § 63.1283(c)(2)(i) and (ii).

b.	The owner or operator shall submit one complete test report for each test method used for a particular source.

i.	For additional tests performed using the same test method, the results specified in Condition 5.a.ii shall be submitted, but a complete test report is not required.

ii.	A complete test report shall include a sampling site description, description of sampling and analysis procedures and any modifications to standard procedures, quality assurance procedures, record of operating conditions during the test, record of preparation of standards, record of calibrations, raw data

sheets for field sampling, raw data sheets for field and laboratory analyses, documentation of calculations, and any other information required by the test method.

c.	For each control device other than a flare used to meet the requirements of § 63.1274, the owner or operator shall submit the information specified in Condition 5.d.i. through iv for each operating parameter required to be monitored in accordance with the requirements of § 63.1283(d).

i.	The minimum operating parameter value or maximum operating parameter value, as appropriate for the control device, established by the owner or operator to define the conditions at which the control device must be operated to continuously achieve the applicable performance requirements of § 63.1281(d)(1) or (e)(3)(ii).

ii.	An explanation of the rationale for why the owner or operator selected each of the operating parameter values established in § 63.1283(d)(5). This explanation shall include any data and calculations used to develop the value, and a description of why the chosen value indicates that the control device is operating in accordance with the applicable requirements of § 63.1281(d)(1), (e)(3)(ii), or (f)(1).

iii.	A definition of the source's operating day for purposes of determining daily average values of monitored parameters. The definition shall specify the times at which an operating day begins and ends.

d.	Results of any continuous monitoring system performance evaluations shall be included in the Notification of Compliance Status Report.

e.	The owner or operator shall comply with all requirements for compliance status reports contained in the source's title V permit, including reports required under 40 CFR, Part 63, Subpart HHH. Each time a notification of compliance status is required under this subpart, the owner or operator of such source shall submit the notification of compliance status to the appropriate permitting authority following completion of the relevant compliance demonstration activity specified in this subpart.

f.	The owner or operator shall submit an analysis demonstrating whether an affected source is a major source using the maximum throughput calculated according to § 63.1270(a).

g.	The owner or operator shall submit a statement as to whether the source has complied with the requirements of this subpart.

h.	If the owner or operator installs a combustion control device model tested under the manufacturer’s performance test procedures in § 63.1282(g), the Notification of Compliance Status Report shall include the data listed under § 63.1282(g)(8).

i.	For each combustion control device model tested under § 63.1282(g), the information listed in paragraphs 5.i.i. through vi of this section.

i.	Name, address and telephone number of the control device manufacturer.

ii.	Control device model number.

iii.	Control device serial number.

iv.	Date the model of control device was tested by the manufacturer.

v.	Manufacturer's HAP destruction efficiency rating.

vi.	Control device operating parameters, maximum allowable inlet gas flow rate.

- The permittee shall prepare Periodic Reports in accordance with a. and b. below and submit them to the Administrator.  (40 CFR 63.1285(e))

  - The permittee shall submit Periodic Reports semiannually beginning 60 calendar days after the end of the applicable reporting period. The first report shall be submitted no later than 240 days after the date the Notification of Compliance Status Report is due and shall cover the 6-month period beginning on the date the Notification of Compliance Status Report is due.  The report shall include certification by a responsible official of truth, accuracy, and completeness.

  - The permittee shall include the following information and any other information as applicable in §63.1285(e)(2).

    - A description of all deviations as defined in Conditions VI.12-14 that have occurred during the 6-month reporting period, and the information described in §63.1285(e)(2)(ii).

    - For each inspection conducted in accordance with Condition VI.5 during which a leak or defect is detected, the records described in Condition VI.21 must be included in the next Periodic Report.

    - For each closed-vent system with a bypass line, records required under Condition VI.18.e and f.

    - A statement identifying if there were no deviations during the reporting period.

    - Any change in compliance methods as described in §63.1282(e).

    - The results of any periodic test conducted during the reporting period.

- Whenever a process change is made, or a change in any of the information submitted in the Notification of Compliance Status Report, the permittee shall submit a report within 180 days after the process change is made or as a part of the next Periodic Report, whichever is sooner.  The report shall include:

(40 CFR 63.1285(f))

- A brief description of the process change;

- A description of any modification to standard procedures or quality assurance procedures;

- Revisions to any of the information reported in the original Notification of Compliance Status Report under Condition VII.5

- Information required by the Notification of Compliance Status Report under Condition VII.5 for changes involving the addition of processes or equipment.

- Within 60 days after the date of completing a performance test (defined in § 63.2) you must submit the results of the performance tests to EPA's WebFIRE database by using the Compliance and Emissions Data Reporting Interface (CEDRI) that is accessed through EPA's Central Data Exchange (CDX) (www.epa.gov/cdx). Performance test data must be submitted in the file format generated through use of EPA's Electronic Reporting Tool (ERT) (see http://www.epa.gov/ttn/chief/ert/index.html). Only data collected using test methods on the ERT Web site are subject to this requirement for submitting reports electronically to WebFIRE. All reports required by this subpart not subject to the above electronic reporting requirements must be sent to the Administrator at the appropriate address.  The Administrator may request a report in any form suitable for the specific case (e.g., by commonly used electronic media such as Excel spreadsheet, on CD or hard copy).  The Administrator retains the right to require submittal of reports in paper format.  (40 CFR 63.1285(g))

- The permittee shall notify the AQD Technical Programs Unite Supervisor and the district Supervisor no less than 7 days prior to the anticipated test date.  (R 336.2001(4))

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted.

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| NA | NA | NA | NA |

IX.  OTHER REQUIREMENT(S)

- The permittee shall determine major source status using the maximum annual facility natural gas throughput calculated according to 40 CFR 63.1270(a)(1)(i) through (a)(1)(iv). As an alternative to calculating the maximum natural gas throughput, the owner or operator of a new or existing source may use the facility design maximum natural gas throughput to estimate the maximum potential emissions. (40 CFR 63.1270(a)(1))

- The permittee shall determine the maximum values for other parameters used to calculate potential emissions as the maximum over the same period for which maximum throughput is determined.  These parameters shall be based on an annual average or the highest single measured value.  For estimating maximum potential emissions from glycol dehydration units, the glycol circulation rate used in the calculation shall be the unit’s maximum rate under its physical and operational design consistent with the definition of potential to emit in 40 CFR 63.2. (40 CFR 63.1270(a)(4))

- A site-specific monitoring plan must be prepared that addresses the monitoring system design, data collection, and the quality assurance and quality control elements.  Each CPMS must be installed, calibrated, operated,

and maintained in accordance with the procedures in your approved site-specific monitoring plan. The permittee may request approval of monitoring system quality assurance and quality control procedures alternative to those specified below and in your site-specific monitoring plan.  (40 CFR 63.1283(d)(1)(ii-iv))

  - The performance criteria and design specifications for the monitoring system equipment, including the sample interface, detector signal analyzer, and data acquisition and calculations;

  - Sampling interface (e.g., thermocouple) location such that the monitoring system will provide representative measurements;

  - Equipment performance checks, system accuracy audits, or other audit procedures;

  - Ongoing operation and maintenance procedures in accordance with provisions in § 63.8(c)(1) and (c)(3);

  - Ongoing reporting and recordkeeping procedures in accordance with provisions in § 63.10(c), (e)(1), and (e)(2)(i).

  - The permittee must conduct the CPMS equipment performance checks, system accuracy audits, or other audit procedures specified in the site-specific monitoring plan at least once every 12 months.

  - The permittee must conduct a performance evaluation of each CPMS in accordance with the site-specific monitoring plan.

- The permittee shall comply with all applicable provisions of the National Emission Standards for Hazardous Air Pollutants, as specified in 40 CFR, Part 63, Subpart A and Subpart HHH, for Natural Gas Transmission and Storage Facilities by October 15, 2015.  (40 CFR, Part 63, Subparts A and HHH)

Footnotes:

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# D.  FLEXIBLE GROUP CONDITIONS

Part D outlines the terms and conditions that apply to more than one emission unit.  The permittee is subject to the special conditions for each flexible group in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited.  If a specific condition type does not apply, NA (not applicable) has been used in the table.  If there are no special conditions that apply to more than one emission unit, this section will be left blank.

## FLEXIBLE GROUP SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| Flexible Group ID | Flexible Group Description | Associated Emission Unit IDs |
| --- | --- | --- |
| FG CS12DDDDD | Emission Units subject to 40 CFR, Part 63, Subpart DDDDD. | EU CS12HEATER-A, EU CS12HEATER-B, EU CS12BOILER |
| FG CS12CMPRS | Three natural gas-fired, 3,750, HP 4-stroke lean burn Ingersoll Rand 410 KVR IC compressor engine used to compress natural gas into the storage reservoir during injection, and into the pipeline during withdrawal. | EU CS12CMPR-A, EU CS12CMPR-B, EU CS12CMPR-C |
| FG CS12ZZZZ | Two 580 horsepower 4-stroke rich burn Waukesha VHP5108G emergency generators. Emission units subject to 40 CFR, Part 63, Subpart ZZZZ. | EU CS12EMRGEN-A, EU CS12EMRGEN-B |

## FG CS12DDDDD
FLEXIBLE GROUP CONDITIONS

DESCRIPTION

EU CS12HEATER-A (7.5 MMBtu/hr), EU CS12HEATER-B (7.5 MMBtu/hr), and EU CS12BOILER (2.51 MMBtu/hr) are subject to 40 CFR, Part 63, Subpart DDDDD National Emission Standard for Hazardous Air Pollutants for Major Sources:  Industrial, Commercial, and Institutional Boilers and Process Heaters.

Emission Unit:

EU CS12HEATER-A, EU CS12HEATER-B and EU CS12BOILER.

POLLUTION CONTROL EQUIPMENT  NA

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| NA | NA | NA | NA | NA | NA |

II.  MATERIAL LIMIT(S)

| Material | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| NA | NA | NA | NA | NA | NA |

III.  PROCESS/OPERATIONAL RESTRICTION(S)

NA

IV.  DESIGN/EQUIPMENT PARAMETER(S)

NA

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee must conduct an initial performance tune-up no later than January 31, 2016 for EU CS12HEATER-A and EU CS12HEATER-B according to § 63.7540(a)(11).  Subsequent biennial tune-ups must be conducted no more than 25 months after the previous tune-up.  (40 CFR 63.7510(e), 40 CFR 63.7515(d), 40 CFR 63.7540(a)(11), 40 CFR, Part 63, Subpart DDDDD, Table 3.2)

- The permittee must conduct an initial performance tune-up no later than January 31, 2016 for EU CS12BOILER according to § 63.7540(a)(12).  Subsequent 5-year tune-ups must be conducted no more than 61 months after the previous tune-up.  (40 CFR 63.7510(e), 40 CFR 63.7515(d), 40 CFR 63.7540(a)(12), 40 CFR, Part 63, Subpart DDDDD, Table 3.1)

- The permittee shall complete a one-time energy assessment specified in Table 3.4 (a) through (h) no later than January 31, 2016 for all Emission Units in FG CS12DDDDD.  An energy assessment completed on or after January 1, 2008, that meets or is amended to meet the energy assessment requirements, satisfies the energy assessment requirement.  A facility that operates under an energy management program compatible with ISO 50001 that includes the affected units also satisfies the energy assessment requirement.  The energy assessment must include the following:

  - A visual inspection of the boiler or process heater system.

  - An evaluation of operating characteristics of the boiler or process heater systems, specifications of energy using systems, operating and maintenance procedures, and unusual operating constraints.

  - An inventory of major energy use systems consuming energy from affected boilers and process heaters and which are under the control of the boiler/process heater owner/operator.

  - A review of available architectural and engineering plans, facility operation and maintenance procedures and logs, and fuel usage.

  - A review of the facility's energy management, and provide recommendations for improvements consistent with the definition of energy management practices, if identified.

  - A list of cost-effective energy conservation measures that are within the facility's control.

  - A list of the energy savings potential of the energy conservation measures identified.

  - A comprehensive report detailing the ways to improve efficiency, the cost of specific improvements, benefits, and the time frame for recouping those investments.

(40 CFR 63.7510(e), 40 CFR, Part 63, Subpart DDDDD, Table 3.4)

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

1.	The permittee shall maintain a copy of each notification and report submitted to comply with 40 CFR, Part 63, Subpart DDDDD including all documentation supporting any Initial Notification or Notification of Compliance Status or Semiannual Compliance report that was submitted, according to the requirements in § 63.10(b)(2)(xiv) and any records of performance tests, fuel analyses, or other compliance demonstrations and performance evaluations as required in § 63.10(b)(2)(viii). (40 CFR 63.7555)

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- A compliance report containing the information below shall be submitted with the annual certification of compliance in VII.3 above.  The compliance report for EU CS12HEATER-A and EU CS12HEATER-B is due every two years starting in 2018.  The compliance report for CS12BOILER is due every five years starting in 2021.  (40 CFR 63.7550(B), 40 CFR 63.7550(c)(5))

  - Company and Facility name and address.

  - Process unit information, emissions limitations, and operating parameter limitations.

  - Date of report and beginning and ending dates of the reporting period.

  - The total operating time during the reporting period.

  - Include the date of the most recent tune-up for EURC01, EURC025, EURC016, EURC017 and EURC018. Include the date of the most recent burner inspection if it was not done annually, biennially, or on a 5-year period and was delayed until the next scheduled or unscheduled unit shutdown.

- The permittee shall submit a Notification of Compliance Status (NOCS) following the initial compliance demonstration.  The NOCS must contain the following:  (40 CFR 63.7530(d),(e), and (f), 40 CFR 63.7545(e))

  - A description of each Emission Unit including identification of which subcategories the EU is in and the design heat input capacity of the EU

  - The following certifications of compliance, as applicable, and signed by a responsible official:

    - “This facility complies with the required initial tune-up according to the procedures in § 63.7540(a)(10)(i) through (vi).”

    - “This facility has had an energy assessment performed according to § 63.7530(e) and is an accurate depiction of the facility at the time of the assessment.”

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| NA | NA | NA | NA |

IX.  OTHER REQUIREMENT(S)

1.	The permittee shall comply with all applicable provisions of the National Emission Standards for Hazardous Air Pollutants, as specified in 40 CFR, Part 63, Subpart A and Subpart DDDDD: Industrial, Commercial, and Institutional Boilers and Process Heaters no later than January 31, 2016.  (40 CFR, Part 63, Subpart DDDDD, 40 CFR 63.7495(b))

Footnotes:

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FG CS12CMPRS

FLEXIBLE GROUP CONDITIONS

DESCRIPTION

Three natural gas-fired, 3,750, HP 4-stroke lean burn Ingersoll Rand 410 KVR IC compressor engine used to compress natural gas into the storage reservoir during injection, and into the pipeline during withdrawal.

Emission Units:  EU CS12CMPR-A, EU CS12CMPR-B, EU CS12CMPR-C

POLLUTION CONTROL EQUIPMENT:  Clean burn/lean burn system.

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| - NOx | 99.2 pph2 | Test Protocol* | EU CS12CMPR-A, EU CS12CMPR-B, EU CS12CMPR-C (The limit applies to each individual compressor engine.) | V.1, VI.3, VI.4 | 40 CFR 52.21, R 336.2802 68-80, 10 79-97B, I.1 |

*Test protocol shall specify averaging time.

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The natural gas used as fuel for the compressor engines shall not contain more than 20 grains of total sulfur per 100 cubic feet of natural gas.2 (R 336.2803. R 336.2804, 40 CFR 52.21(c) and (d))

79-97B. FGCSCOMP-S1, III.1

- The permittee shall operate the FG CS12CMPRS per the AQD approved malfunction abatement plan. 
(R 336.1911)

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- The NOx emission rate from the compressor engines shall not exceed 12 grams per brake horsepower hour at 100 percent speed and 100 percent torque.2  (40 CFR 52.21, R 336.1802) 
68-80, 10; 79-97B. FGCSCOMP-S1, IV.1

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- Once every five years the permittee shall conduct a stack test of NOx emissions on EU CS12CMPR-A, EU CS12CMPR-B, and EU CS12CMPR-C.  (R 336.1213(3)(a))  79-97B. FGCSCOMP-S1, V.1

- All testing, sampling analytical and calibration procedures used for any stack test program shall be performed in accordance with 40 CFR, Part 60, Appendix A, Methods 2, 3A, and 7E, or other acceptable reference methods approved by the AQD.  (R 336.1213(3)(a))  
79-97B. FGCSCOMP-S1, V.2

- Once every five years the permittee shall demonstrate compliance of the grains of total sulfur in the compressor engine fuel by testing the fuel.  (R 336.1119(i) and (dd))

  - MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee shall record the total fuel consumption for each compressor engine in FG CS12CMPRS for each calendar month.  (R 336.1213(3)(b)) 79-97B. FGCSCOMP-S1, VI.1

- The permittee shall record the total engine hours of operation for each compressor engine in FG CS12CMPRS for each calendar month.  (R 336.1213(3)(b)) 79-97B. FGCSCOMP-S1, VI.2

- The permittee shall calculate and record the NOx emissions in pounds per hour for each compressor engine in FG CS12CMPRS using the equation in Appendix 7B, or an alternate equation approved by the AQD, in conjunction with monitoring, testing or recordkeeping data.  The permittee may calculate NOx emissions from each engine in FG CS12CMPRS by using an emission factor based on stack tests of the compressor engines. The emissions calculations shall be available to the AQD upon request by 15th of the following month.  
(R 336.1213) 79-98B. FGCSCOMP-S1,VI 3

- The permittee shall recalculate the emission factor following the verification of emission rates from stack testing required in V. Testing.  (R 336.1213(3)(a)) 79-98B. FGCSCOMP-S1, VI. 4

See Appendix 7B

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- The permittee shall submit two complete test protocols to the AQD, one to the Technical Programs Unit Supervisor and one to the District Supervisor for approval at least 30 days prior to the anticipated test date.  The protocol shall describe the test method(s) and the maximum routine operating conditions, including targets for key operational parameters associated with air pollution control equipment to be monitored and recorded during testing.2 (R 336.12001(3)) 79-97B, FGCSCOMP-S1, VII.5.

- The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor no less than 7 days prior to the anticipated test date.  (R 336.2001(4))

- The permittee shall submit two complete test reports of the test results to the AQD, one to the Technical Programs Unit Supervisor and one to the District Supervisor, within 60 days following the last date of the test. 2  (R 336.2001(5)) 79-97B, FGCSCOMP-S1, VII.4.

- The permittee shall submit a complete analysis plan to the AQD District Supervisor for approval at least 30 days prior to the anticipated analysis date.  (R 336.1119(i) and (dd))

- The permittee shall submit a complete report of the analysis results to the AQD District Supervisor, within 60 days following the last date of the test.  (R 336.1119(i) and (dd))

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| - SV001 (EU CS12CMPR-A) | 302 | 49.22 | 40 CFR 52.21, R 336.2802 68-80, 11; 79-97B, FGCSCOMP-S1, VIII.1 |
| - SV002 (EU CS12CMPR-B) | 302 | 49.22 | 40 CFR 52.21, R 336.2802 68-80, 11; 79-97B, FGCSCOMP-S1, VIII.2 |
| - SV003 (EU CS12CMPR-C) | 302 | 49.22 | 40 CFR 52.21, R 336.2802 68-80, 11; 79-97B, FGCSCOMP-S1,VIII.3 |

IX.  OTHER REQUIREMENT(S)

- The permittee shall maintain a malfunction abatement plan approved by the AQD District Supervisor in accordance with Rule 336.1911 for FG CS12CMPRS.2  (R 336.1911) 79-97B, FGCSCOMP-S1, IX.1

Footnotes:

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b)

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a)

## FG CS12ZZZZ EMERGENCY GENERATORS

FLEXIBLE GROUP CONDITIONS

DESCRIPTION:

Two 580 horsepower 4-stroke rich burn Waukesha VHP5108G emergency generators.  The emission units are subject to 40 CFR, Part 63, Subpart ZZZZ.

Emission Units:  EU CS12EMRGEN-A and EU CS12EMRGEN-B

POLLUTION CONTROL EQUIPMENT  NA

I.  EMISSION LIMIT(S)

NA

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

            - The permittee shall operate EU CS12EMRGEN-A and EU CS12EMRGEN-B in a manner consistent with safety and good air pollution control practices for minimizing emissions.  Determination of whether such operation and maintenance procedures are being used will be based on information available to the AQD which may include, but is not limited to, monitoring results, review of operations and maintenance procedures, review of operation and maintenance records, and inspections of the source. (40 CFR 63.6605(b))

            - The permittee has no time limit on the use of EU CS12EMRGEN-A and EU CS12EMRGEN-B in emergency situations.  (40 CFR 63.6640(f)(1))

            - The permittee may operate EU CS12EMRGEN-A and EU CS12EMRGEN-B for any combination of purposes specified below for a maximum of 100 hours per calendar year.   (40 CFR 63.6640(f)(2))

- For maintenance checks and readiness testing, provided that the tests are recommended by federal, state or local government, the manufacturer, the vendor, the regional transmission organization or equivalent balancing authority and transmission operator, or the insurance company associated with the engine. The permittee may petition the AQD for approval of additional hours to be used for maintenance checks and readiness testing, but a petition is not required if the permittee maintains records indicating that federal, state, or local standards require maintenance and testing of emergency reciprocating internal combustion engines (RICE) beyond 100 hours per calendar year.

- Emergency stationary RICE may be operated for emergency demand response for periods in which the Reliability Coordinator under the North American Electric Reliability Corporation (NERC) Reliability Standard EOP–002–3, Capacity and Energy Emergencies or other authorized entity as determined by the Reliability Coordinator, has declared an Energy Emergency Alert Level 2.

- Emergency stationary RICE may be operated for periods where there is a deviation of voltage or frequency of 5 percent or greater below standard voltage or frequency.

- The permittee may operate EU CS12EMRGEN-A and EU CS12EMRGEN-B for up to 50 hours per calendar year in non-emergency situations. The 50 hours of operation in non-emergency situations are counted as part of the 100 hours per calendar year for maintenance and testing and emergency demand response provided in III.3 above. The 50 hours per year for non-emergency situations cannot be used for peak shaving or non-emergency demand response, or to generate income for a facility to supply power to an electric grid or otherwise supply power as part of a financial arrangement with another entity. (40 CFR 63.6640(f)(3))

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- The permittee shall equip EU CS12EMRGEN-A and EU CS12EMRGEN-B with a non-resettable hour meter.  (R 336.1213(3))

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

NA

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee shall record the hours of operation of EU CS12EMRGEN-A and EU CS12EMRGEN-B per calendar year.  (R 336.1213(3))

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- If EU CS12EMRGEN-A and EU CS12EMRGEN-B operate or are contractually obligated to be available for more than 15 hours per calendar year for the purposes specified in Condition III.3 b or c, the permittee shall submit an annual report according to the requirements below.  (40 CFR 63.6650(h)(1)(2)(3))

  - The report must contain the following information:

    - Company name and address where the engine is located.

    - Date of the report and beginning and ending dates of the reporting period.5

    - Engine site rating and model year.

    - Latitude and longitude of the engine in decimal degrees reported to the fifth decimal place.

    - Hours operated for purposes in Condition III.3 b or c, including the date, start time, and end time for engine operation.

    - Number of hours the engine is contractually obligated to be available for purposes in Condition III.3 b or c.

    - Hours spent for operation for purposes in Condition III.3 b or c, including the date, start time, and end time for engine operation. The report must also identify the entity that dispatched the engine and the situation that necessitated the dispatch of the engine.

  - The first annual report must cover the calendar year 2015 and must be submitted no later than March 31, 2016. Subsequent annual reports for each calendar year must be submitted no later than March 31 of the following calendar year.

  - The annual report must be submitted electronically using the subpart specific reporting form in the Compliance and Emissions Data Reporting Interface (CEDRI) that is accessed through EPA’s Central Data Exchange (CDX) (www.epa.gov/cdx). However, if the reporting form specific to this subpart is not available in CEDRI at the time that the report is due, the written report must be submitted to the Administrator at the appropriate address listed in 40 CFR 63.13.

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted.

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| NA | NA | NA | NA |

IX.  OTHER REQUIREMENT(S)

- The permittee shall comply with all applicable provisions of the National Emission Standards for Hazardous Air Pollutants as specified in 40 CFR, Part 63, Subparts A and ZZZZ, as they apply to EUSCGEN001.  (40 CFR, Part 63, Subparts A and ZZZZ)

Footnotes:

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# E.  NON-APPLICABLE REQUIREMENTS

At the time of the ROP issuance, the AQD has determined that no non-applicable requirements have been identified for incorporation into the permit shield provision set forth in the General Conditions in Part A pursuant to Rule 213(6)(a)(ii).

## APPENDICES

## Appendix 1-S1.  Abbreviations and Acronyms

| AQD | Air Quality Division | MM | Million |
| --- | --- | --- | --- |
| acfm | Actual cubic feet per minute | MSDS | Material Safety Data Sheet |
| BACT | Best Available Control Technology | MW | Megawatts |
| BTU | British Thermal Unit | NA | Not Applicable |
| °C | Degrees Celsius | NAAQS | National Ambient Air Quality Standards |
| CAA | Federal Clean Air Act | NESHAP | National Emission Standard for Hazardous Air Pollutants |
| CAM | Compliance Assurance Monitoring | NMOC | Non-methane Organic Compounds |
| CEM | Continuous Emission Monitoring | NOx | Oxides of Nitrogen |
| CFR | Code of Federal Regulations | NSPS | New Source Performance Standards |
| CO | Carbon Monoxide | NSR | New Source Review |
| COM | Continuous Opacity Monitoring | PM | Particulate Matter |
| department | Michigan Department of Environmental Quality | PM-10 | Particulate Matter less than 10 microns in diameter |
| dscf | Dry standard cubic foot | pph | Pound per hour |
| dscm | Dry standard cubic meter | ppm | Parts per million |
| EPA | United States Environmental Protection Agency | ppmv | Parts per million by volume |
| EU | Emission Unit | ppmw | Parts per million by weight |
| °F | Degrees Fahrenheit | PS | Performance Specification |
| FG | Flexible Group | PSD | Prevention of Significant Deterioration |
| GACS | Gallon of Applied Coating Solids | psia | Pounds per square inch absolute |
| GC | General Condition | psig | Pounds per square inch gauge |
| gr | Grains | PeTE | Permanent Total Enclosure |
| HAP | Hazardous Air Pollutant | PTI | Permit to Install |
| Hg | Mercury | RACT | Reasonable Available Control Technology |
| hr | Hour | ROP | Renewable Operating Permit |
| HP | Horsepower | SC | Special Condition |
| H2S | Hydrogen Sulfide | scf | Standard cubic feet |
| HVLP | High Volume Low Pressure * | sec | Seconds |
| ID | Identification (Number) | SCR | Selective Catalytic Reduction |
| IRSL | Initial Risk Screening Level | SO2 | Sulfur Dioxide |
| ITSL | Initial Threshold Screening Level | SRN | State Registration Number |
| LAER | Lowest Achievable Emission Rate | TAC | Toxic Air Contaminant |
| lb | Pound | Temp | Temperature |
| m | Meter | THC | Total Hydrocarbons |
| MACT | Maximum Achievable Control Technology | tpy | Tons per year |
| MAERS | Michigan Air Emissions Reporting System | µg | Microgram |
| MAP | Malfunction Abatement Plan | VE | Visible Emissions |
| MDEQ | Michigan Department of Environmental Quality | VOC | Volatile Organic Compounds |
| mg | Milligram | yr | Year |
| mm | Millimeter |  |  |

*For HVLP applicators, the pressure measured at the gun air cap shall not exceed 10 pounds per square inch gauge (psig).

## Appendix 2-S1.  Schedule of Compliance

The permittee certified in the ROP application that this stationary source is in compliance with all applicable requirements and the permittee shall continue to comply with all terms and conditions of this ROP.  A Schedule of Compliance is not required.  (R 336.1213(4)(a), R 336.1119(a)(ii))

## Appendix 3-S1.  Monitoring Requirements

Specific monitoring requirement procedures, methods or specifications are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Therefore, this appendix is not applicable.

## Appendix 4-S1.  Recordkeeping

Specific recordkeeping requirement formats and procedures are detailed in Part A or the appropriate source-wide, emission unit and/or flexible group special conditions.  Therefore, this appendix is not applicable.

## Appendix 5-S1.  Testing Procedures

Specific testing requirement plans, procedures, and averaging times are detailed in the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Therefore, this appendix is not applicable.

## Appendix 6-S1.  Permits to Install

The following table lists any PTIs issued or ROP revision applications received since the effective date of the previously issued ROP No. MI-ROP-B7198-2008. Those ROP revision applications that are being issued concurrently with this ROP renewal are identified by an asterisk (*).  Those revision applications not listed with an asterisk were processed prior to this renewal.

Source-Wide PTI No MI-PTI-B7198-2008 is being reissued as Source-Wide PTI No. MI-PTI-B7198-2014

| Permit to Install Number | ROP Revision Application Number | Description of Equipment or Change | Corresponding Emission Unit(s) or Flexible Group(s) |
| --- | --- | --- | --- |
| 79-97B | 201300051 | EU CS12GLYDHY Define sweet natural gas as containing no more than 1 grain of hydrogen sulfide or 10 grains of total sulfur per 100 standard cubic feet. Require analysis of the pre-dehydration natural gas to determine its non-methane VOC content and composition once every five years. Require compliance with applicable conditions from 40 CFR, Part 63, Subpart HHH. FG CS12CMPRS Define natural gas used as not containing more than 20 grains of total sulfur per 100 cubic feet of natural gas. | EU CS12GLYDHY, FG CS12CMPRS |

## Appendix 7-S1.  Emission Calculations

Appendix 7A. EU CS12HHH

The permittee shall use the following equation, or alternate equation approved by the AQD, in conjunction with monitoring, testing or recordkeeping data to determine compliance with the emission limit of BTEX referenced in EU CS12HHH-S1, I.1, BTEX emissions (40 CFR 63.1275 equation 1).

Where:

ELBTEX = Unit-specific BTEX emission limit, megagrams per year;

3.10 × 10−4 = BTEX emission limit, grams BTEX/standard cubic meter-ppmv;

Throughput = Annual average daily natural gas throughput, standard cubic meters per day;

Ci,BTEX = Annual average BTEX concentration of the natural gas at the inlet to the glycol dehydration unit, ppmv.

Appendix 7B.  FG CS12CMPRS

The permittee shall calculate and record the NOx emissions in pounds per hour for each engine in FG CS12CMPRS using this equation, or an alternate equation approved by the AQD, in conjunction with monitoring, testing or recordkeeping data.  The permittee may calculate NOx emissions from each engine in FG CS12CMPRS by using an emission factor based on stack tests of the compressor engines.

NOX (lb/hr) = natural gas usage (mmscf/month)/engine operation (hrs/month)  X EF (lb NOx/mmscf)

Where:

mmscf is million standard cubic feet

EF is an emission factor expressed as pounds of NOx emitted per million cubic feet of gas used as fuel. EF shall be periodically recalculated as more current stack tests become available.  The recalculated EF is subject to approval by the District Supervisor of the AQD.

## Appendix 8-S1.  Reporting

A.  Annual, Semiannual, and Deviation Certification Reporting

The permittee shall use the MDEQ Report Certification form (EQP 5736) and MDEQ Deviation Report form (EQP 5737) for the annual, semiannual and deviation certification reporting referenced in the Reporting Section of the Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Alternative formats must meet the provisions of Rule 213(4)(c) and Rule 213(3)(c)(i), respectively, and be approved by the AQD District Supervisor.

B.  Other Reporting

Specific reporting requirement formats and procedures are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Therefore, Part B of this appendix is not applicable.

# SECTION 2 – BLUE LAKE GAS STORAGE COMPANY

.

# A.  GENERAL CONDITIONS

## Permit Enforceability

- All conditions in this permit are both federally enforceable and state enforceable unless otherwise noted. (R 336.1213(5))

- Those conditions that are hereby incorporated in a state-only enforceable Source-Wide PTI pursuant to Rule 201(2)(d) are designated by footnote one.  (R 336.1213(5)(a), R 336.1214a(5))

- Those conditions that are hereby incorporated in a federally enforceable Source-Wide PTI pursuant to Rule 201(2)(c) are designated by footnote two.  (R 336.1213(5)(b), R 336.1214a(3))

## General Provisions

- The permittee shall comply with all conditions of this ROP.  Any ROP noncompliance constitutes a violation of Act 451, and is grounds for enforcement action, for ROP revocation or revision, or for denial of the renewal of the ROP.  All terms and conditions of this ROP that are designated as federally enforceable are enforceable by the Administrator of the United States Environmental Protection Agency (USEPA) and by citizens under the provisions of the federal Clean Air Act (CAA).  Any terms and conditions based on applicable requirements which are designated as “state-only” are not enforceable by the USEPA or citizens pursuant to the CAA.  (R 336.1213(1)(a))

- It shall not be a defense for the permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this ROP.  (R 336.1213(1)(b))

- This ROP may be modified, revised, or revoked for cause.  The filing of a request by the permittee for a permit modification, revision, or termination, or a notification of planned changes or anticipated noncompliance does not stay any ROP term or condition.  This does not supersede or affect the ability of the permittee to make changes, at the permittee’s own risk, pursuant to Rule 215 and Rule 216.  (R 336.1213(1)(c))

- The permittee shall allow the department, or an authorized representative of the department, upon presentation of credentials and other documents as may be required by law and upon stating the authority for and purpose of the investigation, to perform any of the following activities (R 336.1213(1)(d)):

  - Enter, at reasonable times, a stationary source or other premises where emissions-related activity is conducted or where records must be kept under the conditions of the ROP.

  - Have access to and copy, at reasonable times, any records that must be kept under the conditions of the ROP.

  - Inspect, at reasonable times, any of the following:

    - Any stationary source.

    - Any emission unit.

    - Any equipment, including monitoring and air pollution control equipment.

    - Any work practices or operations regulated or required under the ROP.

  - As authorized by Section 5526 of Act 451, sample or monitor at reasonable times substances or parameters for the purpose of assuring compliance with the ROP or applicable requirements.

- The permittee shall furnish to the department, within a reasonable time, any information the department may request, in writing, to determine whether cause exists for modifying, revising, or revoking the ROP or to determine compliance with this ROP.  Upon request, the permittee shall also furnish to the department copies of any records that are required to be kept as a term or condition of this ROP.  For information which is claimed by the permittee to be confidential, consistent with the requirements of the 1976 PA 442, MCL §15.231 et seq.,

and known as the Freedom of Information Act, the person may also be required to furnish the records directly to the USEPA together with a claim of confidentiality.  (R 336.1213(1)(e))

- A challenge by any person, the Administrator of the USEPA, or the department to a particular condition or a part of this ROP shall not set aside, delay, stay, or in any way affect the applicability or enforceability of any other condition or part of this ROP.  (R 336.1213(1)(f))

- The permittee shall pay fees consistent with the fee schedule and requirements pursuant to Section 5522 of Act 451.  (R 336.1213(1)(g))

- This ROP does not convey any property rights or any exclusive privilege.  (R 336.1213(1)(h))

## Equipment & Design

- Any collected air contaminants shall be removed as necessary to maintain the equipment at the required operating efficiency.  The collection and disposal of air contaminants shall be performed in a manner so as to minimize the introduction of contaminants to the outer air.  Transport of collected air contaminants in Priority I and II areas requires the use of material handling methods specified in Rule 370(2).  (R 336.1370)

- Any air cleaning device shall be installed, maintained, and operated in a satisfactory manner and in accordance with the Michigan Air Pollution Control rules and existing law.  (R 336.1910)

## Emission Limits

- Unless otherwise specified in this ROP, the permittee shall comply with Rule 301, which states, in part, “Except as provided in subrules 2, 3, and 4 of this rule, a person shall not cause or permit to be discharged into the outer air from a process or process equipment a visible emission of a density greater than the most stringent of the following:  (R 336.1301(1))

  - A 6-minute average of 20 percent opacity, except for one 6-minute average per hour of not more than 27 percent opacity.

  - A limit specified by an applicable federal new source performance standard.

The grading of visible emissions shall be determined in accordance with Rule 303.

- The permittee shall not cause or permit the emission of an air contaminant or water vapor in quantities that cause, alone or in reaction with other air contaminants, either of the following:

  - Injurious effects to human health or safety, animal life, plant life of significant economic value, or property.1  (R 336.1901(a))

  - Unreasonable interference with the comfortable enjoyment of life and property.1  (R 336.1901(b))

## Testing/Sampling

- The department may require the owner or operator of any source of an air contaminant to conduct acceptable performance tests, at the owner’s or operator’s expense, in accordance with Rule 1001 and Rule 1003, under any of the conditions listed in Rule 1001(1).  (R 336.2001)

- Any required performance testing shall be conducted in accordance with Rule 1001(2), Rule 1001(3) and Rule 1003.  (R 336.2001(2), R 336.2001(3), R 336.2003(1))

- Any required test results shall be submitted to the Air Quality Division (AQD) in the format prescribed by the applicable reference test method within 60 days following the last date of the test.  (R 336.2001(5))

## Monitoring/Recordkeeping

- Records of any periodic emission or parametric monitoring required in this ROP shall include the following information specified in Rule 213(3)(b)(i), where appropriate  (R 336.1213(3)(b)):

  - The date, location, time, and method of sampling or measurements.

  - The dates the analyses of the samples were performed.

  - The company or entity that performed the analyses of the samples.

  - The analytical techniques or methods used.

  - The results of the analyses.

  - The related process operating conditions or parameters that existed at the time of sampling or measurement.

- All required monitoring data, support information and all reports, including reports of all instances of deviation from permit requirements, shall be kept and furnished to the department upon request for a period of not less than 5 years from the date of the monitoring sample, measurement, report or application.  Support information includes all calibration and maintenance records and all original strip-chart recordings, or other original data records, for continuous monitoring instrumentation and copies of all reports required by the ROP.  (R 336.1213(1)(e), R 336.1213(3)(b)(ii))

## Certification & Reporting

- Except for the alternate certification schedule provided in Rule 213(3)(c)(iii)(B), any document required to be submitted to the department as a term or condition of this ROP shall contain an original certification by a Responsible Official which states that, based on information and belief formed after reasonable inquiry, the statements and information in the document are true, accurate, and complete.  (R 336.1213(3)(c))

- A Responsible Official shall certify to the appropriate AQD District Office and to the USEPA that the stationary source is and has been in compliance with all terms and conditions contained in the ROP except for deviations that have been or are being reported to the appropriate AQD District Office pursuant to Rule 213(3)(c).  This certification shall include all the information specified in Rule 213(4)(c)(i) through (v) and shall state that, based on information and belief formed after reasonable inquiry, the statements and information in the certification are true, accurate, and complete.  The USEPA address is:  USEPA, Air Compliance Data - Michigan, Air and Radiation Division, 77 West Jackson Boulevard, Chicago, Illinois 60604.  (R 336.1213(4)(c))

- The certification of compliance shall be submitted annually for the term of this ROP as detailed in the special conditions, or more frequently if specified in an applicable requirement or in this ROP.  (R 336.1213(4)(c))

- The permittee shall promptly report any deviations from ROP requirements and certify the reports.  The prompt reporting of deviations from ROP requirements is defined in Rule 213(3)(c)(ii) as follows, unless otherwise described in this ROP. (R 336.1213(3)(c))

  - For deviations that exceed the emissions allowed under the ROP, prompt reporting means reporting consistent with the requirements of Rule 912 as detailed in Condition 25.  All reports submitted pursuant to this paragraph shall be promptly certified as specified in Rule 213(3)(c)(iii).

  - For deviations which exceed the emissions allowed under the ROP and which are not reported pursuant to Rule 912 due to the duration of the deviation, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i).  The report shall describe reasons for each deviation and the actions taken to minimize or correct each deviation.

  - For deviations that do not exceed the emissions allowed under the ROP, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i).  The report shall describe the reasons for each deviation and the actions taken to minimize or correct each deviation.

- For reports required pursuant to Rule 213(3)(c)(ii), prompt certification of the reports is described in Rule 213(3)(c)(iii) as either of the following  (R 336.1213(3)(c)):

  - Submitting a certification by a Responsible Official with each report which states that, based on information and belief formed after reasonable inquiry, the statements and information in the report are true, accurate, and complete.

  - Submitting, within 30 days following the end of a calendar month during which one or more prompt reports of deviations from the emissions allowed under the ROP were submitted to the department pursuant to Rule 213(3)(c)(ii), a certification by a Responsible Official which states that, “based on information and belief formed after reasonable inquiry, the statements and information contained in each of the reports submitted during the previous month were true, accurate, and complete”.  The certification shall include a listing of the reports that are being certified.  Any report submitted pursuant to Rule 213(3)(c)(ii) that will be certified on a monthly basis pursuant to this paragraph shall include a statement that certification of the report will be provided within 30 days following the end of the calendar month.

- Semiannually for the term of the ROP as detailed in the special conditions, or more frequently if specified, the permittee shall submit certified reports of any required monitoring to the appropriate AQD District Office.  All instances of deviations from ROP requirements during the reporting period shall be clearly identified in the reports.  (R 336.1213(3)(c)(i))

- On an annual basis, the permittee shall report the actual emissions, or the information necessary to determine the actual emissions, of each regulated air pollutant as defined in Rule 212(6) for each emission unit utilizing the emissions inventory forms provided by the department.  (R 336.1212(6))

- The permittee shall provide notice of an abnormal condition, start-up, shutdown, or malfunction that results in emissions of a hazardous or toxic air pollutant which continue for more than one hour in excess of any applicable standard or limitation, or emissions of any air contaminant continuing for more than two hours in excess of an applicable standard or limitation, as required in Rule 912, to the appropriate AQD District Office.  The notice shall be provided not later than two business days after the start-up, shutdown, or discovery of the abnormal conditions or malfunction.  Notice shall be by any reasonable means, including electronic, telephonic, or oral communication.  Written reports, if required under Rule 912, must be submitted to the appropriate AQD District Supervisor within 10 days after the start-up or shutdown occurred, within 10 days after the abnormal conditions or malfunction has been corrected, or within 30 days of discovery of the abnormal conditions or malfunction, whichever is first.  The written reports shall include all of the information required in Rule 912(5) and shall be certified by a Responsible Official in a manner consistent with the CAA.  (R 336.1912)

## Permit Shield

- Compliance with the conditions of the ROP shall be considered compliance with any applicable requirements as of the date of ROP issuance, if either of the following provisions is satisfied. (R 336.1213(6)(a)(i), R 336.1213(6)(a)(ii))

  - The applicable requirements are included and are specifically identified in the ROP.

  - The permit includes a determination or concise summary of the determination by the department that other specifically identified requirements are not applicable to the stationary source.

Any requirements identified in Part E of this ROP have been identified as non-applicable to this ROP and are included in the permit shield.

- Nothing in this ROP shall alter or affect any of the following:

  - The provisions of Section 303 of the CAA, emergency orders, including the authority of the USEPA under Section 303 of the CAA.  (R 336.1213(6)(b)(i))

  - The liability of the owner or operator of this source for any violation of applicable requirements prior to or at the time of this ROP issuance.  (R 336.1213(6)(b)(ii))

  - The applicable requirements of the acid rain program, consistent with Section 408(a) of the CAA.  (R 336.1213(6)(b)(iii))

  - The ability of the USEPA to obtain information from a source pursuant to Section 114 of the CAA.  (R 336.1213(6)(b)(iv))

- The permit shield shall not apply to provisions incorporated into this ROP through procedures for any of the following:

  - Operational flexibility changes made pursuant to Rule 215.  (R 336.1215(5))

  - Administrative Amendments made pursuant to Rule 216(1)(a)(i)-(iv).  (R 336.1216(1)(b)(iii))

  - Administrative Amendments made pursuant to Rule 216(1)(a)(v) until the amendment has been approved by the department.  (R 336.1216(1)(c)(iii))

  - Minor Permit Modifications made pursuant to Rule 216(2).  (R 336.1216(2)(f))

  - State-Only Modifications made pursuant to Rule 216(4) until the changes have been approved by the department.  (R 336.1216(4)(e))

- Expiration of this ROP results in the loss of the permit shield.  If a timely and administratively complete application for renewal is submitted not more than 18 months, but not less than 6 months, before the expiration date of the ROP, but the department fails to take final action before the end of the ROP term, the existing ROP does not expire until the renewal is issued or denied, and the permit shield shall extend beyond the original ROP term until the department takes final action.  (R 336.1217(1)(c), R 336.1217(1)(a))

## Revisions

- For changes to any process or process equipment covered by this ROP that do not require a revision of the ROP pursuant to Rule 216, the permittee must comply with Rule 215.  (R 336.1215, R 336.1216)

- A change in ownership or operational control of a stationary source covered by this ROP shall be made pursuant to Rule 216(1).  (R 336.1219(2))

- For revisions to this ROP, an administratively complete application shall be considered timely if it is received by the department in accordance with the time frames specified in Rule 216.  (R 336.1210(9))

- Pursuant to Rule 216(1)(b)(iii), Rule 216(2)(d) and Rule 216(4)(d), after a change has been made, and until the department takes final action, the permittee shall comply with both the applicable requirements governing the change and the ROP terms and conditions proposed in the application for the modification.  During this time period, the permittee may choose to not comply with the existing ROP terms and conditions that the application seeks to change.  However, if the permittee fails to comply with the ROP terms and conditions proposed in the application during this time period, the terms and conditions in the ROP are enforceable.  (R 336.1216(1)(c)(iii), R 336.1216(2)(d), R 336.1216(4)(d))

## Reopenings

- A ROP shall be reopened by the department prior to the expiration date and revised by the department under any of the following circumstances:

  - If additional requirements become applicable to this stationary source with three or more years remaining in the term of the ROP, but not if the effective date of the new applicable requirement is later than the ROP expiration date.  (R 336.1217(2)(a)(i))

  - If additional requirements pursuant to Title IV of the CAA become applicable to this stationary source.  (R 336.1217(2)(a)(ii))

  - If the department determines that the ROP contains a material mistake, information required by any applicable requirement was omitted, or inaccurate statements were made in establishing emission limits or the terms or conditions of the ROP.  (R 336.1217(2)(a)(iii))

  - If the department determines that the ROP must be revised to ensure compliance with the applicable requirements.  (R 336.1217(2)(a)(iv))

## Renewals

- For renewal of this ROP, an administratively complete application shall be considered timely if it is received by the department not more than 18 months, but not less than 6 months, before the expiration date of the ROP.  (R 336.1210(7))

## Stratospheric Ozone Protection

- If the permittee is subject to Title 40 of the Code of Federal Regulations (CFR), Part 82 and services, maintains, or repairs appliances except for motor vehicle air conditioners (MVAC), or disposes of appliances containing refrigerant, including MVAC and small appliances, or if the permittee is a refrigerant reclaimer, appliance owner or a manufacturer of appliances or recycling and recovery equipment, the permittee shall comply with all applicable standards for recycling and emissions reduction pursuant to 40 CFR, Part 82, Subpart F.

- If the permittee is subject to 40 CFR, Part 82, and performs a service on motor (fleet) vehicles when this service involves refrigerant in the MVAC, the permittee is subject to all the applicable requirements as specified in 40 CFR, Part 82, Subpart B, Servicing of Motor Vehicle Air Conditioners.  The term “motor vehicle” as used in Subpart B does not include a vehicle in which final assembly of the vehicle has not been completed by the original equipment manufacturer.  The term MVAC as used in Subpart B does not include the air-tight sealed refrigeration system used for refrigerated cargo or an air conditioning system on passenger buses using Hydrochlorofluorocarbon-22 refrigerant.

## Risk Management Plan

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall register and submit to the USEPA the required data related to the risk management plan for reducing the probability of accidental releases of any regulated substances listed pursuant to Section 112(r)(3) of the CAA as amended in 40 CFR, Part 68.130.  The list of substances, threshold quantities, and accident prevention regulations promulgated under 40 CFR, Part 68, do not limit in any way the general duty provisions under Section 112(r)(1).

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall comply with the requirements of 40 CFR, Part 68, no later than the latest of the following dates as provided in 40 CFR, Part 68.10(a):

  - June 21, 1999,

  - Three years after the date on which a regulated substance is first listed under 40 CFR, Part 68.130, or

  - The date on which a regulated substance is first present above a threshold quantity in a process.

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall submit any additional relevant information requested by any regulatory agency necessary to ensure compliance with the requirements of 40 CFR, Part 68.

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall annually certify compliance with all applicable requirements of Section 112(r) as detailed in Rule 213(4)(c)).  (40 CFR, Part 68)

## Emission Trading

- Emission averaging and emission reduction credit trading are allowed pursuant to any applicable interstate or regional emission trading program that has been approved by the Administrator of the USEPA as a part of Michigan’s State Implementation Plan.  Such activities must comply with Rule 215 and Rule 216. (R 336.1213(12))

## Permit To Install (PTI)

- The process or process equipment included in this permit shall not be reconstructed, relocated, or modified unless a PTI authorizing such action is issued by the department, except to the extent such action is exempt from the PTI requirements by any applicable rule. 2  (R 336.1201(1))

- The department may, after notice and opportunity for a hearing, revoke PTI terms or conditions if evidence indicates the process or process equipment is not performing in accordance with the terms and conditions of the PTI or is violating the department’s rules or the CAA. 2  (R 336.1201(8), Section 5510 of Act 451)

- The terms and conditions of a PTI shall apply to any person or legal entity that now or hereafter owns or operates the process or process equipment at the location authorized by the PTI.  If a new owner or operator submits a written request to the department pursuant to Rule 219 and the department approves the request, this PTI will be amended to reflect the change of ownership or operational control.  The request must include all of the information required by Subrules (1)(a), (b) and (c) of Rule 219.  The written request shall be sent to the appropriate AQD District Supervisor, MDEQ. 2  (R 336.1219)

- If the installation, reconstruction, relocation, or modification of the equipment for which PTI terms and conditions have been approved has not commenced within 18 months of the original PTI issuance date, or has been interrupted for 18 months, the applicable terms and conditions from that PTI, as incorporated into the ROP, shall become void unless otherwise authorized by the department.  Furthermore, the person to whom that PTI was issued, or the designated authorized agent, shall notify the department via the Supervisor, Permit Section, MDEQ, AQD, P. O. Box 30260, Lansing, Michigan 48909, if it is decided not to pursue the installation, reconstruction, relocation, or modification of the equipment allowed by the terms and conditions from that PTI. 2  (R 336.1201(4))

Footnotes:

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# B.  SOURCE-WIDE CONDITIONS

Part B outlines the Source-Wide Terms and Conditions that apply to this stationary source.  The permittee is subject to these special conditions for the stationary source in addition to the general conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited.  If a specific condition type does not apply to this source, NA (not applicable) has been used in the table.  If there are no Source-Wide Conditions, this section will be left blank.

# C.  EMISSION UNIT CONDITIONS

Part C outlines terms and conditions that are specific to individual emission units listed in the Emission Unit Summary Table.  The permittee is subject to the special conditions for each emission unit in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited.  If a specific condition type does not apply, NA (not applicable) has been used in the table.  If there are no conditions specific to individual emission units, this section will be left blank.

## EMISSION UNIT SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| Emission Unit ID | Emission Unit Description (Including Process Equipment & Control Device(s)) | Installation Date/ Modification Date | Flexible Group ID |
| --- | --- | --- | --- |
| EU BLGLYDHY | The glycol dehydration system operates in two modes (glycol injection and glycol absorption) to remove water from the natural gas withdrawn from the storage reservoir. The glycol dehydrator has a condenser and a thermal oxidizer as control devices. | 04/27/1994 | NA |
| EU BLHHH | 40 CFR, Part 63, Subpart HHH establishes national emission limitations and operating limitations for natural gas transmission and storage facilities that are major sources of HAP emissions. The rule affects facilities that transport or store natural gas prior to entering the pipeline to a local distribution company or to a final user. Subpart HHH is applicable to EU BLGLYDHY. The glycol dehydrator has the option of using a condenser and/or thermal oxidizer to comply with this regulation. | 10/15/15 Compliance date | NA |
| EU BLHEATER-A | A natural gas-fired Sivalls 16 MMBtu/hr indirect gas withdrawal heater. The emission unit does not have a control device. | 04/27/1994 | FG BLDDDDD |
| EU BLHEATER-B | A natural gas-fired Sivalls 16 MMBtu/hr indirect gas withdrawal heater. The emission unit does not have a control device. | 04/27/1994 | FG BLDDDDD |
| EU BLBOILER | A natural gas-fired Cleaver-Brooks 4.184 MMBtu/hr boiler used for building and comfort heating throughout the facility. The emission unit does not have a control device. | Before 6/4/2010 | FG BLDDDDD |
| EU BLCMPR-A | A natural gas-fired, 6,000, HP 2-stroke lean burn Dresser Rand TCVD-12 compressor engine used to compress natural gas into the storage reservoir during injection, and into the pipeline during withdrawal. Emission control includes a clean burn combustion system on the compressor engine. | 04/27/1994 | FG BLCMPRS |
| EU BLCMPR-B | A natural gas-fired, 6,000, HP 2-stroke lean burn Dresser Rand TCVD-12 compressor engine used to compress natural gas into the storage reservoir during injection, and into the pipeline during withdrawal. Emission control includes a clean burn combustion system on the compressor engine. | 04/27/1994 | FG BLCMPRS |
| EU BLCMPR-C | A natural gas-fired, 6,000 HP 2-stroke lean burn Dresser Rand TCVD-12 compressor engine used to compress natural gas into the storage reservoir during injection and into the pipeline during withdrawal. Emission control includes a clean burn combustion system on the compressor engine. | 04/27/1994 | FG BLCMPRS |
| EU BLGEN-A | A natural gas-fired 1,125 HP, 4-stroke lean burn Caterpillar 3516 generator engine used to provide primary power to the compressor station in the event of a power outage, and can produce a maximum of 800 KW of energy. The emission unit uses a catalyst as a control device. | 04/27/1994 | FG BLGENS |
| EU BLGEN-B | A natural gas-fired 1,125 HP, 4-stroke lean burn Caterpillar 3516 generator engine used to provide primary power to the compressor station in the event of a power outage, and can produce a maximum of 800 KW of energy. The emission unit uses a catalyst as a control device. | 04/27/1994 | FG BLGENS |
| EU BLGEN-C | A natural gas-fired 1,125 HP, 4-stroke lean burn Caterpillar 3516 generator engine used to provide primary power to the compressor station in the event of a power outage, and can produce a maximum of 800 KW of energy. The emission unit uses a catalyst as a control device. | 04/27/1994 | FG BLGENS |
| EU BLCLEANER | Any parts washer/cold cleaner that is grandfathered or exempt from Rule 201 pursuant to Rule 278 and Rule 281(h) or Rule 285(r)(iv). Existing cold cleaners where placed into operation prior to July 1, 1979. New cold cleaners were placed into operation on or after July 1, 1979. | 04/27/1994 | FG BLCLEANERS |

## EU BLGLYDHY

EMISSION UNIT CONDITIONS

DESCRIPTION

The glycol dehydration system can operate in two modes.  Glycol injection occurs when a process called low temperature separation is used to remove liquids from the gas stream.  Di-ethylene glycol (DEG) is injected into the gas stream and mixes with the liquids to prevent freezing during low temperature separation.  Glycol absorption is used when low temperature separation does not adequately remove the liquids from the gas stream.  DEG is circulated through a contactor tower countercurrent to the gas stream.  The DEG absorbs the liquid from the gas stream during the glycol absorption process.  During both modes of operation, the glycol enriched gas stream liquid is regenerated in a reboiler for continual use.

POLLUTION CONTROL EQUIPMENT Condenser and thermal oxidizer.

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| - Benzene | Less than one tpy.2 | 12 month rolling time period as determined at the end of each calendar month. | EU BLGLYDHY | V.1, VI.1, VI.3, VI.4 | R 336.1205(1), R 336.1702(a), R 336.1901 17-07A EUBLGLYREG-S2, I.1 |
| - VOC | 28 lbs/day2 |  | EU BLGLYDHY | V.1, VI.2, VI.3, VI.4 | R 336.1205(1), R 336.1702(a), R 336.1901) 17-07A EUBLGLYREG-S2, I.2 |
| - VOC | 5 tpy2 | 12 month rolling time period as determined at the end of each calendar month. | EU BLGLYDHY | V.1, VI.1, VI.3, VI.4 | R 336.1205(1), R 336.1702(a), R 336.1901 17-07A EUBLGLYREG-S2, I.2 |

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S

- The permittee shall not use stripping gas in EU BLGLYDHY.2  (R 336.1205(1), R 336.1702(a), R 336.1901) 17-07 EUBLGLYREG-S2 III.6; 4-01 EGLGLYREG II.1

- The permittee shall not operate EU BLGLYDHY unless the glycol flash tank is installed and operating properly.  A properly operating flash tank will volatilize organic compounds out of the rich glycol stream and route them to the re-boiler burner or thermal oxidizer for destruction.2  (R 336.1205(1), R 336.1702(a), R 336.1901) 
17-07 EUBLGLYREG-S2 III.; 4-01 EGLGLYREG V.1

- Except as provided in the condition below, the permittee shall not operate EU BLGLYDHY unless the thermal oxidizer is installed and operating properly.  Proper operation includes but is not limited to maintaining a minimum operating temperature of 1400°F, a minimum residence time of 0.5 seconds, and a VOC destruction

efficiency of at least 95 percent by weight.2  (R 336.1205(1), R 336.1702(a), R 336.1901) 
17-07 EUBLGLYREG-S2 III.2; 4-01 EGLGLYREG I.C.1, V.2

- If the thermal oxidizer malfunctions, the permittee may operate EU BLGLYDHY provided the condenser is installed and operating properly.  Proper operation includes maintaining a maximum condenser exhaust gas temperature of 80°F.2  (R 336.1205(1), R 336.1702(a), R 336.1901) 17-07 EUBLGLYREG-S2 III.3; 4-01 EGLGLYREG I.C.2, V.3

- Sweet natural gas shall be the only fuel supplied to and fired in EU BLGLYDHY. Sweet gas is defined as any gas containing no more than 1 grain of hydrogen sulfide or 10 grains of total sulfur per 100 standard cubic feet.  However, the permittee may also incinerate emissions from the glycol flash tank in the glycol reboiler burner.2  (R 336.1119(i) and (dd)) 17-07 EUBLGLYREG-S2 III.4

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- EU BLGLYDHY shall be equipped with a thermal oxidizer.2 (R 336.1702(a)) 
17-07 EUBLGLYREG-S2 IV. 1; 4-01 EGLGLYREG I.C.1

- EU BLGLYDHY shall be equipped with a condenser.2 (R 336.1702(a)) 
17-07 EUBLGLYREG-S2 IV. 2; 4-01 EGLGLYREG I.C.2

- EU BLGLYDHY shall be equipped with a flash tank.  (R 336.1702(a)) 
17-07 EUBLGLYREG-S2 IV. 3

- EU BLGLYDHY thermal oxidizer and condenser shall each be equipped with working temperature monitors to continuously monitor the thermal oxidizer and condenser operating temperatures.2  (R 336.1702(a), R 336.1213(3)) 
17-07 EUBLGLYREG-S2 IV.4; 4-01 EGLGLYREG I.C.4 & 5

- EU BLGLYDHY thermal oxidizer and condenser temperature monitor systems shall each be designed and equipped with alarm systems that will alarm if the operating temperature is less than 1400°F for the thermal oxidizer and greater than 80°F for the condenser.2  (R 336.1702(a), R 336.1213(3)) 
17-07 EUBLGLYREG-S2 IV.5

- The maximum flow rate from the glycol pump shall not exceed 60 gallons per minute.2 (R 336.1205(1), R 336.1702(a), R 336.1901)  17-07 EUBLGLYREG-S2 III.6; 4-01EGLGLYREG V.4

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.2 (R 336.1213(3)(b)(ii))

- Once every five years the permittee shall analyze the pre-dehydration natural gas processed in EU BLGLYDHY to determine its VOC content and composition. The VOC composition of the natural gas shall be determined by a method or methods standard in the natural gas industry, subject to approval by the AQD.2  (R 336.1213(3)(a)) 17-07A EUBLGLYREG-S2 V.1

- Once every five years the permittee shall analyze the sweet natural gas fuel supplied to and fired in EU BLGLYDHY for grains of hydrogen sulfide or grains of total sulfur per 100 standard cubic feet.2  
(R 336.1119(i) and (dd))  17-07A EUBLGLYREG-S2 III.4

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.2 (R 336.1213(3)(b)(ii))

- The permittee shall calculate and record, in a satisfactory manner, monthly and 12–month rolling time period Benzene and VOC emissions in tons from EU BLGLYDHY.  The emissions calculations shall be available to the AQD upon request by the 15th of the following month.2  (R 336.1205(1), R 336.1702(a), R 333.1901)  17-07A EUBLGLYREG-S2, VI.8 & 10; 4-01 EGLGLYREG III.B.3.3

- The permittee shall calculate and record, in a satisfactory manner, VOC emissions in pounds per calendar day from EU CS12GLYDHY.  The emissions calculations shall be available to the AQD upon request by the 15th of the following month.2  (R 336.1205(1), R 336.1702(a), R 333.1901) 17-07A EUBLGLYREG-S2, VI.7; 4-01 EGLGLYREG III.B.3.2

- The permittee may calculate the Benzene and VOC emissions from EU BLGLYDHY by using the GRI-GLYCalc (tm) computer model, version 3.0 or later or other method acceptable to the AQD District Supervisor.  Inputs to the model shall be representative of actual operating conditions of EU BLGLYDHY.2  (R 336.1205(1), R 336.1702(a), R 333.1901) 17-07A EUBLGLYREG-S2, VI.9 & 11; 4-01 EGLGLYREG III.B.2.2

- The permittee shall recalculate the Benzene and VOC emissions each time the natural gas is analyzed to determine its VOC and Benzene content.2  (R 336.1205(1), R 336.1702(a), R 333.1901) 17-07A EUBLGLYREG-S2, VI.12; 4-01 EGLGLYREG III.B.2.2

- When EU BLGLYDHY is operating, the permittee shall continuously monitor, and record daily, the temperature of the condenser and thermal oxidizer.2  (R 336.1205(1), R 336.1702(a), R 336.1901) 17-07A EUBLGLYREG-S2; 4-01 EGLGLYREG III.A.3.1 & 2

- The permittee shall monitor and record the alarm events actuated because the temperature limit of the condenser or thermal oxidizer was not met.  The permittee shall record the action taken in response to an alarm event.    (R 336.1702(a)) 17-07A EUBLGLYREG-S2 VI.1

- The permittee shall maintain, in a manner acceptable to the AQD, calculations showing VOC destruction efficiency of the thermal oxidizer is at least 95 percent by weight.2  (R 336.1205(1), R 336.1702(a), R 336.1901) 17-07A EUBLGLYREG-S2 VI.3; 4-01 22, EGLGLYREG III.A.3.3

- The permittee shall monitor and record the amount of natural gas processed through EU BLGLYDHY for each calendar day EU BLGLYDHY operates.2  (R 336.1205(1), R 336.1702(a), R 336.1901) 17-07A EUBLGLYREG-S2, VI.4; 4-01 EGLGLYREG III.A.3.6

- Each calendar day EU BLGLYDHY operates, the permittee shall monitor and record the total hours of operation of EU BLGLYDHY.2 (R 336.1205(1), R 336.1702(a), R 336.1901) 17-07A EUBLGLYREG-S2, VI. 5; 4-01 EGLGLYREG III.A.3.4

- The permittee shall monitor and record the number of hours EU BLGLYDHY operated with the condenser only.2 (R 336.1205(1), R 336.1702(a), R 336.1901) 17-07A EUBLGLYREG-S2 VI. 6; 4-01 EGLGLYREG III.A.3.5

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- The permittee shall submit a complete analysis plan to the AQD District Supervisor for approval at least 30 days prior to the anticipated analysis date.  (R 336.1205, R 336.1119(i) and (dd))

- The permittee shall submit a complete report of the analysis results to the AQD District Supervisor, within 60 days following the last date of the test. (R 336.1205, R 336.1119(i) and (dd))

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| - SV-110 (Reboiler Dehydrator) | 161 | 32.81 | R 336.1901 17-07A EUBLGLYREG-S2 VIII.1 |
| - SV-111C (Condenser) | 3.61 | 251 | R 336.1901 17-07A EUBLGLYREG-S2 VIII.2 |
| - SV-111TI (Thermal Oxidizer) | NA | 251 | R 336.1901 17-07A EUBLGLYREG-S2 VIII.3 |

IX.  OTHER REQUIREMENT(S)

NA

Footnotes:

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EU BLHHH

EMISSION UNIT CONDITIONS

DESCRIPTION

One glycol dehydration system operates in two modes (glycol injection and glycol absorption) to remove water from the natural gas withdrawn from the storage reservoir.  The glycol dehydration system meets the definition in 40 CFR 63.1271 and was constructed prior to August 23, 2011 and must attain compliance with the requirements in 40 CFR, Part 63, Subpart HHH by October 15, 2015.

Emission Units:  EU BLGLYDHY

POLLUTION CONTROL EQUIPMENT  Condenser and/or Thermal Oxidizer.

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| 1. BTEX | Calculated using the equation in Appendix 7A. | Annual | EU BLGLYDHY | V.2, V.4, V.5, VI.9 | 40 CFR 63.1275(b)(1)(iii) |

See Appendix 7A

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The process vent from EU BLHHH shall be vented to a control device or a combination of control devices through a closed-vent system.  (40 CFR 63.1275(b)(1)(iii)(A))

- The control device(s) shall be one of those specified below and must be designed and operated in accordance with the following requirements:  (40 CFR 63.1281(f)(1))

- A thermal oxidizer that reduces the concentration of BTEX to meet the emission limit in I.1, or the TOC or total HAP concentration in the exhaust gases at the outlet of the oxidizer is reduced to a level equal to or less than 20 ppmv on a dry basis corrected to 3 percent oxygen.

- A condenser or other non-destructive control device that is designed and operated to reduce the mass content of BTEX in the gases vented by 95 percent.

- The permittee shall control HAP emissions from each GCG separator (flash tank) vent unless BTEX emissions from the reboiler vent and the flash tank are reduced to a level less than the limit in condition I.1.  (40 CFR 63.1275(c)(3))

- The permittee shall operate and maintain EU BLGLYDHY, including associated air pollution control equipment and monitoring equipment, in a manner consistent with safety and good air pollution control practices for minimizing emissions. (40 CFR 63.1274(h))

- The permittee shall operate each control device in accordance with the requirements specified below:

(40 CFR 63.1281(f)(2))

- Each control device used to comply with this subpart shall be operating at all times.  More than one unit may be vented to a control device.

- For each control device monitored in accordance with the requirements of conditions VI.8 - 13, the permittee shall demonstrate compliance according to the requirements of VI.2 (§ 63.1282(e)).

- When using a condenser to demonstrate continuous compliance with emission limits the control device shall be operated at a maximum operating temperature established in accordance with the requirements of VI.8. When using a thermal oxidizer to demonstrate continuous compliance with emission limits the control device shall be operated at the minimum operating temperature established in accordance with the requirements of VI.8 or a minimum of 1400°F. (40 CFR 63.1282(e)(1))

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- The closed vent system shall be designed and operated in accordance with the following requirements:  (40 CFR 63.1281(c), 40 CFR 63.1283(c)(2)(iii))

  - The closed-vent system shall route all gases, vapors, and fumes emitted from the material in and emission unit to a control device that meets the requirements specified in condition III.2.

  - The closed-vent system shall be designed and operated with no detectable emissions.

  - Any bypass devices in the closed-vent system that could divert emissions from entering the control device shall be equipped with a flow indicator at the inlet to the bypass device that takes readings every 15 minutes, and that sounds an alarm when the bypass device is open; or the bypass device valve at the inlet to the bypass device shall be secured using a car-seal or lock and key.

- Each continuous parameter monitoring system  (CPMS) shall meet the following specifications and requirements: (40 CFR 63.1283(d)(1))

- Each CPMS shall measure data values at least once every hour and record either:

    - Each measured data value; or

    - Each block average value for each 1-hour period or shorter periods calculated from all measured data values during each period. If values are measured more frequently than once per minute, a single value for each minute may be used to calculate the hourly (or shorter period) block average instead of all measured values.

- The permittee shall install a device equipped with a continuous recorder to measure the values of operating parameters appropriate for the control device as specified below.  (40 CFR 63.1283(d)(3))

- For a thermal oxidizer, the temperature monitoring device shall have a minimum accuracy of ±2 percent of the temperature being monitored in °C, or ±2.5°C, whichever value is greater.  The temperature sensor shall be installed at a location representative of the combustion zone temperature

- For a condenser, the temperature monitoring device shall have a minimum accuracy of ±2 percent of the temperature being monitored in °C, or ±2.5°C, whichever value is greater.  The temperature sensor shall be installed at a location in the exhaust vent stream from the condenser.

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- Determination of the actual flow rate of natural gas to EU BLGLYDHY shall be made using either of the following procedures:  (40 CFR 63.1282(a)(1))

- Install and operate a monitoring instrument that directly measures natural gas flow rate to EU BLGLYDHY with an accuracy of ± 2 percent or better.  The annual natural gas flow rate shall be converted to a daily average by dividing the annual flow rate by the number of days per year each EU processed natural gas.

- Document to the AQD’s satisfaction, the actual annual average natural gas flow rate to EU BLGLYDHY.

- Determination of the actual average BTEX emissions from EU BLGLYDHY with condenser and/or thermal oxidizer control device shall be made using the following procedure:  (40 CFR 63.1282(a)(2))

- Use GRI-GLYCalc™, Version 3.0 or higher.  Inputs to the model shall be representative of actual operating conditions of each glycol dehydration unit.

3.	The Permittee shall perform “no detectable emissions” testing for closed vent systems using the test methods and procedures specified in 40 CFR 63.1282(b).  (40 CFR 63.1282(b))

- If the permittee chooses to conduct a performance test to demonstrate that a control device meets the requirements of III.2 (40 CFR 1281(f)(1)) the permittee shall conduct emissions testing for compliance with the BTEX emission limit calculated using Equation 1 or the 20 ppmv TOC or Total HAP exhaust gas concentration reduction requirement using the following test methods and procedures:  (40 CFR 63.1282(d)(3)

a.	Method 1 or 1A, 40 CFR, Part 60, Appendix A, as appropriate, shall be used for selection of the sampling sites. The sampling site shall be located at the outlet of the combustion device.

b.	The gas volumetric flowrate shall be determined using Method 2, 2A, 2C, or 2D, 40 CFR, Part 60, Appendix A, as appropriate.

c.	To determine compliance with the BTEX emission limit or the 20 ppmv TOC or Total HAP exhaust gas concentration reduction requirement, the permittee shall use one of the following methods: Method 18, 40 CFR, Part 60, Appendix A; ASTM D64200-99 (Reapproved 2004); or any other method or data that have been validated according to the applicable procedures in Method 301, 40 CFR, Part 63, Appendix A.

d.	The permittee shall conduct performance tests according to the following schedule:

i.	An initial performance test shall be conducted no later than October 15, 2015.

ii.	The first periodic performance test shall be conducted not later than 60 months after the initial performance test. Subsequent periodic performance tests shall be conducted at intervals no longer than 60 months following the previous periodic performance test or whenever a source desires to establish a new operating limit. Combustion control devices meeting either of the following criteria are not required to conduct periodic performance tests;

      - A control device whose model is tested under, and meets the criteria of manufacturers performance test in 40 CFR 63.1282(g).

      - A combustion control device demonstrating during the performance test that combustion zone temperature is an indicator of destruction efficiency and operates at a minimum temperature of 1400 degrees Fahrenheit.

5.	As an alternative to the performance test referenced in V.4 the permittee may elect to use the procedures documented in the GRI report entitled “Atmospheric Rich/Lean method for Determining Glycol Dehydrator Emissions” (GRI-95/0368.1) as inputs for the model GRI-GLYCalc™, version 3.0 or higher, to generate a condenser performance curve. (40 CFR 63.1282(d)(5))

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

1.	The permittee shall maintain records of the annual facility natural gas throughput each year.

(40 CFR 63.1270(a)(3))

- The permittee shall continuously monitor and record the temperature on the thermal oxidizer or condenser and calculate the daily average temperature for each operating day.  (40 CFR 63.1282(e), 40 CFR 63.1283(d)(4))

  - Establish a site specific maximum (condenser) or minimum (thermal oxidizer) temperature to define the conditions at which the control device must be operated to continuously achieve compliance with the emission limit.

  - Calculate the daily average of the temperature readings in accordance with condition VI.8.

  - Compliance is achieved when the daily average of the temperature readings calculated under 2.b. is either equal to or greater than the minimum or equal to or less than the maximum monitoring value established under 2.a.

- When using a condenser as the control device the permittee may demonstrate compliance with BTEX emission reductions by complying with the following requirements:  (40 CFR 63.1282(f))

a.	The permittee shall establish a site-specific condenser performance curve according to the procedures specified in Condition VI.10.

b.	The permittee must calculate the daily average condenser outlet temperature in accordance with Condition VI.10.

c.	The permittee shall determine the condenser efficiency for the current operating day using the daily average condenser outlet temperature and the condenser performance curve.

- At the end of each operating day the permittee shall calculate the 30-day average BTEX emission reduction from the condenser efficiencies for the preceding 30 operating days.

- Compliance is achieved if the average BTEX emission reduction is equal to or greater than the minimum percent reduction established in Condition VI.10.

4.	For each closed-vent system, the permittee shall comply with the following requirements:

(40 CFR 63.1283(c)(2-4))

- Except for parts of the closed-vent system or cover that are designated unsafe to inspect or difficult to inspect, each closed-vent system and each bypass device shall be inspected according to the procedures specified below according the following schedule:

    - For each closed-vent system joints, seams, or other connections that are permanently or semi-permanently sealed (e.g., a welded joint between two sections of hard piping or a bolted or gasketed ducting flange):

      - Conduct an initial inspection to demonstrate that the closed-vent system operates with no detectable emissions.

      - Conduct annual visual inspections for defects that could result in air emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in piping; loose connections; or broken or missing caps or other closure devices.

- For closed-vent system components other than those specified in VI.5.a.i above:

- Conduct an initial inspection to demonstrate that the closed-vent system operates with no detectable emissions.

- Conduct annual inspections to demonstrate that the components or connections operate with no detectable emissions.

- Conduct annual visual inspections for defects that could result in air emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in ductwork; loose connections; or broken or missing caps or other closure devices.

- For each bypass device, except low leg drains, high point bleeds, analyzer vents, open-ended valves or lines, and safety devices, the permittee shall either:

- At the inlet to the bypass device that could divert the steam away from the control device to the atmosphere, set the flow indicator to take a reading at least once every 15 minutes; or

- If the bypass device valve installed at the inlet to the bypass device is secured in the non-diverting position using a car-seal or a lock-and-key type configuration, visually inspect the seal or closure mechanism at least once every month to verify that the valve is maintained in the non-diverting position and the vent stream is not diverted through the bypass device.

- In the event that a leak or defect is detected, the permittee shall repair the leak or defect as soon as practicable, except as provided in VI.5.c.

- A first attempt at repair shall be made no later than 5 calendar days after the leak is detected.

- Repair shall be completed no later than 15 calendar days after the leak is detected.

- Delay of repair of a closed-vent system for which leaks or defects have been detected is allowed if the repair is technically infeasible without a shutdown, as defined in § 63.1271, or if the permittee determines that emissions resulting from immediate repair would be greater than the fugitive emissions likely to result from delay of repair.  Repair of such equipment shall be completed by the end of the next shutdown.

- Any parts of the closed-vent system or cover that are designated, as described below, as unsafe to inspect are exempt from the inspection requirements of Condition VI.5 if:  (40 CFR 63.1283(c)(5))

a.	The permittee determines that the equipment is unsafe to inspect because inspecting personnel would be exposed to an imminent or potential danger as a consequence of complying with Condition VI.5.a.i or ii.

b.	The permittee has a written plan that requires inspection of the equipment as frequently as practicable during safe-to-inspect times.

6.	Any parts of the closed-vent system or cover that are designated, as described below, as difficult to inspect are exempt from the inspection requirements of Condition VI.5 if:  (40 CFR 63.1283(c)(6))

a.	The permittee determines that the equipment cannot be inspected without elevating the inspecting personnel more than 2 meters above a support surface; and

b.	The permittee has a written plan that requires inspection of the equipment at least once every 5 years.

7. 	Using the data recorded by the monitoring system, except for inlet gas flow rate, the permittee must calculate the daily average value for each monitored operating parameter for each operating day. If the emissions unit operation is continuous, the operating day is a 24-hour period. If the emissions unit operation is not continuous, the operating day is the total number of hours of control device operation per 24-hour period. Valid data points must be available for 75 percent of the operating hours in an operating day to compute the daily average.

(40 CFR 63.1283(d)(4))

- For the control devices used to comply with 40 CFR, Part 63, Subpart HHH, the permittee shall establish a minimum operating parameter value or a maximum operating parameter value, as appropriate for the control device, to define the conditions at which the control device must be operated to continuously achieve the emission limits in Section I of FGMACTHHH.  Each minimum or maximum operating parameter value shall be established as follows:  (40 CFR 63.1283(d)(5)(i))

  - If the permittee conducts performance tests to demonstrate that the control device achieves the applicable performance requirements, then the minimum operating parameter value or the maximum operating parameter value shall be established based on values measured during the performance test and supplemented, as necessary, by a condenser design analysis or control device manufacturer's recommendations or a combination of both.

  - If the permittee uses a condenser design analysis to demonstrate that the control device achieves the applicable performance requirements, then the minimum operating parameter value or the maximum operating parameter value shall be established based on the condenser design analysis and may be supplemented by the condenser manufacturer's recommendations.

  - If the permittee operates a control device where the performance test requirement was met under manufacturers’ performance test to demonstrate that the control device achieves the applicable performance requirements, then the maximum inlet gas flow rate shall be established based on the performance test and supplemented, as necessary, by the manufacturer recommendations.

- When using condensers as the control device the permittee shall also establish a condenser performance curve showing the relationship between condenser outlet temperature and condenser control efficiency.  The curve shall be established using the procedures documented in the GRI report entitled, “Atmospheric Rich/Lean Method for Determining Glycol Dehydrator Emissions” (GRI-95/0368.1) as inputs for the model GRI-GLYCalctm, Version 3.0 or higher, to generate a condenser performance curve.

(40 CFR 63.1283(d)(5)(ii))

- A deviation for a control device is determined to have occurred when the monitoring data or lack of monitoring data result in any one of the criteria specified below being met.  When multiple operating parameters are monitored for the same control device and during the same operating day, and more than one of these operating parameters meets an excursion criterion specified below, then a single excursion is determined to have occurred for the control device for that operating day.  (40 CFR 63.1283(d)(6)(i-iii))

- When the daily average value of a monitored operating parameter is less than the minimum operating parameter limit (or, if applicable, greater than the maximum operating parameter limit) established for the operating parameter.

- When the 30-day average condenser efficiency calculated according to the requirements of Condition VI.3.d is less than the identified 30-day required percent reduction.

- When the monitoring data are not available for at least 75 percent of the operating hours in a day.

- A deviation occurs for a closed-vent system containing one or more bypass devices that could be used to divert all or a portion of the gases, vapors, or fumes from entering the control device when:

(40 CFR 63.1283(d)(6)(iv))

a.	The flow indicator indicates that flow has been detected and that the stream has been diverted away from the control device to the atmosphere.

b.	If the seal or closure mechanism has been broken, the bypass line valve position has a changed, the key for the lock-and-key type lock has been checked out, or the car-seal has broken.

- For each deviation, the permittee shall be deemed to have failed to have applied control in a manner that achieves the required operating parameter limits. Failure to achieve the required operating parameter limits is a violation of this standard.  (40 CFR 63.1283(d)(7))

- Nothing in conditions VI.8 through VI.13 shall be construed to allow or excuse a monitoring parameter deviation caused by any activity that violates other applicable provisions of this subpart.

(40 CFR 63.1283(d)(9))

- The permittee shall maintain the records specified in 40 CFR 63.10(b)(2). (40 CFR 63.1284(b)(2))

- The permittee shall maintain the following records:  (40 CFR 63.1284(b)(4), 40 CFR 63.1284(g))

  - Continuous records of the equipment operating parameters specified to be monitored in Conditions VI.8-10.

  - Records of the daily average value of each continuously monitored parameter for each operating day determined according to the procedures specified in Condition VI.8.

  - For condensers using reduction efficiency for compliance, records of the annual 30-day rolling average condenser efficiency determined in Condition VI.3.d shall be kept in addition to the daily averages.

  - The following records for a control device whose model is tested under the manufacturers’ performance test:

    - All visible emission readings and flow rate calculations made during the compliance determination

    - All hourly records and other recorded periods when the pilot flame is absent.

  - Hourly records of the times and durations of all periods when the vent stream is diverted from the control device or the device is not operating.

  - Where a seal or closure mechanism is used to comply with the closed vent bypass, hourly records of flow are not required. In such cases, the owner or operator shall record that the monthly visual inspection of the seals or closure mechanism has been done, and shall record the duration of all periods when the seal mechanism is broken, the bypass line valve position has changed, or the key for a lock-and-key type lock has been checked out, and records of any car-seal that has broken.

- The permittee shall maintain records identifying all parts of the closed-vent system that are designated as unsafe to inspect in accordance with Condition VI.6, an explanation of why the equipment is unsafe to inspect, and the plan for inspecting the equipment.  (40 CFR 63.1284(b)(5))

- The permittee shall maintain records identifying all parts of the closed-vent system that are designated as difficult to inspect in accordance with Condition VI.7, an explanation of why the equipment is difficult to inspect, and the plan for inspecting the equipment.  (40 CFR 63.1284(b)(6))

- The permittee shall maintain the following records for each inspection conducted in accordance with Condition VI.5 during which a leak or defect is detected.  (40 CFR 63.1284(b)(7))

  - The instrument identification numbers, operator name or initials, and identification of the equipment.

  - The date the leak or defect was detected and the date of the first attempt to repair the leak or defect.

  - Maximum instrument reading measured by the method specified in Condition V.3 after the leak or defect is successfully repaired or determined to be non-repairable.

  - “Repair delayed” and the reason for the delay if a leak or defect is not repaired within 15 calendar days after discovery of the leak or defect.

  - The name, initials, or other form of identification of the permittee (or designee) whose decision it was that repair could not be affected without a shutdown.

  - The expected date of successful repair of the leak or defect if a leak or defect is not repaired within 15 calendar days.

  - Dates of shutdowns that occur while the equipment is unrepaired.

  - The date of successful repair of the leak or defect.

- For each inspection conducted in accordance with Condition VI.5 during which no leaks or defects are detected, the permittee shall maintain a record that the inspection was performed, the date of the inspection, and a statement that no leaks or defects were detected.  (40 CFR 63.1284(b)(8))

- The permittee shall maintain records of the occurrence and duration of each malfunction of process equipment or the air pollution control equipment and monitoring equipment.  The permittee shall maintain records of actions taken during periods of malfunction to minimize emissions in accordance with Condition III.4 including corrective actions to restore malfunctioning process and air pollution control and monitoring equipment to its normal or usual manner of operation.  (40 CFR 63.1284(f))

VII.  REPORTING

1.	Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

2.	Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

3.	Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

4.	The permittee shall submit the notification of the planned date of a performance test and site–specific test plan at least 60 days before the test. (40 CFR 63.1285(b)(3))

5.	The permittee shall submit a Notification of Compliance Status Report as required under § 63.9(h) within 180 days after October 15, 2015. In addition to the information required under § 63.9(h) the Notification of Compliance Status Report shall include the information specified in paragraphs 5.a. through l. of this section. If an owner or operator submits the required information at different times, and/or different submittals, subsequent submittals may refer to previous submittals instead of duplicating and resubmitting the previously submitted information. (40 CFR 63.1285(d))

a.	If a closed-vent system and a control device other than a flare are used to comply with § 63.1274, the owner or operator shall submit the information in condition 5.a.iii. and the information in either paragraph 5.a.i. or ii.

i.	The condenser design analysis documentation specified in § 63.1282(d)(4) if the owner or operator elects to prepare a design analysis; or

ii.	If the owner or operator is required to conduct a performance test, the performance test results including the information specified in condition 5.a.ii.A and B. Results of a performance test conducted prior to the compliance date of this subpart can be used provided that the test was conducted using the methods specified in § 63.1282(d)(3), and that the test conditions are representative of current operating conditions. If the owner or operator operates a combustion control device model tested under § 63.1282(g), an electronic copy of the performance test results shall be submitted via email to Oil_and_Gas_PT@EPA.GOV unless the test results for that model of combustion control device are posted at the following Web site: epa.gov/airquality/oilandgas/ .

A. 	The percent reduction of HAP or TOC, or the outlet concentration of HAP or TOC (parts per million by volume on a dry basis), determined as specified in § 63.1282(d)(3); and

B. 	The value of the monitored parameters specified in § 63.1283(d), or a site-specific parameter approved by the permitting agency, averaged over the full period of the performance test.

iii.	The results of the closed-vent system initial inspections performed according to the requirements in § 63.1283(c)(2)(i) and (ii).

b.	The owner or operator shall submit one complete test report for each test method used for a particular source.

i.	For additional tests performed using the same test method, the results specified in Condition 5.a.ii. shall be submitted, but a complete test report is not required.

ii.	A complete test report shall include a sampling site description, description of sampling and analysis procedures and any modifications to standard procedures, quality assurance procedures, record of operating conditions during the test, record of preparation of standards, record of calibrations, raw data sheets for field sampling, raw data sheets for field and laboratory analyses, documentation of calculations, and any other information required by the test method.

c.	For each control device other than a flare used to meet the requirements of § 63.1274, the owner or operator shall submit the information specified in Condition 5.d.i. through iv for each operating parameter required to be monitored in accordance with the requirements of § 63.1283(d).

i.	The minimum operating parameter value or maximum operating parameter value, as appropriate for the control device, established by the owner or operator to define the conditions at which the control device must be operated to continuously achieve the applicable performance requirements of § 63.1281(d)(1) or (e)(3)(ii).

ii.	An explanation of the rationale for why the owner or operator selected each of the operating parameter values established in § 63.1283(d)(5). This explanation shall include any data and calculations used to develop the value, and a description of why the chosen value indicates that the control device is operating in accordance with the applicable requirements of § 63.1281(d)(1), (e)(3)(ii), or (f)(1).

iii.	A definition of the source's operating day for purposes of determining daily average values of monitored parameters. The definition shall specify the times at which an operating day begins and ends.

d.	Results of any continuous monitoring system performance evaluations shall be included in the Notification of Compliance Status Report.

e.	The owner or operator shall comply with all requirements for compliance status reports contained in the source's title V permit, including reports required under 40 CFR, Part 63, Subpart HHH. Each time a notification of compliance status is required under this subpart, the owner or operator of such source shall submit the notification of compliance status to the appropriate permitting authority following completion of the relevant compliance demonstration activity specified in this subpart.

f.	The owner or operator shall submit an analysis demonstrating whether an affected source is a major source using the maximum throughput calculated according to § 63.1270(a).

g.	The owner or operator shall submit a statement as to whether the source has complied with the requirements of this subpart.

h.	If the owner or operator installs a combustion control device model tested under the manufacturer’s performance test procedures in § 63.1282(g), the Notification of Compliance Status Report shall include the data listed under § 63.1282(g)(8).

i.	For each combustion control device model tested under § 63.1282(g), the information listed in paragraphs 5.i.i. through vi of this section.

i.	Name, address and telephone number of the control device manufacturer.

ii.	Control device model number.

iii.	Control device serial number.

iv.	Date the model of control device was tested by the manufacturer.

v.	Manufacturer's HAP destruction efficiency rating.

vi.	Control device operating parameters, maximum allowable inlet gas flow rate.

- The Permittee shall prepare Periodic Reports in accordance with a. and b. below and submit them to the Administrator.  (40 CFR 63.1285(e))

- The permittee shall submit Periodic Reports semiannually beginning 60 calendar days after the end of the applicable reporting period. The first report shall be submitted no later than 240 days after the date the Notification of Compliance Status Report is due and shall cover the 6-month period beginning on the date the Notification of Compliance Status Report is due.  The report shall include certification by a responsible official of truth, accuracy, and completeness.

- The permittee shall include the following information and any other information as applicable in §63.1285(e)(2).

- A description of all deviations as defined in Conditions VI.12-14 that have occurred during the 6-month reporting period, and the information described in §63.1285(e)(2)(ii).

- For each inspection conducted in accordance with Condition VI.5 during which a leak or defect is detected, the records described in Condition VI.21 must be included in the next Periodic Report.

- For each closed-vent system with a bypass line, records required under Condition VI.17.e and f.

- A statement identifying if there were no deviations during the reporting period.

- Any change in compliance methods as described in §63.1282(e).

- The results of any periodic test conducted during the reporting period.

- Whenever a process change is made, or a change in any of the information submitted in the Notification of Compliance Status Report, the permittee shall submit a report within 180 days after the process change is

made or as a part of the next Periodic Report, whichever is sooner.  The report shall include: (40 CFR 63.1285(f))

- A brief description of the process change;

- A description of any modification to standard procedures or quality assurance procedures;

- Revisions to any of the information reported in the original Notification of Compliance Status Report under condition VII.5

- Information required by the Notification of Compliance Status Report under Condition VII.5 for changes involving the addition of processes or equipment.

- Within 60 days after the date of completing a performance test (defined in § 63.2) you must submit the results of the performance tests to EPA's WebFIRE database by using the Compliance and Emissions Data Reporting Interface (CEDRI) that is accessed through EPA's Central Data Exchange (CDX) (www.epa.gov/cdx). Performance test data must be submitted in the file format generated through use of EPA's Electronic Reporting Tool (ERT) (see http://www.epa.gov/ttn/chief/ert/index.html). Only data collected using test methods on the ERT Web site are subject to this requirement for submitting reports electronically to WebFIRE. All reports required by this subpart not subject to the above electronic reporting requirements must be sent to the Administrator at the appropriate address.  The Administrator may request a report in any form suitable for the specific case (e.g., by commonly used electronic media such as Excel spreadsheet, on CD or hard copy).  The Administrator retains the right to require submittal of reports in paper format.  (40 CFR 63.1285(g))

- The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor no less than 7 days prior to the anticipated test date.  (R 336.2001(4))

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted.

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| NA | NA | NA | NA |

IX.  OTHER REQUIREMENT(S)

- The permittee shall determine major source status using the maximum annual facility natural gas throughput calculated according to 40 CFR 63.1270(a)(1)(i) through (a)(1)(iv). As an alternative to calculating the maximum natural gas throughput, the owner or operator of a new or existing source may use the facility design maximum natural gas throughput to estimate the maximum potential emissions. (40 CFR 63.1270(a)(1))

- The permittee shall determine the maximum values for other parameters used to calculate potential emissions as the maximum over the same period for which maximum throughput is determined.  These parameters shall be based on an annual average or the highest single measured value.  For estimating maximum potential emissions from glycol dehydration units, the glycol circulation rate used in the calculation shall be the unit’s maximum rate under its physical and operational design consistent with the definition of potential to emit in 
40 CFR 63.2. (40 CFR 63.1270(a)(4))

- A site-specific monitoring plan must be prepared that addresses the monitoring system design, data collection, and the quality assurance and quality control elements.  Each CPMS must be installed, calibrated, operated, and maintained in accordance with the procedures in your approved site-specific monitoring plan. The permittee may request approval of monitoring system quality assurance and quality control procedures alternative to those specified below and in your site-specific monitoring plan.  (40 CFR 63.1283(d)(1)(ii-iv))

  - The performance criteria and design specifications for the monitoring system equipment, including the sample interface, detector signal analyzer, and data acquisition and calculations;

  - Sampling interface (e.g., thermocouple) location such that the monitoring system will provide representative measurements;

  - Equipment performance checks, system accuracy audits, or other audit procedures;

  - Ongoing operation and maintenance procedures in accordance with provisions in § 63.8(c)(1) and (c)(3);

  - Ongoing reporting and recordkeeping procedures in accordance with provisions in § 63.10(c), (e)(1), and (e)(2)(i).

  - The permittee must conduct the CPMS equipment performance checks, system accuracy audits, or other audit procedures specified in the site-specific monitoring plan at least once every 12 months.

  - The permittee must conduct a performance evaluation of each CPMS in accordance with the site-specific monitoring plan.

- The permittee shall comply with all applicable provisions of the National Emission Standards for Hazardous Air Pollutants, as specified in 40 CFR, Part 63, Subpart A and Subpart HHH, for Natural Gas Transmission and Storage Facilities by October 15, 2015.  (40 CFR, Part 63, Subparts A and HHH)

Footnotes:

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# D.  FLEXIBLE GROUP CONDITIONS

Part D outlines the terms and conditions that apply to more than one emission unit.  The permittee is subject to the special conditions for each flexible group in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited.  If a specific condition type does not apply, NA (not applicable) has been used in the table.  If there are no special conditions that apply to more than one emission unit, this section will be left blank.

## FLEXIBLE GROUP SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| Flexible Group ID | Flexible Group Description | Associated Emission Unit IDs |
| --- | --- | --- |
| FG BLDDDDD | Emission Units subject to 40 CFR, Part 63, Subpart DDDDD. | EU BLHEATER-A, EU BLHEATER-B, EU BLBOILER |
| FG BLCMPRS | Three Dresser Rand 6000 HP, 2-stroke lean burn IC compressor engines with catalytic oxidizers. | EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C |
| FG BLHEATERS | Two Sivalls withdrawal gas heaters, 16 million BTU/hr heat input each. | EU BLHEATER-A, EU BLHEATER-B |
| FG BLGNRS | Three 3516 Caterpillar 1,125 HP, 4-stroke lean burn IC generator engines with catalytic oxidizers. | EU BLGEN-A, EU BLGEN-B, EU BLGEN-C |
| FG BLCLEANER | Any parts washer/cold cleaner that is grandfathered or exempt from Rule 201 pursuant to Rule 278 and Rule 281(h) or Rule 285(r)(iv). Existing cold cleaners where placed into operation prior to July 1, 1979. New cold cleaners were placed into operation on or after July 1, 1979. | EU BLCLEANER |

## FG BLDDDDD

FLEXIBLE GROUP CONDITIONS

DESCRIPTION

EU BLHEATER-A (16 MMBtu/hr), EU BLHEATER-B (16 MMBtu/hr), and EU BLBOILER (4.184 MMBtu/hr) with heat input values less than 50 MMBtu/hr each are subject to 40 CFR, Part 63, Subpart DDDDD National Emission Standard for Hazardous Air Pollutants for Major Sources:  Industrial, Commercial, and Institutional Boilers and Process Heaters.

Emission Unit:  EU BLHEATER-A, EU BLHEATER-B, and EU BLBOILER

POLLUTION CONTROL EQUIPMENT  NA

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| NA | NA | NA | NA | NA | NA |

II.  MATERIAL LIMIT(S)

| Material | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| NA | NA | NA | NA | NA | NA |

III.  PROCESS/OPERATIONAL RESTRICTION(S)

NA

IV.  DESIGN/EQUIPMENT PARAMETER(S)

NA

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee must conduct an initial performance tune-up no later than January 31, 2016 for EU BLHEATER-A and EU BLHEATER-B according to § 63.7540(a)(11).  Subsequent biennial tune-ups must be conducted no more than 25 months after the previous tune-up.  (40 CFR 63.7510(e), 40 CFR 63.7515(d), 40 CFR 63.7540(a)(11), 40 CFR, Part 63, Subpart DDDDD Table 3.2)

- The permittee must conduct an initial performance tune-up no later than January 31, 2016 for EU BLBOILER according to § 63.7540(a)(12).  Subsequent 5-year tune-ups must be conducted no more than 61 months after the previous tune-up.  (40 CFR 63.7510(e), 40 CFR 63.7515(d), 40 CFR 63.7540(a)(12), 40 CFR, Part 63, Subpart DDDDD, Table 3.1)

- The permittee shall complete a one-time energy assessment specified in Table 3.4 (a) through (h) no later than January 31, 2016 for all Emission Units in FG BLDDDDD.  An energy assessment completed on or after January 1, 2008, that meets or is amended to meet the energy assessment requirements, satisfies the energy assessment requirement.  A facility that operates under an energy management program compatible with ISO 50001 that includes the affected units also satisfies the energy assessment requirement.  The energy assessment must include the following:

  - A visual inspection of the boiler or process heater system.

  - An evaluation of operating characteristics of the boiler or process heater systems, specifications of energy using systems, operating and maintenance procedures, and unusual operating constraints.

  - An inventory of major energy use systems consuming energy from affected boilers and process heaters and which are under the control of the boiler/process heater owner/operator.

  - A review of available architectural and engineering plans, facility operation and maintenance procedures and logs, and fuel usage.

  - A review of the facility's energy management practice and provide recommendations for improvements consistent with the definition of energy management practices, if identified.

  - A list of cost-effective energy conservation measures that are within the facility's control.

  - A list of the energy savings potential of the energy conservation measures identified.

  - A comprehensive report detailing the ways to improve efficiency, the cost of specific improvements, benefits, and the time frame for recouping those investments.

(40 CFR 63.7510(e), 40 CFR, Part 63, Subpart DDDDD, Table 3.4)

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

1.	The permittee shall maintain a copy of each notification and report submitted to comply with 40 CFR, Part 63, Subpart DDDDD including all documentation supporting any Initial Notification or Notification of Compliance Status or Semiannual Compliance report that was submitted, according to the requirements in § 63.10(b)(2)(xiv) and any records of performance tests, fuel analyses, or other compliance demonstrations and performance evaluations as required in § 63.10(b)(2)(viii).  (40 CFR 63.7555)

VII.  REPORTING

1.	Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

2.	Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- A compliance report containing the information below shall be submitted with the annual certification of compliance in VII.3 above.  The compliance report for EU BLHEATER-A and EU BLHEATER-B is due every two years starting in 2018.  The compliance report for EU BLBOILER is due every five years starting in 2021.  (40 CFR 63.7550(B), 40 CFR 63.7550(c)(5))

  - Company and Facility name and address.

  - Process unit information, emissions limitations, and operating parameter limitations.

  - Date of report and beginning and ending dates of the reporting period.

  - The total operating time during the reporting period.

  - Include the date of the most recent tune-up for EU BLHEATER-A, EU BLHEATER-B, and EU BLBOILER. Include the date of the most recent burner inspection if it was not done annually, biennially, or on a 5-year period and was delayed until the next scheduled or unscheduled unit shutdown.

- The permittee shall submit a Notification of Compliance Status (NOCS) following the initial compliance demonstration.  The NOCS must contain the following:  (40 CFR 63.7530(d),(e), and (f), 40 CFR 63.7545(e))

- A description of each Emission Unit including identification of which subcategories the EU is in and the design heat input capacity of the EU

- The following certifications of compliance, as applicable, and signed by a responsible official:

- “This facility complies with the required initial tune-up according to the procedures in § 63.7540(a)(10)(i) through (vi).”

- “This facility has had an energy assessment performed according to § 63.7530(e) and is an accurate depiction of the facility at the time of the assessment.”

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| NA | NA | NA | NA |

IX.  OTHER REQUIREMENT(S)

1.	The permittee shall comply with all applicable provisions of the National Emission Standards for Hazardous Air Pollutants, as specified in 40 CFR, Part 63, Subpart A and Subpart DDDDD: Industrial, Commercial, and Institutional Boilers and Process Heaters no later than January 31, 2016.  (40 CFR, Part 63, Subpart DDDDD, 40 CFR 63.7495(b))

Footnotes:

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FG BLCMPRS

FLEXIBLE GROUP CONDITIONS

DESCRIPTION

Three natural gas-fired, 6,000, HP 2-stroke lean burn Dresser Rand TCVD-12 compressor engine used to compress natural gas into the storage reservoir during injection, and into the pipeline during withdrawal.

Emission Units:  EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C

POLLUTION CONTROL EQUIPMENT Clean burn/lean burn system.

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| - NOx | 26.4 pph2 | Test Protocol* | EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C (The limit applies to each individual compressor engine.) | V.1, VI.3, VI.4, VI.5, VI.6 | 40 CFR 52.21, R 336.2802 4-01, 1; 17-07A FGBLCMPRS-S2, I.1 |
| - CO | 37.0 pph2 | Test Protocol* | EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C (The limit applies to each individual compressor engine.) | V.1, VI.3, VI.4, VI.5, VI.6 | 40 CFR 52.21, R 336.2802 4-01, 4; 17-07A FGBLCMPRS-S2, I.2 |
| - VOC | 9.7 pph2 | Test Protocol* | EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C (The limit applies to each individual compressor engine.) | V.1, VI.3, VI.4, VI.5, VI.6 | 40 CFR 52.21, R 336.2802 4-01,7; 17-07A FGBLCMPRS-S2, I.3 |

*Test protocol shall specify averaging time.

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The permittee shall use only sweet natural gas as fuel for the compressor engines. Sweet gas is defined as any gas containing no more than 1 grain of hydrogen sulfide or 10 grains of total sulfur per 100 standard cubic feet.2  R 336.1119(i) and (dd)) 
17-07A FGBLCMPRS-S2, III.1

- The permittee shall not operate the three compressor engines unless the clean burn/lean burn combustion systems on each engine are installed and operating properly.2 (R 336.1910) 
4-01, 15; 17-07A FGBLCMPRS-S2, III.2

- The combined total hours of operation of the three compressor engines shall not exceed 15,000 hours per calendar year.2  (40 CFR 52.21)  4-01, 20; 17-07A FGBLCMPRS-S2, III.3

- The permittee shall operate the compressor engines within their established operating envelope as approved by the AQD.  (R 336.1213(3))

- The permittee shall operate EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C at the torque and speed established within their operating envelope.  The operating envelope shall be approved by the AQD.  (R 336.1213(3))

- The permittee shall operate the FG BLCMPRS per the AQD approved malfunction abatement plan.  (R 336.1911)

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- The NOx emission rate from each compressor engine shall not exceed 2 grams per brake horsepower hour at 100 percent speed and 100 percent torque.2  (40 CFR 52.21) 4-01, 1; 17-07A, FGBLCMPRS-S2 IV.1

- The CO emission rate from each compressor engine shall not exceed 2.8 grams per brake horsepower hour at 100 percent speed and 100 percent torque.2  (40 CFR 52.21) 4-01, 4; 17-07A, FGBLCMPRS-S2 IV.2

- The VOC emission rate from each compressor engine shall not exceed 0.73 grams per brake horsepower hour at 100 percent speed and 100 percent torque.2  (40 CFR 52.21; R336.1702(a)) 
4-01, 7; 17-07A, FGBLCMPRS-S2 IV.3

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- Once every five-years the permittee shall conduct a stack test of NOx, CO, and VOC emissions on EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C.  (R 336.1213(3)(a)) 17-07A, FGBLCMPRS-S2 V.2

- All testing, sampling, analytical and calibration procedures used for any stack test program shall be performed in accordance with 40 CFR, Part 60, and Appendix A, Methods 2, 3A, 7E, 10, 10B, and 25 or other acceptable reference methods approved by the AQD.  (R 336.1213(3)(a)) 17-07A, FGBLCMPRS-S2 V.1

- Once every five years the permittee shall demonstrate compliance with the grains of total sulfur in the compressor engine fuel by analyzing the fuel.2  (R 336.1119(i) and (dd))  17-07A FGBLCMPRS-S2, III.1

- MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee shall record the total fuel consumption for each compressor engine in FG BLCMPRS for each calendar month.  (R 336.1213(3)(b))

- The permittee shall record the total engine hours of operation for each compressor engine in FG BLCMPRS for each calendar month.  (40 CFR 52.21) 
17-07A FGBLCMPRS-S2, VI. 1; 4-01, 20

- The permittee shall calculate and record the NOx, CO, and VOC emissions in pounds per hour for each engine in FG BLCMPRS calculated as an average over each calendar month using the equation in Appendix 7B, or an alternate equation approved by the AQD, in conjunction with monitoring, testing or recordkeeping data.  The permittee may calculate NOx, CO, and VOC emissions from each engine in FG BLCMPRS by using an emission factor based on stack tests of the compressor engines. The emissions calculations shall be available

to the AQD upon request by 15th of the following month.  (R 336.1213(3))

17-07A FGBLCMPRS-S2, VI. 3, 4, 5, 7 and 8

- The permittee shall recalculate the emission factor following the verification of emission rates from stack testing required in V. Testing.  (R 336.1213(3)) 4-01, 12; 17-07A FGBLCMPRS-S2, VI. 6 and 8

- The permittee shall continuously monitor and record the torque and speed of EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C, to ensure the compressor engines operate within the established operating envelope.  (R 336.1213(3)(a))  17-07A FGBLCMPRS-S2, VI. 2

- The permittee shall maintain the compressor engine operating envelope using the most recent stack test data.  The operating envelope shall be approved by AQD.  (R 336.1213(3)(a))

- The permittee shall record monthly natural gas used for EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C start-up and blow-down and a calculation, acceptable to the AQD, showing year-to-date VOC emission rates. 
(R 336.1213(3)) 4-01, 12

Appendix 7B

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- The permittee shall submit two complete test protocols to the AQD, one to the Technical Programs Unit Supervisor and one to the District Supervisor for approval at least 30 days prior to the anticipated test date.  The protocol shall describe the test method(s) and the maximum routine operating conditions, including targets for key operational parameters associated with air pollution control equipment to be monitored and recorded during testing.2  (R 336.12001(3)) 17-07A FGBLCMPRS-S2, VII.4

- The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor no less than 7 days prior to the anticipated test date.  (R 336.2001(4))

- The permittee shall submit two complete test reports of the test results to the AQD, one to the Technical Programs Unit Supervisor and one to the District Supervisor, within 60 days following the last date of the test.2  (R 336.2001(5)) 17-07A FGBLCMPRS-S2, VII.5

- The permittee shall submit a complete analysis plan to the AQD District Supervisor for approval at least 30 days prior to the anticipated analysis date.  (R 336.1119(i) and (dd))

- The permittee shall submit a complete report of the analysis results to the AQD District Supervisor, within 60 days following the last date of the test.  (R 336. 1119(i) and (dd))

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| - SV-101 (EU BLCMPR-A) | 482 | 70.52 | 40 CFR 52.21, R 336.1802 4-01, 17; 17-07A FGBLCMPRS-S2, VIII.1 |
| - SV-102 (EU BLCMPR-B) | 482 | 70.52 | 40 CFR 52.21, R 336.1802 4-01, 17; 4-01, 17; 17-07A FGBLCMPRS-S2, VIII.2 |
| - SV-103 (EU BLCMPR-C) | 482 | 70.52 | 40 CFR 52.21, R 336.1802 4-01, 17; 4-01, 17; 17-07A FGBLCMPRS-S2, VIII.3 |

IX.  OTHER REQUIREMENT(S)

- The permittee shall maintain a malfunction abatement plan approved by the AQD District Supervisor in accordance with Rule 336.1911 for FG BLCMPRS. (R 336.1911) 17-07A FGBLCMPRS-S2, IX.1

- The permittee shall develop an “operating envelope” within which each compressor engine has demonstrated, by emissions testing, to operate in compliance with all applicable NOx, CO, and VOC emission limits in pounds per hour.  Ranges of engine torque and speed will define the operating envelope.  The operating envelope shall be revised after stack testing, and the operating envelope shall be approved by the AQD.  (R 336.1213(3))

Footnotes:

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FG BLHEATERS

FLEXIBLE GROUP CONDITIONS

DESCRIPTION

Two natural gas-fired Sivalls 16 MMBtu/hr indirect gas withdrawal heaters.

Emission Unit:  EU BLHEATER-A and EU BLHEATER-B.

POLLUTION CONTROL EQUIPMENT  NA

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| - NOx | 0.14 lb/MM Btu2 | Test Protocol* | EU BLHEATER-A, EU BLHEATER-B (The limit applies to each individual gas withdrawal heater.) | V.1 | R 336.1201(3) 17-07A FGBLHTRS-S2 I.1; 4-01, 3; 17-07, Table F-2.3, II.B.1.1 |
| - NOx | 2.8 pph2 | Test Protocol* | EU BLHEATER-A, EU BLHEATER-B (The limit applies to each individual gas withdrawal heater.) | V.1 | R 336.1201(3) 17-07A FGBLHTRS-S2 I.2; 4-01, 3; 17-07, Table F-2.3, II.B.1.2 |
| - CO | 0.035 lb/MM Btu2 | Test Protocol* | EU BLHEATER-A, EU BLHEATER-B (The limit applies to each individual gas withdrawal heater.) | V.1 | R 336.1201(3) 17-07A FGBLHTRS-S2 I.3; 4-01, 6; 17-07, Table F-2.3, II.B.2.1 |
| - CO | 0.7 pph2 | Test Protocol* | EU BLHEATER-A, EU BLHEATER-B (The limit applies to each individual gas withdrawal heater.) | V.1 | R 336.1201(3) 17-07A FGBLHTRS-S2 I.4; 4-01, 6; 17-07, Table F-2.3, II.B.2.2. |

*Test Protocol shall specify averaging time.

II.  MATERIAL LIMIT(S)

| Material | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| NA | NA | NA | NA | NA | NA |

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The permittee shall use only sweet natural gas as fuel for the gas withdrawal heaters. Sweet gas is defined as any gas containing no more than 1 grain of hydrogen sulfide or 10 grains of total sulfur per 100 standard cubic feet.2  (R 336.1119(i) and (dd)) 17-07A FGBLHTRS-S2 III.1; 17-07, Table F-2.3, V.1

IV.  DESIGN/EQUIPMENT PARAMETER(S)

NA

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee shall conduct a stack test once every five years on EU BLHEATER-A and EU BLHEATER-B to determine the NOx and CO in the exhaust gas measured as pounds per million BTU heat input and pounds per hour.  (R 336.1213(3)(a)) 17-07A FGBLHTRS-S2 V.1, 2 and 4; 17-07A FGBLHTRS-S2 V.1, 2 and 4; 17-07, Table F-2.3, III.B.1.1,2,3 and 4;  17-07, Table F-2.3, III.B.3.1

- All testing, sampling, analytical and calibration procedures used for any stack test program shall be performed in accordance with 40 CFR, Part 60, and Appendix A, Methods 2, 3A, 7E, 10, 10B, and 25, or other acceptable reference methods approved by the AQD.  (R 336.1213(3)(a)) 17-07A FGBLHTRS-S2 V.3; 17-07, Table F-2.3, III.B.2.1 and III.B.3.2

- The permittee shall demonstrate compliance with the grains of total sulfur in the gas withdrawal heater fuel by analyzing the fuel once every five years.2  (R 226.1119(i) and (dd)) 17-07A FGBLHTRS-S2 III.1

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee shall monitor and record the fuel consumption for each of the gas withdrawal heaters for each calendar month.  (R 336.1213(3)(b)) 17-07A FGBLHTRS-S2 VI.1; 17-07, Table F-2.3, III.A.2.1.

- The permittee shall record the total hours of operation for each gas withdrawal heater for each calendar month.  (R 336.1213(3)(b))

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- No less than 30 days prior to testing, a complete stack testing plan must be submitted to the AQD.  The final plan must be approved by the AQD prior to testing.  (R 336.1213(3)) 17-07, Table F-2.3, III.B.3.3

- Verification of emission rates includes the submittal of a complete report of the stack test results within 60 days of the last day of the test.  (R 336.1001(4))

- The permittee shall submit two complete test protocols to the AQD, one to the Technical Programs Unit Supervisor and one to the District Supervisor for approval at least 30 days prior to the anticipated test date.  The protocol shall describe the test method(s) and the maximum routine operating conditions, including targets for key operational parameters associated with air pollution control equipment to be monitored and recorded during testing.2  (R 336.12001(3)) 17-07A FGBLHTRS-S2 V.5 and VI.4

- The permittee shall submit a complete analysis plan to the AQD District Supervisor for approval at least 30 days prior to the anticipated analysis date.  (R 336.1119(i) and (dd))

- The permittee shall submit a complete report of the analysis results to the AQD District Supervisor, within 60 days following the last date of the test.  (R 336.1119(i) and (dd))

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| - SV-107 (EU BLHEATER-A) | 42 | 40 | R 336.1203(3) 17-07A FGBLHTRS-S2 VIII.1; 4-01, 19; 17-07, Table F-2.3, I.B.1 |
| - SV-108 (EU BLHEATER-B) | 42 | 40 | R 336.1203(3) 17-07A FGBLHTRS-S2 VIII.2; 4-01, 19; 17-07, Table F-2.3, I.B.2 |

IX.  OTHER REQUIREMENT(S)

NA

Footnotes:

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FG BLGENS

FLEXIBLE GROUP CONDITIONS

DESCRIPTION

Three natural gas-fired 1,125 HP 4-stroke lean burn Caterpillar 3516 generator engine used to provide primary power to the compressor station, and can produce a maximum of 800 KW of energy.

Emission Unit:  EU BLGEN-A, EU BLGEN-B, and EU BLGEN-C

POLLUTION CONTROL EQUIPMENT  Oxidation Catalyst.

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| - NOx | 5.7 pph2 | Test Protocol* | EU BLGEN-A, EU BLGEN-B, EU BLGEN-C (The limit applies to each individual generator engine.) | V.1, VI.4, VI.5 | R 336.1205(1) 4-01, 2; 17-07A, FGBLGNRS-S2, I.1 |
| - CO | 1.6 pph2 | Test Protocol* | EU BLGEN-A, EU BLGEN-B, EU BLGEN-C (The limit applies to each individual generator engine.) | V.1, VI.4, VI.5 | R 336.1205(1) 4-01, 5; 17-07A, FGBLGNRS-S2, I.2 |
| - VOC | 0.9 pph2 | Test Protocol* | EU BLGEN-A, EU BLGEN-B, EU BLGEN-C (The limit applies to each individual generator engine.) | V.1, VI.4, VI.5 | R 336.1702 4-01, 8; 17-07A, FGBLGNRS-S2, I.3 |

*Test Protocol shall specify averaging time.

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The permittee shall use only sweet natural gas as fuel for the generator engines. Sweet gas is defined as any gas containing no more than 1 grain of hydrogen sulfide or 10 grains of total sulfur per 100 standard cubic feet.2  (R 336.1119(i) and (d))  17-07A, FGBLGNRS-S2, III.1

- The permittee shall not operate any generator engine in FG BLGENS unless the catalytic oxidation system is installed and operating properly.2  (R 336.1910)  4-01, 16; 17-07A, FGBLGNRS-S2, 111.2

- The permittee shall not operate any generator engine in FG BLGENS unless the lean burn/clean burn system is installed and operating properly.2  (R 336.1910) 4-01, 16; 17-07A, FGBLGNRS-S2, III.3

- The permittee shall not operate any generator engine in FG BLGENS unless the air/fuel ratio control system of that generator engine is installed and operating properly.  (R 336.1910)  17-07A, FGLBGNRS-S2, III.4

- The combined total hours of operation of the three generator engines in FG BLGENS shall not exceed 16,380 hours per calendar year.2  (R 336.1205(1)) 4-01, 21; 17-07A, FGBLGNRS-S2, III.5

- The permittee shall not operate a generator engine in FG BLGENS unless the generator engine’s inlet and outlet temperature across the catalyst is in compliance with the AQD approved Malfunction Abatement Plan.  As an alternative, the permittee shall not operate a generator engine in FG BLGENS unless the pressure drop at the inlet and outlet across the catalyst are in compliance with the AQD approved Malfunction Abatement Plan.  (R 336.1213(3))

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- The NOx emission rate from each generator engine shall not exceed 2 grams per brake horsepower hour at the maximum operating limit of 90 percent load.2   (R 336.1205) 4-01, 2; 17-07A, FGBLGNRS-S2, IV.1

- The CO emission rate from each generator engine shall not exceed 1.4 grams per brake horsepower hour at the maximum operating limit of 90 percent load.2  (R 336.1205)  4-01, 5; 17-07A, FGBLGNRS-S2, IV.2

- The VOC emission rate from each generator engine shall not exceed 0.55 grams per brake horsepower hour at the maximum operating limit of 90 percent load.2  (R 336.1205)  4-01,8; 17-07A, FGBLGNRS-S2, IV.3

- The permittee shall install and maintain a temperature monitor at the inlet and outlet of the catalytic converter.  As an alternative, the permittee shall install and maintain a pressure monitor at the inlet and outlet of the catalytic converter.  (R 336.1213(3))

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- Once every five years the permittee shall conduct a stack test on each engine in FG BLGENS to determine the NOx, CO and VOC emissions in pounds per hour.  (R 336.1213(3)(b))  17-07A, FGBLGNRS-S2, V.1 and 3

- All testing, sampling, analytical and calibration procedures used for any stack test program shall be performed in accordance with 40 CFR, Part 60 and Appendix A, Methods 1, 3A, 7E, 10, 18 and 19 or other acceptable reference methods approved by the AQD.  (R 336.1213 (3)(a))  17-07A, FGBLGNRS-S2, V.2

- Once every five years the permittee shall analyze the sweet natural gas fuel supplied to and fired in the generator engines for grains of hydrogen sulfide or grains of total sulfur per 100 standard cubic feet.2  
(R 336.1119(i) and (d))  17-07A, FGBLGNRS-S2, III.1

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee shall monitor and record the hours of operation per calendar month for each generator engine in FG BLGENS2.  (R 336.1205(1))  4-01, 21; 17-07A, FGBLGNRS-S2, V1.1

- The permittee shall continuously monitor the fuel consumption for each generator engine in FG BLGENS.  The permittee shall record the fuel consumption once an hour.  (R 336.1213(3)(a))  17-07A, FGBLGNRS-S2, VI.2

- The permittee shall continuously monitor the temperature difference across each catalytic oxidizer and once per hour record the temperature difference across each catalytic oxidizer.  As an alternative, the permittee shall continuously monitor the pressure drop across each catalytic oxidizer and once per day record the pressure difference across each catalytic oxidizer.   (R 336.1213(3)(a))  17-07A, FGBLGNRS-S2, VI.2

- The permittee shall calculate and record the NOx, CO and VOC emissions in pounds per hour for each engine in FG BLGENS calculated as an average over each calendar month using the equation in Appendix 7C, or an alternate equation approved by the AQD, in conjunction with monitoring, testing or recordkeeping data.  The permittee may calculate NOx, CO and VOC emissions from each engine in FG BLGENS by using an emission factor based on stack tests of the generator engines.  The emissions calculations shall be available to the AQD upon request by the 15th of the following month.  (R 336.1213(3))  17-07A, FGBKGNRS-S2, Vi.3, 4 and 5

- The permittee shall recalculate the emission factor used to calculate emissions from the generator engines following the verification of emission rates from stack testing required in V. Testing.  (R 336.1213(3)(a))  17-07A, FGBLGNRS-S2, VI.6 and VI.7

See Appendix 7C

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- The permittee shall submit two complete test protocols to the AQD, one to the Technical Programs Unit Supervisor and one to the District Supervisor for approval at least 30 days prior to the anticipated test date.  The protocol shall describe the test method(s) and the maximum routine operating conditions, including targets for key operational parameters associated with air pollution control equipment to be monitored and recorded during testing.2  (R 336.2001(3))  17-07A, FGBLGNRS-S2, VII.4

- The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor no less than 7 days prior to the anticipated test date.  (R 336.2001(4))

- The permittee shall submit two complete test reports of the test results to the AQD, one to the Technical Programs Unit Supervisor and one to the District Supervisor, within 60 days following the last date of the test.2  (R 336.2001(5))  17-07A, FGBLGNRS-S2, VII.5

- The permittee shall submit a complete analysis plan to the AQD District Supervisor for approval at least 30 days prior to the anticipated analysis date.  (R 336.1119(i) and (dd))

- The permittee shall submit a complete report of the analysis results to the AQD District Supervisor, within 60 days following the last date of the test.  (R 336. 1119(i) and (dd))

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted.

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| - SV-104 (EU BLGEN-A) | 102 | 64.62 | R 336.1205 4-01, 18; 17-07A, FGBLGNRS-S2, VIII.1 |
| - SV-105 (EU BLGEN-B) | 102 | 64.62 | R 336.1205 4-01, 18; 17-07A, FGBLGNRS-S2, VIII.2 |
| - SV-106 (EU BLGEN-C) | 102 | 64.62 | R 336.1205 4-01, 18; 17-07A, FGBLGNRS-S2, VIII.3 |

IX.  OTHER REQUIREMENT(S)

- The permittee shall maintain a malfunction abatement plan (MAP) approved by the AQD District Supervisor in accordance with Rule 336.1911 for FG BLGENS.  The MAP shall include each generator engine’s inlet and outlet temperature across the catalyst; or as an alternative the permittee shall include each generator engine’s inlet and outlet pressure across the catalyst.  The temperature and pressure will be established during stack testing and demonstrate compliance with emission limits.  (R 336.1911)

Footnotes:

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FG BLCLEANERS

FLEXIBLE GROUP CONDITIONS

DESCRIPTION

Any cold cleaner that is grandfathered or exempt from Rule 201 pursuant to Rule 278 and Rule 281(h) or Rule 285(r)(iv).  Existing cold cleaners were placed into operation prior to July 1, 1979.  New cold cleaners were placed into operation on or after July 1, 1979.

Emission Unit:  EU BLCLEANER

I.  EMISSION LIMIT(S)

NA

II.  MATERIAL LIMIT(S)

1.	The permittee shall not use cleaning solvents containing more than five percent by weight of the following halogenated compounds: methylene chloride, perchloroethylene, trichloroethylene, 1,1,1-trichloroethane, carbon tetrachloride, chloroform, or any combination thereof.  (R 336.1213(2))

III.  PROCESS/OPERATIONAL RESTRICTION(S)

1.	Cleaned parts shall be drained for no less than 15 seconds or until dripping ceases.  (R 336.1611(2)(b), R 336.1707(3)(b))

2.	The permittee shall perform routine maintenance on each cold cleaner as recommended by the manufacturer.  (R 336.1213(3))

IV.  DESIGN/EQUIPMENT PARAMETER(S)

1.	The cold cleaner must meet one of the following design requirements:

a.	The air/vapor interface of the cold cleaner is no more than ten square feet.  (R 336.1281(h))

b.	The cold cleaner is used for cleaning metal parts and the emissions are released to the general in-plant environment.  (R 336.1285(r)(iv))

2.	The cold cleaner shall be equipped with a device for draining cleaned parts.  (R 336.1611(2)(b), R 336.1707(3)(b))

3.	All new and existing cold cleaners shall be equipped with a cover and the cover shall be closed whenever parts are not being handled in the cold cleaner.  (R 336.1611(2)(a), R 336.1707(3)(a))

4.	The cover of a new cold cleaner shall be mechanically assisted if the Reid vapor pressure of the solvent is more than 0.3 psia or if the solvent is agitated or heated.  (R 336.1707(3)(a))

5.	If the Reid vapor pressure of any solvent used in a new cold cleaner is greater than 0.6 psia; or, if any solvent used in a new cold cleaner is heated above 120 degrees Fahrenheit, then the cold cleaner must comply with at least one of the following provisions:

a.	The cold cleaner must be designed such that the ratio of the freeboard height to the width of the cleaner is equal to or greater than 0.7.  (R 336.1707(2)(a))

b.	The solvent bath must be covered with water if the solvent is insoluble and has a specific gravity of more than 1.0.  (R 336.1707(2)(b))

c.	The cold cleaner must be controlled by a carbon adsorption system, condensation system, or other method of equivalent control approved by the AQD.  (R 336.1707(2)(c))

V.  TESTING/SAMPLING

NA

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

1.	For each new cold cleaner in which the solvent is heated, the solvent temperature shall be monitored and recorded at least once each calendar week during routine operating conditions.  (R 336.1213(3))

2.	The permittee shall maintain the following information on file for each cold cleaner:  (R 336.1213(3))

a.	A serial number, model number, or other unique identifier for each cold cleaner.

b.	The date the unit was installed, manufactured or that it commenced operation.

c.	The air/vapor interface area for any unit claimed to be exempt under Rule 281(h).

d.	The applicable Rule 201 exemption.

e.	The Reid vapor pressure of each solvent used.

f.	If applicable, the option chosen to comply with Rule 707(2).

3.	The permittee shall maintain written operating procedures for each cold cleaner.  These written procedures shall be posted in an accessible, conspicuous location near each cold cleaner.  (R 336.1611(3), R 336.1707(4))

4.	As noted in Rule 611(2)(c) and Rule 707(3)(c), if applicable, an initial demonstration that the waste solvent is a safety hazard shall be made prior to storage in non-closed containers.  If the waste solvent is a safety hazard and is stored in non-closed containers, verification that the waste solvent is disposed of so that not more than 20 percent, by weight, is allowed to evaporate into the atmosphere shall be made on a monthly basis.  (R 336.1213(3), R 336.1611(2)(c), R 336.1707(3)(c))

VII.  REPORTING

1.	Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

2.	Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

3.	Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

See Appendix 8

VIII. STACK/VENT RESTRICTION(S)

NA

IX.  OTHER REQUIREMENT(S)

NA

# E.  NON-APPLICABLE REQUIREMENTS

At the time of the ROP issuance, the AQD has determined that no non-applicable requirements have been identified for incorporation into the permit shield provision set forth in the General Conditions in Part A pursuant to Rule 213(6)(a)(ii).

# APPENDICES

## Appendix 1-S2.  Abbreviations and Acronyms

The following is an alphabetical listing of abbreviations/acronyms that may be used in this permit.

| AQD | Air Quality Division | MM | Million |
| --- | --- | --- | --- |
| acfm | Actual cubic feet per minute | MSDS | Material Safety Data Sheet |
| BACT | Best Available Control Technology | MW | Megawatts |
| BTU | British Thermal Unit | NA | Not Applicable |
| °C | Degrees Celsius | NAAQS | National Ambient Air Quality Standards |
| CAA | Federal Clean Air Act | NESHAP | National Emission Standard for Hazardous Air Pollutants |
| CAM | Compliance Assurance Monitoring | NMOC | Non-methane Organic Compounds |
| CEM | Continuous Emission Monitoring | NOx | Oxides of Nitrogen |
| CFR | Code of Federal Regulations | NSPS | New Source Performance Standards |
| CO | Carbon Monoxide | NSR | New Source Review |
| COM | Continuous Opacity Monitoring | PM | Particulate Matter |
| department | Michigan Department of Environmental Quality | PM-10 | Particulate Matter less than 10 microns in diameter |
| dscf | Dry standard cubic foot | pph | Pound per hour |
| dscm | Dry standard cubic meter | ppm | Parts per million |
| EPA | United States Environmental Protection Agency | ppmv | Parts per million by volume |
| EU | Emission Unit | ppmw | Parts per million by weight |
| °F | Degrees Fahrenheit | PS | Performance Specification |
| FG | Flexible Group | PSD | Prevention of Significant Deterioration |
| GACS | Gallon of Applied Coating Solids | psia | Pounds per square inch absolute |
| GC | General Condition | psig | Pounds per square inch gauge |
| gr | Grains | PeTE | Permanent Total Enclosure |
| HAP | Hazardous Air Pollutant | PTI | Permit to Install |
| Hg | Mercury | RACT | Reasonable Available Control Technology |
| hr | Hour | ROP | Renewable Operating Permit |
| HP | Horsepower | SC | Special Condition |
| H2S | Hydrogen Sulfide | scf | Standard cubic feet |
| HVLP | High Volume Low Pressure * | sec | Seconds |
| ID | Identification (Number) | SCR | Selective Catalytic Reduction |
| IRSL | Initial Risk Screening Level | SO2 | Sulfur Dioxide |
| ITSL | Initial Threshold Screening Level | SRN | State Registration Number |
| LAER | Lowest Achievable Emission Rate | TAC | Toxic Air Contaminant |
| lb | Pound | Temp | Temperature |
| m | Meter | THC | Total Hydrocarbons |
| MACT | Maximum Achievable Control Technology | tpy | Tons per year |
| MAERS | Michigan Air Emissions Reporting System | µg | Microgram |
| MAP | Malfunction Abatement Plan | VE | Visible Emissions |
| MDEQ | Michigan Department of Environmental Quality | VOC | Volatile Organic Compounds |
| mg | Milligram | yr | Year |
| mm | Millimeter |  |  |

*For HVLP applicators, the pressure measured at the gun air cap shall not exceed 10 pounds per square inch gauge (psig).

## Appendix 2-S2.  Schedule of Compliance

The permittee certified in the ROP application that this stationary source is in compliance with all applicable requirements and the permittee shall continue to comply with all terms and conditions of this ROP.  A Schedule of Compliance is not required.  (R 336.1213(4)(a), R 336.1119(a)(ii))

## Appendix 3-S2.  Monitoring Requirements

Specific monitoring requirement procedures, methods or specifications are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Therefore, this appendix is not applicable.

## Appendix 4-S2.  Recordkeeping

Specific recordkeeping requirement formats and procedures are detailed in Part A or the appropriate source-wide, emission unit and/or flexible group special conditions.  Therefore, this appendix is not applicable.

## Appendix 5-S2.  Testing Procedures

Specific testing requirement plans, procedures, and averaging times are detailed in the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Therefore, this appendix is not applicable.

## Appendix 6-S2.  Permits to Install

The following table lists any PTIs issued or ROP revision applications received since the effective date of the previously issued ROP No. MI-ROP-B7198-2008.  Those ROP revision applications that are being issued concurrently with this ROP renewal are identified by an asterisk (*).  Those revision applications not listed with an asterisk were processed prior to this renewal.

Source-Wide PTI No MI-PTI-B7198-2008 is being reissued as Source-Wide PTI No. MI-PTI-B7198-2014.

| Permit to Install Number | ROP Revision Application Number | Description of Equipment or Change | Corresponding Emission Unit(s) or Flexible Group(s) |
| --- | --- | --- | --- |
| 17-07A | 201300051 | EU BLGLYDHY Define sweet natural gas as containing no more than 1 grain of hydrogen sulfide or 10 grains of total sulfur per 100 standard cubic feet. Require analysis of the pre-dehydration natural gas to determine its non-methane VOC content and composition once every five years. Require compliance with applicable conditions from 40 CFR, Part 63, Subpart HHH. FG BLCMPRS Define sweet natural gas as containing no more than 1 grain of hydrogen sulfide or 10 grains of total sulfur per 100 cubic feet. Require demonstration with compliance of the grains of total sulfur in the fuel once every five years. | EU BLGLYDHY, FG BLCMPRS |
| NA | 201300122 | The revised malfunction abatement plan (MAP) replaced the former MAP. | EU BLCMPR-A, EU BLCMPR-B, EU BLCMPR-C, FG BLCMPRS |

## Appendix 7-S2.  Emission Calculations

Appendix 7A. EU BLHHH

The permittee shall use the following equation, or alternate equation approved by the AQD, in conjunction with monitoring, testing or recordkeeping data to determine compliance with the emission limit of BTEX referenced in EU BLHHH, I.1, BTEX emissions (40 CFR 63.1275 equation 1).

Where:

ELBTEX = Unit-specific BTEX emission limit, megagrams per year;

3.10 × 10−4 = BTEX emission limit, grams BTEX/standard cubic meter-ppmv;

Throughput = Annual average daily natural gas throughput, standard cubic meters per day;

Ci,BTEX = Annual average BTEX concentration of the natural gas at the inlet to the glycol dehydration unit, ppmv.

Appendix 7B.  FG BLCMPRS

The permittee shall calculate and record the NOx, CO, and VOC emissions in pounds per hour for each engine in FG BLCMPRS as an average over each calendar month using this equation, or an alternate equation approved by the AQD, in conjunction with monitoring, testing or recordkeeping data.  The permittee may calculate NOx, CO, and VOC emissions from each engine in FG BLCMPRS by using an emission factor based on stack tests of the compressor engines.

NOX, CO, or VOC (lb/hr) = natural gas usage (mmscf/hour)/engine operation (hours/month)  X EF (pound NOx, CO, or VOC/mmscf)

Where:

mmscf is million standard cubic feet

EF is an emission factor expressed as pounds of NOx, CO, and VOC emitted per million cubic feet of gas used as fuel. EF shall be periodically recalculated as more current stack tests become available.  The recalculated EF is subject to approval by the District Supervisor of the AQD.

Appendix 7C FG BLGENS

The permittee shall calculate and record the NOx, CO, and VOC emissions in pounds per hour for each engine in FG BLGENS as an average over each calendar month using this equation, or an alternate equation approved by the AQD, in conjunction with monitoring, testing or recordkeeping data.  The permittee may calculate NOx, CO, and VOC emissions from each engine in FG BLGENS by using an emission factor based on stack tests of the generator engines.

NOX, CO, or VOC (lb/hr) = natural gas usage (mmscf/month)/engine operation (hrs/month)  X EF (lb NOx, CO or VOC/mmscf)

Where:

mmscf is million standard cubic feet

EF is an emission factor expressed as pounds of NOx, CO, and VOC emitted per million cubic feet of gas used as fuel. EF shall be periodically recalculated as more current stack tests become available.  The recalculated EF is subject to approval by the District Supervisor of the AQD.

## Appendix 8-S2.  Reporting

A.  Annual, Semiannual, and Deviation Certification Reporting

The permittee shall use the MDEQ Report Certification form (EQP 5736) and MDEQ Deviation Report form (EQP 5737) for the annual, semiannual and deviation certification reporting referenced in the Reporting Section of the Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Alternative formats must meet the provisions of Rule 213(4)(c) and Rule 213(3)(c)(i), respectively, and be approved by the AQD District Supervisor.

B.  Other Reporting

Specific reporting requirement formats and procedures are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Therefore, Part B of this appendix is not applicable.

# SECTION 3 – COLD SPRINGS 1 COMPRESSOR STATION

# A.  GENERAL CONDITIONS

## Permit Enforceability

- All conditions in this permit are both federally enforceable and state enforceable unless otherwise noted. (R 336.1213(5))

- Those conditions that are hereby incorporated in a state-only enforceable Source-Wide PTI pursuant to Rule 201(2)(d) are designated by footnote one.  (R 336.1213(5)(a), R 336.1214a(5))

- Those conditions that are hereby incorporated in a federally enforceable Source-Wide PTI pursuant to Rule 201(2)(c) are designated by footnote two.  (R 336.1213(5)(b), R 336.1214a(3))

## General Provisions

- The permittee shall comply with all conditions of this ROP.  Any ROP noncompliance constitutes a violation of Act 451, and is grounds for enforcement action, for ROP revocation or revision, or for denial of the renewal of the ROP.  All terms and conditions of this ROP that are designated as federally enforceable are enforceable by the Administrator of the United States Environmental Protection Agency (USEPA) and by citizens under the provisions of the federal Clean Air Act (CAA).  Any terms and conditions based on applicable requirements which are designated as “state-only” are not enforceable by the USEPA or citizens pursuant to the CAA.  (R 336.1213(1)(a))

- It shall not be a defense for the permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this ROP.  (R 336.1213(1)(b))

- This ROP may be modified, revised, or revoked for cause.  The filing of a request by the permittee for a permit modification, revision, or termination, or a notification of planned changes or anticipated noncompliance does not stay any ROP term or condition.  This does not supersede or affect the ability of the permittee to make changes, at the permittee’s own risk, pursuant to Rule 215 and Rule 216.  (R 336.1213(1)(c))

- The permittee shall allow the department, or an authorized representative of the department, upon presentation of credentials and other documents as may be required by law and upon stating the authority for and purpose of the investigation, to perform any of the following activities (R 336.1213(1)(d)):

  - Enter, at reasonable times, a stationary source or other premises where emissions-related activity is conducted or where records must be kept under the conditions of the ROP.

  - Have access to and copy, at reasonable times, any records that must be kept under the conditions of the ROP.

  - Inspect, at reasonable times, any of the following:

    - Any stationary source.

    - Any emission unit.

    - Any equipment, including monitoring and air pollution control equipment.

    - Any work practices or operations regulated or required under the ROP.

  - As authorized by Section 5526 of Act 451, sample or monitor at reasonable times substances or parameters for the purpose of assuring compliance with the ROP or applicable requirements.

- The permittee shall furnish to the department, within a reasonable time, any information the department may request, in writing, to determine whether cause exists for modifying, revising, or revoking the ROP or to determine compliance with this ROP.  Upon request, the permittee shall also furnish to the department copies of any records that are required to be kept as a term or condition of this ROP.  For information which is claimed

by the permittee to be confidential, consistent with the requirements of the 1976 PA 442, MCL §15.231 et seq., and known as the Freedom of Information Act, the person may also be required to furnish the records directly to the USEPA together with a claim of confidentiality.  (R 336.1213(1)(e))

- A challenge by any person, the Administrator of the USEPA, or the department to a particular condition or a part of this ROP shall not set aside, delay, stay, or in any way affect the applicability or enforceability of any other condition or part of this ROP.  (R 336.1213(1)(f))

- The permittee shall pay fees consistent with the fee schedule and requirements pursuant to Section 5522 of Act 451.  (R 336.1213(1)(g))

- This ROP does not convey any property rights or any exclusive privilege.  (R 336.1213(1)(h))

## Equipment & Design

- Any collected air contaminants shall be removed as necessary to maintain the equipment at the required operating efficiency.  The collection and disposal of air contaminants shall be performed in a manner so as to minimize the introduction of contaminants to the outer air.  Transport of collected air contaminants in Priority I and II areas requires the use of material handling methods specified in Rule 370(2).  (R 336.1370)

- Any air cleaning device shall be installed, maintained, and operated in a satisfactory manner and in accordance with the Michigan Air Pollution Control rules and existing law.  (R 336.1910)

## Emission Limits

- Unless otherwise specified in this ROP, the permittee shall comply with Rule 301, which states, in part, “Except as provided in subrules 2, 3, and 4 of this rule, a person shall not cause or permit to be discharged into the outer air from a process or process equipment a visible emission of a density greater than the most stringent of the following:  (R 336.1301(1))

  - A 6-minute average of 20 percent opacity, except for one 6-minute average per hour of not more than 27 percent opacity.

  - A limit specified by an applicable federal new source performance standard.

The grading of visible emissions shall be determined in accordance with Rule 303.

- The permittee shall not cause or permit the emission of an air contaminant or water vapor in quantities that cause, alone or in reaction with other air contaminants, either of the following:

  - Injurious effects to human health or safety, animal life, plant life of significant economic value, or property.1  (R 336.1901(a))

  - Unreasonable interference with the comfortable enjoyment of life and property.1  (R 336.1901(b))

## Testing/Sampling

- The department may require the owner or operator of any source of an air contaminant to conduct acceptable performance tests, at the owner’s or operator’s expense, in accordance with Rule 1001 and Rule 1003, under any of the conditions listed in Rule 1001(1).  (R 336.2001)

- Any required performance testing shall be conducted in accordance with Rule 1001(2), Rule 1001(3) and Rule 1003.  (R 336.2001(2), R 336.2001(3), R 336.2003(1))

- Any required test results shall be submitted to the AQD in the format prescribed by the applicable reference test method within 60 days following the last date of the test.  (R 336.2001(5))

## Monitoring/Recordkeeping

- Records of any periodic emission or parametric monitoring required in this ROP shall include the following information specified in Rule 213(3)(b)(i), where appropriate  (R 336.1213(3)(b)):

  - The date, location, time, and method of sampling or measurements.

  - The dates the analyses of the samples were performed.

  - The company or entity that performed the analyses of the samples.

  - The analytical techniques or methods used.

  - The results of the analyses.

  - The related process operating conditions or parameters that existed at the time of sampling or measurement.

- All required monitoring data, support information and all reports, including reports of all instances of deviation from permit requirements, shall be kept and furnished to the department upon request for a period of not less than 5 years from the date of the monitoring sample, measurement, report or application.  Support information includes all calibration and maintenance records and all original strip-chart recordings, or other original data records, for continuous monitoring instrumentation and copies of all reports required by the ROP.  (R 336.1213(1)(e), R 336.1213(3)(b)(ii))

## Certification & Reporting

- Except for the alternate certification schedule provided in Rule 213(3)(c)(iii)(B), any document required to be submitted to the department as a term or condition of this ROP shall contain an original certification by a Responsible Official which states that, based on information and belief formed after reasonable inquiry, the statements and information in the document are true, accurate, and complete.  (R 336.1213(3)(c))

- A Responsible Official shall certify to the appropriate AQD District Office and to the USEPA that the stationary source is and has been in compliance with all terms and conditions contained in the ROP except for deviations that have been or are being reported to the appropriate AQD District Office pursuant to Rule 213(3)(c).  This certification shall include all the information specified in Rule 213(4)(c)(i) through (v) and shall state that, based on information and belief formed after reasonable inquiry, the statements and information in the certification are true, accurate, and complete.  The USEPA address is:  USEPA, Air Compliance Data - Michigan, Air and Radiation Division, 77 West Jackson Boulevard, Chicago, Illinois 60604.  (R 336.1213(4)(c))

- The certification of compliance shall be submitted annually for the term of this ROP as detailed in the special conditions, or more frequently if specified in an applicable requirement or in this ROP.  (R 336.1213(4)(c))

- The permittee shall promptly report any deviations from ROP requirements and certify the reports.  The prompt reporting of deviations from ROP requirements is defined in Rule 213(3)(c)(ii) as follows, unless otherwise described in this ROP. (R 336.1213(3)(c))

  - For deviations that exceed the emissions allowed under the ROP, prompt reporting means reporting consistent with the requirements of Rule 912 as detailed in Condition 25.  All reports submitted pursuant to this paragraph shall be promptly certified as specified in Rule 213(3)(c)(iii).

  - For deviations which exceed the emissions allowed under the ROP and which are not reported pursuant to Rule 912 due to the duration of the deviation, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i).  The report shall describe reasons for each deviation and the actions taken to minimize or correct each deviation.

  - For deviations that do not exceed the emissions allowed under the ROP, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i).  The report shall describe the reasons for each deviation and the actions taken to minimize or correct each deviation.

- For reports required pursuant to Rule 213(3)(c)(ii), prompt certification of the reports is described in Rule 213(3)(c)(iii) as either of the following  (R 336.1213(3)(c)):

  - Submitting a certification by a Responsible Official with each report which states that, based on information and belief formed after reasonable inquiry, the statements and information in the report are true, accurate, and complete.

  - Submitting, within 30 days following the end of a calendar month during which one or more prompt reports of deviations from the emissions allowed under the ROP were submitted to the department pursuant to Rule 213(3)(c)(ii), a certification by a Responsible Official which states that, “based on information and belief formed after reasonable inquiry, the statements and information contained in each of the reports submitted during the previous month were true, accurate, and complete”.  The certification shall include a listing of the reports that are being certified.  Any report submitted pursuant to Rule 213(3)(c)(ii) that will be certified on a monthly basis pursuant to this paragraph shall include a statement that certification of the report will be provided within 30 days following the end of the calendar month.

- Semiannually for the term of the ROP as detailed in the special conditions, or more frequently if specified, the permittee shall submit certified reports of any required monitoring to the appropriate AQD District Office.  All instances of deviations from ROP requirements during the reporting period shall be clearly identified in the reports.  (R 336.1213(3)(c)(i))

- On an annual basis, the permittee shall report the actual emissions, or the information necessary to determine the actual emissions, of each regulated air pollutant as defined in Rule 212(6) for each emission unit utilizing the emissions inventory forms provided by the department.  (R 336.1212(6))

- The permittee shall provide notice of an abnormal condition, start-up, shutdown, or malfunction that results in emissions of a hazardous or toxic air pollutant which continue for more than one hour in excess of any applicable standard or limitation, or emissions of any air contaminant continuing for more than two hours in excess of an applicable standard or limitation, as required in Rule 912, to the appropriate AQD District Office.  The notice shall be provided not later than two business days after the start-up, shutdown, or discovery of the abnormal conditions or malfunction.  Notice shall be by any reasonable means, including electronic, telephonic, or oral communication.  Written reports, if required under Rule 912, must be submitted to the appropriate AQD District Supervisor within 10 days after the start-up or shutdown occurred, within 10 days after the abnormal conditions or malfunction has been corrected, or within 30 days of discovery of the abnormal conditions or malfunction, whichever is first.  The written reports shall include all of the information required in Rule 912(5) and shall be certified by a Responsible Official in a manner consistent with the CAA.  (R 336.1912)

## Permit Shield

- Compliance with the conditions of the ROP shall be considered compliance with any applicable requirements as of the date of ROP issuance, if either of the following provisions is satisfied. (R 336.1213(6)(a)(i), R 336.1213(6)(a)(ii))

  - The applicable requirements are included and are specifically identified in the ROP.

  - The permit includes a determination or concise summary of the determination by the department that other specifically identified requirements are not applicable to the stationary source.

- Any requirements identified in Part E of this ROP have been identified as non-applicable to this ROP and are included in the permit shield.

- Nothing in this ROP shall alter or affect any of the following:

  - The provisions of Section 303 of the CAA, emergency orders, including the authority of the USEPA under Section 303 of the CAA.  (R 336.1213(6)(b)(i))

  - The liability of the owner or operator of this source for any violation of applicable requirements prior to or at the time of this ROP issuance.  (R 336.1213(6)(b)(ii))

  - The applicable requirements of the acid rain program, consistent with Section 408(a) of the CAA.  (R 336.1213(6)(b)(iii))

  - The ability of the USEPA to obtain information from a source pursuant to Section 114 of the CAA.  (R 336.1213(6)(b)(iv))

- The permit shield shall not apply to provisions incorporated into this ROP through procedures for any of the following:

  - Operational flexibility changes made pursuant to Rule 215.  (R 336.1215(5))

  - Administrative Amendments made pursuant to Rule 216(1)(a)(i)-(iv).  (R 336.1216(1)(b)(iii))

  - Administrative Amendments made pursuant to Rule 216(1)(a)(v) until the amendment has been approved by the department.  (R 336.1216(1)(c)(iii))

  - Minor Permit Modifications made pursuant to Rule 216(2).  (R 336.1216(2)(f))

  - State-Only Modifications made pursuant to Rule 216(4) until the changes have been approved by the department.  (R 336.1216(4)(e))

- Expiration of this ROP results in the loss of the permit shield.  If a timely and administratively complete application for renewal is submitted not more than 18 months, but not less than 6 months, before the expiration date of the ROP, but the department fails to take final action before the end of the ROP term, the existing ROP does not expire until the renewal is issued or denied, and the permit shield shall extend beyond the original ROP term until the department takes final action.  (R 336.1217(1)(c), R 336.1217(1)(a))

## Revisions

- For changes to any process or process equipment covered by this ROP that do not require a revision of the ROP pursuant to Rule 216, the permittee must comply with Rule 215.  (R 336.1215, R 336.1216)

- A change in ownership or operational control of a stationary source covered by this ROP shall be made pursuant to Rule 216(1).  (R 336.1219(2))

- For revisions to this ROP, an administratively complete application shall be considered timely if it is received by the department in accordance with the time frames specified in Rule 216.  (R 336.1210(9))

- Pursuant to Rule 216(1)(b)(iii), Rule 216(2)(d) and Rule 216(4)(d), after a change has been made, and until the department takes final action, the permittee shall comply with both the applicable requirements governing the change and the ROP terms and conditions proposed in the application for the modification.  During this time period, the permittee may choose to not comply with the existing ROP terms and conditions that the application seeks to change.  However, if the permittee fails to comply with the ROP terms and conditions proposed in the application during this time period, the terms and conditions in the ROP are enforceable.  (R 336.1216(1)(c)(iii), R 336.1216(2)(d), R 336.1216(4)(d))

## Reopenings

- A ROP shall be reopened by the department prior to the expiration date and revised by the department under any of the following circumstances:

  - If additional requirements become applicable to this stationary source with three or more years remaining in the term of the ROP, but not if the effective date of the new applicable requirement is later than the ROP expiration date.  (R 336.1217(2)(a)(i))

  - If additional requirements pursuant to Title IV of the CAA become applicable to this stationary source.  (R 336.1217(2)(a)(ii))

  - If the department determines that the ROP contains a material mistake, information required by any applicable requirement was omitted, or inaccurate statements were made in establishing emission limits or the terms or conditions of the ROP.  (R 336.1217(2)(a)(iii))

  - If the department determines that the ROP must be revised to ensure compliance with the applicable requirements.  (R 336.1217(2)(a)(iv))

## Renewals

- For renewal of this ROP, an administratively complete application shall be considered timely if it is received by the department not more than 18 months, but not less than 6 months, before the expiration date of the ROP.  (R 336.1210(7))

## Stratospheric Ozone Protection

- If the permittee is subject to Title 40 of the Code of Federal Regulations (CFR), Part 82 and services, maintains, or repairs appliances except for motor vehicle air conditioners (MVAC), or disposes of appliances containing refrigerant, including MVAC and small appliances, or if the permittee is a refrigerant reclaimer, appliance owner or a manufacturer of appliances or recycling and recovery equipment, the permittee shall comply with all applicable standards for recycling and emissions reduction pursuant to 40 CFR, Part 82, Subpart F.

- If the permittee is subject to 40 CFR, Part 82, and performs a service on motor (fleet) vehicles when this service involves refrigerant in the MVAC, the permittee is subject to all the applicable requirements as specified in 40 CFR, Part 82, Subpart B, Servicing of Motor Vehicle Air Conditioners.  The term “motor vehicle” as used in Subpart B does not include a vehicle in which final assembly of the vehicle has not been completed by the original equipment manufacturer.  The term MVAC as used in Subpart B does not include the air-tight sealed refrigeration system used for refrigerated cargo or an air conditioning system on passenger buses using Hydrochlorofluorocarbon-22 refrigerant.

## Risk Management Plan

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall register and submit to the USEPA the required data related to the risk management plan for reducing the probability of accidental releases of any regulated substances listed pursuant to Section 112(r)(3) of the CAA as amended in 40 CFR, Part 68.130.  The list of substances, threshold quantities, and accident prevention regulations promulgated under 40 CFR, Part 68, do not limit in any way the general duty provisions under Section 112(r)(1).

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall comply with the requirements of 40 CFR, Part 68, no later than the latest of the following dates as provided in 40 CFR, Part 68.10(a):

  - June 21, 1999,

  - Three years after the date on which a regulated substance is first listed under 40 CFR, Part 68.130, or

  - The date on which a regulated substance is first present above a threshold quantity in a process.

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall submit any additional relevant information requested by any regulatory agency necessary to ensure compliance with the requirements of 40 CFR, Part 68.

- If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall annually certify compliance with all applicable requirements of Section 112(r) as detailed in Rule 213(4)(c)).  (40 CFR, Part 68)

## Emission Trading

- Emission averaging and emission reduction credit trading are allowed pursuant to any applicable interstate or regional emission trading program that has been approved by the Administrator of the USEPA as a part of Michigan’s State Implementation Plan.  Such activities must comply with Rule 215 and Rule 216. (R 336.1213(12))

## Permit To Install (PTI)

- The process or process equipment included in this permit shall not be reconstructed, relocated, or modified unless a PTI authorizing such action is issued by the department, except to the extent such action is exempt from the PTI requirements by any applicable rule. 2  (R 336.1201(1))

- The department may, after notice and opportunity for a hearing, revoke PTI terms or conditions if evidence indicates the process or process equipment is not performing in accordance with the terms and conditions of the PTI or is violating the department’s rules or the CAA. 2  (R 336.1201(8), Section 5510 of Act 451)

- The terms and conditions of a PTI shall apply to any person or legal entity that now or hereafter owns or operates the process or process equipment at the location authorized by the PTI.  If a new owner or operator submits a written request to the department pursuant to Rule 219 and the department approves the request, this PTI will be amended to reflect the change of ownership or operational control.  The request must include all of the information required by Subrules (1)(a), (b) and (c) of Rule 219.  The written request shall be sent to the appropriate AQD District Supervisor, MDEQ. 2  (R 336.1219)

- If the installation, reconstruction, relocation, or modification of the equipment for which PTI terms and conditions have been approved has not commenced within 18 months of the original PTI issuance date, or has been interrupted for 18 months, the applicable terms and conditions from that PTI, as incorporated into the ROP, shall become void unless otherwise authorized by the department.  Furthermore, the person to whom that PTI was issued, or the designated authorized agent, shall notify the department via the Supervisor, Permit Section, MDEQ, AQD, P. O. Box 30260, Lansing, Michigan 48909, if it is decided not to pursue the installation, reconstruction, relocation, or modification of the equipment allowed by the terms and conditions from that PTI. 2  (R 336.1201(4))

Footnotes:

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# B.  SOURCE-WIDE CONDITIONS

Part B outlines the Source-Wide Terms and Conditions that apply to this stationary source.  The permittee is subject to these special conditions for the stationary source in addition to the general conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited.  If a specific condition type does not apply to this source, NA (not applicable) has been used in the table.  If there are no Source-Wide Conditions, this section will be left blank.

# C.  EMISSION UNIT CONDITIONS

Part C outlines terms and conditions that are specific to individual emission units listed in the Emission Unit Summary Table.  The permittee is subject to the special conditions for each emission unit in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited.  If a specific condition type does not apply, NA (not applicable) has been used in the table.  If there are no conditions specific to individual emission units, this section will be left blank.

## EMISSION UNIT SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| Emission Unit ID | Emission Unit Description (Including Process Equipment & Control Device(s)) | Installation Date/ Modification Date | Flexible Group ID |
| --- | --- | --- | --- |
| EUCS1GLYDHY | As the wet natural gas is withdrawn from the storage field, the difference between the field pressure and the pipeline pressure causes the temperature of the natural gas to drop. This temperature drop causes condensation of water and hydrocarbon liquids present in the wet natural gas. Cold Springs 1 uses ethylene glycol injection into the withdrawal gas stream for prevention of hydrate formation and freeze protection. During regeneration, process water and other hydrocarbon constituents are removed and lean glycol is returned to the injection system. The regenerator’s still column off-gases are routed first through a condenser for bulk water and hydrocarbon removal. The remaining hydrocarbon-rich vapors are then sent to the thermal oxidizer. The glycol dehydrator has a condenser and a thermal oxidizer. (PTI No. 138-13A) | 12/01/2008 | NA |
| EU CS1HHH | 40 CFR, Part 63, Subpart HHH establishes national emission limitations and operating limitations for natural gas transmission and storage facilities that are major sources of HAP emissions. The rule affects facilities that transport or store natural gas prior to entering the pipeline to a local distribution company or to a final user. Subpart HHH is applicable to EUCS1GLYDHY. The glycol dehydrator has the choice of using a condenser and/or a thermal oxidizer for compliance with this regulation. | 10/15/15 Compliance date | NA |
| EU CS1LSHEATER | A natural gas-fired liquid stabilization heater rated at 5 MMBtu/hr. | Before 6/04/2010 | FG CS1DDDDD |
| EU CS1WDHEATER | A natural gas-fired Withdrawal Heater rated at 15 MMBtu/hr used to heat gas upon withdrawal. The emission unit does not have a control device. | Before 6/04/2010 | FG CS1DDDDD |
| EU CS1BOILER | A natural gas-fired boiler rated at 3.5 MMBtu/hr used for building and comfort heating throughout the facility. The emission unit does not have a control device. | Before 6/04/2010 | FG CS12DDDDD |
| EU CS1CNDTANK1 | A condensate storage tank with a maximum capacity of 16,800 gallons used to store stabilized condensate liquids. The emission unit is controlled by a thermal oxidizer. | 12/08/2008 | FG CS1CNDTANKS |
| EU CS1CNDTANK2 | A condensate storage tank with a maximum capacity of 16,800 gallons used to store stabilized condensate liquids. The emission unit is controlled by a thermal oxidizer. | 12/08/2008 | FG CS1CNDTANKS |
| EU CS1CNDTANK3 | A condensate storage tank with a maximum capacity of 16,800 gallons used to store stabilized condensate liquids. The emission unit is controlled by a thermal oxidizer. | 12/08/2008 | FG CS1CNDTANKS |
| EU CS1CNDTANK4 | A condensate storage tank with a maximum capacity of 16,800 gallons used to store stabilized condensate liquids. The emission unit is controlled by a thermal oxidizer. | 12/08/2008 | FG CS1CNDTANKS |

## EUCS1GLYDHY

EMISSION UNIT CONDITIONS

DESCRIPTION

Glycol Dehydration system has a 1.75MM BTU/Hr glycol reboiler.  Cold Springs 1 uses ethylene glycol injection into the withdrawal gas stream for prevention of hydrate formation and freeze protection.

During regeneration, process water and other hydrocarbon constituents are removed and lean glycol is returned to the injection system. The regenerator’s still column off-gases are routed first through a condenser for bulk water and hydrocarbon removal. The remaining hydrocarbon-rich vapors are then sent to the thermal oxidizer.  (PTI No. 138-13A)

Flexible Group ID:

NA

POLLUTION CONTROL EQUIPMENT  Condenser and Thermal Oxidizer.

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| - Benzene | Less than one ton per year1 | 12-month rolling time period as determined at the end of each calendar month. | EUCS1GLYDHY | VI.1 | R 336.1225 29-13, I.3 |
| - Benzene | 0.995 pph with condenser only1 | Test Protocol* | EUCS1GLYDHY | VI.2 | R 336.1225 29-13, I.1 |
| - Benzene | 0.02 pph with condenser followed by thermal oxidizer in series1 | Test Protocol* | EUCS1GLYDHY | VI.2 | R 336.1225 29-13, I.2 |

*Test Protocol shall specify averaging time.

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The glycol re-circulation rate shall not exceed a maximum of 960 gallons per hour.2  (R 336.1225, R 336.1702(a)) 29-13, III.1

- The permittee shall not process natural gas in EUCS1GLYDHY unless the flash tank is installed, maintained, and operated in a satisfactory manner.2  (R 336.1225, R 336.1702(a)) 29-13, III.2

Satisfactory operation includes:

  - Routing the glycol through the flash tank prior to reboiling the glycol.

  - Routing the flash tank exhaust gas to a combustion device.

- Except as allowed in the condition below, the permittee shall not process natural gas in EUCS1GLYDHY unless the glycol reboiler vent is routed through a condenser and thermal oxidizer operating in series.  These control

devices must be installed, maintained, and operated in a satisfactory manner.2  (R 336.1225, R 336.1702(a))  29-13, III.3

Satisfactory operation of the condenser and thermal oxidizer includes:

  - CONDENSER

    - Maximum exhaust gas temperature of 100°F (when bypassing the thermal oxidizer).

  - THERMAL OXIDIZER

    - Minimum VOC destruction efficiency of 98 percent (by weight).

    - Maintain a minimum exhaust temperature of 1400°F.

    - Minimum retention time of 0.5 seconds.

- During periods of thermal oxidizer outage or malfunction, the permittee may bypass the thermal oxidizer and control the glycol reboiler vent with only the condenser.  Bypass of the thermal oxidizer shall not exceed 200 hours per 12-month rolling time period.2  (R 336.1225, R 336.1702(a))  29-13, III.4

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- EUCS1GLYDHY shall be equipped with a thermal oxidizer.  (R 336.1213(3))

- EUCS1GLYDHY shall be equipped with a condenser.  (R 336.1213(3))

- EUCS1GLYDHY shall be equipped with a flash tank.  (R 336.1213(3))

- The permittee shall install, calibrate, maintain and operate in a satisfactory manner a device to monitor the thermal oxidizer and condenser exhaust gas temperatures, and the thermal oxidizer bypass temperature. 2  
(R 336.1213(3))  29-13, VI.1

- EUCS1GLYDHY thermal oxidizer and condenser temperature monitor systems shall each be designed and equipped with alarm systems that will alarm if the operating temperature is less than 1400°F for the thermal oxidizer and greater than 100°F for the condenser.  (R 336.1213(3))

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- Once every five years the permittee shall analyze the natural gas processed in the glycol dehydration unit to determine its content and composition using method(s) standard in the natural gas industry.2  29-13, V.1(R 336.1225, R 336.1702(a))

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee shall keep, in a satisfactory manner, monthly and 12-month rolling time period Benzene emission calculation records in tons from EUCS1GLYDHY.  The permittee shall keep all records on file at a location approved by the AQD District Supervisor and make them available to the Department upon request.1  
(R 336.1225, 40 CFR, Part 63, Subpart HHH) 29-13, VI.4

- The permittee shall calculate the pounds per hour Benzene emission rate with the condenser only, and with the condenser followed by the thermal oxidizer in series, from EUCS1GLYDHY once each hour, using a method acceptable to the AQD District Supervisor.  If GRI-GLYCalc (Version 3.0 or higher) is used to calculate the emission rates, the inputs to the model shall be representative of actual operating conditions of EUCS1GLYDHY and shall include the most recent gas analysis data.  The emissions calculations shall be available to the AQD no later than the 15th of the following month.  The permittee must submit any request for a change in the calculation frequency to the AQD District Supervisor for review and approval.  The permittee shall keep records of Benzene emission rates on file at a location approved by the AQD District Supervisor and make them available to the Department upon request.1  (R 336.1225) 29-13, VI.2

- The permittee shall install, calibrate, maintain and operate in a satisfactory manner a device to monitor and record the following at the frequency indicated.2  (R 336.1225, R 336.1702(a)):

  - Condenser exhaust gas temperature – continuous.

  - Thermal incinerator bypass – daily.

  - Thermal oxidizer exhaust gas temperature – continuous.

- The permittee shall keep, in a satisfactory manner, the following records for EUCS1GLYDHY2:  (R 336.1225, R 336.1702(a))   29-13, VI.3

  - At all times:

    - Equipment specification records of the glycol circulation pump, including but not limited to the maximum circulation rate.

  - When venting EUCS1GLYDHY through the condenser followed by the thermal oxidizer in series:

    - Continuous records of the thermal oxidizer exhaust gas temperature

  - When venting EUCS1GLYDHY through only the condenser (thermal oxidizer outage or malfunction):

    - Continuous records of the condenser exhaust gas temperature

    - Hours that EUCS1GLYDHY is controlled by only the condenser.

- The permittee shall monitor and record the alarm events actuated because the temperature limit of the condenser or thermal oxidizer was not met.  The permittee shall record the action taken in response to an alarm event.  If no action was taken in response to an alarm event, the permittee will record the reason for no action.2  (R 336.1702(a))

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- At least 30 days prior to the anticipated natural gas analysis date, the permittee shall submit analysis protocols to the AQD for review and approval.  The protocol shall describe the method(s) to be used.2   
(R 336.1225, R 336.1702(a))

- The permittee shall notify the AQD no less than 7 days prior to the anticipated natural gas analysis date.2 
(R 336.1225, R 336.1702(a))

- The permittee shall submit a complete report of the natural gas analysis to the AQD within 60 days following the last date of the analysis.2 (R 336.1225, R 336.1702(a))

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| - SV 011B (Condenser) | 21 | 441 | R 336.1225 29-13, VIII.1 |
| - SV 011A (Thermal Oxidizer ) | 201 | 311 | R 336.1225 29-13, VIII.2 |

IX.  OTHER REQUIREMENT(S)

NA

Footnotes:

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EU CS1HHH

EMISSION UNIT CONDITIONS

DESCRIPTION

One glycol dehydration system operates in two modes (glycol injection and glycol absorption) to remove water from the natural gas withdrawn from the storage reservoir.  The glycol dehydration system meets the definition in 40 CFR 63.1271 and was constructed prior to August 23, 2011 and must attain compliance with the requirements in 40 CFR, Part 63, Subpart HHH by October 15, 2015.

Emission Units:  EUCS1GLYDHY

Flexible Group ID:  NA

POLLUTION CONTROL EQUIPMENT  Condenser and/or Thermal Oxidizer.

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| 1. BTEX | Calculated using the equation in Appendix 7A | Annual | EUCS1GLYDHY | V.2, V.4, VI.9 | 40 CFR 63.1275(b)(1)(iii) |

See Appendix 7A

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The process vent from EUCS1GLYDHY shall be vented to a control device or a combination of control devices through a closed-vent system.  (40 CFR 63.1275(b)(1)(iii)(A))

- The control device(s) shall be one of those specified below and must be designed and operated in accordance with the following requirements:  (40 CFR 63.1281(f)(1))

- A thermal oxidizer that reduces the concentration of BTEX to meet the emission limit in I.1, or the TOC or total HAP concentration in the exhaust gases at the outlet of the oxidizer is reduced to a level equal to or less than 20 ppmv on a dry basis corrected to 3 percent oxygen.

- A condenser or other non-destructive control device that is designed and operated to reduce the mass content of BTEX in the gases vented by 95 percent.

- The permittee shall control HAP emissions from each GCG separator (flash tank) vent unless BTEX emissions from the reboiler vent and the flash tank are reduced to a level less than the limit in condition I.1.  
(40 CFR 63.1275(c)(3))

- The permittee shall operate and maintain EUCS1GLYDHY, including associated air pollution control equipment and monitoring equipment, in a manner consistent with safety and good air pollution control practices for minimizing emissions. (40 CFR 63.1274(h))

- The permittee shall operate each control device in accordance with the requirements specified below:

(40 CFR 63.1281(f)(2))

- Each control device used to comply with this subpart shall be operating at all times.  More than one unit may be vented to a control device.

- For each control device monitored in accordance with the requirements of conditions VI.8 - 13, the permittee shall demonstrate compliance according to the requirements of VI.2 (§ 63.1282(e)).

- When using a condenser to demonstrate continuous compliance with emission limits the control device shall be operated at a maximum operating temperature established in accordance with the requirements of VI.8. When using a thermal oxidizer to demonstrate continuous compliance with emission limits the control device shall be operated at the minimum operating temperature established in accordance with the requirements of VI.8 or a minimum of 1400°F. (40 CFR 63.1282(e)(1))

IV.  DESIGN/EQUIPMENT PARAMETER(S)

- The closed vent system shall be designed and operated in accordance with the following requirements:  (40 CFR 63.1281(c), 40 CFR 63.1283(c)(2)(iii))

  - The closed-vent system shall route all gases, vapors, and fumes emitted from the material in and emission unit to a control device that meets the requirements specified in condition III.2.

  - The closed-vent system shall be designed and operated with no detectable emissions.

  - Any bypass devices in the closed-vent system that could divert emissions from entering the control device shall be equipped with a flow indicator at the inlet to the bypass device that takes readings every 15 minutes, and that sounds an alarm when the bypass device is open; or the bypass device valve at the inlet to the bypass device shall be secured using a car-seal or lock and key.

- Each continuous parameter monitoring system (CPMS) shall meet the following specifications and requirements: (40 CFR 63.1283(d)(1))

  - Each CPMS shall measure data values at least once every hour and record either:

    - Each measured data value; or

ii	Each block average value for each 1-hour period or shorter periods calculated from all measured data values during each period. If values are measured more frequently than once per minute, a single value for each minute may be used to calculate the hourly (or shorter period) block average instead of all measured values.

- The permittee shall install a device equipped with a continuous recorder to measure the values of operating parameters appropriate for the control device as specified below.  (40 CFR 63.1283(d)(3))

- For a thermal oxidizer, the temperature monitoring device shall have a minimum accuracy of ±2 percent of the temperature being monitored in °C, or ±2.5°C, whichever value is greater.  The temperature sensor shall be installed at a location representative of the combustion zone temperature

- For a condenser, the temperature monitoring device shall have a minimum accuracy of ±2 percent of the temperature being monitored in °C, or ±2.5°C, whichever value is greater.  The temperature sensor shall be installed at a location in the exhaust vent stream from the condenser.

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- Determination of the actual flow rate of natural gas to EUCS1GLYDHY shall be made using either of the following procedures:  (40 CFR 63.1282(a)(1))

- Install and operate a monitoring instrument that directly measures natural gas flow rate to EUCS1GLYDHY with an accuracy of ± 2 percent or better.  The annual natural gas flow rate shall be converted to a daily average by dividing the annual flow rate by the number of days per year each EU processed natural gas.

- Document to the AQD’s satisfaction, the actual annual average natural gas flowrate to EUCS1GLYDHY.

- Determination of the actual average BTEX emissions from EUCS1GLYDHY with condenser and/or thermal oxidizer control device shall be made using the following procedure:  (40 CFR 63.1282(a)(2))

- Use GRI-GLYCalc™, Version 3.0 or higher.  Inputs to the model shall be representative of actual operating conditions of each glycol dehydration unit.

3.	The permittee shall perform “no detectable emissions” testing for closed vent systems using the test methods and procedures specified in 40 CFR 63.1282(b).  (40 CFR 63.1282(b))

- If the permittee chooses to conduct a performance test to demonstrate that a control device meets the requirements of III.2 (40 CFR 1281(f)(1)) the permittee shall conduct emissions testing for compliance with the BTEX emission limit calculated using Equation 1 or the 20 ppmv TOC or Total HAP exhaust gas concentration reduction requirement using the following test methods and procedures:  (40 CFR 63.1282(d)(3)

- Method 1 or 1A, 40 CFR, Part 60, Appendix A, as appropriate, shall be used for selection of the sampling sites. The sampling site shall be located at the outlet of the combustion device.

- The gas volumetric flow rate shall be determined using Method 2, 2A, 2C, or 2D, 40 CFR, Part 60, Appendix A, as appropriate.

- To determine compliance with the BTEX emission limit or the 20 ppmv TOC or Total HAP exhaust gas concentration reduction requirement, the permittee shall use one of the following methods: Method 18, 40 CFR, Part60, Appendix A; ASTM D64200-99 (Reapproved 2004); or any other method or data that have been validated according to the applicable procedures in Method 301, 40 CFR, Part 63, 
Appendix A.

- The permittee shall conduct performance tests according to the following schedule:

i.	An initial performance test shall be conducted no later than October 15, 2015.

ii	The first periodic performance test shall be conducted not later than 60 months after the initial performance test. Subsequent periodic performance tests shall be conducted at intervals no longer than 60 months following the previous periodic performance test or whenever a source desires to establish a new operating limit. Combustion control devices meeting either of the following criteria are not required to conduct periodic performance tests;

- Control device whose model is tested under, and meets the criteria of manufacturers performance test in 40 CFR 63.1282(g).

- A combustion control device demonstrating during the performance test that combustion zone temperature is an indicator of destruction efficiency and operates at a minimum temperature of 1400 degrees Fahrenheit.

5.	As an alternative to the performance test referenced in V.4 the permittee may elect to use the procedures documented in the GRI report entitled “Atmospheric Rich/Lean method for Determining Glycol Dehydrator Emissions” (GRI-95/0368.1) as inputs for the model GRI-GLYCalc™, version 3.0 or higher, to generate a condenser performance curve. (40 CFR 63.1282(d)(5))

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

1.	The permittee shall maintain records of the annual facility natural gas throughput each year.

(40 CFR 63.1270(a)(3))

- The permittee shall continuously monitor and record the temperature on the thermal oxidizer or condenser and calculate the daily average temperature for each operating day.  (40 CFR 63.1282(e), 40 CFR 63.1283(d)(4))

  - Establish a site specific maximum (condenser) or minimum (thermal oxidizer) temperature to define the conditions at which the control device must be operated to continuously achieve compliance with the emission limit.

  - Calculate the daily average of the temperature readings in accordance with condition VI.8.

  - Compliance is achieved when the daily average of the temperature readings calculated under 2.b. is either equal to or greater than the minimum or equal to or less than the maximum monitoring value established under 2.a.

- When using a condenser as the control device the permittee may demonstrate compliance with BTEX emission reductions by complying with the following requirements:  (40 CFR 63.1282(f))

a.	The permittee shall establish a site-specific condenser performance curve according to the procedures specified in Condition VI.10.

b.	The permittee must calculate the daily average condenser outlet temperature in accordance with Condition VI.10.

c.	The permittee shall determine the condenser efficiency for the current operating day using the daily average condenser outlet temperature and the condenser performance curve.

  - At the end of each operating day the permittee shall calculate the 30-day average BTEX emission reduction from the condenser efficiencies for the preceding 30 operating days.

  - Compliance is achieved if the average BTEX emission reduction is equal to or greater than the minimum percent reduction established in Condition VI.10.

- For each closed-vent system, the permittee shall comply with the following requirements:

(40 CFR 63.1283(c)(2-4))

- Except for parts of the closed-vent system or cover that are designated unsafe to inspect or difficult to inspect, each closed-vent system and each bypass device shall be inspected according to the procedures specified below according the following schedule:

    - For each closed-vent system joints, seams, or other connections that are permanently or semi-permanently sealed (e.g., a welded joint between two sections of hard piping or a bolted or gasketed ducting flange):

      - Conduct an initial inspection to demonstrate that the closed-vent system operates with no detectable emissions.

      - Conduct annual visual inspections for defects that could result in air emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in piping; loose connections; or broken or missing caps or other closure devices.

    - For closed-vent system components other than those specified in VI.5.a.i above:

      - Conduct an initial inspection to demonstrate that the closed-vent system operates with no detectable emissions.

      - Conduct annual inspections to demonstrate that the components or connections operate with no detectable emissions.

      - Conduct annual visual inspections for defects that could result in air emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in ductwork; loose connections; or broken or missing caps or other closure devices.

    - For each bypass device, except low leg drains, high point bleeds, analyzer vents, open-ended valves or lines, and safety devices, the permittee shall either:

      - At the inlet to the bypass device that could divert the steam away from the control device to the atmosphere, set the flow indicator to take a reading at least once every 15 minutes; or

      - If the bypass device valve installed at the inlet to the bypass device is secured in the non-diverting position using a car-seal or a lock-and-key type configuration, visually inspect the seal or closure mechanism at least once every month to verify that the valve is maintained in the non-diverting position and the vent stream is not diverted through the bypass device.

- In the event that a leak or defect is detected, the permittee shall repair the leak or defect as soon as practicable, except as provided in VI.5.c.

- A first attempt at repair shall be made no later than 5 calendar days after the leak is detected.

- Repair shall be completed no later than 15 calendar days after the leak is detected.

- Delay of repair of a closed-vent system for which leaks or defects have been detected is allowed if the repair is technically infeasible without a shutdown, as defined in § 63.1271, or if the permittee determines that emissions resulting from immediate repair would be greater than the fugitive emissions likely to result from delay of repair.  Repair of such equipment shall be completed by the end of the next shutdown.

- Any parts of the closed-vent system or cover that are designated, as described below, as unsafe to inspect are exempt from the inspection requirements of Condition VI.5 if:  (40 CFR 63.1283(c)(5))

a.	The permittee determines that the equipment is unsafe to inspect because inspecting personnel would be exposed to an imminent or potential danger as a consequence of complying with Condition VI.5.a.i or ii.

b.	The permittee has a written plan that requires inspection of the equipment as frequently as practicable during safe-to-inspect times.

6.	Any parts of the closed-vent system or cover that are designated, as described below, as difficult to inspect are exempt from the inspection requirements of Condition VI.5 if:  (40 CFR 63.1283(c)(6))

a.	The permittee determines that the equipment cannot be inspected without elevating the inspecting personnel more than 2 meters above a support surface; and

b.	The permittee has a written plan that requires inspection of the equipment at least once every 5 years.

7. 	Using the data recorded by the monitoring system, except for inlet gas flowrate, the permittee must calculate the daily average value for each monitored operating parameter for each operating day. If the emissions unit operation is continuous, the operating day is a 24-hour period. If the emissions unit operation is not continuous, the operating day is the total number of hours of control device operation per 24-hour period. Valid data points must be available for 75 percent of the operating hours in an operating day to compute the daily average.

(40 CFR 63.1283(d)(4))

- For the control devices used to comply with 40 CFR, Part 63, Subpart HHH, the permittee shall establish a minimum operating parameter value or a maximum operating parameter value, as appropriate for the control device, to define the conditions at which the control device must be operated to continuously achieve the emission limits in Section I of FGMACTHHH.  Each minimum or maximum operating parameter value shall be established as follows:  (40 CFR 63.1283(d)(5)(i))

  - If the permittee conducts performance tests to demonstrate that the control device achieves the applicable performance requirements, then the minimum operating parameter value or the maximum operating parameter value shall be established based on values measured during the performance test and supplemented, as necessary, by a condenser design analysis or control device manufacturer's recommendations or a combination of both.

  - If the permittee uses a condenser design analysis to demonstrate that the control device achieves the applicable performance requirements, then the minimum operating parameter value or the maximum operating parameter value shall be established based on the condenser design analysis and may be supplemented by the condenser manufacturer's recommendations.

  - If the permittee operates a control device where the performance test requirement was met under manufacturers’ performance test to demonstrate that the control device achieves the applicable performance requirements, then the maximum inlet gas flowrate shall be established based on the performance test and supplemented, as necessary, by the manufacturer recommendations.

- When using condensers as the control device the permittee shall also establish a condenser performance curve showing the relationship between condenser outlet temperature and condenser control efficiency.  The curve shall be established using the procedures documented in the GRI report entitled, “Atmospheric Rich/Lean Method for Determining Glycol Dehydrator Emissions” (GRI-95/0368.1) as inputs for the model GRI-GLYCalctm, Version 3.0 or higher, to generate a condenser performance curve.  (40 CFR 63.1283(d)(5)(ii))

10.	A deviation for a control device is determined to have occurred when the monitoring data or lack of monitoring data result in any one of the criteria specified below being met.  When multiple operating parameters are monitored for the same control device and during the same operating day, and more than one of these operating parameters meets an excursion criterion specified below, then a single excursion is determined to have occurred for the control device for that operating day.  (40 CFR 63.1283(d)(6)(i-iii))

- When the daily average value of a monitored operating parameter is less than the minimum operating parameter limit (or, if applicable, greater than the maximum operating parameter limit) established for the operating parameter.

- When the 30-day average condenser efficiency calculated according to the requirements of Condition VI.3.d is less than the identified 30-day required percent reduction.

- When the monitoring data are not available for at least 75 percent of the operating hours in a day.

- A deviation occurs for a closed-vent system containing one or more bypass devices that could be used to divert all or a portion of the gases, vapors, or fumes from entering the control device when:

(40 CFR 63.1283(d)(6)(iv))

  - The flow indicator indicates that flow has been detected and that the stream has been diverted away from the control device to the atmosphere.

b.	If the seal or closure mechanism has been broken, the bypass line valve position has a changed, the key for the lock-and-key type lock has been checked out, or the car-seal has broken.

- For each deviation, the permittee shall be deemed to have failed to have applied control in a manner that achieves the required operating parameter limits. Failure to achieve the required operating parameter limits is a violation of this standard.  (40 CFR 63.1283(d)(7))

13. 	Nothing in conditions VI.8 through VI.13 shall be construed to allow or excuse a monitoring parameter deviation caused by any activity that violates other applicable provisions of this subpart. (40 CFR 63.1283(d)(9))

- The permittee shall maintain the records specified in 40 CFR 63.10(b)(2). (40 CFR 63.1284(b)(2))

- The permittee shall maintain the following records:  	(40 CFR 63.1284(b)(4), 40 CFR 63.1284(g))

  - Continuous records of the equipment operating parameters specified to be monitored in Conditions VI.8-10.

  - Records of the daily average value of each continuously monitored parameter for each operating day determined according to the procedures specified in Condition VI.8.

  - For condensers using reduction efficiency for compliance, records of the annual 30-day rolling average condenser efficiency determined in Condition VI.3.d shall be kept in addition to the daily averages.

  - The following records for a control device whose model is tested under the manufacturers’ performance test:

    - All visible emission readings and flow rate calculations made during the compliance determination

    - All hourly records and other recorded periods when the pilot flame is absent.

  - Hourly records of the times and durations of all periods when the vent stream is diverted from the control device or the device is not operating.

  - Where a seal or closure mechanism is used to comply with the closed vent bypass, hourly records of flow are not required. In such cases, the owner or operator shall record that the monthly visual inspection of the seals or closure mechanism has been done, and shall record the duration of all periods when the seal mechanism is broken, the bypass line valve position has changed, or the key for a lock-and-key type lock has been checked out, and records of any car-seal that has broken.

- The permittee shall maintain records identifying all parts of the closed-vent system that are designated as unsafe to inspect in accordance with Condition VI.6, an explanation of why the equipment is unsafe to inspect, and the plan for inspecting the equipment.  (40 CFR 63.1284(b)(5))

- The permittee shall maintain records identifying all parts of the closed-vent system that are designated as difficult to inspect in accordance with Condition VI.7, an explanation of why the equipment is difficult to inspect, and the plan for inspecting the equipment.  (40 CFR 63.1284(b)(6))

- The permittee shall maintain the following records for each inspection conducted in accordance with Condition VI.5 during which a leak or defect is detected.  (40 CFR 63.1284(b)(7))

  - The instrument identification numbers, operator name or initials, and identification of the equipment.

  - The date the leak or defect was detected and the date of the first attempt to repair the leak or defect.

  - Maximum instrument reading measured by the method specified in Condition V.3 after the leak or defect is successfully repaired or determined to be non-repairable.

  - “Repair delayed” and the reason for the delay if a leak or defect is not repaired within 15 calendar days after discovery of the leak or defect.

  - The name, initials, or other form of identification of the permittee (or designee) whose decision it was that repair could not be affected without a shutdown.

  - The expected date of successful repair of the leak or defect if a leak or defect is not repaired within 15 calendar days.

  - Dates of shutdowns that occur while the equipment is unrepaired.

  - The date of successful repair of the leak or defect.

- For each inspection conducted in accordance with Condition VI.5 during which no leaks or defects are detected, the permittee shall maintain a record that the inspection was performed, the date of the inspection, and a statement that no leaks or defects were detected.  (40 CFR 63.1284(b)(8))

- The permittee shall maintain records of the occurrence and duration of each malfunction of process equipment or the air pollution control equipment and monitoring equipment.  The permittee shall maintain records of actions taken during periods of malfunction to minimize emissions in accordance with Condition III.4 including corrective actions to restore malfunctioning process and air pollution control and monitoring equipment to its normal or usual manner of operation.  (40 CFR 63.1284(f))

VII.  REPORTING

1.	Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

2.	Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

3.	Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

4.	The permittee shall submit the notification of the planned date of a performance test and site–specific test plan at least 60 days before the test.  (40 CFR 63.1285(b)(3))

5.	The permittee shall submit a Notification of Compliance Status Report as required under § 63.9(h) within 180 days after October 15, 2015. In addition to the information required under § 63.9(h) the Notification of Compliance Status Report shall include the information specified in paragraphs 5.a. through l. of this section. If an owner or operator submits the required information at different times, and/or different submittals, subsequent submittals may refer to previous submittals instead of duplicating and resubmitting the previously submitted information.  (40 CFR 63.1285(d))

a.	If a closed-vent system and a control device other than a flare are used to comply with § 63.1274, the owner or operator shall submit the information in condition 5.a.iii. and the information in either paragraph 5.a.i. or ii.

i.	The condenser design analysis documentation specified in § 63.1282(d)(4) if the owner or operator elects to prepare a design analysis; or

ii.	If the owner or operator is required to conduct a performance test, the performance test results including the information specified in condition 5.a.ii.A. and B. Results of a performance test conducted prior to the compliance date of this subpart can be used provided that the test was conducted using the methods specified in § 63.1282(d)(3), and that the test conditions are representative of current operating conditions. If the owner or operator operates a combustion control device model tested under § 63.1282(g), an electronic copy of the performance test results shall be submitted via email to Oil_and_Gas_PT@EPA.GOV unless the test results for that model of combustion control device are posted at the following Web site: epa.gov/airquality/oilandgas/.

A. 	The percent reduction of HAP or TOC, or the outlet concentration of HAP or TOC (parts per million by volume on a dry basis), determined as specified in § 63.1282(d)(3); and

B. 	The value of the monitored parameters specified in § 63.1283(d), or a site-specific parameter approved by the permitting agency, averaged over the full period of the performance test.

iii.	The results of the closed-vent system initial inspections performed according to the requirements in § 63.1283(c)(2)(i) and (ii).

b.	The owner or operator shall submit one complete test report for each test method used for a particular source.

i.	For additional tests performed using the same test method, the results specified in condition 5.a.ii. shall be submitted, but a complete test report is not required.

ii.	A complete test report shall include a sampling site description, description of sampling and analysis procedures and any modifications to standard procedures, quality assurance procedures, record of operating conditions during the test, record of preparation of standards, record of calibrations, raw data sheets for field sampling, raw data sheets for field and laboratory analyses, documentation of calculations, and any other information required by the test method.

c.	For each control device other than a flare used to meet the requirements of § 63.1274, the owner or operator shall submit the information specified in Condition 5.d.i. through iv. for each operating parameter required to be monitored in accordance with the requirements of § 63.1283(d).

i.	The minimum operating parameter value or maximum operating parameter value, as appropriate for the control device, established by the owner or operator to define the conditions at which the control device must be operated to continuously achieve the applicable performance requirements of § 63.1281(d)(1) or (e)(3)(ii).

ii.	An explanation of the rationale for why the owner or operator selected each of the operating parameter values established in § 63.1283(d)(5). This explanation shall include any data and calculations used to develop the value, and a description of why the chosen value indicates that the control device is operating in accordance with the applicable requirements of § 63.1281(d)(1), (e)(3)(ii), or (f)(1).

iii.	A definition of the source's operating day for purposes of determining daily average values of monitored parameters. The definition shall specify the times at which an operating day begins and ends.

d.	Results of any continuous monitoring system performance evaluations shall be included in the Notification of Compliance Status Report.

e.	The owner or operator shall comply with all requirements for compliance status reports contained in the source's title V permit, including reports required under 40 CFR, Part 63, Subpart HHH. Each time a notification of compliance status is required under this subpart, the owner or operator of such source shall submit the notification of compliance status to the appropriate permitting authority following completion of the relevant compliance demonstration activity specified in this subpart.

f.	The owner or operator shall submit an analysis demonstrating whether an affected source is a major source using the maximum throughput calculated according to § 63.1270(a).

g.	The owner or operator shall submit a statement as to whether the source has complied with the requirements of this subpart.

h.	If the owner or operator installs a combustion control device model tested under the manufacturer’s performance test procedures in § 63.1282(g), the Notification of Compliance Status Report shall include the data listed under § 63.1282(g)(8).

i.	For each combustion control device model tested under § 63.1282(g), the information listed in paragraphs 5.i.i. through vi. of this section.

i.	Name, address and telephone number of the control device manufacturer.

ii.	Control device model number.

iii.	Control device serial number.

iv.	Date the model of control device was tested by the manufacturer.

v.	Manufacturer's HAP destruction efficiency rating.

vi.	Control device operating parameters, maximum allowable inlet gas flow rate.

- The permittee shall prepare Periodic Reports in accordance with a. and b. below and submit them to the Administrator.  (40 CFR 63.1285(e))

- The permittee shall submit Periodic Reports semiannually beginning 60 calendar days after the end of the applicable reporting period. The first report shall be submitted no later than 240 days after the date the Notification of Compliance Status Report is due and shall cover the 6-month period beginning on the date the Notification of Compliance Status Report is due.  The report shall include certification by a responsible official of truth, accuracy, and completeness.

- The permittee shall include the following information and any other information as applicable in §63.1285(e)(2).

    - A description of all deviations as defined in Conditions VI.12-14 that have occurred during the 6-month reporting period, and the information described in §63.1285(e)(2)(ii).

    - For each inspection conducted in accordance with Condition VI.5 during which a leak or defect is detected, the records described in Condition VI.21 must be included in the next Periodic Report.

    - For each closed-vent system with a bypass line, records required under Condition VI.17.e and f.

    - A statement identifying if there were no deviations during the reporting period.

    - Any change in compliance methods as described in §63.1282(e).

    - The results of any periodic test conducted during the reporting period.

- Whenever a process change is made, or a change in any of the information submitted in the Notification of Compliance Status Report, the permittee shall submit a report within 180 days after the process change is

made or as a part of the next Periodic Report, whichever is sooner.  The report shall include: (40 CFR 63.1285(f))

- A brief description of the process change;

- A description of any modification to standard procedures or quality assurance procedures;

- Revisions to any of the information reported in the original Notification of Compliance Status Report under condition VII.5

- Information required by the Notification of Compliance Status Report under Condition VII.5 for changes involving the addition of processes or equipment.

- Within 60 days after the date of completing a performance test (defined in § 63.2) you must submit the results of the performance tests to EPA's WebFIRE database by using the Compliance and Emissions Data Reporting Interface (CEDRI) that is accessed through EPA's Central Data Exchange (CDX) (www.epa.gov/cdx). Performance test data must be submitted in the file format generated through use of EPA's Electronic Reporting Tool (ERT) (see http://www.epa.gov/ttn/chief/ert/index.html). Only data collected using test methods on the ERT Web site are subject to this requirement for submitting reports electronically to WebFIRE. All reports required by this subpart not subject to the above electronic reporting requirements must be sent to the Administrator at the appropriate address.  The Administrator may request a report in any form suitable for the specific case (e.g., by commonly used electronic media such as Excel spreadsheet, on CD or hard copy).  The Administrator retains the right to require submittal of reports in paper format.  (40 CFR 63.1285(g))

- The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor no less than 7 days prior to the anticipated test date.  (R 336.2001(4))

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted.

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| NA | NA | NA | NA |

IX.  OTHER REQUIREMENT(S)

- The permittee shall determine major source status using the maximum annual facility natural gas throughput calculated according to 40 CFR 63.1270(a)(1)(i) through (a)(1)(iv). As an alternative to calculating the maximum natural gas throughput, the owner or operator of a new or existing source may use the facility design maximum natural gas throughput to estimate the maximum potential emissions.  (40 CFR 63.1270(a)(1))

- The permittee shall determine the maximum values for other parameters used to calculate potential emissions as the maximum over the same period for which maximum throughput is determined.  These parameters shall be based on an annual average or the highest single measured value.  For estimating maximum potential emissions from glycol dehydration units, the glycol circulation rate used in the calculation shall be the unit’s maximum rate under its physical and operational design consistent with the definition of potential to emit in 40 CFR 63.2. (40 CFR 63.1270(a)(4))

- A site-specific monitoring plan must be prepared that addresses the monitoring system design, data collection, and the quality assurance and quality control elements. Each CPMS must be installed, calibrated, operated, and maintained in accordance with the procedures in your approved site-specific monitoring plan. The permittee may request approval of monitoring system quality assurance and quality control procedures alternative to those specified below and in your site-specific monitoring plan.  (40 CFR 63.1283(d)(1)(ii-iv))

  - The performance criteria and design specifications for the monitoring system equipment, including the sample interface, detector signal analyzer, and data acquisition and calculations;

  - Sampling interface (e.g., thermocouple) location such that the monitoring system will provide representative measurements;

  - Equipment performance checks, system accuracy audits, or other audit procedures;

  - Ongoing operation and maintenance procedures in accordance with provisions in § 63.8(c)(1) and (c)(3);

  - Ongoing reporting and recordkeeping procedures in accordance with provisions in § 63.10(c), (e)(1), and (e)(2)(i).

  - The permittee must conduct the CPMS equipment performance checks, system accuracy audits, or other audit procedures specified in the site-specific monitoring plan at least once every 12 months.

  - The permittee must conduct a performance evaluation of each CPMS in accordance with the site-specific monitoring plan.

- The permittee shall comply with all applicable provisions of the National Emission Standards for Hazardous Air Pollutants, as specified in 40 CFR, Part 63, Subpart A and Subpart HHH, for Natural Gas Transmission and Storage Facilities by October 15, 2015.  (40 CFR, Part 63, Subparts A and HHH)

Footnotes:

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# D.  FLEXIBLE GROUP CONDITIONS

Part D outlines the terms and conditions that apply to more than one emission unit.  The permittee is subject to the special conditions for each flexible group in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited.  If a specific condition type does not apply, NA (not applicable) has been used in the table.  If there are no special conditions that apply to more than one emission unit, this section will be left blank.

## FLEXIBLE GROUP SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| Flexible Group ID | Flexible Group Description | Associated Emission Unit IDs |
| --- | --- | --- |
| FG CS1DDDDD | Stabilizer Heater (5 MMBtu/hr) and Boiler (3.5 MMBtu/hr) | EU CS1BOILER, EU CS1SHEATER, EU CS1WDHEATER |
| FG CS1CNDTANKS | Four condensate storage tanks controlled by a thermal oxidizer. | EU CS1TANK1, EU CS1TANK2, EU CS1TANK3, EU CS1TANK4 |

## FG CS1DDDDD

FLEXIBLE GROUP CONDITIONS

DESCRIPTION

EU CS1HEATER (5 MMBtu/hr), EU CS1WDHEATER (15 MMBtu/hr), and EU CS1BOILER (3.5 MMBtu/hr) are subject to 40 CFR, Part 63, Subpart DDDDD National Emission Standard for Hazardous Air Pollutants for Major Sources:  Industrial, Commercial, and Institutional Boilers and Process Heaters.

Emission Unit:  EU CS1SHEATER, EU CS1WDHEATER, and EU CS1BOILER.

POLLUTION CONTROL EQUIPMENT:  NA

I.  EMISSION LIMIT(S)

| Pollutant | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| NA | NA | NA | NA | NA | NA |

II.  MATERIAL LIMIT(S)

| Material | Limit | Time Period/ Operating Scenario | Equipment | Monitoring/ Testing Method | Underlying Applicable Requirements |
| --- | --- | --- | --- | --- | --- |
| NA | NA | NA | NA | NA | NA |

III.  PROCESS/OPERATIONAL RESTRICTION(S)

NA

IV.  DESIGN/EQUIPMENT PARAMETER(S)

NA

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee must conduct an initial performance tune-up no later than January 31, 2016 for EU CS1HEATER and EU CS1WDHEATER according to § 63.7540(a)(11).  Subsequent biennial tune-ups must be conducted no more than 25 months after the previous tune-up.  (40 CFR 63.7510(e), 40 CFR 63.7515(d), 40 CFR 63.7540(a)(11), 40 CFR, Part 63, Subpart DDDDD, Table 3.2)

- The permittee must conduct an initial performance tune-up no later than January 31, 2016 for EU CS1BOILER according to § 63.7540(a)(12).  Subsequent 5-year tune-ups must be conducted no more than 61 months after the previous tune-up.  (40 CFR 63.7510(e), 40 CFR 63.7515(d), 40 CFR 63.7540(a)(12), 40 CFR, Part 63, Subpart DDDDD, Table 3.1)

- The permittee shall complete a one-time energy assessment specified in Table 3.4 (a) through (h) no later than January 31, 2016 for all Emission Units in FG CS1DDDDD.  An energy assessment completed on or after January 1, 2008, that meets or is amended to meet the energy assessment requirements, satisfies the energy

assessment requirement.  A facility that operates under an energy management program compatible with ISO 50001 that includes the affected units also satisfies the energy assessment requirement.  The energy assessment must include the following:

- A visual inspection of the boiler or process heater system.

- An evaluation of operating characteristics of the boiler or process heater systems, specifications of energy using systems, operating and maintenance procedures, and unusual operating constraints.

- An inventory of major energy use systems consuming energy from affected boilers and process heaters and which are under the control of the boiler/process heater owner/operator.

- A review of available architectural and engineering plans, facility operation and maintenance procedures and logs, and fuel usage.

- Reviews of the facility's energy management practices and provide recommendations for improvements consistent with the definition of energy management practices, if identified.

- A list of cost-effective energy conservation measures that are within the facility's control.

- A list of the energy savings potential of the energy conservation measures identified.

- A comprehensive report detailing the ways to improve efficiency, the cost of specific improvements, benefits, and the time frame for recouping those investments.

(40 CFR 63.7510(e), 40 CFR, Part 63, Subpart DDDDD Table 3.4)

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

1.	The permittee shall maintain a copy of each notification and report submitted to comply with 40 CFR, Part 63, Subpart DDDDD including all documentation supporting any Initial Notification or Notification of Compliance Status or Semiannual Compliance report that was submitted, according to the requirements in § 63.10(b)(2)(xiv) and any records of performance tests, fuel analyses, or other compliance demonstrations and performance evaluations as required in § 63.10(b)(2)(viii). (40 CFR 63.7555)

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

- A compliance report containing the information below shall be submitted with the annual certification of compliance in VII.3 above.  The compliance report for EU CS1HEATER and EU CS1WDHEATER is due every two years starting in 2018.  The compliance report for EU CS1BOILER is due every five years starting in 2021.  (40 CFR 63.7550(B), 40 CFR 63.7550(c)(5))

  - Company and Facility name and address.

  - Process unit information, emissions limitations, and operating parameter limitations.

  - Date of report and beginning and ending dates of the reporting period.

  - The total operating time during the reporting period.

  - Include the date of the most recent tune-up for EU CS1HEATER, EU CS1WDHEATER and EU CS1BOILER. Include the date of the most recent burner inspection if it was not done annually, biennially, or on a 5-year period and was delayed until the next scheduled or unscheduled unit shutdown.

- The permittee shall submit a Notification of Compliance Status (NOCS) following the initial compliance demonstration.  The NOCS must contain the following:  (40 CFR 63.7530(d),(e), and (f), 40 CFR 63.7545(e))

  - A description of each Emission Unit including identification of which subcategories the EU is in and the design heat input capacity of the EU

  - The following certifications of compliance, as applicable, and signed by a responsible official:

    - “This facility complies with the required initial tune-up according to the procedures in § 63.7540(a)(10)(i) through (vi).”

    - “This facility has had an energy assessment performed according to § 63.7530(e) and is an accurate depiction of the facility at the time of the assessment.”

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| NA | NA | NA | NA |

IX.  OTHER REQUIREMENT(S)

1.	The permittee shall comply with all applicable provisions of the National Emission Standards for Hazardous Air Pollutants, as specified in 40 CFR, Part 63, Subpart A and Subpart DDDDD: Industrial, Commercial, and Institutional Boilers and Process Heaters no later than January 31, 2016.  (40 CFR, Part 63, Subpart DDDDD, 40 CFR 63.7495(b))

Footnotes:

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FG CS1CNDTANKS

FLEXIBLE GROUP CONDITIONS

DESCRIPTION:  Four condensate storage tanks each with a maximum capacity of 16,800 gallons used to store stabilized condensate liquids.

Emission Unit:  EU CS1TANK1, EU CS1TANK2, EU CS1TANK3, and EU CS1TANK4

POLLUTION CONTROL EQUIPMENT:  A natural gas blanket is used to minimize VOC and Toxic air contaminates (TAC) emissions from the tanks.  A thermal oxidizer is used to control hydrocarbon vapors resulting from breathing and working losses from the condensate storage tanks.

I.  EMISSION LIMIT(S)

NA

II.  MATERIAL LIMIT(S)

NA

III.  PROCESS/OPERATIONAL RESTRICTION(S)

- The permittee shall not operate FG CS1CNDTANKS unless a malfunction abatement plan (MAP) as described in Rule 911(2), for thermal oxidizer control of VOC emissions from FG CS1CNDTANKS is implemented and maintained.

- The permittee shall not operate FG CS1CNDTANKS unless the thermal oxidizer is operated with a minimum exhaust temperature of 1400°F.  (R 336.1213(3))

- The permittee shall install, calibrate, maintain and operate in a satisfactory manner a device to monitor and  record the thermal oxidizer  exhaust gas temperature on a continuous basis.2  (R 336.1702(a)) 
105-07A, FGCONDTANKS, 2.1

IV.  DESIGN/EQUIPMENT PARAMETER(S)

NA

V.  TESTING/SAMPLING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

NA

VI.  MONITORING/RECORDKEEPING

Records shall be maintained on file for a period of five years.  (R 336.1213(3)(b)(ii))

- The permittee shall keep, in a satisfactory manner, records of the thermal oxidizer exhaust gas temperature.  The permittee shall keep all records on file at a location approved by the AQD district supervisor and make records available to the Department upon request.2  (R 336.1213(3), R 336.1702(a)) 
105-07A, FGCONDTANKS, 2.3

VII.  REPORTING

- Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A.  (R 336.1213(3)(c)(ii))

- Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30.  (R 336.1213(3)(c)(i))

- Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A.  The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year.  (R 336.1213(4)(c))

See Appendix 8

VIII.  STACK/VENT RESTRICTION(S)

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| Stack & Vent ID | Maximum Exhaust Dimensions (inches) | Minimum Height Above Ground (feet) | Underlying Applicable Requirements |
| --- | --- | --- | --- |
| - SV011C (Thermal Oxidizer) | 201 | 311 | R 336.1225 105-07A, FGCONDTANKS, 2.3 |

IX.  OTHER REQUIREMENT(S)

- The permittee shall maintain a malfunction abatement plan approved by the AQD District Supervisor for FG CS1CNDTANKS.2  (R 336.1911) 79-97B, FGCSCOMP-S1, IX.1

  - The MAP shall, at a minimum, specify the following:

    - A complete preventative maintenance program including identification of the supervisory personnel responsible for overseeing the inspection, maintenance, and repair of air-cleaning devices, a description of the items or conditions that shall be inspected, the frequency of the inspections or repairs, and an identification of the major replacement parts that shall be maintained in inventory for quick replacement.

    - An identification of the source and air-cleaning device operating variables that shall be monitored to detect a malfunction or failure, the normal operating range of these variables, and a description of the method of monitoring or surveillance procedures.

    - A description of the corrective procedures or operational changes that shall be taken in the event of a THERMAL OXIDIZER malfunction.

  - If at any time the MAP fails to address or inadequately addresses an event that meets the characteristics of a malfunction, the permittee shall amend the MAP within 45 days after such an event occurs.  The permittee shall also amend the MAP within 45 days, if new equipment is installed or upon request from the District Supervisor.  The permittee shall submit the MAP and any amendments to the MAP to the AQD District Supervisor for review and approval.  If the AQD does not notify the permittee within 90 days of submittal, the MAP or amended MAP shall be considered approved.  Until an amended plan is approved, the permittee shall implement corrective procedures or operational changes to achieve compliance with all applicable rules.

Footnotes:

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# E.  NON-APPLICABLE REQUIREMENTS

At the time of the ROP issuance, the AQD has determined that no non-applicable requirements have been identified for incorporation into the permit shield provision set forth in the General Conditions in Part A pursuant to Rule 213(6)(a)(ii).

# APPENDICES

## Appendix 1-S3.  Abbreviations and Acronyms

The following is an alphabetical listing of abbreviations/acronyms that may be used in this permit.

| AQD | Air Quality Division | MM | Million |
| --- | --- | --- | --- |
| acfm | Actual cubic feet per minute | MSDS | Material Safety Data Sheet |
| BACT | Best Available Control Technology | MW | Megawatts |
| BTU | British Thermal Unit | NA | Not Applicable |
| °C | Degrees Celsius | NAAQS | National Ambient Air Quality Standards |
| CAA | Federal Clean Air Act | NESHAP | National Emission Standard for Hazardous Air Pollutants |
| CAM | Compliance Assurance Monitoring | NMOC | Non-methane Organic Compounds |
| CEM | Continuous Emission Monitoring | NOx | Oxides of Nitrogen |
| CFR | Code of Federal Regulations | NSPS | New Source Performance Standards |
| CO | Carbon Monoxide | NSR | New Source Review |
| COM | Continuous Opacity Monitoring | PM | Particulate Matter |
| department | Michigan Department of Environmental Quality | PM-10 | Particulate Matter less than 10 microns in diameter |
| dscf | Dry standard cubic foot | pph | Pound per hour |
| dscm | Dry standard cubic meter | ppm | Parts per million |
| EPA | United States Environmental Protection Agency | ppmv | Parts per million by volume |
| EU | Emission Unit | ppmw | Parts per million by weight |
| °F | Degrees Fahrenheit | PS | Performance Specification |
| FG | Flexible Group | PSD | Prevention of Significant Deterioration |
| GACS | Gallon of Applied Coating Solids | psia | Pounds per square inch absolute |
| GC | General Condition | psig | Pounds per square inch gauge |
| gr | Grains | PeTE | Permanent Total Enclosure |
| HAP | Hazardous Air Pollutant | PTI | Permit to Install |
| Hg | Mercury | RACT | Reasonable Available Control Technology |
| hr | Hour | ROP | Renewable Operating Permit |
| HP | Horsepower | SC | Special Condition |
| H2S | Hydrogen Sulfide | scf | Standard cubic feet |
| HVLP | High Volume Low Pressure * | sec | Seconds |
| ID | Identification (Number) | SCR | Selective Catalytic Reduction |
| IRSL | Initial Risk Screening Level | SO2 | Sulfur Dioxide |
| ITSL | Initial Threshold Screening Level | SRN | State Registration Number |
| LAER | Lowest Achievable Emission Rate | TAC | Toxic Air Contaminant |
| lb | Pound | Temp | Temperature |
| m | Meter | THC | Total Hydrocarbons |
| MACT | Maximum Achievable Control Technology | tpy | Tons per year |
| MAERS | Michigan Air Emissions Reporting System | µg | Microgram |
| MAP | Malfunction Abatement Plan | VE | Visible Emissions |
| MDEQ | Michigan Department of Environmental Quality | VOC | Volatile Organic Compounds |
| mg | Milligram | yr | Year |
| mm | Millimeter |  |  |

*For HVLP applicators, the pressure measured at the gun air cap shall not exceed 10 pounds per square inch gauge (psig).

## Appendix 2-S3.  Schedule of Compliance

The permittee certified in the ROP application that this stationary source is in compliance with all applicable requirements and the permittee shall continue to comply with all terms and conditions of this ROP.  A Schedule of Compliance is not required.  (R 336.1213(4)(a), R 336.1119(a)(ii))

## Appendix 3-S3.  Monitoring Requirements

Specific monitoring requirement procedures, methods or specifications are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Therefore, this appendix is not applicable.

## Appendix 4-S3.  Recordkeeping

Specific recordkeeping requirement formats and procedures are detailed in Part A or the appropriate source-wide, emission unit and/or flexible group special conditions.  Therefore, this appendix is not applicable.

## Appendix 5-S3.  Testing Procedures

There are no specific testing requirement plans or procedures for this ROP.  Therefore, this appendix is not applicable.

## Appendix 6-S3.  Permits to Install

The following table lists any PTIs issued or ROP revision applications received since the effective date of the previously issued ROP No. MI-ROP-B7198-2008.  Those ROP revision applications that are being issued concurrently with this ROP renewal are identified by an asterisk (*).  Those revision applications not listed with an asterisk were processed prior to this renewal.

Source-Wide PTI No MI-PTI-B7198-2008 is being reissued as Source-Wide PTI No. MI-PTI-B7198-2014.

| Permit to Install Number | ROP Revision Application Number | Description of Equipment or Change | Corresponding Emission Unit(s) or Flexible Group(s) |
| --- | --- | --- | --- |
| 29-13 | NA | EUCS1GLYDHY Allowed the two modes of operation of the glycol dehydrator to have two emission limits (one for each operating mode). Permitted federally enforceable limit on Benzene of less than 1TPY to ensure area source status. | EUCS1GLYDHY |

The following ROP amendments or modifications were issued after the effective date of ROP No. MI-ROP-B7198-2014.

| Permit to Install Number | ROP Revision Application Number/Issuance Date | Description of Change | Corresponding Emission Unit(s) or Flexible Group(s) |
| --- | --- | --- | --- |
| 138-13A | 201400093/ November 21, 2014 | Increase in glycol recirculation rate from 720 gallons per hour to 960 gallons per hour. Lowered benzene emission limit from 0.995 pounds per hour to 0.43 pounds per hour. The benzene limit was changed to 0.02 pph with condenser followed by thermal oxidizer in series. | EUCS1GLYDHY |

## Appendix 7-S3.  Emission Calculations

Appendix 7A. EU CS1HHH

The permittee shall use the following equation, or alternate equation approved by the AQD, in conjunction with monitoring, testing or recordkeeping data to determine compliance with the emission limit of BTEX referenced in EU CS12HHH-S1, I.1, BTEX emissions (40 CFR 63.1275 equation 1).

Where:

ELBTEX = Unit-specific BTEX emission limit, megagrams per year;

3.10 × 10−4 = BTEX emission limit, grams BTEX/standard cubic meter-ppmv;

Throughput = Annual average daily natural gas throughput, standard cubic meters per day;

Ci,BTEX = Annual average BTEX concentration of the natural gas at the inlet to the glycol dehydration unit, ppmv.

## Appendix 8-S3.  Reporting

A.  Annual, Semiannual, and Deviation Certification Reporting

The permittee shall use the MDEQ Report Certification form (EQP 5736) and MDEQ Deviation Report form (EQP 5737) for the annual, semiannual and deviation certification reporting referenced in the Reporting Section of the Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Alternative formats must meet the provisions of Rule 213(4)(c) and Rule 213(3)(c)(i), respectively, and be approved by the AQD District Supervisor.

B.  Other Reporting

Specific reporting requirement formats and procedures are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions.  Therefore, Part B of this appendix is not applicable.