|  |  |  |
| --- | --- | --- |
|  | **MICHIGAN DEPARTMENT OF ENVIRONMENTAL QUALITY****AIR QUALITY DIVISION** |  |
| EFFECTIVE DATE: April 15, 2015 ISSUED TO**Graphic Packaging International, Inc.**State Registration Number (SRN): B1678LOCATED AT1421 and 1500 North Pitcher Street, Kalamazoo, Michigan 49007 |
|  |

|  |
| --- |
| **RENEWABLE OPERATING PERMIT**Permit Number: MI-ROP-B1678-2015Expiration Date: April 15, 2020Administratively Complete ROP Renewal Application Due Between October 15, 2018 and October 15, 2019This Renewable Operating Permit (ROP) is issued in accordance with and subject to Section 5506(3) of Part 55, Air Pollution Control, of the Natural Resources and Environmental Protection Act, 1994 PA 451, as amended (Act 451). Pursuant to Michigan Air Pollution Control Rule 210(1), this ROP constitutes the permittee’s authority to operate the stationary source identified above in accordance with the general conditions, special conditions and attachments contained herein. Operation of the stationary source and all emission units listed in the permit are subject to all applicable future or amended rules and regulations pursuant to Act 451 and the federal Clean Air Act. |

|  |
| --- |
| **SOURCE-WIDE PERMIT TO INSTALL**Permit Number: MI-PTI-B1678-2015This Permit to Install (PTI) is issued in accordance with and subject to Section 5505(5) of Act 451. Pursuant to Michigan Air Pollution Control Rule 214a, the terms and conditions herein, identified by the underlying applicable requirement citation of Rule 201(1)(a), constitute a federally enforceable PTI. The PTl terms and conditions do not expire and remain in effect unless the criteria of Rule 201(6) are met. Operation of all emission units identified in the PTI is subject to all applicable future or amended rules and regulations pursuant to Act 451 and the federal Clean Air Act. |

Michigan Department of Environmental Quality

Mary A. Douglas, Kalamazoo District Supervisor

**TABLE OF CONTENTS**

[AUTHORITY AND ENFORCEABILITY 4](#_Toc416772003)

[SECTION 1 - MILL 5](#_Toc416772004)

[A. GENERAL CONDITIONS 6](#_Toc416772005)

[Permit Enforceability 6](#_Toc416772006)

[General Provisions 6](#_Toc416772007)

[Equipment & Design 7](#_Toc416772008)

[Emission Limits 7](#_Toc416772009)

[Testing/Sampling 7](#_Toc416772010)

[Monitoring/Recordkeeping 7](#_Toc416772011)

[Certification & Reporting 8](#_Toc416772012)

[Permit Shield 9](#_Toc416772013)

[Revisions 10](#_Toc416772014)

[Reopenings 10](#_Toc416772015)

[Renewals 10](#_Toc416772016)

[Stratospheric Ozone Protection 10](#_Toc416772017)

[Risk Management Plan 11](#_Toc416772018)

[Emission Trading 11](#_Toc416772019)

[Permit To Install (PTI) 11](#_Toc416772020)

[B. SOURCE-WIDE CONDITIONS 13](#_Toc416772021)

[C. EMISSION UNIT CONDITIONS 16](#_Toc416772022)

[EMISSION UNIT SUMMARY TABLE 16](#_Toc416772023)

[EUBOILER#7 18](#_Toc416772024)

[EUBOILERS#8 20](#_Toc416772025)

[EUBOILER#9 23](#_Toc416772026)

[EUK1MACHINE 28](#_Toc416772027)

[EUK3MACHINE 32](#_Toc416772028)

[EUCONVERTDEPT 36](#_Toc416772029)

[EU01GASTANK 38](#_Toc416772030)

[D. FLEXIBLE GROUP CONDITIONS 40](#_Toc416772031)

[FLEXIBLE GROUP SUMMARY TABLE 40](#_Toc416772032)

[FG-RULE290 41](#_Toc416772033)

[FGCOLDCLEANERS 44](#_Toc416772034)

[FG-RICE-MACT4Z 46](#_Toc416772035)

[E. NON-APPLICABLE REQUIREMENTS 49](#_Toc416772036)

[APPENDICES 50](#_Toc416772037)

[Appendix 1.1. Abbreviations and Acronyms 50](#_Toc416772038)

[Appendix 1.2. Schedule of Compliance 51](#_Toc416772039)

[Appendix 1.3. Monitoring Requirements 51](#_Toc416772040)

[Appendix 1.4. Recordkeeping 51](#_Toc416772041)

[Appendix 1.5. Testing Procedures 51](#_Toc416772042)

[Appendix 1.6. Permits to Install 52](#_Toc416772043)

[Appendix 1.7. Emission Calculations 52](#_Toc416772044)

[Appendix 1.8. Reporting 53](#_Toc416772045)

[Appendix 1.9 Malfunction Abatement Plan 53](#_Toc416772046)

[A. GENERAL CONDITIONS 58](#_Toc416772047)

[Permit Enforceability 58](#_Toc416772048)

[General Provisions 58](#_Toc416772049)

[Equipment & Design 59](#_Toc416772050)

[Emission Limits 59](#_Toc416772051)

[Testing/Sampling 59](#_Toc416772052)

[Monitoring/Recordkeeping 59](#_Toc416772053)

[Certification & Reporting 60](#_Toc416772054)

[Permit Shield 61](#_Toc416772055)

[Revisions 62](#_Toc416772056)

[Reopenings 62](#_Toc416772057)

[Renewals 62](#_Toc416772058)

[Stratospheric Ozone Protection 62](#_Toc416772059)

[Risk Management Plan 63](#_Toc416772060)

[Emission Trading 63](#_Toc416772061)

[Permit To Install (PTI) 63](#_Toc416772062)

[B. SOURCE-WIDE CONDITIONS 65](#_Toc416772063)

[C. EMISSION UNIT CONDITIONS 68](#_Toc416772064)

[EMISSION UNIT SUMMARY TABLE 68](#_Toc416772065)

[D. FLEXIBLE GROUP CONDITIONS 70](#_Toc416772066)

[FLEXIBLE GROUP SUMMARY TABLE 70](#_Toc416772067)

[FGWEBPRESSES 71](#_Toc416772068)

[FGRULE290 75](#_Toc416772069)

[FGCOLDCLEANERS 78](#_Toc416772070)

[E. NON-APPLICABLE REQUIREMENTS 80](#_Toc416772071)

[APPENDICES 81](#_Toc416772072)

[Appendix 2.1. Abbreviations and Acronyms 81](#_Toc416772073)

[Appendix 2.2. Schedule of Compliance 82](#_Toc416772074)

[Appendix 2.3. Monitoring Requirements 82](#_Toc416772075)

[Appendix 2.4. Recordkeeping 82](#_Toc416772076)

[\*Includes both dampening aid and wetting agent. 82](#_Toc416772077)

[Appendix 2.5. Testing Procedures 82](#_Toc416772078)

[Appendix 2.6. Permits to Install 82](#_Toc416772079)

[Appendix 2.7. Emission Calculations 83](#_Toc416772080)

[Appendix 2.8. Reporting 83](#_Toc416772081)

# AUTHORITY AND ENFORCEABILITY

For the purpose of this permit, the **permittee** is defined as any person who owns or operates an emission unit at a stationary source for which this permit has been issued. The **department** is defined in Rule 104(d) as the Director of the Michigan Department of Environmental Quality (MDEQ) or his or her designee.

The permittee shall comply with all specific details in the permit terms and conditions and the cited underlying applicable requirements. All terms and conditions in this ROP are both federally enforceable and state enforceable unless otherwise footnoted. Certain terms and conditions are applicable to most stationary sources for which an ROP has been issued. These general conditions are included in Part A of this ROP. Other terms and conditions may apply to a specific emission unit, several emission units which are represented as a flexible group, or the entire stationary source which is represented as a Source-Wide group. Special conditions are identified in Parts B, C, D and/or the appendices.

In accordance with Rule 213(2)(a), all underlying applicable requirements are identified for each ROP term or condition. All terms and conditions that are included in a PTI, are streamlined, subsumed and/or are state-only enforceable will be noted as such.

In accordance with Section 5507 of Act 451, the permittee has included in the ROP application a compliance certification, a schedule of compliance, and a compliance plan. For applicable requirements with which the source is in compliance, the source will continue to comply with these requirements. For applicable requirements with which the source is not in compliance, the source will comply with the detailed schedule of compliance requirements that are incorporated as an appendix in this ROP. Furthermore, for any applicable requirements effective after the date of issuance of this ROP, the stationary source will meet the requirements on a timely basis, unless the underlying applicable requirement requires a more detailed schedule of compliance.

Issuance of this permit does not obviate the necessity of obtaining such permits or approvals from other units of government as required by law.

# SECTION 1 - MILL

# A. GENERAL CONDITIONS

## Permit Enforceability

* All conditions in this permit are both federally enforceable and state enforceable unless otherwise noted. **(R 336.1213(5))**
* Those conditions that are hereby incorporated in a state-only enforceable Source-Wide PTI pursuant to Rule 201(2)(d) are designated by footnote one. **(R 336.1213(5)(a), R 336.1214a(5))**
* Those conditions that are hereby incorporated in a federally enforceable Source-Wide PTI pursuant to Rule 201(2)(c) are designated by footnote two. **(R 336.1213(5)(b), R 336.1214a(3))**

## General Provisions

1. The permittee shall comply with all conditions of this ROP. Any ROP noncompliance constitutes a violation of Act 451, and is grounds for enforcement action, for ROP revocation or revision, or for denial of the renewal of the ROP. All terms and conditions of this ROP that are designated as federally enforceable are enforceable by the Administrator of the United States Environmental Protection Agency (USEPA) and by citizens under the provisions of the federal Clean Air Act (CAA). Any terms and conditions based on applicable requirements which are designated as “state-only” are not enforceable by the USEPA or citizens pursuant to the CAA. **(R 336.1213(1)(a))**
2. It shall not be a defense for the permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this ROP. **(R 336.1213(1)(b))**
3. This ROP may be modified, revised, or revoked for cause. The filing of a request by the permittee for a permit modification, revision, or termination, or a notification of planned changes or anticipated noncompliance does not stay any ROP term or condition. This does not supersede or affect the ability of the permittee to make changes, at the permittee’s own risk, pursuant to Rule 215 and Rule 216. **(R 336.1213(1)(c))**
4. The permittee shall allow the department, or an authorized representative of the department, upon presentation of credentials and other documents as may be required by law and upon stating the authority for and purpose of the investigation, to perform any of the following activities **(R 336.1213(1)(d))**:
	1. Enter, at reasonable times, a stationary source or other premises where emissions-related activity is conducted or where records must be kept under the conditions of the ROP.
	2. Have access to and copy, at reasonable times, any records that must be kept under the conditions of the ROP.
	3. Inspect, at reasonable times, any of the following:
		1. Any stationary source.
		2. Any emission unit.
		3. Any equipment, including monitoring and air pollution control equipment.
		4. Any work practices or operations regulated or required under the ROP.
	4. As authorized by Section 5526 of Act 451, sample or monitor at reasonable times substances or parameters for the purpose of assuring compliance with the ROP or applicable requirements.
5. The permittee shall furnish to the department, within a reasonable time, any information the department may request, in writing, to determine whether cause exists for modifying, revising, or revoking the ROP or to determine compliance with this ROP. Upon request, the permittee shall also furnish to the department copies of any records that are required to be kept as a term or condition of this ROP. For information which is claimed by the permittee to be confidential, consistent with the requirements of the 1976 PA 442, MCL §15.231 et seq., and known as the Freedom of Information Act, the person may also be required to furnish the records directly to the USEPA together with a claim of confidentiality. **(R 336.1213(1)(e))**
6. A challenge by any person, the Administrator of the USEPA, or the department to a particular condition or a part of this ROP shall not set aside, delay, stay, or in any way affect the applicability or enforceability of any other condition or part of this ROP. **(R 336.1213(1)(f))**
7. The permittee shall pay fees consistent with the fee schedule and requirements pursuant to Section 5522 of Act 451. **(R 336.1213(1)(g))**
8. This ROP does not convey any property rights or any exclusive privilege. **(R 336.1213(1)(h))**

## Equipment & Design

1. Any collected air contaminants shall be removed as necessary to maintain the equipment at the required operating efficiency. The collection and disposal of air contaminants shall be performed in a manner so as to minimize the introduction of contaminants to the outer air. Transport of collected air contaminants in Priority I and II areas requires the use of material handling methods specified in Rule 370(2).2 **(R 336.1370)**
2. Any air cleaning device shall be installed, maintained, and operated in a satisfactory manner and in accordance with the Michigan Air Pollution Control rules and existing law. **(R 336.1910)**

## Emission Limits

1. Unless otherwise specified in this ROP, the permittee shall comply with Rule 301, which states, in part, “Except as provided in subrules 2, 3, and 4 of this rule, a person shall not cause or permit to be discharged into the outer air from a process or process equipment a visible emission of a density greater than the most stringent of the following2 **(R 336.1301(1))**:
	1. A 6-minute average of 20 percent opacity, except for one 6-minute average per hour of not more than 27 percent opacity.
	2. A limit specified by an applicable federal new source performance standard.

The grading of visible emissions shall be determined in accordance with Rule 303.

1. The permittee shall not cause or permit the emission of an air contaminant or water vapor in quantities that cause, alone or in reaction with other air contaminants, either of the following:
	1. Injurious effects to human health or safety, animal life, plant life of significant economic value, or property.1 **(R 336.1901(a))**
	2. Unreasonable interference with the comfortable enjoyment of life and property.1**(R 336.1901(b))**

## Testing/Sampling

1. The department may require the owner or operator of any source of an air contaminant to conduct acceptable performance tests, at the owner’s or operator’s expense, in accordance with Rule 1001 and Rule 1003, under any of the conditions listed in Rule 1001(1).2 **(R 336.2001)**
2. Any required performance testing shall be conducted in accordance with Rule 1001(2), Rule 1001(3) and Rule 1003. **(R 336.2001(2), R 336.2001(3), R 336.2003(1))**
3. Any required test results shall be submitted to the Air Quality Division (AQD) in the format prescribed by the applicable reference test method within 60 days following the last date of the test. **(R 336.2001(5))**

## Monitoring/Recordkeeping

1. Records of any periodic emission or parametric monitoring required in this ROP shall include the following information specified in Rule 213(3)(b)(i), where appropriate **(R 336.1213(3)(b))**:
	1. The date, location, time, and method of sampling or measurements.
	2. The dates the analyses of the samples were performed.
	3. The company or entity that performed the analyses of the samples.
	4. The analytical techniques or methods used.
	5. The results of the analyses.
	6. The related process operating conditions or parameters that existed at the time of sampling or measurement.
2. All required monitoring data, support information and all reports, including reports of all instances of deviation from permit requirements, shall be kept and furnished to the department upon request for a period of not less than 5 years from the date of the monitoring sample, measurement, report or application. Support information includes all calibration and maintenance records and all original strip-chart recordings, or other original data records, for continuous monitoring instrumentation and copies of all reports required by the ROP. **(R 336.1213(1)(e), R 336.1213(3)(b)(ii))**

## Certification & Reporting

1. Except for the alternate certification schedule provided in Rule 213(3)(c)(iii)(B), any document required to be submitted to the department as a term or condition of this ROP shall contain an original certification by a Responsible Official which states that, based on information and belief formed after reasonable inquiry, the statements and information in the document are true, accurate, and complete. **(R 336.1213(3)(c))**
2. A Responsible Official shall certify to the appropriate AQD District Office and to the USEPA that the stationary source is and has been in compliance with all terms and conditions contained in the ROP except for deviations that have been or are being reported to the appropriate AQD District Office pursuant to Rule 213(3)(c). This certification shall include all the information specified in Rule 213(4)(c)(i) through (v) and shall state that, based on information and belief formed after reasonable inquiry, the statements and information in the certification are true, accurate, and complete. The USEPA address is: USEPA, Air Compliance Data - Michigan, Air and Radiation Division, 77 West Jackson Boulevard, Chicago, Illinois 60604. **(R 336.1213(4)(c))**
3. The certification of compliance shall be submitted annually for the term of this ROP as detailed in the special conditions, or more frequently if specified in an applicable requirement or in this ROP. **(R 336.1213(4)(c))**
4. The permittee shall promptly report any deviations from ROP requirements and certify the reports. The prompt reporting of deviations from ROP requirements is defined in Rule 213(3)(c)(ii) as follows, unless otherwise described in this ROP **(R 336.1213(3)(c))**:
	1. For deviations that exceed the emissions allowed under the ROP, prompt reporting means reporting consistent with the requirements of Rule 912 as detailed in Condition 25. All reports submitted pursuant to this paragraph shall be promptly certified as specified in Rule 213(3)(c)(iii).
	2. For deviations which exceed the emissions allowed under the ROP and which are not reported pursuant to Rule 912 due to the duration of the deviation, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i). The report shall describe reasons for each deviation and the actions taken to minimize or correct each deviation.
	3. For deviations that do not exceed the emissions allowed under the ROP, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i). The report shall describe the reasons for each deviation and the actions taken to minimize or correct each deviation.
5. For reports required pursuant to Rule 213(3)(c)(ii), prompt certification of the reports is described in Rule 213(3)(c)(iii) as either of the following **(R 336.1213(3)(c))**:
	1. Submitting a certification by a Responsible Official with each report which states that, based on information and belief formed after reasonable inquiry, the statements and information in the report are true, accurate, and complete.
	2. Submitting, within 30 days following the end of a calendar month during which one or more prompt reports of deviations from the emissions allowed under the ROP were submitted to the department pursuant to Rule 213(3)(c)(ii), a certification by a Responsible Official which states that, “based on information and belief formed after reasonable inquiry, the statements and information contained in each of the reports submitted during the previous month were true, accurate, and complete”. The certification shall include a listing of the reports that are being certified. Any report submitted pursuant to Rule 213(3)(c)(ii) that will be certified on a monthly basis pursuant to this paragraph shall include a statement that certification of the report will be provided within 30 days following the end of the calendar month.
6. Semiannually for the term of the ROP as detailed in the special conditions, or more frequently if specified, the permittee shall submit certified reports of any required monitoring to the appropriate AQD District Office. All instances of deviations from ROP requirements during the reporting period shall be clearly identified in the reports. **(R 336.1213(3)(c)(i))**
7. On an annual basis, the permittee shall report the actual emissions, or the information necessary to determine the actual emissions, of each regulated air pollutant as defined in Rule 212(6) for each emission unit utilizing the emissions inventory forms provided by the department. **(R 336.1212(6))**
8. The permittee shall provide notice of an abnormal condition, start-up, shutdown, or malfunction that results in emissions of a hazardous or toxic air pollutant which continue for more than one hour in excess of any applicable standard or limitation, or emissions of any air contaminant continuing for more than two hours in excess of an applicable standard or limitation, as required in Rule 912, to the appropriate AQD District Office. The notice shall be provided not later than two business days after the start-up, shutdown, or discovery of the abnormal conditions or malfunction. Notice shall be by any reasonable means, including electronic, telephonic, or oral communication. Written reports, if required under Rule 912, must be submitted to the appropriate AQD District Supervisor within 10 days after the start-up or shutdown occurred, within 10 days after the abnormal conditions or malfunction has been corrected, or within 30 days of discovery of the abnormal conditions or malfunction, whichever is first. The written reports shall include all of the information required in Rule 912(5) and shall be certified by a Responsible Official in a manner consistent with the CAA.2 **(R 336.1912)**

## Permit Shield

1. Compliance with the conditions of the ROP shall be considered compliance with any applicable requirements as of the date of ROP issuance, if either of the following provisions is satisfied. **(R 336.1213(6)(a)(i), R 336.1213(6)(a)(ii))**
	1. The applicable requirements are included and are specifically identified in the ROP.
	2. The permit includes a determination or concise summary of the determination by the department that other specifically identified requirements are not applicable to the stationary source.

Any requirements identified in Part E of this ROP have been identified as non-applicable to this ROP and are included in the permit shield.

1. Nothing in this ROP shall alter or affect any of the following:
	1. The provisions of Section 303 of the CAA, emergency orders, including the authority of the USEPA under Section 303 of the CAA. **(R 336.1213(6)(b)(i))**
	2. The liability of the owner or operator of this source for any violation of applicable requirements prior to or at the time of this ROP issuance. **(R 336.1213(6)(b)(ii))**
	3. The applicable requirements of the acid rain program, consistent with Section 408(a) of the CAA. **(R 336.1213(6)(b)(iii))**
	4. The ability of the USEPA to obtain information from a source pursuant to Section 114 of the CAA. **(R 336.1213(6)(b)(iv))**
2. The permit shield shall not apply to provisions incorporated into this ROP through procedures for any of the following:
	1. Operational flexibility changes made pursuant to Rule 215. **(R 336.1215(5))**
	2. Administrative Amendments made pursuant to Rule 216(1)(a)(i)-(iv). **(R 336.1216(1)(b)(iii))**
	3. Administrative Amendments made pursuant to Rule 216(1)(a)(v) until the amendment has been approved by the department. **(R 336.1216(1)(c)(iii))**
	4. Minor Permit Modifications made pursuant to Rule 216(2). **(R 336.1216(2)(f))**
	5. State-Only Modifications made pursuant to Rule 216(4) until the changes have been approved by the department. **(R 336.1216(4)(e))**
3. Expiration of this ROP results in the loss of the permit shield. If a timely and administratively complete application for renewal is submitted not more than 18 months, but not less than 6 months, before the expiration date of the ROP, but the department fails to take final action before the end of the ROP term, the existing ROP does not expire until the renewal is issued or denied, and the permit shield shall extend beyond the original ROP term until the department takes final action. **(R 336.1217(1)(c), R 336.1217(1)(a))**

## Revisions

1. For changes to any process or process equipment covered by this ROP that do not require a revision of the ROP pursuant to Rule 216, the permittee must comply with Rule 215. **(R 336.1215, R 336.1216)**
2. A change in ownership or operational control of a stationary source covered by this ROP shall be made pursuant to Rule 216(1). **(R 336.1219(2))**
3. For revisions to this ROP, an administratively complete application shall be considered timely if it is received by the department in accordance with the time frames specified in Rule 216. **(R 336.1210(10))**
4. Pursuant to Rule 216(1)(b)(iii), Rule 216(2)(d) and Rule 216(4)(d), after a change has been made, and until the department takes final action, the permittee shall comply with both the applicable requirements governing the change and the ROP terms and conditions proposed in the application for the modification. During this time period, the permittee may choose to not comply with the existing ROP terms and conditions that the application seeks to change. However, if the permittee fails to comply with the ROP terms and conditions proposed in the application during this time period, the terms and conditions in the ROP are enforceable. **(R 336.1216(1)(c)(iii), R 336.1216(2)(d), R 336.1216(4)(d))**

## Reopenings

1. A ROP shall be reopened by the department prior to the expiration date and revised by the department under any of the following circumstances:
	1. If additional requirements become applicable to this stationary source with three or more years remaining in the term of the ROP, but not if the effective date of the new applicable requirement is later than the ROP expiration date. **(R 336.1217(2)(a)(i))**
	2. If additional requirements pursuant to Title IV of the CAA become applicable to this stationary source. **(R 336.1217(2)(a)(ii))**
	3. If the department determines that the ROP contains a material mistake, information required by any applicable requirement was omitted, or inaccurate statements were made in establishing emission limits or the terms or conditions of the ROP. **(R 336.1217(2)(a)(iii))**
	4. If the department determines that the ROP must be revised to ensure compliance with the applicable requirements. **(R 336.1217(2)(a)(iv))**

## Renewals

1. For renewal of this ROP, an administratively complete application shall be considered timely if it is received by the department not more than 18 months, but not less than 6 months, before the expiration date of the ROP. **(R 336.1210(8))**

## Stratospheric Ozone Protection

1. If the permittee is subject to Title 40 of the Code of Federal Regulations (CFR), Part 82 and services, maintains, or repairs appliances except for motor vehicle air conditioners (MVAC), or disposes of appliances containing refrigerant, including MVAC and small appliances, or if the permittee is a refrigerant reclaimer, appliance owner or a manufacturer of appliances or recycling and recovery equipment, the permittee shall comply with all applicable standards for recycling and emissions reduction pursuant to 40 CFR, Part 82, Subpart F.
2. If the permittee is subject to 40 CFR, Part 82, and performs a service on motor (fleet) vehicles when this service involves refrigerant in the MVAC, the permittee is subject to all the applicable requirements as specified in 40 CFR, Part 82, Subpart B, Servicing of Motor Vehicle Air Conditioners. The term “motor vehicle” as used in Subpart B does not include a vehicle in which final assembly of the vehicle has not been completed by the original equipment manufacturer. The term MVAC as used in Subpart B does not include the air-tight sealed refrigeration system used for refrigerated cargo or an air conditioning system on passenger buses using Hydrochlorofluorocarbon-22 refrigerant.

## Risk Management Plan

1. If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall register and submit to the USEPA the required data related to the risk management plan for reducing the probability of accidental releases of any regulated substances listed pursuant to Section 112(r)(3) of the CAA as amended in 40 CFR, Part 68.130. The list of substances, threshold quantities, and accident prevention regulations promulgated under 40 CFR, Part 68, do not limit in any way the general duty provisions under Section 112(r)(1).
2. If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall comply with the requirements of 40 CFR, Part 68, no later than the latest of the following dates as provided in 40 CFR, Part 68.10(a):
	1. June 21, 1999,
	2. Three years after the date on which a regulated substance is first listed under 40 CFR, Part 68.130, or
	3. The date on which a regulated substance is first present above a threshold quantity in a process.
3. If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall submit any additional relevant information requested by any regulatory agency necessary to ensure compliance with the requirements of 40 CFR, Part 68.
4. If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall annually certify compliance with all applicable requirements of Section 112(r) as detailed in Rule 213(4)(c)). **(40 CFR Part 68)**

## Emission Trading

1. Emission averaging and emission reduction credit trading are allowed pursuant to any applicable interstate or regional emission trading program that has been approved by the Administrator of the USEPA as a part of Michigan’s State Implementation Plan. Such activities must comply with Rule 215 and Rule 216. **(R 336.1213(12))**

## Permit To Install (PTI)

1. The process or process equipment included in this permit shall not be reconstructed, relocated, or modified unless a PTI authorizing such action is issued by the department, except to the extent such action is exempt from the PTI requirements by any applicable rule. 2 **(R 336.1201(1))**
2. The department may, after notice and opportunity for a hearing, revoke PTI terms or conditions if evidence indicates the process or process equipment is not performing in accordance with the terms and conditions of the PTI or is violating the department’s rules or the CAA. 2 **(R 336.1201(8) Section 5510 of Act 451)**
3. The terms and conditions of a PTI shall apply to any person or legal entity that now or hereafter owns or operates the process or process equipment at the location authorized by the PTI. If a new owner or operator submits a written request to the department pursuant to Rule 219 and the department approves the request, this PTI will be amended to reflect the change of ownership or operational control. The request must include all of the information required by Subrules (1)(a), (b) and (c) of Rule 219. The written request shall be sent to the appropriate AQD District Supervisor, MDEQ. 2**(R 336.1219)**
4. If the installation, reconstruction, relocation, or modification of the equipment for which PTI terms and conditions have been approved has not commenced within 18 months of the original PTI issuance date, or has been interrupted for 18 months, the applicable terms and conditions from that PTI, as incorporated into the ROP, shall become void unless otherwise authorized by the department. Furthermore, the person to whom that PTI was issued, or the designated authorized agent, shall notify the department via the Supervisor, Permit Section, MDEQ, AQD, P.O. Box 30260, Lansing, Michigan 48909, if it is decided not to pursue the installation, reconstruction, relocation, or modification of the equipment allowed by the terms and conditions from that PTI. 2 **(R 336.1201(4))**

**Footnotes:**

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# B. SOURCE-WIDE CONDITIONS

Part B outlines the Source-Wide Terms and Conditions that apply to this stationary source. The permittee is subject to these special conditions for the stationary source in addition to the general conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited. If a specific condition type does not apply to this source, NA (not applicable) has been used in the table. If there are no Source-Wide Conditions, this section will be left blank.

**SOURCE-WIDE CONDITIONS**

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

1. The stationary source-wide, Section 1 and Section 2 combined, emission rate of an individual HAP shall be less than 9.9 tons per 12‑month rolling time period. **(R 336.1213(2))**
2. The stationary source-wide, Section 1 and Section 2 combined, emission rate of total combined HAPs shall be less than 24.9 tons per 12-month rolling time period. **(R 336.1213(2))**

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

NA

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall calculate and record the stationary source-wide, Section 1 and Section 2 combined, emission rates, in tons, for each single HAP and total combined HAPs for each calendar month and each 12‑month rolling time period, as determined at the end of each calendar month. **(R 336.1213(3))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 1.8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

1. Each Responsible Official shall certify annually the compliance status of the stationary source with all stationary Source-Wide conditions. This certification shall be included as part of the annual certification of compliance as required in the General Conditions in Part A and Rule 213(4)(c). **(R 336.1213(4)(c))**

**Footnotes:**

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# C. EMISSION UNIT CONDITIONS

Part C outlines terms and conditions that are specific to individual emission units listed in the Emission Unit Summary Table. The permittee is subject to the special conditions for each emission unit in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited. If a specific condition type does not apply, NA (not applicable) has been used in the table. If there are no conditions specific to individual emission units, this section will be left blank.

## EMISSION UNIT SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| **Emission Unit ID** | **Emission Unit Description****(Including Process Equipment & Control Device(s))** | **Installation****Date/****Modification Date** | **Flexible Group ID** |
| --- | --- | --- | --- |
| EUBOILER#7 | Boiler No. 7 - Natural gas fired boiler with heat input of approximately 127 MMBTU/hr. | 01-01-5001-01-68 | NA |
| EUBOILER#8 | Boiler No. 8 - Natural gas and No. 6 fuel oil fired boiler with a maximum heat input of 240 MMBTU/hr. | 01-01-5901-01-68 | NA |
| EUBOILER#9 | Boiler No. 9 - Natural gas and fuel oil fired boiler equipped with low NOx burners and flue gas recirculation with a maximum heat input of approximately 227 MMBTU/hr. | 10-01-91NA | NA |
| EUK1MACHINE | K1 paperboard machine with in-line paperboard coating process. It includes the wet end process, steam heated drying cylinders, coating preparation and handling equipment, bar coater, air-knife coater, six drying ovens, starch preparation and handling equipment, and starch application equipment. | 01-01-9110-20-1109-12-13 | NA |
| EUK3MACHINE | K3 paperboard machine with in-line paperboard coating process. It includes the wet end process, steam heated drying cylinders, coating preparation and handling equipment, a bar coater, an air-knife coater, drying ovens, starch preparation and handling equipment, and starch application equipment. | 01-01-3705-01-9810-20-11 | NA |
| EUCONVERTDEPT | Off-line paperboard coater located in the converting department. | 01-01-83NA | NA |
| EUCOLDCLEANERS | Any cold cleaner that is grandfathered or exempt from Rule 201, pursuant to Rule 281(h) or Rule 285(r)(iv). Existing cold cleaners were placed into operation prior to July 1, 1979. New cold cleaners were placed into operation on or after July 1, 1979. | <07-01-79>07-01-79 | FGCOLDCLEANERS |
| EUCONVERTETHYLACETATE | Ethyl acetate used to clean wax off the “back-up rolls” on converting coater. | 01-01-83NA | FGRULE290 |
| EUMILLCYCLONES | Cyclones that control the converting department trimmer. | 01-01-83NA | FGRULE290 |
| EUFIREPUMP | Diesel powered emergency fire pump rated at 185 bhp. | 1982NA | FG-EMERG-RICE |
| EU01GASTANK | An existing stationary gasoline dispensing facility located at an area source of hazardous air pollutant that has a maximum monthly gasoline throughput of <10,000 gallons. | 01-01-97NA | NA |

## EUBOILER#7

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

Boiler No. 7 - Natural gas fired boiler with heat input of approximately 127 MMBTU/hr.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. EUBOILER#7 shall only be fired with sweet natural gas.2 **(R 336.1201(3))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall monitor and record the natural gas consumption rate, in million cubic feet, for each calendar month. **(R 336.1213(3)(b))**

**See Appendix 1.4**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 1.8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Dimensions****(inches)** | **Minimum Height Above Ground****(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| SVBOILER#7 | 88.02 | 80.02 | **R 336.1201(3)** |

**IX. OTHER REQUIREMENT(S)**

NA

**Footnotes:**

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EUBOILERS#8

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

Boiler No. 8 - Natural gas and No. 6 fuel oil fired boiler with a maximum heat input of 240 MMBTU/hr.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

| **Material** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/****Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. Sulfur Content in Fuel Oil | Equivalent of 1.5%2 | See below \*2 | EUBOILER#8 | SC VI.5 | **R 336.1401(1) - Table 41** |

\*The maximum sulfur content in fuel is defined as the average sulfur content in all fuels burned, including natural gas, at any one time in a power plant. The sulfur content shall be calculated on the basis of 18,000 BTUs per pound of liquid fuels.

1. Any boiler that is gaseous fuel fired and also has the capability of using liquid fuel and does not have the capability of biomass and/or coal firing, shall be considered a gaseous fuel fired boiler unless the liquid fuel use is greater than 48 hours per calendar year for periodic testing, at which time the unit is designated as an existing oil subcategory. The use of liquid fuel during gas curtailments, gas supply interruption, startups or periodic testing does not change a boiler’s designation from a gaseous fuel fired boiler to an oil subcategory. **(40 CFR 63.11237)**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The maximum heat input shall not exceed 240 million BTU per hour. **(R 336.1213(2)(d), R 336.1205(1)(a))**
2. EUBOILER#8 shall only be fired with sweet natural gas and/or fuel oil.2 **(R 336.1201(3))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall monitor and record the actual hours of operation for each operating day. The permittee shall also monitor and record the total hours of operation for each calendar month. **(R 336.1213(3))**
2. The permittee shall monitor and record the fuel oil consumption rates, in gallons, for each operating day. The permittee shall also monitor and record the total fuel oil consumption rate, in gallons, for each calendar month. **(R 336.1213(3)(b))**
3. The permittee shall monitor and record the natural gas consumption rate, in million cubic feet, for each operating day. The permittee shall also monitor and record the total natural gas consumption rate, in million cubic feet, for each calendar month. **(R 336.1213(3)(b))**
4. The permittee shall calculate the total average daily heat input. The average daily heat input shall be calculated by multiplying the total of each fuel consumed by the standard heating value for the respective fuel and by dividing by the actual operating hours for that calendar day. The permittee need not perform these calculations on a daily basis. The permittee may elect to perform all calculations at the end of each calendar month. The calculations may be performed manually or the daily data may be entered into an electronic system and calculated electronically at the end of the calendar month. **(R 336.1213(3))**
5. The permittee shall maintain a complete record of the fuel oil analysis of all fuel oil shipments, as supplied by the vendor. This record shall include the percent sulfur content and the BTU rating per pound of liquid fuel. **(R 336.1213(3)(b))**
6. While firing residual fuel oil (residual fuel oil means fuel oil grades no. 3 through no. 6), the permittee shall perform and record the results of a six-minute visible emission check of SVBOILER#8 immediately after each start-up occurrence and at least once per calendar day thereafter during maximum routine operating conditions. If visible emissions are observed, the permittee shall implement the monitoring program listed in Appendix 1.3. **(R 336.1213(3))**

**See Appendix 1.3**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 1.8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Dimensions****(inches)** | **Minimum Height Above Ground****(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| SVBOILER#8 | NA | 115.02 | **R 336.1201(3)** |

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall implement the Malfunction Abatement Program outlined in Appendix 1.9 when visible emissions have been observed (see VI.6 above and Appendix 1.3). **(R 336.1213(3))**
2. The permittee shall comply with the CAIR Ozone NOx Trading Program provisions of 40 CFR, Part 97.301 through 40 CFR, Part 97.388 as adopted and modified by R 336.1802a, R 336.1803 and R 336.1821 through R 336.1826 and as outlined in any complete CAIR Ozone NOx Permit issued by the AQD. The CAIR Ozone NOx Permit No. MI-NOO-10698-2015 is hereby incorporated into this ROP as Appendix 1.10. **(R 336.1821)**
3. The permittee shall hold allowances for compliance deductions in the source’s compliance account of the allowance transfer deadline in an amount not less than the total NOx emissions for the control period from the source pursuant to 40 CFR, Part 97.354. **(40 CFR, Part 97.354)**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EUBOILER#9

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

Boiler No. 9 - Natural gas and fuel oil fired boiler equipped with low NOx burners and flue gas recirculation with a maximum heat input of approximately 227 MMBTU/hr.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

Low NOx burners and flue gas recirculation.

**I. EMISSION LIMIT(S)**

1. The NOx emission rate, when firing natural gas only, shall not exceed 0.06 pounds per MMBTUs of heat input based upon a 24-hour averaging period.2 **(40 CFR 52.21(j))**
2. The NOx emission rate, when firing natural gas only, shall not exceed 13.6 pph.2 **(40 CFR 52.21(j))**
3. The NOx emission rate, when firing fuel oil only, shall not exceed 0.20 pounds per MMBTUs of heat input based upon a 24-hour averaging period.2 **(40 CFR 60.44b(a), 40 CFR 52.21(j))**
4. The NOx emission rate, when firing fuel oil only, shall not exceed 43.42 pph.2 **(40 CFR 60.44b(a), 40 CFR 52.21(j))**
5. The total NOx emission rate shall not exceed 69.3 tpy, based upon a 12-month rolling time period.2 **(40 CFR 52.21(j))**
6. The particulate emission rate, when firing fuel oil only, shall not exceed 0.03 pounds per MMBTUs of heat input.2 **(R 336.1201(3))**
7. The particulate emission rate, when firing fuel oil only, shall not exceed 6.51 pph.2 **(R 336.1201(3))**
8. The particulate emission rate, when firing fuel oil, shall not exceed 2.12 tpy, based upon a 12-month rolling averaging period.2 **(R 336.1201(3))**
9. The SO2 emission rate, when firing fuel oil, shall not exceed 0.48 pounds per MMBTUs heat input, based upon a 24 hour averaging period.2 **(R 336.1201(3))**
10. The SO2 emission rate, when firing fuel oil only, shall not exceed 104.2 pph.2 **(R 336.1201(3))**
11. The total SO2 emission rate shall not exceed 34.0 tpy, based upon a 12-month rolling time period.2 **(R 336.1201(3))**
12. The total gaseous non-methane organics emissions, measured as methane, when firing natural gas and/or fuel oil, shall not exceed 0.025 pounds per MMBTUs heat input.2  **(R 336.1702(a))**
13. The total gaseous non-methane organics emissions, measured as methane, when firing natural gas and/or fuel oil, shall not exceed 5.7 pph.2 **(R 336.1702(a))**

**II. MATERIAL LIMIT(S)**

1. The maximum sulfur content in fuel oil shall not exceed the equivalent of 0.44% as calculated on the basis of 18,300 BTUs per pound of liquid fuels in the EUBOILER#9.2 **(R 336.1201(3))**
2. The “annual capacity factor,” for fuel oil firing in EUBOILER#9 shall not exceed 0.0715.2 **(R 336.1201(3))**
3. Any boiler that is gaseous fuel fired and also has the capability of using liquid fuel and does not have the capability of biomass and/or coal firing, shall be considered a gaseous fuel fired boiler unless the liquid fuel use is greater than 48 hours per calendar year for periodic testing, at which time the unit is designated as an existing oil subcategory. The use of liquid fuel during gas curtailments, gas supply interruption, startups or periodic testing does not change a boiler’s designation from a gaseous fuel fired boiler to an oil subcategory. **(40 CFR 63.11237)**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall not fire EUBOILER#9 with fuel oil unless a continuous opacity monitor is installed and operating properly. **(40 CFR 60.48b(a))**
2. The permittee shall not operate EUBOILER#9 unless the flue gas recirculation system and the low NOx burners are operating properly.2 **(R 336.1910)**
3. The continuous monitoring systems required by 40 CFR 60.48b(b) shall be operated and data recorded during all periods of operation, except for continuous monitoring system breakdowns and repairs. Data should also be recorded during calibration checks and zero and span adjustments. **(40 CFR 60.48b(c))**
4. The 1-hour average NOx emission rates measured by the continuous NOx monitor shall be expressed in ng/J or lb/million BTU heat input and shall be used to calculate the average emission rates under 40 CFR 60.44b. The 1-hour averages shall be calculated using the data points required under 40 CFR 60.13(b). At least 2 data points must be used to calculate each 1-hour average. **(40 CFR 60.48b(d))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. EUBOILER#9 shall be equipped with a flue gas recirculation system and low NOx burners.2 **(40 CFR 52.21(j))**
2. EUBOILER#9 shall be equipped with a continuous emission monitor system (CEMS) to record NOx emissions. **(40 CFR 60.13(n), 40 CFR 60.48b(b))**

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall determine the SO2 emission rate, by testing, within 180 days of initiating the use of fuel oil using a test method that has been approved by the AQD or EPA. **(R 336.1213(3))**
2. For the CEMS, Cylinder Gas Audits (CGA) on the NOx and oxygen span gases shall be conducted and recorded in accordance with Quality Assurance methods described in 40 CFR Part 60 Appendix F. The CGA shall be conducted in three of four calendar quarters, but in no more than three quarters in succession.2 **(R 336.1201(3), 40 CFR Part 60 Appendix F)**
3. For the CEMS, a Relative Accuracy Test Audit (RATA) on the NOx and oxygen CEMS shall be conducted and recorded in accordance with Quality Assurance methods described in 40 CFR Part 60 Appendix F. The RATA shall be conducted at least once every four calendar quarters.2 **(R 336.1201(3), 40 CFR Part 60 Appendix F)**
4. The permittee shall perform testing for NOx once during the term of this permit for EUBOILER#9. **(R 336.1213(3))**
5. The permittee shall perform testing for total gaseous non-methane organics emissions, measured as methane, once during the term of this permit for EUBOILER#9. **(R 336.1213(3))**

**See Section VII below**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. When firing fuel oil, the permittee shall perform the following:
	1. Monitor and record opacity emissions on a continuous basis2, **(40 CFR 60.48b(a))**
	2. Record the fuel oil consumption rates, in gallons, for each calendar day and calendar month2 **(40 CFR 60.49b(d))**
	3. Maintain a complete record of the fuel oil analysis of all fuel oil shipments, as supplied by the vendor. The record shall include the percent sulfur content and the BTU rating per pound of liquid fuel.2 **(40 CFR 60.49b(r))**
	4. Calculate and record the “annual capacity factor” for the fuel oil combusted on a monthly basis. The “annual capacity factor” shall be based upon a 12-month averaging period, with a new “annual capacity factor” being calculated at the end of each calendar month (See Appendix 1.7).2 **(40 CFR 60.49b(d))**
	5. Calculate and record the SO2 emission rates, in pph and tons per calendar month. The permittee shall also calculate and record the 12‑month rolling time period SO2 emission rate, based upon the use of fuel oil, as determined at the end of each calendar month.  **(R 336.1213(3))**
	6. Calculate and record the particulate emission rate, in tons emitted, for each calendar month. The permittee shall also calculate and record the 12-month rolling time period particulate emission rate, as determined at the end of each calendar month. **(R 336.1213(3))**
	7. Keep the following operational records for each calendar day:2 **(40 CFR 60.49b(p))**
		1. Monitor and record the actual hours of operation.
		2. Monitor and record the hourly steam load.
2. The permittee shall monitor and record the natural gas consumption rate, in MMCF, for each calendar day. The permittee shall also keep a summary record of the total natural gas usage rate, in MMCF, for each calendar month.2 **(40 CFR 60.49b(d))**
3. The permittee shall calculate and record the NOx emission rate in pph and tons per calendar month. The permittee shall also calculate and record the 12-month rolling time period NOx rate, as determined at the end of each calendar month. These emission rates shall be derived from the average concentration of NOx emissions in ppm recorded by the CEM. **(R 336.1213(3))**
4. The permittee shall calculate and record the total gaseous non-methane organics emission rate, in pph emitted, for each calendar month. **(R 336.1213(3))**
5. When NOx emission data are not obtained because of continuous monitoring system breakdowns, repairs, calibration checks, and zero and span adjustments, emission data will be obtained by using standby monitoring systems, Method 7, Method 7A, or other approved reference methods to provide emission data for a minimum of 75% of the operating hours in each steam generating unit operating day, in at least 22 out of 30 successive steam generating unit operating days.2 **(40 CFR 60.48b(f))**

**See Appendix 1.7**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**
2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**
3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**
4. The permittee shall submit quarterly reports of the following: The reports are due May 1 for reporting period January 1 to March 31, August 1 for reporting period April 1 to June 30, November 1 for reporting period July 1 to September 30, and February 1 for reporting period October 1 to December 31. Each quarterly report shall include a summary of each of the following information **(40 CFR 60.49b)**:
	1. Monthly and 12-month rolling time period sulfur dioxide emissions due to the burning of oil, reported in tons emitted. **(40 CFR 60.49b(j))**
	2. Percent sulfur content of the fuel oil certifying that the fuel oil meets 0.44%. **(40 CFR 60.49b(r))**
5. The permittee shall submit a Quality Improvement Plan (QIP) if excess NOx emissions are observed twelve times in a 6-month reporting period. **(R 336.1213(3))**
6. For NOx, quarterly reporting for the CEMS, in the form of a Summary Report, containing an Excess Emission Summary and Continuous Monitoring Systems Performance Summary, if the total duration of the excess emissions for the quarter is less than 1% of the total operating time for the quarter and the total CEMS downtime for the quarter is less than 5% of the total operating time for the quarter, pursuant to Condition 26 of Part A. Due May 1 for reporting period January 1 to March 31, August 1 for reporting period April 1 to June 30, November 1 for reporting period July 1 to September 30, and February 1 for reporting period October 1 to December 31.2 **(40 CFR Part 60 Subpart A 60.7)**
7. For NOx, quarterly reporting for the CEMS, containing the following: 1) A Summary Report, containing an Excess Emission Summary and Continuous Monitoring Systems Performance Summary, and 2) An Excess Emission Report and Continuous Monitoring Systems Out of Service Report, if the total duration of the excess emissions for the quarter is 1% or greater of the total operating time for the quarter or the total CEMS downtime for the quarter is 5% or greater of the total operating time for the quarter, pursuant to Condition 26 of Part A. Due May 1 for reporting period January 1 to March 31, August 1 for reporting period April 1 to June 30, November 1 for reporting period July 1 to September 30, and February 1 for reporting period October 1 to December 31.2  **(40 CFR Part 60 Subpart A 60.7)**
8. For oxygen, quarterly reporting for the CEMS, in the form of a Continuous Monitoring System Performance Summary if the total CEMS downtime for the quarter is less than 5% of the total operating time for the quarter, and a Monitoring Systems Performance Summary and a Continuous Monitoring Systems Out of Service Report, if the total CEMS downtime for the quarter is 5% or greater of the total operating time for the quarter, pursuant to Condition 26 of Part A. Due May 1 for reporting period January 1 to March 31, August 1 for reporting period April 1 to June 30, November 1 for reporting period July 1 to September 30, and February 1 for reporting period October 1 to December 31.2 **(40 CFR Part 60 Subpart A 60.7)**
9. Quarterly reporting for the CGAs conducted on the NOx and oxygen span gases in the form of a CGA Data Sheet. Due May 1 for reporting period January 1 to March 31, August 1 for reporting period April 1 to June 30, November 1 for reporting period July 1 to September 30, and February 1 for reporting period October 1 to December 31.2 **(40 CFR Part 60 Appendix F)**
10. Reporting in the form of a summary report on the test results of the RATA conducted on the NOx and oxygen CEMS. Due 45 days after the quarter in which it is conducted.2  **(40 CFR Part 60 Appendix F)**
11. For any required stack testing the permittee shall submit a test protocol to the AQD District Supervisor and the Technical Programs Unit at least 30 days prior to the scheduled test date. **(R 336.1213(3))**
12. The permittee shall notify the District Supervisor and the Technical Programs Unit no less than 7 days prior to the anticipated stack test date. **(R 336.2001(3))**
13. The permittee shall submit a complete stack test report of the test results to the District Supervisor and the Technical Programs Unit within 60 days following the last date of the test. **(R 336.2001(4))**

**See Appendix 1.8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Dimensions****(inches)** | **Minimum Height Above Ground****(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| SVBOILER#9 | 64.22 | 115.02 | **R 336.1201(3)** |

**IX. OTHER REQUIREMENT(S)**

1. The zero (or low-level value between 0 and 20 percent of span value) and span (50 to 100 percent of span value) calibration drifts of the NOx CEM shall be verified at least once each calendar day by the Data Acquisition and Handling System (DAHS). The zero and span shall, as a minimum, be adjusted whenever the 24-hour zero drift or 24-hour span drift exceeds two times the limits of the applicable performance specifications in 40 CFR Part 60 Appendix B. The system must allow the amount of excess zero and span drift measured at the 24-hour interval checks to be recorded and quantified, whenever specified. **(40 CFR 60.13(d)(1))**
2. Except for system breakdowns, repairs, calibration checks, and zero and span adjustments required under 40 CFR 60.13(d), all continuous monitoring systems shall be in continuous operation and shall meet minimum frequency of operation requirements as follows: **(40 CFR 60.13(e))**
3. All continuous monitoring systems referenced by 40 CFR 60.13(c) for measuring emissions, except opacity, shall complete a minimum of one cycle of operation (sampling, analyzing, and data recording) for each successive 15-minute period. **(40 CFR 60.13(e)(2))**
4. The permittee shall comply with the requirements of 40 CFR Part 60 Subparts A and Db. **(R 336.1213(3))**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EUK1MACHINE

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

K1 paperboard machine with in-line paperboard coating process. It includes the wet end process, steam heated drying cylinders, coating preparation and handling equipment, bar coater, air-knife coater, six drying ovens, starch preparation and handling equipment, and starch application equipment.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/****Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. VOC | 41.4 tpy2 | 12-month rolling time period as determined at the end of each calendar month | EUK1MACHINE | SC VI.1SC VI.2SC VI.3 | **R 336.1225****R 336.1702(a)** |
| 1. Formaldehyde (CAS No. 50-00-0)
 | 3,934.1 lb/year1 | 12-month rolling time period as determined at the end of each calendar month | EUK1MACHINE | SC VI.1SC VI.2SC VI.4 | **R 336.1225**  |
| 3. Acetaldehyde (CAS No. 75-07-0) | 12, 841.4 lb/year1 | 12-month rolling time period as determined at the end of each calendar month | EUK1MACHINE | SC VI.1SC VI.2SC VI.4 | **R 336.1225**  |
| 4. Acetaldehyde (CAS No. 75-07-0) | 39.8 lb/day1 | Calendar Day | EUK1MACHINE | SC VI.1SC VI.2SC VI.5 | **R 336.1225**  |
| 5. Acrylonitrile (CAS No. 107-13-1) | 58.9 lb/year1 | 12-month rolling time period as determined at the end of each calendar month | EUK1MACHINE | SC VI.1SC VI.2SC VI.4 | **R 336.1225**  |
| 6. Acrylamide (CAS No. 79-06-1) | 240.0 lb/year1 | 12-month rolling time period as determined at the end of each calendar month | EUK1MACHINE | SC VI.1SC VI.2SC VI.4 | **R 336.1225(3)**  |

**II. MATERIAL LIMIT(S)**

| **Material** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/****Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. VOC content of coating | 0.5 lb/gal(minus water)\*as applied2 | Instantaneous | EUK1MACHINE | SC V.1SC VI.2 | **R 336.1702(a)** |

\*The phrase "minus water" shall also include compounds which are used as organic solvents and which are excluded from the definition of volatile organic compound. **(R 336.1602(4))**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall handle all VOC and/or HAP containing materials in a manner to minimize the generation of fugitive emissions. The permittee shall keep containers covered at all times except when operator access is necessary.2 **(R 336.1225, R 336.1702(a))**

2. The permittee shall not operate the starch cooker unless the water separator is operating properly.2 **(R 336.1702(a))**

3. The permittee shall not operate the air knife unless the Saveall Pan and mist eliminator are operating properly.2 **(R 336.1702(a))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. Upon request from the District Supervisor, the permittee shall verify the VOC content of any material by testing at owner's expense, in accordance with Department requirements. The test shall use a method approved by the District Supervisor as appropriate for the nature of the material to be tested. If the test results and the formulation values should differ, the permittee shall use the test results to determine compliance.2 **(R 336.1205, R 336.1225, R 336.1702(a), R 336.1901, R 336.2001, R 336.2003, R 336.2004, R 336.2040(5))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall complete all required calculations in a format acceptable to the AQD District Supervisor by the end of the calendar month, for the previous calendar month, unless otherwise specified in any monitoring/ recordkeeping special condition.2 **(R 336.1225, R 336.1702(a))**

2. The permittee shall maintain a current listing from the manufacturer of the chemical composition of each material, including the weight percent of each toxic air contaminant. The data may consist of Material Safety Data Sheets, manufacturer’s formulation data, or both as deemed acceptable by the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.2 **(R 336.1225, R 336.1702(a))**

3. The permittee shall keep the following information on a calendar month basis for EUK1MACHINE:

a. Pounds or tons of each VOC containing material used and reclaimed.

b. VOC content (minus water and with water) of each material as applied/used.

c. VOC mass emission calculations determining the monthly emission rate in tons per calendar month.

d. VOC mass emission calculations determining the annual emission rate in tons per 12-month rolling time period as determined at the end of each calendar month.

The permittee shall keep the records in a format acceptable to the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.2 **(R 336.1702(a))**

4. The permittee shall keep the following information on a calendar month basis for EUK1MACHINE:

a. Pounds or tons (with water) of each Formaldehyde (CAS No. 50-00-0), Acrylonitrile (CAS No. 107-13-1) and Acrylamide (CAS No. 79-06-1) containing material used and reclaimed.

b. Formaldehyde (CAS No. 50-00-0), Acrylonitrile (CAS No. 107-13-1) and Acrylamide (CAS No. 79-06-1) content (with water) in pounds per gallon of each material used.

c. Formaldehyde (CAS No. 50-00-0), Acrylonitrile (CAS No. 107-13-1) and Acrylamide (CAS No. 79-06-1) mass emission calculations determining the monthly emission rate in pounds per calendar month.

d. Formaldehyde (CAS No. 50-00-0), Acrylonitrile (CAS No. 107-13-1) and Acrylamide (CAS No. 79-06-1) mass emission calculations determining the annual emission rate in pounds per 12-month rolling time period as determined at the end of each calendar month.

The permittee shall keep the records in a format acceptable to the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.1 **(R 336.1225)**

5. The permittee shall keep the following information on a calendar day basis for EUK1MACHINE:

a. Pounds (with water) of Acetaldehyde (CAS No. 75-07-0) containing material used and reclaimed.

b. The Acetaldehyde (CAS No. 75-07-0) content (with water) in pounds per gallon of each material used.

c. Acetaldehyde (CAS No. 75-07-0) mass emission calculations determining the daily emission rate in pounds per calendar day.

The permittee shall keep the records in a format acceptable to the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.1 **(R 336.1225)**

1. The permittee shall calculate the mass emissions of Acetaldehyde (CAS No. 75-07-0), determining the annual emission rate in pounds per 12-month rolling time period as determined at the end of each calendar month for EUK1MACHINE. **(R 336.1213(3))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**
2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**
3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**
4. The permittee shall notify the Department if a change in land use occurs for property classified as industrial or as a public roadway, where this classification was relied upon to demonstrate compliance with Rule 225(1). The permittee shall submit the notification to the AQD District Supervisor, within 30 days of the actual land use change. Within 60 days of the land use change, the permittee shall submit to the AQD District Supervisor a plan for complying with the requirements of Rule 225(1). The plan shall require compliance with Rule 225(1) no later than one year after the due date of the plan submittal.1 **(R 336.1225(4))**

**See Appendix 1.8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Dimensions****(inches)** | **Minimum Height Above Ground****(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SVD1 | 43.0 x 57.52 | 52.02 | **R 336.1225, 40 CFR 52.21(c) & (d)** |
| 2. SVD2 | 43.0 x 57.52 | 52.02 | **R 336.1225, 40 CFR 52.21(c) & (d)** |
| 3. SVD3 | 43.0 x 57.52 | 51.02 | **R 336.1225, 40 CFR 52.21(c) & (d)** |
| 4. SVOVEN1 | 36.0 x 32.02 | 58.42 | **R 336.1225, 40 CFR 52.21(c) & (d)** |
| 5. SVOVEN2 | 30.0 x 20.02 | 58.42 | **R 336.1225, 40 CFR 52.21(c) & (d)** |

**IX. OTHER REQUIREMENT(S)**

NA

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EUK3MACHINE

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

K3 paperboard machine with in-line paperboard coating process. It includes the wet end process, steam heated drying cylinders, coating preparation and handling equipment, a bar coater, an air-knife coater, drying ovens, starch preparation and handling equipment, and starch application equipment.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/****Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. VOC | 20.8 tpy2 | 12-month rolling time period as determined at the end of each calendar month | EUK3MACHINE | SC VI.1SC VI.2SC VI.3 | **R 336.1225****R 336.1702(a)** |
| 2. Formaldehyde (CAS No. 50-00-0) | 736.3 lb/year1 | 12-month rolling time period as determined at the end of each calendar month | EUK3MACHINE | SC VI.1SC VI.2SC VI.4 | **R 336.1225**  |
| 3. Acetaldehyde (CAS No. 75-07-0) | 2,367.9 lb/year1 | 12-month rolling time period as determined at the end of each calendar month | EUK3MACHINE | SC VI.1SC VI.2SC VI.4 | **R 336.1225**  |
| 4. Acetaldehyde (CAS No. 75-07-0) | 8.2 lb/day1 | Calendar Day | EUK3MACHINE | SC VI.1SC VI.2SC VI.5 | **R 336.1225**  |
| 5. Acrylonitrile (CAS No. 107-13-1) | 11.0 lb/year1 | 12-month rolling time period as determined at the end of each calendar month | EUK3MACHINE | SC VI.1SC VI.2SC VI.4 | **R 336.1225**  |

**II. MATERIAL LIMIT(S)**

| **Material** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/****Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. VOC content of coating | 0.5 lb/gal(minus water)\*as applied2 | Instantaneous | EUK3MACHINE | SC V.1SC VI.2 | **R 336.1702(a)** |

\*The phrase "minus water" shall also include compounds which are used as organic solvents and which are excluded from the definition of volatile organic compound. **(R 336.1602(4))**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall handle all VOC and / or HAP containing materials in a manner to minimize the generation of fugitive emissions. The permittee shall keep containers covered at all times except when operator access is necessary.2 **(R 336.1225, R 336.1702(a))**

2. The permittee shall not operate the air knife coater unless the Saveall Pan is operating properly.2 **(R 336.1702(a))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. Upon request from the District Supervisor, the permittee shall verify the VOC content of any material by testing at owner's expense, in accordance with Department requirements. The test shall use a method approved by the District Supervisor as appropriate for the nature of the material to be tested. If the test results and the formulation values should differ, the permittee shall use the test results to determine compliance.2 **(R 336.1205, R 336.1225, R 336.1702(a), R 336.1901, R 336.2001, R 336.2003, R 336.2004, R 336.2040(5))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

* + - 1. The permittee shall complete all required calculations in a format acceptable to the AQD District Supervisor by the end of the calendar month, for the previous calendar month, unless otherwise specified in any monitoring / recordkeeping special condition.2 **(R 336.1225, R 336.1702(a))**
1. The permittee shall maintain a current listing from the manufacturer of the chemical composition of each material, including the weight percent of each toxic air contaminant. The data may consist of Material Safety Data Sheets, manufacturer’s formulation data, or both as deemed acceptable by the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.2 **(R 336.1225, R 336.1702(a))**
2. The permittee shall keep the following information on a calendar month basis for EUK3MACHINE:
	1. Pounds or tons of each VOC containing material used and reclaimed.
	2. VOC content (minus water and with water) of each material as applied/used.
	3. VOC mass emission calculations determining the monthly emission rate in tons per calendar month.
	4. VOC mass emission calculations determining the annual emission rate in tons per 12-month rolling time period as determined at the end of each calendar month.

The permittee shall keep the records in a format acceptable to the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.2 **(R 336.1225, R 336.1702(a))**

1. The permittee shall keep the following information on a calendar month basis for EUK3MACHINE:
	1. Pounds or tons (with water) of each Formaldehyde (CAS No. 50-00-0) and Acrylonitrile (CAS No. 107-13-1) containing material used and reclaimed.
	2. Formaldehyde (CAS No. 50-00-0) and Acrylonitrile (CAS No. 107-13-1) content (with water) in pounds per gallon of each material used.
	3. Formaldehyde (CAS No. 50-00-0) and Acrylonitrile (CAS No. 107-13-1) mass emission calculations determining the monthly emission rate in pounds per calendar month.
	4. Formaldehyde (CAS No. 50-00-0) and Acrylonitrile (CAS No. 107-13-1) mass emission calculations determining the annual emission rate in pounds per 12-month rolling time period as determined at the end of each calendar month.

The permittee shall keep the records in a format acceptable to the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.1 **(R 336.1225)**

1. The permittee shall keep the following information on a calendar day basis for EUK3MACHINE:
	1. Pounds (with water) of Acetaldehyde (CAS No. 75-07-0) containing material used and reclaimed.
	2. The Acetaldehyde (CAS No. 75-07-0) content (with water) in pounds per gallon of each material used.
	3. Acetaldehyde (CAS No. 75-07-0) mass emission calculations determining the daily emission rate in pounds per calendar day.

The permittee shall keep the records in a format acceptable to the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.1 **(R 336.1225)**

1. The permittee shall calculate the mass emissions of Acetaldehyde (CAS No. 75-07-0), determining the annual emission rate in pounds per 12-month rolling time period as determined at the end of each calendar month for EUK3MACHINE. **(R 336.1213(3))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**
2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**
3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**
4. The permittee shall notify the Department if a change in land use occurs for property classified as industrial or as a public roadway, where this classification was relied upon to demonstrate compliance with Rule 225(1). The permittee shall submit the notification to the AQD District Supervisor, within 30 days of the actual land use change. Within 60 days of the land use change, the permittee shall submit to the AQD District Supervisor a plan for complying with the requirements of Rule 225(1). The plan shall require compliance with Rule 225(1) no later than one year after the due date of the plan submittal.1 **(R 336.1225(4))**

**See Appendix 1.8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Dimensions****(inches)** | **Minimum Height Above Ground****(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SVK3COATING | 20.02 | 51.02 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 2. SVK3WETEND1 | 48.02 | 59.02 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 3. SVK3WETEND2 | 48.02 | 59.02 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 4. SVK3DRYER1 | 48.02 | 59.02 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 5. SVK3DRYER2 | 48.02 | 59.02 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 6. SVK3DRYER3 | 48.02 | 59.02 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 7. SVK3DRYER4 | 48.02 | 59.02 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 8. SVK3DRYER5 | 48.02 | 59.02 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |

**IX. OTHER REQUIREMENT(S)**

NA

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EUCONVERTDEPT

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

Off-line paperboard coater located in the converting department.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

1. The volatile organic compound emission rate shall not exceed 2.9 pounds per gallon of coating, minus water, as applied.2 **(R 336.1213(2)(d), R 336.1702(a))**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

NA

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall keep a vendor certified formulation sheet for each coating, ink, and reducer on file. At a minimum, each certified formulation sheet shall show the chemical composition, VOC content and HAP content of the coating, ink, or reducer. Vendor formulation sheets shall be determined using Federal Reference Test Method 24 or 24A or an alternate test method that has been approved as acceptable by EPA and AQD. **(R 336.1213(3))**
2. The permittee shall monitor and record the volatile organic compound content, in pounds per gallon, minus water as applied, of each coating used. **(R 336.1213(3))**

**See Appendix 1.4**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 1.8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

NA

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EU01GASTANK

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

An existing stationary gasoline dispensing facility located at an area source of hazardous air pollutant that has a maximum monthly gasoline throughput of <10,000 gallons.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall not allow gasoline to be handled in a manner that would result in a vapor release to the atmosphere for extended periods of time. **(40 CFR 63.11116(a))**
2. The permittee shall minimize gasoline spills. **(40 CFR 63.11116(a)(1))**
3. Spills shall be cleaned up as expeditiously as practicable. **(40 CFR 63/11116(a)(2))**
4. The permittee shall cover all open gasoline containers and all gasoline storage tank fill pipes with a gasketed seal when not in use. **(40 CFR 63.11116(a)(3))**
	1. Portable gasoline containers that meet the requirements of 40 CFR Part 59, Subpart F are considered acceptable for compliance with condition III.4.
5. Facilities are not required to submit notifications or reports, but must have gasoline throughput records available upon request by USEPA or MDEQ.

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

* + - 1. The permittee shall keep a record of gasoline throughput to be able to demonstrate that monthly throughput is less than 10,000 gallons and such record must be made available to USEPA or to MDEQ with 24 hours of a request. **(40 CFR 63.11116(b))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all applicable provisions of the Gasoline Distribution GACT as specified in 40 CFR Part 63, Subpart CCCCCC. **(40 CFR Part 63 Subpart CCCCCC)**
2. If the permittee’s affected source’s throughput ever exceeds an applicable throughput threshold, then permittee’s affected source will remain subject to the requirements for sources above the threshold, even if the affected source throughput later falls below the applicable throughput threshold. **(40 CFR 63.11111(i))**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# D. FLEXIBLE GROUP CONDITIONS

Part D outlines the terms and conditions that apply to more than one emission unit. The permittee is subject to the special conditions for each flexible group in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited. If a specific condition type does not apply, NA (not applicable) has been used in the table. If there are no special conditions that apply to more than one emission unit, this section will be left blank.

## FLEXIBLE GROUP SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| **Flexible Group ID** | **Flexible Group Description** | **Associated****Emission Unit IDs** |
| --- | --- | --- |
| FGRULE290 | Any emission unit that is exempt from Rule 201 pursuant to Rule 290. | EUCONVERTETHYLAC-ETATEEUMILLCYCLONES |
| FGCOLDCLEANERS | Any cold cleaner that is grandfathered or exempt from Rule 201, pursuant to Rule 281(h) or Rule 285(r)(iv). Existing cold cleaners were placed into operation prior to July 1, 1979. New cold cleaners were placed into operation on or after July 1, 1979. | EUCOLDCLEANERS |
| FG-RICE-MACT4Z | Each existing emergency stationary reciprocating internal combustion engine (RICE) as identified within 40 CFR Part 63, Subpart ZZZZ, 63.6590(a)(1) and is exempt from the requirements of Rule 201 pursuant to Rules 282(b) or 285(g). | EUFIREPUMP |

## FG-RULE290

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Any emission unit that is exempt from Rule 201 pursuant to Rule 290.

**Emission Units:** EUCONVERTETHYLACETATE, EUMILLCYCLONES

**POLLUTION CONTROL EQUIPMENT**

EUMILLCYCLONES - Cyclones

**I. EMISSION LIMIT(S)**

1. Each emission unit that emits only noncarcinogenic volatile organic compounds or noncarcinogenic materials which are listed in Rule 122(f) as not contributing appreciably to the formation of ozone if the total uncontrolled or controlled emissions of air contaminants are not more than 1,000 or 500 pounds per month, respectively. **(R 336.1290(a)(i))**

2. Each emission unit that the total uncontrolled or controlled emissions of air contaminants are not more than 1,000 or 500 pounds per month, respectively, and all the following criteria listed below are met **(R 336.1290(a)(ii))**:

a. For noncarcinogenic air contaminants, excluding noncarcinogenic volatile organic compounds and noncarcinogenic materials which are listed in Rule 122(f) as not contributing appreciably to the formation of ozone, with initial threshold screening levels greater than or equal to 2.0 micrograms per cubic meter, the uncontrolled or controlled emissions shall not exceed 1,000 or 500 pounds per month, respectively.

**(R 336.1290(a)(ii)(A))**

b. For noncarcinogenic air contaminants, excluding noncarcinogenic volatile organic compounds and noncarcinogenic materials which are listed in Rule 122(f) as not contributing appreciably to the formation of ozone, with initial threshold screening levels greater than or equal to 0.04 microgram per cubic meter and less than 2.0 micrograms per cubic meter, the uncontrolled or controlled emissions shall not exceed 20 or 10 pounds per month, respectively. **(R 336.1290(a)(ii)(B))**

c. For carcinogenic air contaminants with initial risk screening levels greater than or equal to 0.04 microgram per cubic meter, the uncontrolled or controlled emissions shall not exceed 20 or 10 pounds per month, respectively. **(R 336.1290(a)(ii)(C))**

d. The emission unit shall not emit any air contaminants, excluding non-carcinogenic volatile organic compounds and noncarcinogenic materials which are listed in Rule 122(f) as not contributing appreciably to the formation of ozone, with an initial threshold screening level or initial risk screening level less than 0.04 microgram per cubic meter. **(R 336.1290(a)(ii)(D))**

3. Each emission unit that emits only noncarcinogenic particulate air contaminants and other air contaminants that are exempted under Rule 290(a)(i) and/or Rule 290(a)(ii), if all of the following provisions are met **(R 336.1290(a)(iii))**:

a. The particulate emissions are controlled by an appropriately designed and operated fabric filter collector or an equivalent control system which is designed to control particulate matter to a concentration of less than or equal to 0.01 pound of particulate per 1,000 pounds of exhaust gases and which does not have an exhaust gas flow rate more than 30,000 actual cubic feet per minute. **(R 336.1290(a)(iii)(A))**

b. The visible emissions from the emission unit are not more than five percent opacity in accordance with the methods contained in Rule 303. **(R 336.1290(a)(iii)(B))**

c. The initial threshold screening level for each particulate air contaminant, excluding nuisance particulate, is more than 2.0 micrograms per cubic meter. **(R 336.1290(a)(iii)(C))**

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The provisions of Rule 290 apply to each emission unit that is operating pursuant to Rule 290. **(R 336.1290)**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall maintain records of the following information for each emission unit for each calendar month using the methods outlined in the DEQ, AQD Rule 290, Permit to Install Exemption Record form (EQP 3558) or in a format that is acceptable to the AQD District Supervisor **(R 336.1213(3))**:

a. Records identifying each air contaminant that is emitted. **(R 336.1213(3))**

b. Records identifying if each air contaminant is controlled or uncontrolled. **(R 336.1213(3))**

c. Records identifying if each air contaminant is either carcinogenic or non-carcinogenic. **(R 336.1213(3))**

d. Records identifying the ITSL and IRSL, if established, of each air contaminant that is being emitted under the provisions of Rules 290(a)(ii) and (iii). **(R 336.1213(3))**

e. Material use and calculations identifying the quality, nature, and quantity of the air contaminant emissions in sufficient detail to demonstrate that the actual emissions of the emission unit meet the emission limits outlined in this table and Rule 290. **(R 336.1213(3), R 336.1290(c))**

2. The permittee shall maintain an inventory of each emission unit that is exempt pursuant to Rule 290. This inventory shall include the following information **(R 336.1213(3))**:

a. The permittee shall maintain a written description of each emission unit as it is maintained and operated throughout the life of the emission unit. **(R 336.1290(b), R 336.1213(3))**

b. For each emission unit that emits noncarcinogenic particulate air contaminants pursuant to Rule 290(a)(iii), the permittee shall maintain a written description of the control device, including the designed control efficiency and the designed exhaust gas flow rate**. (R 336.1213(3))**

3. For each emission unit that emits noncarcinogenic particulate air contaminants pursuant to Rule 290(a)(iii), the permittee shall perform a monthly visible emission observation of each stack or vent during routine operating conditions. This observation need not be performed using Method 9. The permittee shall keep a written record of the results of each observation. **(R 336.1213(3))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

NA

## FGCOLDCLEANERS

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Any cold cleaner that is grandfathered or exempt from Rule 201, pursuant to Rule 281(h) or Rule 285(r)(iv). Existing cold cleaners were placed into operation prior to July 1, 1979. New cold cleaners were placed into operation on or after July 1, 1979.

**Emission Unit:** EUCOLDCLEANERS

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

1. The permittee shall not use cleaning solvents containing more than five percent by weight of the following halogenated compounds: methylene chloride, perchloroethylene, trichloroethylene, 1,1,1‑trichloroethane, carbon tetrachloride, chloroform, or any combination thereof. **(R 336.1213(2))**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. Cleaned parts shall be drained for no less than 15 seconds or until dripping ceases. **(R 336.1611(2)(b), R 336.1707(3)(b))**

2. The permittee shall perform routine maintenance on each cold cleaner as recommended by the manufacturer. **(R 336.1213(3))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The cold cleaner must meet one of the following design requirements:

a. The air/vapor interface of the cold cleaner is no more than ten square feet. **(R 336.1281(h))**

b. The cold cleaner is used for cleaning metal parts and the emissions are released to the general in-plant environment. **(R 336.1285(r)(iv))**

2. The cold cleaner shall be equipped with a device for draining cleaned parts. **(R 336.1611(2)(b), R 336.1707(3)(b))**

3. All new and existing cold cleaners shall be equipped with a cover and the cover shall be closed whenever parts are not being handled in the cold cleaner. **(R 336.1611(2)(a), R 336.1707(3)(a))**

4. The cover of a new cold cleaner shall be mechanically assisted if the Reid vapor pressure of the solvent is more than 0.3 psia or if the solvent is agitated or heated. **(R 336.1707(3)(a))**

5. If the Reid vapor pressure of any solvent used in a new cold cleaner is greater than 0.6 psia; or, if any solvent used in a new cold cleaner is heated above 120 degrees fahrenheit, then the cold cleaner must comply with at least one of the following provisions:

a. The cold cleaner must be designed such that the ratio of the freeboard height to the width of the cleaner is equal to or greater than 0.7. **(R 336.1707(2)(a))**

b. The solvent bath must be covered with water if the solvent is insoluble and has a specific gravity of more than 1.0. **(R 336.1707(2)(b))**

c. The cold cleaner must be controlled by a carbon adsorption system, condensation system, or other method of equivalent control approved by the AQD. **(R 336.1707(2)(c))**

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. For each new cold cleaner in which the solvent is heated, the solvent temperature shall be monitored and recorded at least once each calendar week during routine operating conditions. **(R 336.1213(3))**

2. The permittee shall maintain the following information on file for each cold cleaner **(R 336.1213(3))**:

a. A serial number, model number, or other unique identifier for each cold cleaner.

b. The date the unit was installed, manufactured or that it commenced operation.

c. The air/vapor interface area for any unit claimed to be exempt under Rule 281(h).

d. The applicable Rule 201 exemption.

e. The Reid vapor pressure of each solvent used.

f. If applicable, the option chosen to comply with Rule 707(2).

3. The permittee shall maintain written operating procedures for each cold cleaner. These written procedures shall be posted in an accessible, conspicuous location near each cold cleaner. **(R 336.1611(3), R 336.1707(4))**

4. As noted in Rule 611(2)(c) and Rule 707(3)(c), if applicable, an initial demonstration that the waste solvent is a safety hazard shall be made prior to storage in non-closed containers. If the waste solvent is a safety hazard and is stored in non-closed containers, verification that the waste solvent is disposed of so that not more than 20 percent, by weight, is allowed to evaporate into the atmosphere shall be made on a monthly basis. **(R 336.1213(3), R 336.1611(2)(c), R 336.1707(3)(c))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 1.8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

NA

## FG-RICE-MACT4Z

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Each existing emergency stationary reciprocating internal combustion engine (RICE) as identified within 40 CFR Part 63, Subpart ZZZZ, 63.6590(a)(1) and is exempt from the requirements of Rule 201 pursuant to Rules 282(b) or 285(g).

Compliance date – May 3, 2013, for CI Engines

**Emission Unit:** EUFIREPUMP

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall operate and maintain any affected RICE, including associated air pollution control equipment and monitoring equipment, in a manner consistent with safety and good air pollution control practices for minimizing emissions. The general duty to minimize emissions does not require you to make any further efforts to reduce emissions if levels required by this standard have been achieved. Determination of whether such operation and maintenance procedures are being used will be based on information available to the Administrator which may include, but is not limited to, monitoring results, review of operation and maintenance procedures, review of operation and maintenance records, and inspection of the source. **(40 CFR 63.6605(b))**
2. The permittee shall operate each existing emergency stationary according to the requirements in paragraphs below:
	1. There is no time limit on the use of emergency stationary RICE in emergency situations. **(40 CFR 63.6640(f)(1))**
	2. The permittee may operate each emergency stationary RICE for a maximum of 100 hours per calendar year for any of the following purposes-:
		1. For maintenance checks and readiness testing, provided that the tests are recommended by Federal, State or local government, the manufacturer, the vendor, the regional transmission authority or equivalent balancing authority and transmission operator, or the insurance company associated with the engine. The owner or operator may petition the Administrator for approval of additional hours to be used for maintenance checks and readiness testing, but a petition is not required if the owner or operator maintains records indicating that Federal, State, or local standards require maintenance and testing of emergency RICE beyond 100 hours per calendar year. **(40 CFR 63.6640(f)(2)(i))**
	3. The permittee may operate each emergency stationary RICE up to 50 hours per year in non-emergency situations, but these 50 hours of operation are counted towards the 100 hours per calendar year operation provided for maintenance and testing SC III.2.b. The 50 hours per year for non-emergency situations cannot be used for peak shaving or non-emergency demand response, or to generate income for a facility to supply power to an electric grid or otherwise supply power as part of a financial arrangement with another entity. **(40 CFR 63.6640(f)(4))**
3. The permittee shall comply with the following requirements, for each existing emergency stationary RICE, by the applicable compliance date **(40 CFR 63.6603 and Table 2d)**:
	1. For CI engines:
		1. Change oil and filter every 500 hours of operation or annually, whichever comes first, except as allowed in SC III.4.
		2. Inspect air cleaner every 1,000 hours of operation or annually, whichever comes first, and replace as necessary.
		3. Inspect all hoses and belts every 500 hours of operation or annually, whichever comes first, and replace as necessary.
4. The permittee may utilize an oil analysis program in order to extend the specified oil change requirement in 40 CFR 63.6603 and as listed in SC III.2. The oil analysis program must be performed at the same frequency as oil changes are required. The analysis program must analyze the parameters and keep records as required in 40 CFR 63.6625(i) for CI engines or i40 CFR 63.6625(j) for SI engines. **(40 CFR 63.6625(i) and (j))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The permittee shall equip and maintain each existing emergency stationary RICE with a non-resettable hour meter. **(40 CFR 63.6625(f))**
2. The permittee shall operate and maintain the stationary RICE and after-treatment control device (if any) according to the manufacturer’s emission-related written instructions or develop you own maintenance plan which must provide to the extent practicable for the maintenance and operation for the engine in a manner consistent with good air pollution control practice for minimizing emissions. **(40 CFR 63.6625(e),** **40 CFR 63.6640(a), Table 6)**

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. If using the oil analysis program for CI Engine(s), the permittee shall test for Total Base Number, viscosity and percent water content. **(40 CFR 63.6625(i))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall keep all records required by 40 CFR 63.6655 (except 63.6655(c)). **(40 CFR 63.6655(a))**
2. The permittee shall maintain, at a minimum, the following records by the applicable compliance date:
	1. A copy of each notification and report that is submitted to comply with 40 CFR Part 63, Subpart ZZZZ and the documentation supporting each notification and report. **(40 CFR 63.6655(a)(1))**
	2. Records of the occurrence and duration of each malfunction of operation (i.e. process equipment) or the air pollution control and monitoring equipment. **(40 CFR 63.6655(a)(2))**
	3. Records of all required maintenance performed on the air pollution control and monitoring equipment. **(40 CFR 63.6655(a)(4))**
	4. Records of actions taken during periods of malfunction to minimize emissions in accordance with 40 CFR 63.6605(b), including corrective actions to restore malfunctioning process and air pollution control and monitoring equipment to its normal or usual manner of operation. **(40 CFR 63.6655(a)(5))**
3. The permittee shall keep records as required in SC IV.2 to show continuous compliance with each emission or operating limit that applies. **(40 CFR 63.6655(d), 63.6660)**
4. The permittee shall keep records of the maintenance conducted on the stationary RICE in order to demonstrate that the permittee operated and maintained the stationary RICE and after-treatment control device (if any) according to the permittee’s maintenance plan. **(40 CFR 63.6655(e), 40 CFR 63.6660)**
5. The permittee shall keep records of the hours of operation of the engine that is recorded through the non-resettable hour meter. The permittee must document **(40 CFR 63.6655(f), 40 CFR 63.6660)**:
	1. How many hours are spent for emergency operation.
	2. What classified the operation as an emergency.
	3. How many hours are spent for non-emergency operation.

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**
2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**
3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all applicable provisions of the National Emission Standards for Hazardous Air Pollutants, as specified in 40 CFR Part 63, Subpart A and Subpart ZZZZ as they apply to FG-RICE-MACT4Z. The permittee may choose an alternative compliance method not listed in FG-RICE-MACT4Z by complying with all applicable provisions required by Subpart ZZZZ for the compliance option chosen. **(40 CFR Part 70.6(9), 40 CFR Part 63.9(j), 40 CFR Part 63 Subparts A and ZZZZ)**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# E. NON-APPLICABLE REQUIREMENTS

At the time of the ROP issuance, the AQD has determined that no non-applicable requirements have been identified for incorporation into the permit shield provision set forth in the General Conditions in Part A pursuant to Rule 213(6)(a)(ii).

|  |
| --- |
| APPENDICES |

## Appendix 1.1. Abbreviations and Acronyms

The following is an alphabetical listing of abbreviations/acronyms that may be used in this permit.

|  |  |  |  |
| --- | --- | --- | --- |
| AQD | Air Quality Division | MM | Million |
| acfm | Actual cubic feet per minute | MSDS | Material Safety Data Sheet |
| BACT | Best Available Control Technology | MW | Megawatts |
| BTU | British Thermal Unit | NA | Not Applicable |
| °C | Degrees Celsius | NAAQS | National Ambient Air Quality Standards |
| CAA | Federal Clean Air Act | NESHAP | National Emission Standard for Hazardous Air Pollutants |
| CAM | Compliance Assurance Monitoring | NMOC | Non-methane Organic Compounds |
| CEM  | Continuous Emission Monitoring | NOx | Oxides of Nitrogen |
| CFR | Code of Federal Regulations | NSPS | New Source Performance Standards |
| CO | Carbon Monoxide | NSR | New Source Review |
| COM | Continuous Opacity Monitoring | PM | Particulate Matter  |
| department | Michigan Department of Environmental Quality  | PM-10 | Particulate Matter less than 10 microns in diameter |
| dscf | Dry standard cubic foot | pph | Pound per hour |
| dscm | Dry standard cubic meter | ppm | Parts per million |
| EPA | United States Environmental Protection Agency | ppmv | Parts per million by volume  |
| EU | Emission Unit | ppmw | Parts per million by weight  |
| °F | Degrees Fahrenheit | PS | Performance Specification |
| FG | Flexible Group | PSD | Prevention of Significant Deterioration |
| GACS | Gallon of Applied Coating Solids | psia | Pounds per square inch absolute |
| GC | General Condition | psig | Pounds per square inch gauge  |
| gr  | Grains | PeTE | Permanent Total Enclosure |
| HAP | Hazardous Air Pollutant | PTI | Permit to Install |
| Hg | Mercury  | RACT | Reasonable Available Control Technology |
| hr | Hour  | ROP | Renewable Operating Permit |
| HP | Horsepower  | SC | Special Condition |
| H2S | Hydrogen Sulfide | scf | Standard cubic feet |
| HVLP | High Volume Low Pressure \* | sec | Seconds  |
| ID  | Identification (Number) | SCR | Selective Catalytic Reduction |
| IRSL | Initial Risk Screening Level | SO2 | Sulfur Dioxide  |
| ITSL | Initial Threshold Screening Level | SRN | State Registration Number |
| LAER | Lowest Achievable Emission Rate  | TAC | Toxic Air Contaminant |
| lb | Pound | Temp | Temperature |
| m | Meter | THC | Total Hydrocarbons |
| MACT | Maximum Achievable Control Technology  | tpy | Tons per year |
| MAERS | Michigan Air Emissions Reporting System | µg  | Microgram  |
| MAP | Malfunction Abatement Plan | VE | Visible Emissions |
| MDEQ | Michigan Department of Environmental Quality | VOC | Volatile Organic Compounds  |
| mg | Milligram  | yr | Year  |
| mm | Millimeter |  |  |

\*For HVLP applicators, the pressure measured at the gun air cap shall not exceed 10 pounds per square inch gauge (psig).

## Appendix 1.2. Schedule of Compliance

The permittee certified in the ROP application that this stationary source is in compliance with all applicable requirements and the permittee shall continue to comply with all terms and conditions of this ROP. A Schedule of Compliance is not required. **(R 336.1213(4)(a), R 336.1119(a)(ii))**

## Appendix 1.3. Monitoring Requirements

Monitoring Requirements for EUBOILER#8:

The following monitoring procedures, methods, or specifications are the details to the monitoring requirements identified and referenced in EUBOILER#8 when firing residual fuel oil (residual fuel oil means fuel oil grades no. 3 through no. 6) unless an alternative format is approved by the AQD District Supervisor:

1. The permittee shall perform and record the results of a six-minute visible emission check of SVBOILER#8 immediately after each start-up occurrence and at least once per calendar day thereafter during maximum routine operating conditions.
2. If visible emissions are observed at start-up or during maximum routine operating conditions, the permittee shall then perform and record the results of a six-minute visible emission check of SVBOILER#8 at least once every 30 minutes thereafter, until visible emissions are no longer observable or until visible emissions are observable for more than two hours.
3. If visible emissions are still observable within two hours of the initial observance, the permittee shall proceed with the Malfunction Abatement Plan in Appendix 1.9 and perform and record the results of a Federal Reference Test Method 9 visible emission observation of SVBOILER#8 within 24 hours; or the permittee shall cease firing of fuel oil and revert to firing natural gas until corrective action measures have been implemented.
4. If a Federal Reference Test Method 9 visible emission observation is performed and indicates a violation of the opacity standard specified in R 336.1301 (See General Condition 11), the permittee shall immediately notify the AQD as required in General Condition No. 21 of Part A.
5. If a Federal Reference Test Method 9 visible emission observation is performed and indicates that the opacity from EUBOILER#8 is in compliance with R 336.1301, then the permittee may continue to fire residual fuel oil and cease making visible emission checks until such time that residual fuel oil start-up occurs again.

NOTE: The purpose of the six-minute visible emission check is to verify (yes or no) whether visible emissions are observed. Therefore, the permittee should record a positive or negative response for each visible emission check that is performed.

## Appendix 1.4. Recordkeeping

Specific recordkeeping requirement formats and procedures are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Therefore, this appendix is not applicable.

## Appendix 1.5. Testing Procedures

Specific testing requirement plans, procedures, and averaging times are detailed in the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Therefore, this appendix is not applicable.

## Appendix 1.6. Permits to Install

The following table lists any PTIs issued or ROP revision applications received since the effective date of the previously issued ROP No. MI-ROP-B1678-2010. Those ROP revision applications that are being issued concurrently with this ROP renewal are identified by an asterisk (\*). Those revision applications not listed with an asterisk were processed prior to this renewal.

Source-Wide PTI No MI-PTI-B1678-2010b is being reissued as Source-Wide PTI No. MI-PTI-B1678-2015.

|  |  |  |  |
| --- | --- | --- | --- |
| **Permit to Install Number** | **ROP Revision****Application Number** | **Description of Equipment or Change** | **Corresponding Emission Unit(s) or****Flexible Group(s)** |
| MI-PTI-B1678-2010b | NA | Facility-wide PTI. | Source-wide |
| 99-11 | 201100148 | Increase VOC emissions for EUK1Machine and EUK3MACHINE. | EUK1MACHINE EUK3MACHINE |
| 99-11A | 201300207 | Add the use of new coating materials in EUK1MACHINE, which may emit acrylamide.  | EUK1MACHINE EUK3MACHINE |
| NA | 201400040 | Move EUWEBPRESS#6 to Section 2 and removal of duplicate CAIR NOx Budget Permit in Section 2. | EUWEBPRESS#6CAIR NOx Budget Permit  |
| 82-14 | NA | Modify the material limit options for the inks and coatings for the presses. | FGWEBPRESSES |

## Appendix 1.7. Emission Calculations

EUBOILER#9:

The permittee may use the following calculations and methods or an alternative method, as approved by the AQD District Supervisor, for determining the annual capacity factor as described for EUBOILER#9:

1. The Permittee shall record the total amount of each fuel consumed by EUBOILER#9 for each calendar day.
2. The permittee shall calculate the total amount of each fuel consumed by EUBOILER#9 for each calendar month.
3. For each fuel consumed, the permittee shall convert the fuel usage to an actual heat input value (MMBTU) for each calendar month by utilizing AP-42 emission factors. (i.e., for natural gas usage, (MCF x 1000 BTU/CF) / 1000 = MMBTU)
4. For each fuel consumed, the permittee shall calculate the 12-month rolling average annual capacity factor by dividing the 12-month average actual total heat input value (MMBTU) by the total heat input capacity of the boiler (226.7 million BTU/hr x 8760 hours for natural gas and 217.1 MMBTU/HR x 8760 hours for fuel oil).

The permittee may use the following calculations and methods or an alternative method, as approved by the district supervisor, for determining compliance with the emission limits the as described for EUBOILER#9.

1. The permittee shall calculate the 24-hour average pounds of NOx emitted per million BTUs of heat input for EUBOILER#9 by dividing the total of the hourly lb/MMBTU by 24 hours per day.

## Appendix 1.8. Reporting

**A. Annual, Semiannual, and Deviation Certification Reporting**

The permittee shall use the MDEQ, AQD, Report Certification form (EQP 5736) and MDEQ, AQD, Deviation Report form (EQP 5737) for the annual, semiannual and deviation certification reporting referenced in the Reporting Section of the Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Alternative formats must meet the provisions of Rule 213(4)(c) and Rule 213(3)(c)(i), respectively, and be approved by the AQD District Supervisor.

**B. Other Reporting**

Specific reporting requirement formats and procedures are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Therefore, Part B of this appendix is not applicable.

## Appendix 1.9 Malfunction Abatement Plan

Malfunction Abatement Plan for EUBOILER#8:

If the opacity exceeds the limits set forth in General Requirement 11, or if visible emissions are observed for more than two hours using the methods set forth in Appendix 1.3, the permittee shall implement the following procedures:

1. Determine the cause of the visible emissions within four hours of discovery.
2. Identify possible corrective measures within eight hours of discovery.
3. Implement the most practically feasible corrective measure which will reduce/eliminate the visible emissions within 48 hours of discovery.
4. Stop firing residual fuel oil and revert to firing natural gas until corrective action measures have been implemented.

|  |  |  |
| --- | --- | --- |
|  | Michigan Department Of Environmental QualityAir Quality Division |  |
|  |  |  |

**CAIR Ozone Nitrogen Oxide Budget Permit**

**Permit No. MI-NOO-10698-2015**

|  |  |
| --- | --- |
| Permittee | Graphic Packaging International, Inc. |
| Address | 1500 North Pitcher Street, Kalamazoo, Michigan |
| SRN | B1678 |
| ORIS code | 10698 |
| Issue Date | April 15, 2015 |
| Expiration | This permit shall expire when the Facility’s ROP expires in accordance with Air Pollution Control Rule 336.1821. |
| ROP No. | MI-ROP-B1678-2015 |

This permit incorporates automatically the definitions of terms under Air Pollution Control Rule 336.1803.

This permit incorporates automatically, upon recordation by the USEPA Administrator in accordance with Air Pollution Control Rule 336.1822, 336.1823, and 336.1834every allocation, transfer, or deduction of a NOx allowance to or from the compliance accounts of the NOx Budget unit(s) covered by the permit.

The owners and operators of the source must comply with the standard requirements and special provisions set forth in this permit.

This permit incorporates any attached comments, notes or justifications regarding permit decisions and changes made to the permit application forms during the review process.

**Units covered under this permit**

|  |  |
| --- | --- |
| **AQD Unit ID** | **Unit Type** |
| EUBOILER#8 | **X** Stationary Boiler | [ ]  Combined Cycle System | [ ]  Combustion Turbine | [ ]  Other |

**Permit Application**:

 *CAIR Ozone NOX Season Permit application submitted August 5, 2014*

**Standard Requirements**

(a) **Permit Requirements**.

(1) The CAIR designated representative of each CAIR NOX source required to have a Renewable Operating Permit (ROP) and each CAIR NOX unit required to have a ROP at the source shall:

(i) Submit to the Michigan Department of Environmental Quality, Air Quality Division (MDEQ-AQD) a complete CAIR permit application under R 336.1821(3) in accordance with the deadlines specified in 40 CFR 97.321; and

(ii) Submit in a timely manner any supplemental information that the MDEQ-AQD determines is necessary in order to review a CAIR permit application and issue or deny a CAIR permit.

(2) The owners and operators of each CAIR NOX source required to have a ROP and each CAIR NOX unit required to have a ROP at the source shall have a CAIR permit issued by the MDEQ-AQD under subpart CCCC of 40 CFR part 97 for the source and operate the source and the unit in compliance with such CAIR permit.

(b) **Monitoring, Reporting, and Recordkeeping Requirements.**

(1) The owners and operators, and the CAIR designated representative, of each CAIR NOX source and each CAIR NOX unit at the source shall comply with the monitoring, reporting, and recordkeeping requirements of subpart HHHH of 40 CFR part 97.

(2) The emissions measurements recorded and reported in accordance with subpart HHHH of 40 CFR part 97 shall be used to determine compliance by each CAIR NOX source with the CAIR NOX emissions limitation under paragraph (c) of this permit.

(c) **Nitrogen Oxides Emission Requirements.**

(1) As of the allowance transfer deadline for a control period, the owners and operators of each CAIR NOX source and each CAIR NOX unit at the source shall hold, in the source’s compliance account, CAIR NOX allowances available for compliance deductions for the control period under 40 CFR 97.354(a) in an amount not less than the tons of total nitrogen oxides emissions for the control period from all CAIR NOX units at the source, as determined in accordance with subpart HHHH of 40 CFR part 97.

(2) A CAIR NOX unit shall be subject to the requirements under paragraph (c)(1) for the control period starting on the later of January 1, 2009 or the deadline for meeting the unit’s monitor certification requirements under 40 CFR 97.370(b)(1), (2), (3) or (7) and for each control period thereafter.

(3) A CAIR NOX allowance shall not be deducted, for compliance with the requirements under paragraph (c)(1) of this permit, for a control period in a calendar year before the year for which the CAIR NOX allowance was allocated.

(4) CAIR NOX allowances shall be held in, deducted from, or transferred into or among CAIR NOX Allowance Tracking System accounts in accordance with subparts EEEE, FFFF, GGGG, or IIII of 40 CFR part 97.

(5) A CAIR Ozone NOX Season allowance is a limited authorization to emit one ton of nitrogen oxides in accordance with the CAIR Ozone NOX Season Trading Program. No provision of the CAIR Ozone NOX Season Trading Program, the CAIR permit application, the CAIR permit, or an exemption under § 97.305 and no provision of law shall be construed to limit the authority of the United States to terminate or limit such authorization.

(6) A CAIR NOX allowance does not constitute a property right.

(7) Upon recordation by the Administrator under subpart EEEE, FFFF, GGGG, or IIII of 40 CFR part 97, every allocation, transfer, or deduction of a CAIR NOX allowance to or from a CAIR NOX source’s compliance account is incorporated automatically in any CAIR permit of the source.

(d) **Excess Emissions Requirements.**

If a CAIR NOX source emits nitrogen oxides during any control period in excess of the CAIR NOX emissions limitation, then:

(1) The owners and operators of the source and each CAIR NOX unit at the source shall surrender the CAIR NOX allowances required for deduction under 40 CFR 97.354(d)(1) and pay any fine, penalty, or assessment or comply with any other remedy imposed, for the same violations, under the Clean Air Act or applicable State law; and

(2) Each ton of such excess emissions and each day of such control period shall constitute a separate violation of 40 CFR part 97, the Clean Air Act, and applicable State rules.

(e) **Recordkeeping and Reporting Requirements.**

(1) Unless otherwise provided, the owners and operators of the CAIR NOX source and each CAIR NOX unit at the source shall keep on site at the source each of the following documents for a period of 5 years from the date the document is created. This period may be extended for cause, at any time before the end of 5 years, in writing by the MDEQ-AQD or the Administrator.

(i) The certificate of representation under § 97.313 for the CAIR designated representative for the source and each CAIR NOX unit at the source and all documents that demonstrate the truth of the statements in the certificate of representation; provided that the certificate and documents shall be retained on site at the source beyond such 5-year period until such documents are superseded because of the submission of a new certificate of representation under § 97.313 changing the CAIR designated representative.

(ii) All emissions monitoring information, in accordance with subpart HHHH of 40 CFR part 97.

(iii) Copies of all reports, compliance certifications, and other submissions and all records made or required under the CAIR NOX Ozone Trading Program.

(iv) Copies of all documents used to complete a CAIR permit application and any other submission under the CAIR NOX Ozone Trading Program or to demonstrate compliance with the requirements of the CAIR NOX Ozone Trading Program.

(2) The CAIR designated representative of a CAIR NOX source and each CAIR NOX unit at the source shall submit the reports required under the CAIR NOX Ozone Trading Program, including those under subpart HHHH of 40 CFR part 97.

(f) **Liability.**

(1) Each CAIR NOX source and each CAIR NOX unit shall meet the requirements of the CAIR NOX Ozone Trading Program.

(2) Any provision of the CAIR NOX Ozone Trading Program that applies to a CAIR NOX source or the CAIR designated representative of a CAIR NOX source shall also apply to the owners and operators of such source and of the CAIR NOX units at the source.

(3) Any provision of the CAIR NOX Ozone Trading Program that applies to a CAIR NOX unit or the CAIR designated representative of a CAIR NOX unit shall also apply to the owners and operators of such unit.

(g) **Effect on Other Authorities.**

No provision of the CAIR NOX Ozone Trading Program, a CAIR permit application, a CAIR permit, or an exemption under § 97.305 shall be construed as exempting or excluding the owners and operators, and the CAIR designated representative, of a CAIR NOX source or CAIR NOX unit from compliance with any other provision of the applicable, approved State implementation plan, a federally enforceable permit, or the Clean Air Act.

**SECTION 2 - CARTON PLANT**

# A. GENERAL CONDITIONS

## Permit Enforceability

* All conditions in this permit are both federally enforceable and state enforceable unless otherwise noted. **(R 336.1213(5))**
* Those conditions that are hereby incorporated in a state-only enforceable Source-wide PTI pursuant to Rule 201(2)(d) are designated by footnote one. **(R 336.1213(5)(a), R336.1214a(5))**
* Those conditions that are hereby incorporated in federally enforceable Source- wide PTI pursuant to Rule 201(2)(c) are designated by footnote two. **(R 336.1213(5)(b), R 336.1214a(3))**

## General Provisions

1. The permittee shall comply with all conditions of this ROP. Any ROP noncompliance constitutes a violation of Act 451, and is grounds for enforcement action, for ROP revocation or revision, or for denial of the renewal of the ROP. All terms and conditions of this ROP that are designated as federally enforceable are enforceable by the Administrator of the United States Environmental Protection Agency (USEPA) and by citizens under the provisions of the federal Clean Air Act (CAA). Any terms and conditions based on applicable requirements which are designated as “state only” are not enforceable by the USEPA or citizens pursuant to the CAA. **(R 336.1213(1)(a))**
2. It shall not be a defense for the permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this ROP. **(R 336.1213(1)(b))**
3. This ROP may be modified, revised, or revoked for cause. The filing of a request by the permittee for a permit modification, revision, or termination, or a notification of planned changes or anticipated noncompliance does not stay any ROP term or condition. This does not supersede or affect the ability of the permittee to make changes, at the permittee’s own risk, pursuant to Rule 215 and Rule 216. **(R 336.1213(1)(c))**
4. The permittee shall allow the department, or an authorized representative of the department, upon presentation of credentials and other documents as may be required by law and upon stating the authority for and purpose of the investigation, to perform any of the following activities **(R 336.1213(1)(d))**:
	1. Enter, at reasonable times, a stationary source or other premises where emissions-related activity is conducted or where records must be kept under the conditions of the ROP.
	2. Have access to and copy, at reasonable times, any records that must be kept under the conditions of the ROP.
	3. Inspect, at reasonable times, any of the following:
		1. Any stationary source.
		2. Any emission unit.
		3. Any equipment, including monitoring and air pollution control equipment.
		4. Any work practices or operations regulated or required under the ROP.
	4. As authorized by Section 5526 of Act 451, sample or monitor at reasonable times substances or parameters for the purpose of assuring compliance with the ROP or applicable requirements.
5. The permittee shall furnish to the department, within a reasonable time, any information the department may request, in writing, to determine whether cause exists for modifying, revising, or revoking the ROP or to determine compliance with this ROP. Upon request, the permittee shall also furnish to the department copies of any records that are required to be kept as a term or condition of this ROP. For information which is claimed by the permittee to be confidential, consistent with the requirements of the 1976 PA 442, MCL §15.231 et seq., and known as the Freedom of Information Act, the person may also be required to furnish the records directly to the USEPA together with a claim of confidentiality. **(R 336.1213(1)(e))**
6. A challenge by any person, the Administrator of the USEPA, or the department to a particular condition or a part of this ROP shall not set aside, delay, stay, or in any way affect the applicability or enforceability of any other condition or part of this ROP. **(R 336.1213(1)(f))**
7. The permittee shall pay fees consistent with the fee schedule and requirements pursuant to Section 5522 of Act 451. **(R 336.1213(1)(g))**
8. This ROP does not convey any property rights or any exclusive privilege. **(R 336.1213(1)(h))**

## Equipment & Design

1. Any collected air contaminants shall be removed as necessary to maintain the equipment at the required operating efficiency. The collection and disposal of air contaminants shall be performed in a manner so as to minimize the introduction of contaminants to the outer air. Transport of collected air contaminants in Priority I and II areas requires the use of material handling methods specified in Rule 370(2).2 **(R 336.1370)**
2. Any air cleaning device shall be installed, maintained, and operated in a satisfactory manner and in accordance with the Michigan Air Pollution Control rules and existing law. **(R 336.1910)**

## Emission Limits

1. Unless otherwise specified in this ROP, the permittee shall comply with Rule 301, which states, in part, “Except as provided in Subrules 2, 3, and 4 of this rule, a person shall not cause or permit to be discharged into the outer air from a process or process equipment a visible emission of a density greater than the most stringent of the following2 **(R 336.1301(1))**:
	1. A 6-minute average of 20 percent opacity, except for one 6-minute average per hour of not more than 27 percent opacity.
	2. A limit specified by an applicable federal new source performance standard.

The grading of visible emissions shall be determined in accordance with Rule 303.

1. The permittee shall not cause or permit the emission of an air contaminant or water vapor in quantities that cause, alone or in reaction with other air contaminants, either of the following:
	1. Injurious effects to human health or safety, animal life, plant life of significant economic value, or property.1 **(R 336.1901(a))**
	2. Unreasonable interference with the comfortable enjoyment of life and property. 1**(R 336.1901(b))**

## Testing/Sampling

1. The department may require the owner or operator of any source of an air contaminant to conduct acceptable performance tests, at the owner’s or operator’s expense, in accordance with Rule 1001 and Rule 1003, under any of the conditions listed in Rule 1001(1).2 **(R 336.2001)**
2. Any required performance testing shall be conducted in accordance with Rule 1001(2), Rule 1001(3) and Rule 1003. **(R 336.2001(2), R 336.2001(3), R 336.2003(1))**
3. Any required test results shall be submitted to the Air Quality Division (AQD) in the format prescribed by the applicable reference test method within 60 days following the last date of the test. **(R 336.2001(5))**

## Monitoring/Recordkeeping

1. Records of any periodic emission or parametric monitoring required in this ROP shall include the following information specified in Rule 213(3)(b)(i), where appropriate **(R 336.1213(3)(b))**:
	1. The date, location, time, and method of sampling or measurements.
	2. The dates the analyses of the samples were performed.
	3. The company or entity that performed the analyses of the samples.
	4. The analytical techniques or methods used.
	5. The results of the analyses.
	6. The related process operating conditions or parameters that existed at the time of sampling or measurement.
2. All required monitoring data, support information and all reports, including reports of all instances of deviation from permit requirements, shall be kept and furnished to the department upon request for a period of not less than 5 years from the date of the monitoring sample, measurement, report or application. Support information includes all calibration and maintenance records and all original strip-chart recordings, or other original data records, for continuous monitoring instrumentation and copies of all reports required by the ROP. **(R 336.1213(1)(e), R 336.1213(3)(b)(ii))**

## Certification & Reporting

1. Except for the alternate certification schedule provided in Rule 213(3)(c)(iii)(B), any document required to be submitted to the department as a term or condition of this ROP shall contain an original certification by a responsible official which states that, based on information and belief formed after reasonable inquiry, the statements and information in the document are true, accurate, and complete. **(R 336.1213(3)(c))**
2. A responsible official shall certify to the appropriate AQD District Office and to the USEPA that the stationary source is and has been in compliance with all terms and conditions contained in the ROP except for deviations that have been or are being reported to the appropriate AQD District Office pursuant to Rule 213(3)(c). This certification shall include all the information specified in Rule 213(4)(c)(i) through (v) and shall state that, based on information and belief formed after reasonable inquiry, the statements and information in the certification are true, accurate, and complete. The USEPA address is: USEPA, Air Compliance Data - Michigan, Air and Radiation Division, 77 West Jackson Boulevard, Chicago, Illinois 60604. **(R 336.1213(4)(c))**
3. The certification of compliance shall be submitted annually for the term of this ROP as detailed in the special conditions, or more frequently if specified in an applicable requirement or in this ROP. **(R 336.1213(4)(c))**
4. The permittee shall promptly report any deviations from ROP requirements and certify the reports. The prompt reporting of deviations from ROP requirements is defined in Rule 213(3)(c)(ii) as follows, unless otherwise described in this ROP **(R 336.1213(3)(c))**:
	1. For deviations that exceed the emissions allowed under the ROP, prompt reporting means reporting consistent with the requirements of Rule 912 as detailed in Condition 25. All reports submitted pursuant to this paragraph shall be promptly certified as specified in Rule 213(3)(c)(iii).
	2. For deviations which exceed the emissions allowed under the ROP and which are not reported pursuant to Rule 912 due to the duration of the deviation, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i). The report shall describe reasons for each deviation and the actions taken to minimize or correct each deviation.
	3. For deviations that do not exceed the emissions allowed under the ROP, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i). The report shall describe the reasons for each deviation and the actions taken to minimize or correct each deviation.
5. For reports required pursuant to Rule 213(3)(c)(ii), prompt certification of the reports is described in Rule 213(3)(c)(iii) as either of the following **(R 336.1213(3)(c))**:
	1. Submitting a certification by a responsible official with each report which states that, based on information and belief formed after reasonable inquiry, the statements and information in the report are true, accurate, and complete.
	2. Submitting, within 30 days following the end of a calendar month during which one or more prompt reports of deviations from the emissions allowed under the ROP were submitted to the department pursuant to Rule 213(3)(c)(ii), a certification by a responsible official which states that, “based on information and belief formed after reasonable inquiry, the statements and information contained in each of the reports submitted during the previous month were true, accurate, and complete”. The certification shall include a listing of the reports that are being certified. Any report submitted pursuant to Rule 213(3)(c)(ii) that will be certified on a monthly basis pursuant to this paragraph shall include a statement that certification of the report will be provided within 30 days following the end of the calendar month.
6. Semiannually for the term of the ROP as detailed in the special conditions, or more frequently if specified, the permittee shall submit certified reports of any required monitoring to the appropriate AQD District Office. All instances of deviations from ROP requirements during the reporting period shall be clearly identified in the reports. **(R 336.1213(3)(c)(i))**
7. On an annual basis, the permittee shall report the actual emissions, or the information necessary to determine the actual emissions, of each regulated air pollutant as defined in Rule 212(6) for each emission unit utilizing the emissions inventory forms provided by the department. **(R 336.1212(6))**
8. The permittee shall provide notice of an abnormal condition, start-up, shutdown, or malfunction that results in emissions of a hazardous or toxic air pollutant which continue for more than one hour in excess of any applicable standard or limitation, or emissions of any air contaminant continuing for more than two hours in excess of an applicable standard or limitation, as required in Rule 912, to the appropriate AQD District Office. The notice shall be provided not later than two business days after the start-up, shutdown, or discovery of the abnormal conditions or malfunction. Notice shall be by any reasonable means, including electronic, telephonic, or oral communication. Written reports, if required under Rule 912, must be submitted to the appropriate AQD District Supervisor within 10 days after the start-up or shutdown occurred, within 10 days after the abnormal conditions or malfunction has been corrected, or within 30 days of discovery of the abnormal conditions or malfunction, whichever is first. The written reports shall include all of the information required in Rule 912(5) and shall be certified by a responsible official in a manner consistent with the CAA. **(R 336.1912)**

## Permit Shield

1. Compliance with the conditions of the ROP shall be considered compliance with any applicable requirements as of the date of ROP issuance, if either of the following provisions is satisfied **(R 336.1213(6)(a)(i), R 336.1213(6)(a)(ii))**:
	1. The applicable requirements are included and are specifically identified in the ROP.
	2. The permit includes a determination or concise summary of the determination by the department that other specifically identified requirements are not applicable to the stationary source.

Any requirements identified in Part E of this ROP have been identified as non-applicable to this ROP and are included in the permit shield.

1. Nothing in this ROP shall alter or affect any of the following:
	1. The provisions of Section 303 of the CAA, emergency orders, including the authority of the USEPA under Section 303 of the CAA. **(R 336.1213(6)(b)(i))**
	2. The liability of the owner or operator of this source for any violation of applicable requirements prior to or at the time of this ROP issuance. **(R 336.1213(6)(b)(ii))**
	3. The applicable requirements of the acid rain program, consistent with Section 408(a) of the CAA. **(R 336.1213(6)(b)(iii))**
	4. The ability of the USEPA to obtain information from a source pursuant to Section 114 of the CAA. **(R 336.1213(6)(b)(iv))**
2. The permit shield shall not apply to provisions incorporated into this ROP through procedures for any of the following:
	1. Operational flexibility changes made pursuant to Rule 215. **(R 336.1215(5))**
	2. Administrative Amendments made pursuant to Rule 216(1)(a)(i)-(iv). **(R 336.1216(1)(b)(iii))**
	3. Administrative Amendments made pursuant to Rule 216(1)(a)(v) until the amendment has been approved by the department. **(R 336.1216(1)(c)(iii))**
	4. Minor Permit Modifications made pursuant to Rule 216(2). **(R 336.1216(2)(f))**
	5. State-Only Modifications made pursuant to Rule 216(4) until the changes have been approved by the department. **(R 336.1216(4)(e))**
3. Expiration of this ROP results in the loss of the permit shield. If a timely and administratively complete application for renewal is submitted not more than 18 months, but not less than 6 months, before the expiration date of the ROP, but the department fails to take final action before the end of the ROP term, the existing ROP does not expire until the renewal is issued or denied, and the permit shield shall extend beyond the original ROP term until the department takes final action. **(R 336.1217(1)(c), R 336.1217(1)(a))**

## Revisions

1. For changes to any process or process equipment covered by this ROP that do not require a revision of the ROP pursuant to Rule 216, the permittee must comply with Rule 215. **(R 336.1215, R 336.1216)**
2. A change in ownership or operational control of a stationary source covered by this ROP shall be made pursuant to Rule 216(1). **(R 336.1219(2))**
3. For revisions to this ROP, an administratively complete application shall be considered timely if it is received by the department in accordance with the time frames specified in Rule 216. **(R 336.1210(10))**
4. Pursuant to Rule 216(1)(b)(iii), Rule 216(2)(d) and Rule 216(4)(d), after a change has been made, and until the department takes final action, the permittee shall comply with both the applicable requirements governing the change and the ROP terms and conditions proposed in the application for the modification. During this time period, the permittee may choose to not comply with the existing ROP terms and conditions that the application seeks to change. However, if the permittee fails to comply with the ROP terms and conditions proposed in the application during this time period, the terms and conditions in the ROP are enforceable. **(R 336.1216(1)(c)(iii), R 336.1216(2)(d), R 336.1216(4)(d))**

## Reopenings

1. A ROP shall be reopened by the department prior to the expiration date and revised by the department under any of the following circumstances:
	1. If additional requirements become applicable to this stationary source with three or more years remaining in the term of the ROP, but not if the effective date of the new applicable requirement is later than the ROP expiration date. **(R 336.1217(2)(a)(i))**
	2. If additional requirements pursuant to Title IV of the CAA become applicable to this stationary source. **(R 336.1217(2)(a)(ii))**
	3. If the department determines that the ROP contains a material mistake, information required by any applicable requirement was omitted, or inaccurate statements were made in establishing emission limits or the terms or conditions of the ROP. **(R 336.1217(2)(a)(iii))**
	4. If the department determines that the ROP must be revised to ensure compliance with the applicable requirements. **(R 336.1217(2)(a)(iv))**

## Renewals

1. For renewal of this ROP, an administratively complete application shall be considered timely if it is received by the department not more than 18 months, but not less than 6 months, before the expiration date of the ROP. **(R 336.1210(8))**

## Stratospheric Ozone Protection

1. If the permittee is subject to Title 40 of the Code of Federal Regulations (CFR), Part 82 and services, maintains, or repairs appliances except for motor vehicle air conditioners (MVAC), or disposes of appliances containing refrigerant, including MVAC and small appliances, or if the permittee is a refrigerant reclaimer, appliance owner or a manufacturer of appliances or recycling and recovery equipment, the permittee shall comply with all applicable standards for recycling and emissions reduction pursuant to 40 CFR, Part 82, Subpart F.
2. If the permittee is subject to 40 CFR, Part 82, and performs a service on motor (fleet) vehicles when this service involves refrigerant in the MVAC, the permittee is subject to all the applicable requirements as specified in 40 CFR, Part 82, Subpart B, Servicing of Motor Vehicle Air Conditioners. The term “motor vehicle” as used in Subpart B does not include a vehicle in which final assembly of the vehicle has not been completed by the original equipment manufacturer. The term MVAC as used in Subpart B does not include the air-tight sealed refrigeration system used for refrigerated cargo or an air conditioning system on passenger buses using Hydrochlorofluorocarbon-22 refrigerant.

## Risk Management Plan

1. If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall register and submit to the USEPA the required data related to the risk management plan for reducing the probability of accidental releases of any regulated substances listed pursuant to Section 112(r)(3) of the CAA as amended in 40 CFR, Part 68.130. The list of substances, threshold quantities, and accident prevention regulations promulgated under 40 CFR, Part 68, do not limit in any way the general duty provisions under Section 112(r)(1).
2. If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall comply with the requirements of 40 CFR, Part 68, no later than the latest of the following dates as provided in 40 CFR, Part 68.10(a):
	1. June 21, 1999,
	2. Three years after the date on which a regulated substance is first listed under 40 CFR, Part 68.130, or
	3. The date on which a regulated substance is first present above a threshold quantity in a process.
3. If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall submit any additional relevant information requested by any regulatory agency necessary to ensure compliance with the requirements of 40 CFR, Part 68.
4. If subject to Section 112(r) of the CAA and 40 CFR, Part 68, the permittee shall annually certify compliance with all applicable requirements of Section 112(r) as detailed in Rule 213(4)(c)). **(40 CFR Part 68)**

## Emission Trading

1. Emission averaging and emission reduction credit trading are allowed pursuant to any applicable interstate or regional emission trading program that has been approved by the Administrator of the USEPA as a part of Michigan’s State Implementation Plan. Such activities must comply with Rule 215 and Rule 216. **(R 336.1213(12))**

## Permit To Install (PTI)

1. The process or process equipment included in this permit shall not be reconstructed, relocated, or modified unless a PTI authorizing such action is issued by the department, except to the extent such action is exempt from the PTI requirements by any applicable rule. 2 **(R 336.1201(1))**
2. The department may, after notice and opportunity for a hearing, revoke PTI terms or conditions if evidence indicates the process or process equipment is not performing in accordance with the terms and conditions of the PTI or is violating the department’s rules or the CAA. 2 **(R 336.1201(8) Section 5510 of Act 451)**
3. The terms and conditions of a PTI shall apply to any person or legal entity that now or hereafter owns or operates the process or process equipment at the location authorized by the PTI. If a new owner or operator submits a written request to the department pursuant to Rule 219 and the department approves the request, this PTI will be amended to reflect the change of ownership or operational control. The request must include all of the information required by Subrules (1)(a), (b) and (c) of Rule 219. The written request shall be sent to the appropriate AQD District Supervisor, MDNRE. 2**(R 336.1219)**
4. If the installation, reconstruction, relocation, or modification of the equipment for which PTI terms and conditions have been approved has not commenced within 18 months of the original PTI issuance date, or has been interrupted for 18 months, the applicable terms and conditions from that PTI, as incorporated into the ROP, shall become void unless otherwise authorized by the department. Furthermore, the person to whom that PTI was issued, or the designated authorized agent, shall notify the department via the Supervisor, Permit Section, MDEQ, AQD, P.O. Box 30260, Lansing, Michigan 48909, if it is decided not to pursue the installation, reconstruction, relocation, or modification of the equipment allowed by the terms and conditions from that PTI. 2 **(R 336.1201(4))**

**Footnotes:**

1This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

#

# B. SOURCE-WIDE CONDITIONS

Part B outlines the Source-Wide Terms and Conditions that apply to this stationary source. The permittee is subject to these special conditions for the stationary source in addition to the general conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited. If a specific condition type does not apply to this source, NA (not applicable) has been used in the table. If there are no Source-Wide Conditions, this section will be left blank.

**SOURCE-WIDE CONDITIONS**

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

1. The stationary source-wide, Section 1 and Section 2 combined, emission rate of an individual HAP shall be less than 9.9 tons per 12‑month rolling time period. **(R 336.1213(2))**
2. The stationary source-wide, Section 1 and Section 2 combined, emission rate of total combined HAPs shall be less than 24.9 tons per 12-month rolling time period. **(R 336.1213(2))**

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

NA

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall calculate and record the stationary source-wide, Section 1 and Section 2 combined, emission rates, in tons, for each single HAP and total combined HAPs for each calendar month and each 12‑month rolling time period, as determined at the end of each calendar month. **(R 336.1213(3))**

**See Appendix 2.4**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 2.8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

1. Each Responsible Official shall certify annually the compliance status of the stationary source with all stationary Source-Wide conditions. This certification shall be included as part of the annual certification of compliance as required in the General Conditions in Part A and Rule 213(4)(c). **(R 336.1213(4)(c))**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# C. EMISSION UNIT CONDITIONS

Part C outlines terms and conditions that are specific to individual emission units listed in the Emission Unit Summary Table. The permittee is subject to the special conditions for each emission unit in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited. If a specific condition type does not apply, NA (not applicable) has been used in the table. If there are no conditions specific to individual emission units, this section will be left blank.

## EMISSION UNIT SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| **Emission Unit ID** | **Emission Unit Description****(Including Process Equipment & Control Device(s))** | **Installation****Date/****Modification Date** | **Flexible Group ID** |
| --- | --- | --- | --- |
| EUWEBPRESS#1 | Ultraviolet cured web offset lithographic printing press with in-line flexographic single roller coater and video jet printer. |  01-01-8908-28-14 | FGWEBPRESSES |
| EUWEBPRESS#2 | Ultraviolet cured web offset lithographic printing press with in-line flexographic single roller coater and video jet printer. |  01-01-8908-28-14 | FGWEBPRESSES |
| EUWEBPRESS#3 | Ultraviolet cured web offset lithographic printing press with in-line flexographic single roller coater and video jet printer. |  01-01-8908-28-14 | FGWEBPRESSES |
| EUWEBPRESS#4 | An 8-color 42 inch web litho (offset) printing process. The coatings applied on the press will be cured in a Flexo dryer. The process also includes an ultraviolet dryer to cure ultraviolet inks.  | 08-29-08 08-28-14 | FGWEBPRESSES |
| EUWEBPRESS#5 | An 8-color 42 inch web litho (offset) printing process. The coatings applied on the press will be cured in a Flexo dryer.  | 08-29-0808-28-14 | FGWEBPRESSES |
| EUWEBPRESS#6 | One ultraviolet cured web offset lithographic printing press with in-line flexographic single roller coater. | 10-05-1108-28-14 | FGWEBPRESSES |
| EUGLUER#1 | Gluer used to apply adhesive. |  01-01-89NA | FGR290 |
| EUGLUER#2 | Gluer used to apply adhesive. |  01-01-89NA | FGR290 |
| EUGLUER#3 | Gluer used to apply adhesive. | 09-01-09NA | FGR290 |
| EUGLUER#4 | Gluer used to apply adhesive. | 09-01-09NA | FGR290 |
| EUGLUER#5 | Gluer used to apply adhesive. | 09-01-09NA | FGR290 |
| EUGLUER#6 | Gluer used to apply adhesive. | 01-01-10NA | FGR290 |
| EUGLUER#7 | Gluer used to apply adhesive. | 05-01-12NA | FGR290 |
| EUCARTON290ETHAC | Ethyl acetate used in the carton plant to clean. | 01-01-89NA | FGR290 |
| EUCOLDCLEANERS | Any cold cleaner that is grandfathered or exempt from Rule 201, pursuant to Rule 281(h) or Rule 285(r)(iv). Existing cold cleaners were placed into operation prior to July 1, 1979. New cold cleaners were placed into operation on or after July 1, 1979. | <07-01-79>07-01-79 | FGCOLDCLEANERS |

# D. FLEXIBLE GROUP CONDITIONS

Part D outlines the terms and conditions that apply to more than one emission unit. The permittee is subject to the special conditions for each flexible group in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited. If a specific condition type does not apply, NA (not applicable) has been used in the table. If there are no special conditions that apply to more than one emission unit, this section will be left blank.

## FLEXIBLE GROUP SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| **Flexible Group ID** | **Flexible Group Description** | **Associated****Emission Unit IDs** |
| --- | --- | --- |
| FGWEBPRESSES | Six heatset, webfed offset lithographic printing presses with in-line flexographic single roller coaters and video jet printers; ultraviolet cured. All of the presses are manual wash. | EUWEBPRESS#1EUWEBPRESS#2EUWEBPRESS#3EUWEBPRESS#4EUWEBPRESS#5EUWEBPRESS#6 |
| FGRULE290 | Any emission unit that is exempt from Rule 201 pursuant to Rule 290. | EUGLUER#1EUGLUER#2EUGLUER#3EUGLUER#4EUGLUER#5EUGLUER#6EUGLUER#7EUCARTON290ETHAC |
| FGCOLDCLEANERS | Any cold cleaner that is grandfathered or exempt from Rule 201, pursuant to Rule 281(h) or Rule 285(r)(iv). Existing cold cleaners were placed into operation prior to July 1, 1979. New cold cleaners were placed into operation on or after July 1, 1979. | EUCOLDCLEANERS |

## FGWEBPRESSES

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Six heatset, webfed, offset lithographic printing presses with in-line flexographic single roller coaters and video jet printers; ultraviolet cured. All of the presses are manual wash.

**Emission Units:** EUWEBPRESS#1, EUWEBPRESS#2, EUWEBPRESS#3, EUWEBPRESS#4, EUWEBPRESS#5, EUWEBPRESS#6

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/****Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. VOC | 9.9 pph2 | Test protocol | EUWEBPRESS#1,EUWEBPRESS#2, EUWEBPRESS#3combined | SC VI.1, 2, and 4 | **R 336.1702(a)** |
| 1. VOC
 | 41.8 tons per year2 | Per 12 month rolling time period as determined at the end of each calendar month | EUWEBPRESS#1,EUWEBPRESS#2, EUWEBPRESS#3combined | SC VI.1, 2, and 4 | **R 336.1225****R 336.1702(a)** |
| 1. VOC
 | 26.0 tons per year2 | Per 12 month rolling time period as determined at the end of each calendar month | EUWEBPRESS#4,EUWEBPRESS#5combined | SC VI.1, 2, and 4 | **R 336.1225****R 336.1702(a)** |
| 1. VOC
 | 13.5 tons per year2 | Per 12 month rolling time period as determined at the end of each calendar month | EUWEBPRESS#6 | SC VI.1, 2, and 4 | **R 336.1225****R 336.1702(a)** |

\*Test protocol shall specify averaging time

**II. MATERIAL LIMIT(S)**

| **Material** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/****Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. VOC content of the fountain solution | 5.0% by weight, as applied and no alcohol\*2 | Instantaneous | Each press in FGWEBPRESSES | SC VI.1, 2, and 5 | **R 336.1702(a)** |
| 1. VOC content of the inks and coatings
 | 25%, by volume, of the total volatile fraction, as applied, Or, the non-volatile fraction must be > 60% by volume of coating or ink, minus water and exempt solvents, as applied2 | Instantaneous | Each press in FGWEBPRESSES | SC VI.1, 2, and 6 | **R 336.1702(a)** |

\*No alcohol includes isopropyl alcohol (CAS #67-63-0), propyl alcohol (CAS #71-23-8), and ethanol (CAS #64-17-5)

1. All printing press-related cleaning solvents shall have VOC composite partial vapor pressures that do not exceed 10 mmHg @ 20oC (68oF).2 **(R 336.1702(a))**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. All VOC containing inks, fountain solution, coatings, cleaning solvents such as blanket and roller washes, unused shop towels, etc. (materials) shall be store in closed containers and disposed of in an acceptable manner, in compliance with all applicable state rules and federal regulations.2 **(R 336.1224, R 336.1225, R 336.1702(a))**
2. The permittee shall handle all VOC and/or HAP containing materials, in a manner to minimize the generation of fugitive emissions. The permittee shall keep containers covered at all times except when operator access is necessary.2 **(R 336.1224, R 336.1225, R 336.1702(a))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall verify the VOC content of any ink, coating, etc. (material), as received and as applied, using federal Reference Test Method 24 or 24A pursuant to Rule 1040(5). Upon prior written approval by the AQD District Supervisor, VOC content may be determined from manufacturer’s formulation data. If the Method 24 or 24A and the formulation values should differ, the method 24 or 24A results shall be used to determine compliance.2 **(R 336.1702(a), R 336.2001, R 336.2003, R 336.2004, R 336.2040(5))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall complete all required calculations in a format acceptable to the AQD District Supervisor by the end of the calendar month, for the previous calendar month, unless otherwise specified in any monitoring/recordkeeping special condition.2 **(R 336.1225, R 336.1702(a))**
2. The permittee shall maintain a current listing from the manufacturer of the chemical composition of each material, including the weight percent of each component. The data may consist of Material Safety Data Sheets, manufacturer's formulation data, or both as deemed acceptable by the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.2  **(R 336.1225, R 336.1702)**
3. The permittee shall record the usage rate of each VOC containing material in VI.3, for each calendar month. **(R 336.1213(3))**
4. The permittee shall the following information on a calendar month basis for FGWEBPRESSES:
	1. The type of each VOC containing material used and reclaimed (ink, coating, fountain solution, blanket wash, press wash, roller wash, etc.).
	2. The VOC content of each material as received and as applied (in percent by weight or pounds per gallon).
	3. VOC mass emission calculations determining the monthly emission rate in tons per calendar month. (Retention factors from Control Techniques Guidelines for Offset Lithographic Printing and Letterpress Printing, EPA-453/R-06-002, September 2006 may be used or an alternate factor approved by the AQD District Supervisor.)
	4. VOC mass emission calculations determining the annual emission rate in tons per 12-month rolling time period as determined at the end of each calendar month. (Retention factors from Control Techniques Guidelines for Offset Lithographic Printing and Letterpress Printing, EPA-453/R-06-002, September 2006 may be used or an alternate factor approved by the AQD District Supervisor.)

The permittee shall keep the records in a format acceptable to the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request.2 **(R 336.1702(a))**

1. The permittee shall calculate the VOC content of the fountain solution using the method detailed in Appendices 2.4 and 2.7 or an alternate method approved by the AQD District Supervisor. Calculations shall include both dampening aid and wetting agent, as used, in percent by weight. The permittee shall keep all records on file at the facility and make them available to the Department upon request.2 **(R 336.1702(a))**
2. The permittee shall keep a written record, for each press, of VOC emission calculations determining the volume of VOCs in the inks and coatings, as a percentage of the total volatile fraction, including water; or the non-volatile volume faction of the inks and coatings as a percent of the ink or coating total volume, minus water, based upon an instantaneous basis. The permittee shall keep the records in a format acceptable to the AQD District Supervisor. Calculations shall include both dampening aid and wetting agent, as used, in percent by weight. The permittee shall keep all records on file at the facility and make them available to the Department upon request.2 **(R 336.1702(a))**

**See Appendices 2.4 and 2.7**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 2.8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Dimensions****(inches)** | **Minimum Height Above Ground****(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SVWEBPRESSES (for EUWEBPRESS#1, #2, and #3)  | 20.42 | 62.92 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 2. SVWEBPRESS#4  | 122 | 652 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 3. SVWEBPRESS#5  | 122 | 652 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 4. SVWEBPRESS#6-A | 142 | 292 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |
| 5. SVWEBPRESS#6-B  | 142 | 292 | **R 336.1225,** **40 CFR 52.21(c) & (d)** |

**IX. OTHER REQUIREMENT(S)**

NA

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGRULE290

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Any emission unit that emits air contaminants and is exempt from the requirements of Rule 201 pursuant to Rules 278 and 290.

**Emission Units:** EUGLUER#1, EUGLUER#2, EUGLUER#3, EUGLUER#4, EUGLUER#5, EUGLUER#6, EUGLUER#7, EUCARTON290ETHAC, and any other Rule 201 exempt emission unit pursuant to Rule 290.

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

1. Each emission unit that emits only noncarcinogenic volatile organic compounds or noncarcinogenic materials which are listed in Rule 122(f) as not contributing appreciably to the formation of ozone if the total uncontrolled or controlled emissions of air contaminants are not more than 1,000 or 500 pounds per month, respectively. **(R 336.1290(a)(i))**

2. Each emission unit that the total uncontrolled or controlled emissions of air contaminants are not more than 1,000 or 500 pounds per month, respectively, and all the following criteria listed below are met **(R 336.1290(a)(ii))**:

a. For noncarcinogenic air contaminants, excluding noncarcinogenic volatile organic compounds and noncarcinogenic materials which are listed in Rule 122(f) as not contributing appreciably to the formation of ozone, with initial threshold screening levels greater than or equal to 2.0 micrograms per cubic meter, the uncontrolled or controlled emissions shall not exceed 1,000 or 500 pounds per month, respectively.

**(R 336.1290(a)(ii)(A))**

b. For noncarcinogenic air contaminants, excluding noncarcinogenic volatile organic compounds and noncarcinogenic materials which are listed in Rule 122(f) as not contributing appreciably to the formation of ozone, with initial threshold screening levels greater than or equal to 0.04 microgram per cubic meter and less than 2.0 micrograms per cubic meter, the uncontrolled or controlled emissions shall not exceed 20 or 10 pounds per month, respectively. **(R 336.1290(a)(ii)(B))**

c. For carcinogenic air contaminants with initial risk screening levels greater than or equal to 0.04 microgram per cubic meter, the uncontrolled or controlled emissions shall not exceed 20 or 10 pounds per month, respectively. **(R 336.1290(a)(ii)(C))**

d. The emission unit shall not emit any air contaminants, excluding non-carcinogenic volatile organic compounds and noncarcinogenic materials which are listed in Rule 122(f) as not contributing appreciably to the formation of ozone, with an initial threshold screening level or initial risk screening level less than 0.04 microgram per cubic meter. **(R 336.1290(a)(ii)(D))**

3. Each emission unit that emits only noncarcinogenic particulate air contaminants and other air contaminants that are exempted under Rule 290(a)(i) and/or Rule 290(a)(ii), if all of the following provisions are met **(R 336.1290(a)(iii))**:

a. The particulate emissions are controlled by an appropriately designed and operated fabric filter collector or an equivalent control system which is designed to control particulate matter to a concentration of less than or equal to 0.01 pound of particulate per 1,000 pounds of exhaust gases and which does not have an exhaust gas flow rate more than 30,000 actual cubic feet per minute. **(R 336.1290(a)(iii)(A))**

b. The visible emissions from the emission unit are not more than five percent opacity in accordance with the methods contained in Rule 303. **(R 336.1290(a)(iii)(B))**

c. The initial threshold screening level for each particulate air contaminant, excluding nuisance particulate, is more than 2.0 micrograms per cubic meter. **(R 336.1290(a)(iii)(C))**

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The provisions of Rule 290 apply to each emission unit that is operating pursuant to Rule 290. **(R 336.1290)**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall maintain records of the following information for each emission unit for each calendar month using the methods outlined in the DEQ, AQD Rule 290, Permit to Install Exemption Record form (EQP 3558) or in a format that is acceptable to the AQD District Supervisor **(R 336.1213(3))**:

a. Records identifying each air contaminant that is emitted. **(R 336.1213(3))**

b. Records identifying if each air contaminant is controlled or uncontrolled. **(R 336.1213(3))**

c. Records identifying if each air contaminant is either carcinogenic or non-carcinogenic. **(R 336.1213(3))**

d. Records identifying the ITSL and IRSL, if established, of each air contaminant that is being emitted under the provisions of Rules 290(a)(ii) and (iii). **(R 336.1213(3))**

e. Material use and calculations identifying the quality, nature, and quantity of the air contaminant emissions in sufficient detail to demonstrate that the actual emissions of the emission unit meet the emission limits outlined in this table and Rule 290. **(R 336.1213(3), R 336.1290(c))**

2. The permittee shall maintain an inventory of each emission unit that is exempt pursuant to Rule 290. This inventory shall include the following information **(R 336.1213(3))**:

a. The permittee shall maintain a written description of each emission unit as it is maintained and operated throughout the life of the emission unit. **(R 336.1290(b), R 336.1213(3))**

b. For each emission unit that emits noncarcinogenic particulate air contaminants pursuant to Rule 290(a)(iii), the permittee shall maintain a written description of the control device, including the designed control efficiency and the designed exhaust gas flow rate**. (R 336.1213(3))**

3. For each emission unit that emits noncarcinogenic particulate air contaminants pursuant to Rule 290(a)(iii), the permittee shall perform a monthly visible emission observation of each stack or vent during routine operating conditions. This observation need not be performed using Method 9. The permittee shall keep a written record of the results of each observation. **(R 336.1213(3))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 2.8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

NA

## FGCOLDCLEANERS

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Any cold cleaner that is grandfathered or exempt from Rule 201 pursuant to Rule 278 and Rule 281(h), or Rule 285(r)(iv). Existing cold cleaners were placed into operation prior to July 1, 1979. New cold cleaners were placed into operation on or after July 1, 1979.

**Emission Unit:** EUCOLDCLEANERS

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

1. The permittee shall not use cleaning solvents containing more than five percent by weight of the following halogenated compounds: methylene chloride, perchloroethylene, trichloroethylene, 1,1,1‑trichloroethane, carbon tetrachloride, chloroform, or any combination thereof. **(R 336.1213(2))**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. Cleaned parts shall be drained for no less than 15 seconds or until dripping ceases. **(R 336.1611(2)(b), R 336.1707(3)(b))**

2. The permittee shall perform routine maintenance on each cold cleaner as recommended by the manufacturer. **(R 336.1213(3))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The cold cleaner must meet one of the following design requirements:

a. The air/vapor interface of the cold cleaner is no more than ten square feet. **(R 336.1281(h))**

b. The cold cleaner is used for cleaning metal parts and the emissions are released to the general in-plant environment. **(R 336.1285(r)(iv))**

2. The cold cleaner shall be equipped with a device for draining cleaned parts. **(R 336.1611(2)(b), R 336.1707(3)(b))**

3. All new and existing cold cleaners shall be equipped with a cover and the cover shall be closed whenever parts are not being handled in the cold cleaner. **(R 336.1611(2)(a), R 336.1707(3)(a))**

4. The cover of a new cold cleaner shall be mechanically assisted if the Reid vapor pressure of the solvent is more than 0.3 psia or if the solvent is agitated or heated. **(R 336.1707(3)(a))**

5. If the Reid vapor pressure of any solvent used in a new cold cleaner is greater than 0.6 psia; or, if any solvent used in a new cold cleaner is heated above 120 degrees Fahrenheit, then the cold cleaner must comply with at least one of the following provisions:

a. The cold cleaner must be designed such that the ratio of the freeboard height to the width of the cleaner is equal to or greater than 0.7. **(R 336.1707(2)(a))**

b. The solvent bath must be covered with water if the solvent is insoluble and has a specific gravity of more than 1.0. **(R 336.1707(2)(b))**

c. The cold cleaner must be controlled by a carbon adsorption system, condensation system, or other method of equivalent control approved by the AQD. **(R 336.1707(2)(c))**

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. For each new cold cleaner in which the solvent is heated, the solvent temperature shall be monitored and recorded at least once each calendar week during routine operating conditions. **(R 336.1213(3))**

2. The permittee shall maintain the following information on file for each cold cleaner **(R 336.1213(3))**:

a. A serial number, model number, or other unique identifier for each cold cleaner.

b. The date the unit was installed, manufactured or that it commenced operation.

c. The air/vapor interface area for any unit claimed to be exempt under Rule 281(h).

d. The applicable Rule 201 exemption.

e. The Reid vapor pressure of each solvent used.

f. If applicable, the option chosen to comply with Rule 707(2).

3. The permittee shall maintain written operating procedures for each cold cleaner. These written procedures shall be posted in an accessible, conspicuous location near each cold cleaner. **(R 336.1611(3), R 336.1707(4))**

4. As noted in Rule 611(2)(c) and Rule 707(3)(c), if applicable, an initial demonstration that the waste solvent is a safety hazard shall be made prior to storage in non-closed containers. If the waste solvent is a safety hazard and is stored in non-closed containers, verification that the waste solvent is disposed of so that not more than 20 percent, by weight, is allowed to evaporate into the atmosphere shall be made on a monthly basis. **(R 336.1213(3), R 336.1611(2)(c), R 336.1707(3)(c))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

NA

# E. NON-APPLICABLE REQUIREMENTS

At the time of the ROP issuance, the AQD has determined that no non-applicable requirements have been identified for incorporation into the permit shield provision set forth in the General Conditions in Part A pursuant to Rule 213(6)(a)(ii).

|  |
| --- |
| APPENDICES |

## Appendix 2.1. Abbreviations and Acronyms

The following is an alphabetical listing of abbreviations/acronyms that may be used in this permit.

|  |  |  |  |
| --- | --- | --- | --- |
| AQD | Air Quality Division | MM | Million |
| acfm | Actual cubic feet per minute | MSDS | Material Safety Data Sheet |
| BACT | Best Available Control Technology | MW | Megawatts |
| BTU | British Thermal Unit | NA | Not Applicable |
| °C | Degrees Celsius | NAAQS | National Ambient Air Quality Standards |
| CAA | Federal Clean Air Act | NESHAP | National Emission Standard for Hazardous Air Pollutants |
| CAM | Compliance Assurance Monitoring | NMOC | Non-methane Organic Compounds |
| CEM  | Continuous Emission Monitoring | NOx | Oxides of Nitrogen |
| CFR | Code of Federal Regulations | NSPS | New Source Performance Standards |
| CO | Carbon Monoxide | NSR | New Source Review |
| COM | Continuous Opacity Monitoring | PM | Particulate Matter  |
| department | Michigan Department of Environmental Quality  | PM-10 | Particulate Matter less than 10 microns in diameter |
| dscf | Dry standard cubic foot | pph | Pound per hour |
| dscm | Dry standard cubic meter | ppm | Parts per million |
| EPA | United States Environmental Protection Agency | ppmv | Parts per million by volume  |
| EU | Emission Unit | ppmw | Parts per million by weight  |
| °F | Degrees Fahrenheit | PS | Performance Specification |
| FG | Flexible Group | PSD | Prevention of Significant Deterioration |
| GACS | Gallon of Applied Coating Solids | psia | Pounds per square inch absolute |
| GC | General Condition | psig | Pounds per square inch gauge  |
| gr  | Grains | PeTE | Permanent Total Enclosure |
| HAP | Hazardous Air Pollutant | PTI | Permit to Install |
| Hg | Mercury  | RACT | Reasonable Available Control Technology |
| hr | Hour  | ROP | Renewable Operating Permit |
| HP | Horsepower  | SC | Special Condition |
| H2S | Hydrogen Sulfide | scf | Standard cubic feet |
| HVLP | High Volume Low Pressure \* | sec | Seconds  |
| ID  | Identification (Number) | SCR | Selective Catalytic Reduction |
| IRSL | Initial Risk Screening Level | SO2 | Sulfur Dioxide  |
| ITSL | Initial Threshold Screening Level | SRN | State Registration Number |
| LAER | Lowest Achievable Emission Rate  | TAC | Toxic Air Contaminant |
| lb | Pound | Temp | Temperature |
| m | Meter | THC | Total Hydrocarbons |
| MACT | Maximum Achievable Control Technology  | tpy | Tons per year |
| MAERS | Michigan Air Emissions Reporting System | µg  | Microgram  |
| MAP | Malfunction Abatement Plan | VE | Visible Emissions |
| MDEQ | Michigan Department of Environmental Quality | VOC | Volatile Organic Compounds  |
| mg | Milligram  | yr | Year  |
| mm | Millimeter |  |  |

\*For HVLP applicators, the pressure measured at the gun air cap shall not exceed 10 pounds per square inch gauge (psig).

## Appendix 2.2. Schedule of Compliance

The permittee certified in the ROP application that this stationary source is in compliance with all applicable requirements and the permittee shall continue to comply with all terms and conditions of this ROP. A Schedule of Compliance is not required. **(R 336.1213(4)(a), R 336.1119(a)(ii))**

## Appendix 2.3. Monitoring Requirements

There are no specific monitoring requirements for this ROP. Therefore, this appendix is not applicable.

## Appendix 2.4. Recordkeeping

The permittee shall use the following approved formats and procedures for the recordkeeping requirements referenced in FGWEBPRESSES. Alternative formats must be approved by the AQD District Supervisor.

**Weight Percent of VOC\* in Fountain Solution**

**Month/Year: \_\_\_\_\_\_\_\_\_\_\_\_\_**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | **A** | **B** | **C** | **D** | **E1** |
| **Date** | **Material ID** | **Gallons used, as received** | **Density (#/gal)** | **VOC Content, as received (wt%)** | **Water Used (gallons)** | **VOC Content, as applied (wt%)** |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |

## \*Includes both dampening aid and wetting agent.

1See Appendix 2.7 for calculation.

## Appendix 2.5. Testing Procedures

Specific testing requirement plans, procedures, and averaging times are detailed in the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Therefore, this appendix is not applicable.

## Appendix 2.6. Permits to Install

The following table lists any PTIs issued or ROP revision applications received since the effective date of the previously issued ROP No. MI-ROP-B1678-2010. Those ROP revision applications that are being issued concurrently with this ROP renewal are identified by an asterisk (\*). Those revision applications not listed with an asterisk were processed prior to this renewal.

Source-Wide PTI No MI-PTI-B1678-2010b is being reissued as Source-Wide PTI No. MI-PTI-B1678-2015.

|  |  |  |  |
| --- | --- | --- | --- |
| **Permit to Install Number** | **ROP Revision****Application Number** | **Description of Equipment or Change** | **Corresponding Emission Unit(s) or****Flexible Group(s)** |
| MI-PTI-B1678-2010b | NA | Facility-wide PTI. | Source-wide |
| 82-14 | NA | Changed the material limits for the presses so that they are equivalent and can be combined into one flex group table. | FGWEBPRESSES |
| NA | 201400040 | Make corrections to the ROP by moving EUWEBPRESS#6 from Section 1 to Section 2; delete CAIR O3 and NOx Budget Permits from Section 2. | EUWEBPRESS#6 |

## Appendix 2.7. Emission Calculations

The permittee shall use the following calculations in conjunction with monitoring, testing or recordkeeping data to determine compliance with the applicable requirements referenced in FGWEBPRESSES. Alternative formats must be approved by the AQD district Supervisor.

To calculate the VOC weight percent for the table in appendix 2.4 above, use the following equation:

(A x B x C/100) x 100

 E = ------------------------------- (For C, if 9% use 9 not 0.09)

 (A x B) + (D x 8.34)

## Appendix 2.8. Reporting

**A. Annual, Semiannual, and Deviation Certification Reporting**

The permittee shall use the MDEQ, AQD, Report Certification form (EQP 5736) and MDEQ, AQD, Deviation Report form (EQP 5737) for the annual, semiannual and deviation certification reporting referenced in the Reporting Section of the Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Alternative formats must meet the provisions of Rule 213(4)(c) and Rule 213(3)(c)(i), respectively, and be approved by the AQD District Supervisor.

**B. Other Reporting**

Specific reporting requirement formats and procedures are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Therefore, Part B of this appendix is not applicable.