|  |  |  |
| --- | --- | --- |
|  | Michigan Department of Environment, Great Lakes, and EnergyAir Quality Division |  |
| **State Registration Number** | **RENEWABLE OPERATING PERMIT** | **ROP Number** |
| B2807 | **STAFF REPORT** | MI-ROP-B2807-2023 |

**DTE Electric Company – Putnam Peaking Facility**

State Registration Number (SRN): B2807

Located at

5660 Mertz Road, Mayville, Tuscola County, Michigan 48744

Permit Number: MI-ROP-B2807-2023

Staff Report Date: February 27, 2023

This Staff Report is published in accordance with Sections 5506 and 5511 of Part 55, Air Pollution Control, of the Natural Resources and Environmental Protection Act, 1994 PA 451, as amended (Act 451). Specifically, Rule 214(1) of the administrative rules promulgated under Act 451, requires that the Michigan Department of Environment, Great Lakes, and Energy (EGLE), Air Quality Division (AQD), prepare a report that sets forth the factual basis for the terms and conditions of the Renewable Operating Permit (ROP).

**TABLE OF CONTENTS**

FEBRUARY 27, 2023 - STAFF REPORT 3

APRIL 25, 2023 - STAFF REPORT ADDENDUM 7

|  |  |  |
| --- | --- | --- |
|  | Michigan Department of Environment, Great Lakes, and EnergyAir Quality Division |  |
| **State Registration Number** | **RENEWABLE OPERATING PERMIT** | **ROP Number** |
| B2807 | FEBRUARY 27, 2023 - STAFF REPORT | MI-ROP-B2807-2023 |

**Purpose**

Major stationary sources of air pollutants, and some non-major sources, are required to obtain and operate in compliance with an ROP pursuant to Title V of the federal Clean Air Act; and Michigan’s Administrative Rules for Air Pollution Control promulgated under Section 5506(1) of Act 451. Sources subject to the ROP program are defined by criteria in Rule 211(1). The ROP is intended to simplify and clarify a stationary source’s applicable requirements and compliance with them by consolidating all state and federal air quality requirements into one document.

This Staff Report, as required by Rule 214(1), sets forth the applicable requirements and factual basis for the draft ROP terms and conditions including citations of the underlying applicable requirements, an explanation of any equivalent requirements included in the draft ROP pursuant to Rule 212(5), and any determination made pursuant to Rule 213(6)(a)(ii) regarding requirements that are not applicable to the stationary source.

**General Information**

|  |  |
| --- | --- |
| Stationary Source Mailing Address: | DTE Electric Company – Putnam Peaking Facility5660 Mertz RoadMayville, Michigan 48744  |
| Source Registration Number (SRN): | B2807 |
| North American Industry Classification System (NAICS) Code: | 221112 |
| Number of Stationary Source Sections: | 1 |
| Is Application for a Renewal or Initial Issuance? |  |
| Application Number: | 202200171 |
| Responsible Official: | Biljana Pecov, Plant Manager - Energy Supply313-235-8929 |
| AQD Contact: | Adam Shaffer, 989-225-4789 |
| Date Application Received: | September 12, 2022 |
| Date Application Was Administratively Complete: | September 12, 2022 |
| Is Application Shield in Effect? |  |
| Date Public Comment Begins: | February 27, 2023 |
| Deadline for Public Comment: | March 29, 2023 |

**Source Description**

The subject site is a peaking station that has historically been put in service at times of heavy electrical load on the local grid. The facility is remotely operated from the DTE Electric Company (formerly known as The Detroit Edison Company) offices located in Southeast Michigan.

Emission units onsite consist of five diesel / No. 2 fuel oil generators and associated fuel tanks. The five diesel-fired compression ignition reciprocating internal combustion engines (CI RICE) are rated at 3,600 horsepower and have a 2.75-megawatt electrical generator connected to each engine. The engines were all reported to have been installed in June 1971, and as fuel-oil burning equipment used for electric power generation, were exempt from permitting pursuant to Rule 336.36(c). The oxidation catalysts were installed on each engine in 2012. The source is a major source of nitrogen oxides, sulfur dioxide, carbon monoxide, and greenhouse gases and a minor source of HAPs.

The following table lists stationary source emission information as reported to the Michigan Air Emissions Reporting System (MAERS) for the year **2021**.

**TOTAL STATIONARY SOURCE EMISSIONS**

| **Pollutant** | **Tons per Year** |
| --- | --- |
| Carbon Monoxide (CO) | 1.0874 |
| Lead (Pb) | 0 |
| Nitrogen Oxides (NOx) | 24.2704 |
| Particulate Matter (PM) | 0.8533 |
| Sulfur Dioxide (SO2) | 0.0114 |
| Volatile Organic Compounds (VOCs) | 0.7591 |

This source is a true minor source of HAPs, thus no HAP emissions data is listed.

At this time, there are no greenhouse gas applicable requirements to include in the ROP. The mandatory greenhouse gas reporting rule under 40 CFR Part 98 is not an ROP applicable requirement and is not included in the ROP.

See Parts C and D in the ROP for summary tables of all processes at the stationary source that are subject to process-specific emission limits or standards.

**Regulatory Analysis**

The following is a general description and history of the source. Any determinations of regulatory non-applicability for this source are explained below in the Non-Applicable Requirement part of the Staff Report and identified in Part E of the ROP.

The stationary source is in Tuscola County, which is currently designated by the United States Environmental Protection Agency (USEPA) as attainment/unclassified for all criteria pollutants.

The stationary source is subject to Title 40 of the Code of Federal Regulations (CFR) Part 70, because the potential to emit of nitrogen oxides, sulfur dioxide, and carbon monoxide exceeds 100 tons per year.

The stationary source is a minor source of HAP emissions because the potential to emit of any single HAP regulated by Section 112 of the federal Clean Air Act, is less than10 tons per year and the potential to emit of all HAPs combined are less than 25 tons per year.

No emission units at the stationary source are currently subject to the Prevention of Significant Deterioration (PSD) regulations of The Michigan Air Pollution Control Rules Part 18, Prevention of Significant Deterioration of Air Quality or 40 CFR 52.21 because the process equipment was constructed/installed prior to June 19, 1978, the promulgation date of the PSD regulations.

Although emission units EU00001, EU00002, EU00003, EU00004, and EU00005 were installed after August 15, 1967, this equipment was exempt from New Source Review (NSR) permitting requirements at the time it was installed. However, future modifications of this equipment may be subject to NSR.

Emission units EU00001, EU00002, EU00003, EU00004, and EU00005 at the stationary source are subject to the National Emission Standard for Hazardous Air Pollutants for Stationary Reciprocating Internal Combustion Engines (RICE) promulgated in 40 CFR Part 63, Subparts A and ZZZZ (RICE Area Source MACT. The ROP contains special conditions provided by DTE Electric Company – Putnam Peaking Facility in their application for applicable requirements from 40 CFR Part 63, Subparts A and ZZZZ. The AQD is not delegated the regulatory authority for this area source MACT.

The monitoring conditions contained in the ROP are necessary to demonstrate compliance with all applicable requirements and are consistent with the "Procedure for Evaluating Periodic Monitoring Submittals."

The emission limitation(s) or standard(s) for CO at the stationary source with the underlying applicable requirement(s) of 40 CFR Part 63, Subpart ZZZZ, from EU00001, EU00002, EU00003, EU00004, and EU00005 are exempt from the federal Compliance Assurance Monitoring (CAM) regulation pursuant to
40 CFR 64.2(b)(1)(i) because the CO emission limitation of 23 ppmvd at 15% O2 or a CO reduction of 70% or more from the oxidation catalyst control meet(s) the CAM exemption for NSPS or MACT proposed after November 15, 1990.

Please refer to Parts B, C, and D in the draft ROP for detailed regulatory citations for the stationary source. Part A contains regulatory citations for general conditions.

**Source-Wide Permit to Install (PTI)**

Rule 214a requires the issuance of a Source-Wide PTI within the ROP for conditions established pursuant to Rule 201. All terms and conditions that were initially established in a PTI are identified with a footnote designation in the integrated ROP/PTI document.

No PTI’s have been historically issued to the DTE Electric Company – Putnam Peaking Facility.

**Streamlined/Subsumed Requirements**

This ROP does not include any streamlined/subsumed requirements pursuant to Rules 213(2) and 213(6).

**Non-applicable Requirements**

Part E of the ROP lists requirements that are not applicable to this source as determined by the AQD, if any were proposed in the ROP Application. These determinations are incorporated into the permit shield provision set forth in Part A (General Conditions 26 through 29) of the ROP pursuant to Rule 213(6)(a)(ii).

**Processes in Application Not Identified in Draft ROP**

There were no processes listed in the ROP Application as exempt devices under Rule 212(4). Exempt devices are not subject to any process-specific emission limits or standards in any applicable requirement.

**Draft ROP Terms/Conditions Not Agreed to by Applicant**

The following table lists terms and/or conditions of the draft ROP that the AQD and the applicant did not agree upon and outlines the applicant’s objections pursuant to Rule 214(2). The terms and conditions that the AQD believes are necessary to comply with the requirements of Rule 213 shall be incorporated into the ROP.

| **Emission Unit/ Flexible Group ID** | **Permit Term(s) and/or Condition(s) in Dispute** | **Applicant’s Objection** |
| --- | --- | --- |
| FGPEAKERS | Special Condition (SC) I.1 | Requested changing the language to be consistent with other ROPs for other DTE sites.  |
| FGPEAKERS | SC III.3 | Requested changing the language to be consistent with other ROPs for other DTE sites.  |
| FGPEAKERS | SC IV.1.b | Requested that additional language found within the referenced UAR be included in order to maintain the flexibility allowed in the NESHAP Subpart ZZZZ. |
| FGPEAKERS | SC IV.2 | Requested that additional language found within the referenced UAR be included in order to maintain the flexibility allowed in the NESHAP Subpart ZZZZ. |
| FGPEAKERS | SC VII.6 | Requested to include language to make it easier for the operating personnel to comply with the ROP. |

**Compliance Status**

The AQD finds that the stationary source is expected to be in compliance with all applicable requirements as of the effective date of this ROP.

**Action taken by EGLE, AQD**

The AQD proposes to approve this ROP. A final decision on the ROP will not be made until the public and affected states have had an opportunity to comment on the AQD’s proposed action and draft permit. In addition, the USEPA is allowed up to 45 days to review the draft ROP and related material. The AQD is not required to accept recommendations that are not based on applicable requirements. The delegated decision maker for the AQD is Chris Hare, Bay City District Supervisor. The final determination for ROP approval/disapproval will be based on the contents of the ROP Application, a judgment that the stationary source will be able to comply with applicable emission limits and other terms and conditions, and resolution of any objections by the USEPA.

|  |  |  |
| --- | --- | --- |
|  | Michigan Department of Environment, Great Lakes, and EnergyAir Quality Division |  |
| **State Registration Number** | **RENEWABLE OPERATING PERMIT** | **ROP Number** |
| B2807 | APRIL 25, 2023 - STAFF REPORT ADDENDUM | MI-ROP-B2807-2023 |

**Purpose**

A Staff Report dated February 27, 2023, was developed to set forth the applicable requirements and factual basis for the draft Renewable Operating Permit (ROP) terms and conditions as required by Rule 214(1) of the administrative rules promulgated under Act 451. The purpose of this Staff Report Addendum is to summarize any significant comments received on the draft ROP during the  comment period as described in . In addition, this addendum describes any changes to the  ROP resulting from these pertinent comments.

**General Information**

|  |  |
| --- | --- |
| Responsible Official: | Bijana Pecov, Plant Manager - Energy Supply313-235-8929 |
| AQD Contact: | Adam Shaffer, Environmental Quality Analyst989-225-4789 |

**Summary of Pertinent Comments**

During the public comment period for draft ROP No. MI-ROP-B2807-2023, DTE Electric Company (DTE) provided formal comments reiterating their objections to several of the changes made during the ROP renewal process. These comments had been previously brought forth by DTE during the company review of the Working Draft ROP. AQD responded to the comments made, but DTE still had objections. Listed below are a basic summary of the applicant’s objections with the AQD responses of why the DTE comment was not accepted.

| **Emission Unit/ Flexible Group ID** | **Permit Term(s) and/or Condition(s) in Dispute** | **Applicant’s Objection** | **AQD Response** |
| --- | --- | --- | --- |
| FGPEAKERS | Special Condition (SC) I.1 | Requested changing the Time Period / Operating Scenario language to be consistent with other ROPs for other DTE sites.  | An ROP template is being used state-wide for area source – existing compression ignition non-emergency non-black start engines greater than 500 bhp with oxidation catalyst subject to 40 CFR Part 63, Subpart ZZZZ. It contains the proper Time Period / Operating Scenario language and requirements applicable for FGPEAKERS. The permit template was developed so that conditions are consistent for all ROP’s state-wide. |
| FGPEAKERS | SC III.3 | Requested changing the language to be consistent with other ROPs for other DTE sites by adding language for alternative monitoring procedures.  | Requests for approval of monitoring system quality assurance and quality control procedures alternatives is in 40 CFR 63.6625(b)(1). However, the purpose of the permit template is to put the federal regulation into a practically enforceable permit. The permit includes the options the permittee is using to demonstrate compliance. For alternative monitoring system procedures, the permittee must first request approval from EPA. When the permittee gets approval for alternatives, they can be included in the ROP as the option being used to demonstrate compliance.  |
| FGPEAKERS | SC IV.1.b | Requested that additional language found within the referenced underlying applicable requirement (UAR) be included in order to maintain the flexibility allowed in 40 CFR Part 63, Subpart ZZZZ. | The addition of the language “4-hour rolling average” to the design / equipment parameter condition in SC IV.1.b is not redundant because it is in the monitoring / recordkeeping condition in SC VI.4.b. Additionally, the language “The permittee may petition the Administrator pursuant to the requirements of 40 CFR 63.8(f) for a different temperature range” does appear as footnote 1 of Table 2b. However, the purpose of the state template language is to put the federal language into an enforceable permit. For alternative temperature ranges, the permittee must request approval from EPA.  |
| FGPEAKERS | SC IV.2 | Requested that additional language for requests to the Administrator to approve different maintenance requirements be included in order to maintain the flexibility allowed in 40 CFR Part 63, Subpart ZZZZ. | The language “or can request the Administrator to approve different maintenance requirements that are as protective as manufacturer requirements” is in 40 CFR 63.6625(g). The permit includes the options the permittee is using to demonstrate compliance. For different maintenance requirements, the permittee must request approval from EPA. When the permittee gets different maintenance requirements, they can be included in the ROP as the option being used to demonstrate compliance.  |
| FGPEAKERS | SC VII.6 | Requested to include semiannual and annual reporting periods and other language in 40 CFR Part 63, Subpart ZZZZ to make it easier for the operating personnel to comply with the ROP. | The semiannual and annual reporting periods are specified in SC VII.2 and VII.3. Regarding the semiannual compliance report requirements in SC VII.6 that reference to Table 7 of 40 CFR Part 63, Subpart ZZZZ, these are expanded on in SC VII.6.a, b, and c with all of the requirements. No reference to additional documents is necessary.  |

In summary, DTE requested to modify and include additional language so that DTE personnel would have a clearer understanding of the condition and therefore minimize risk of non-compliance. Instead of writing a condition in plain language, several conditions cross referenced the rules, which will force site operating personnel to look up regulations to get to the root requirement of a condition. This is simply not appropriate according to DTE. In some cases, DTE’s requested changes were to maintain flexibility allowed under the 40 CFR Part 63, Subpart ZZZZ rules.

While the AQD understands the concerns, the language in Template ID No. 63-4ZE-9 for “Area Source – Existing Compression Ignition Non-Emergency Non-Black Start Greater than 500 bhp w/Oxidation Catalyst” is written to match the regulation. This is done in order to make sure all applicable requirements are in the permit and so there is no accidental reinterpretation of a requirement. The template has gone through extensive review by the AQD to verify each special condition and that associated underlying applicable requirements are clear and concise. AQD made corrections to permit conditions based on DTE comments and the corrections were made to Template ID No. 63-4ZE-9. However, not all comments made by DTE were accepted at this time but may potentially result in future adjustments to the template.

**Changes to the February 27, 2023 ROP**

No changes were made to the ROP.