|  |  |  |
| --- | --- | --- |
|  | **MICHIGAN DEPARTMENT OF ENVIRONMENT, GREAT LAKES, AND ENERGY**  **AIR QUALITY DIVISION** |  |
| EFFECTIVE DATE: December 11, 2024  ISSUED TO  **Poet Biorefining – Caro, LLC**  State Registration Number (SRN): N6996  LOCATED AT  1551 Empire Drive, Caro, Tuscola County, Michigan | | |
|  | | |
| **RENEWABLE OPERATING PERMIT**  Permit Number: MI-ROP-N6996-2024  Expiration Date: December 11, 2029  Administratively Complete ROP Renewal Application  Due Between June 11, 2028 and June 11, 2029  This Renewable Operating Permit (ROP) is issued in accordance with and subject to Section 5506(3) of Part 55, Air Pollution Control, of the Natural Resources and Environmental Protection Act, 1994 PA 451, as amended (Act 451). Pursuant to Rule 210(1) of the administrative rules promulgated under Act 451, this ROP constitutes the permittee’s authority to operate the stationary source identified above in accordance with the general conditions, special conditions and attachments contained herein. Operation of the stationary source and all emission units listed in the permit are subject to all applicable future or amended rules and regulations pursuant to Act 451 and the federal Clean Air Act. | | |

|  |
| --- |
| **SOURCE-WIDE PERMIT TO INSTALL**  Permit Number: MI-PTI-N6996-2024  This Permit to Install (PTI) is issued in accordance with and subject to Section 5505(1) of Act 451. Pursuant to Rule 214a of the administrative rules promulgated under Act 451, the terms and conditions herein, identified by the underlying applicable requirement citation of Rule 201(1)(a), constitute a federally enforceable PTI. The PTl terms and conditions do not expire and remain in effect unless the criteria of Rule 201(6) are met. Operation of all emission units identified in the PTI is subject to all applicable future or amended rules and regulations pursuant to Act 451 and the federal Clean Air Act. |

Michigan Department of Environment, Great Lakes, and Energy

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Julie Brunner, ROP Central Unit Supervisor **TABLE OF CONTENTS**

[AUTHORITY AND ENFORCEABILITY 4](#_Toc184800387)

[A. GENERAL CONDITIONS 5](#_Toc184800388)

[Permit Enforceability 5](#_Toc184800389)

[General Provisions 5](#_Toc184800390)

[Equipment & Design 6](#_Toc184800391)

[Emission Limits 6](#_Toc184800392)

[Testing/Sampling 6](#_Toc184800393)

[Monitoring/Recordkeeping 7](#_Toc184800394)

[Certification & Reporting 7](#_Toc184800395)

[Permit Shield 8](#_Toc184800396)

[Revisions 9](#_Toc184800397)

[Reopenings 9](#_Toc184800398)

[Renewals 10](#_Toc184800399)

[Stratospheric Ozone Protection 10](#_Toc184800400)

[Risk Management Plan 10](#_Toc184800401)

[Emission Trading 10](#_Toc184800402)

[Permit to Install (PTI) 11](#_Toc184800403)

[B. SOURCE-WIDE CONDITIONS 12](#_Toc184800404)

[C. EMISSION UNIT SPECIAL CONDITIONS 16](#_Toc184800405)

[EMISSION UNIT SUMMARY TABLE 16](#_Toc184800406)

[EUFBCOOLER 19](#_Toc184800407)

[EUDDGSSILO 23](#_Toc184800408)

[EUINHIBITANK 26](#_Toc184800409)

[EUGENSET 28](#_Toc184800410)

[EUBOILER 30](#_Toc184800411)

[D. FLEXIBLE GROUP SPECIAL CONDITIONS 32](#_Toc184800412)

[FLEXIBLE GROUP SUMMARY TABLE 32](#_Toc184800413)

[FGCORN-DDGS 34](#_Toc184800414)

[FGSCALP 38](#_Toc184800415)

[FGFLOUR 41](#_Toc184800416)

[FGFERM&DIST 45](#_Toc184800417)

[FGDDGSDRYERS 50](#_Toc184800418)

[FGETHLOAD 57](#_Toc184800419)

[FGNSPSTANKS 60](#_Toc184800420)

[FGNSPSVVa 62](#_Toc184800421)

[FGETHANOLTANKS 69](#_Toc184800422)

[FGGENSET 71](#_Toc184800423)

[E. NON-APPLICABLE REQUIREMENTS 75](#_Toc184800424)

[APPENDICES 76](#_Toc184800425)

[Appendix 1. Acronyms and Abbreviations 76](#_Toc184800426)

[Appendix 2. Schedule of Compliance 77](#_Toc184800427)

[Appendix 3. Monitoring Requirements 77](#_Toc184800428)

[Appendix 4. Recordkeeping 77](#_Toc184800429)

[Appendix 5. Testing Procedures 77](#_Toc184800430)

[Appendix 6. Permits to Install 77](#_Toc184800431)

[Appendix 7. Emission Calculations 79](#_Toc184800432)

[Appendix 8. Reporting 79](#_Toc184800433)

# AUTHORITY AND ENFORCEABILITY

For the purpose of this permit, the **permittee** is defined as any person who owns or operates an emission unit at a stationary source for which this permit has been issued. The **department** is defined in Rule 104(d) as the Director of the Michigan Department of Environment, Great Lakes, and Energy (EGLE) or his or her designee.

The permittee shall comply with all specific details in the permit terms and conditions and the cited underlying applicable requirements. All terms and conditions in this ROP are both federally enforceable and state enforceable unless otherwise footnoted. Certain terms and conditions are applicable to most stationary sources for which an ROP has been issued. These general conditions are included in Part A of this ROP. Other terms and conditions may apply to a specific emission unit, several emission units which are represented as a flexible group, or the entire stationary source which is represented as a Source-Wide group. Special conditions are identified in Parts B, C, D and/or the appendices.

In accordance with Rule 213(2)(a), all underlying applicable requirements are identified for each ROP term or condition. All terms and conditions that are included in a PTI are streamlined, subsumed and/or is state-only enforceable will be noted as such.

In accordance with Section 5507 of Act 451, the permittee has included in the ROP application a compliance certification, a schedule of compliance, and a compliance plan. For applicable requirements with which the source is in compliance, the source will continue to comply with these requirements. For applicable requirements with which the source is not in compliance, the source will comply with the detailed schedule of compliance requirements that are incorporated as an appendix in this ROP. Furthermore, for any applicable requirements effective after the date of issuance of this ROP, the stationary source will meet the requirements on a timely basis, unless the underlying applicable requirement requires a more detailed schedule of compliance.

Issuance of this permit does not obviate the necessity of obtaining such permits or approvals from other units of government as required by law.

# A. GENERAL CONDITIONS

## Permit Enforceability

* All conditions in this permit are both federally enforceable and state enforceable unless otherwise noted. **(R 336.1213(5))**
* Those conditions that are hereby incorporated in a state-only enforceable Source-Wide PTI pursuant to Rule 201(2)(d) are designated by footnote one. **(R 336.1213(5)(a), R 336.1214a(5))**
* Those conditions that are hereby incorporated in a federally enforceable Source-Wide PTI pursuant to Rule 201(2)(c) are designated by footnote two. **(R 336.1213(5)(b), R 336.1214a(3))**

## General Provisions

1. The permittee shall comply with all conditions of this ROP. Any ROP noncompliance constitutes a violation of Act 451, and is grounds for enforcement action, for ROP revocation or revision, or for denial of the renewal of the ROP. All terms and conditions of this ROP that are designated as federally enforceable are enforceable by the Administrator of the United States Environmental Protection Agency (USEPA) and by citizens under the provisions of the federal Clean Air Act (CAA). Any terms and conditions based on applicable requirements which are designated as “state-only” are not enforceable by the USEPA or citizens pursuant to the CAA. **(R 336.1213(1)(a))**
2. It shall not be a defense for the permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this ROP. **(R 336.1213(1)(b))**
3. This ROP may be modified, revised, or revoked for cause. The filing of a request by the permittee for a permit modification, revision, or termination, or a notification of planned changes or anticipated noncompliance does not stay any ROP term or condition. This does not supersede or affect the ability of the permittee to make changes, at the permittee’s own risk, pursuant to Rule 215 and Rule 216. **(R 336.1213(1)(c))**
4. The permittee shall allow the department, or an authorized representative of the department, upon presentation of credentials and other documents as may be required by law and upon stating the authority for and purpose of the investigation, to perform any of the following activities: **(R 336.1213(1)(d))**
   1. Enter, at reasonable times, a stationary source or other premises where emissions-related activity is conducted or where records must be kept under the conditions of the ROP.
   2. Have access to and copy, at reasonable times, any records that must be kept under the conditions of the ROP.
   3. Inspect, at reasonable times, any of the following:
      1. Any stationary source.
      2. Any emission unit.
      3. Any equipment, including monitoring and air pollution control equipment.
      4. Any work practices or operations regulated or required under the ROP.
   4. As authorized by Section 5526 of Act 451, sample or monitor at reasonable times substances or parameters for the purpose of assuring compliance with the ROP or applicable requirements.
5. The permittee shall furnish to the department, within a reasonable time, any information the department may request, in writing, to determine whether cause exists for modifying, revising, or revoking the ROP or to determine compliance with this ROP. Upon request, the permittee shall also furnish to the department copies of any records that are required to be kept as a term or condition of this ROP. For information which is claimed by the permittee to be confidential, consistent with the requirements of the 1976 PA 442, MCL §15.231 et seq., and known as the Freedom of Information Act, the person may also be required to furnish the records directly to the USEPA together with a claim of confidentiality. **(R 336.1213(1)(e))**
6. A challenge by any person, the Administrator of the USEPA, or the department to a particular condition or a part of this ROP shall not set aside, delay, stay, or in any way affect the applicability or enforceability of any other condition or part of this ROP. **(R 336.1213(1)(f))**
7. The permittee shall pay fees consistent with the fee schedule and requirements pursuant to Section 5522 of Act 451. **(R 336.1213(1)(g))**
8. This ROP does not convey any property rights or any exclusive privilege. **(R 336.1213(1)(h))**

## Equipment & Design

1. Any collected air contaminants shall be removed as necessary to maintain the equipment at the required operating efficiency. The collection and disposal of air contaminants shall be performed in a manner so as to minimize the introduction of contaminants to the outer air. Transport of collected air contaminants in Priority I and II areas requires the use of material handling methods specified in Rule 370(2).2 **(R 336.1370)**
2. Any air cleaning device shall be installed, maintained, and operated in a satisfactory manner and in accordance with the Michigan Air Pollution Control rules and existing law. **(R 336.1910)**

## Emission Limits

1. Unless otherwise specified in this ROP, the permittee shall comply with Rule 301, which states, in part, “Except as provided in Subrules 2, 3, and 4 of this rule, a person shall not cause or permit to be discharged into the outer air from a process or process equipment a visible emission of a density greater than the most stringent of the following:”2 **(R 336.1301(1))**
   1. A 6-minute average of 20% opacity, except for one 6-minute average per hour of not more than 27% opacity.
   2. A limit specified by an applicable federal new source performance standard.

The grading of visible emissions shall be determined in accordance with Rule 303.

1. The permittee shall not cause or permit the emission of an air contaminant or water vapor in quantities that cause, alone or in reaction with other air contaminants, either of the following:
   1. Injurious effects to human health or safety, animal life, plant life of significant economic value, or property.1 **(R 336.1901(a))**
   2. Unreasonable interference with the comfortable enjoyment of life and property.1**(R 336.1901(b))**

## Testing/Sampling

1. The department may require the owner or operator of any source of an air contaminant to conduct acceptable performance tests, at the owner’s or operator’s expense, in accordance with Rule 1001 and Rule 1003, under any of the conditions listed in Rule 1001(1).2 **(R 336.2001)**
2. Any required performance testing shall be conducted in accordance with Rule 1001(2), Rule 1001(3) and Rule 1003. **(R 336.2001(2), R 336.2001(3), R 336.2003(1))**
3. Any required test results shall be submitted to the Air Quality Division (AQD) in the format prescribed by the applicable reference test method within 60 days following the last date of the test. **(R 336.2001(5))**

## Monitoring/Recordkeeping

1. Records of any periodic emission or parametric monitoring required in this ROP shall include the following information specified in Rule 213(3)(b)(i), where appropriate. **(R 336.1213(3)(b))**
   1. The date, location, time, and method of sampling or measurements.
   2. The dates the analyses of the samples were performed.
   3. The company or entity that performed the analyses of the samples.
   4. The analytical techniques or methods used.
   5. The results of the analyses.
   6. The related process operating conditions or parameters that existed at the time of sampling or measurement.
2. All required monitoring data, support information and all reports, including reports of all instances of deviation from permit requirements, shall be kept and furnished to the department upon request for a period of not less than 5 years from the date of the monitoring sample, measurement, report or application. Support information includes all calibration and maintenance records and all original strip-chart recordings, or other original data records, for continuous monitoring instrumentation and copies of all reports required by the ROP. **(R 336.1213(1)(e), R 336.1213(3)(b)(ii))**

## Certification & Reporting

1. Except for the alternate certification schedule provided in Rule 213(3)(c)(iii)(B), any document required to be submitted to the department as a term or condition of this ROP shall contain an original certification by a Responsible Official which state that, based on information and belief formed after reasonable inquiry, the statements and information in the document are true, accurate, and complete. **(R 336.1213(3)(c))**
2. A Responsible Official shall certify to the appropriate AQD District Office and to the USEPA that the stationary source is and has been in compliance with all terms and conditions contained in the ROP except for deviations that have been or are being reported to the appropriate AQD District Office pursuant to Rule 213(3)(c). This certification shall include all the information specified in Rule 213(4)(c)(i) through (v) and shall state that, based on information and belief formed after reasonable inquiry, the statements and information in the certification are true, accurate, and complete. The annual compliance certification (pursuant to Rule 213(4)(c)) shall be submitted to the USEPA through the USEPA’s Central Data Exchange (CDX) using the Compliance and Emissions Data Reporting Interface (CEDRI), which can be accessed through CDX ([https://cdx.epa.gov/](https://gcc02.safelinks.protection.outlook.com/?url=https%3A%2F%2Fcdx.epa.gov%2F&data=05%7C01%7CORENTK%40michigan.gov%7Cf851657317c1495e6aab08dbf0f27fc7%7Cd5fb7087377742ad966a892ef47225d1%7C0%7C0%7C638368696538391429%7CUnknown%7CTWFpbGZsb3d8eyJWIjoiMC4wLjAwMDAiLCJQIjoiV2luMzIiLCJBTiI6Ik1haWwiLCJXVCI6Mn0%3D%7C3000%7C%7C%7C&sdata=g47mBhO2BDhi5HkAFttL1hXx%2B3d7TH9tHB6UHijdGXc%3D&reserved=0)), unless it contains confidential business information then use the following address: USEPA, Air Compliance Data - Michigan, Air and Radiation Division, 77 West Jackson Boulevard, Chicago, Illinois 60604-3507. **(R 336.1213(4)(c))**
3. The certification of compliance shall be submitted annually for the term of this ROP as detailed in the special conditions, or more frequently if specified in an applicable requirement or in this ROP. **(R 336.1213(4)(c))**
4. The permittee shall promptly report any deviations from ROP requirements and certify the reports. The prompt reporting of deviations from ROP requirements is defined in Rule 213(3)(c)(ii) as follows, unless otherwise described in this ROP. **(R 336.1213(3)(c))**
   1. For deviations that exceed the emissions allowed under the ROP, prompt reporting means reporting consistent with the requirements of Rule 912 as detailed in Condition 25. All reports submitted pursuant to this paragraph shall be promptly certified as specified in Rule 213(3)(c)(iii).
   2. For deviations which exceed the emissions allowed under the ROP and which are not reported pursuant to Rule 912 due to the duration of the deviation, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i). The report shall describe reasons for each deviation and the actions taken to minimize or correct each deviation.
   3. For deviations that do not exceed the emissions allowed under the ROP, prompt reporting means the reporting of all deviations in the semiannual reports required by Rule 213(3)(c)(i). The report shall describe the reasons for each deviation and the actions taken to minimize or correct each deviation.
5. For reports required pursuant to Rule 213(3)(c)(ii), prompt certification of the reports is described in Rule 213(3)(c)(iii) as either of the following: (**R 336.1213(3)(c))**
   1. Submitting a certification by a Responsible Official with each report which states that, based on information and belief formed after reasonable inquiry, the statements and information in the report are true, accurate, and complete.
   2. Submitting, within 30 days following the end of a calendar month during which one or more prompt reports of deviations from the emissions allowed under the ROP were submitted to the department pursuant to Rule 213(3)(c)(ii), a certification by a Responsible Official which states that; “based on information and belief formed after reasonable inquiry, the statements and information contained in each of the reports submitted during the previous month were true, accurate, and complete.” The certification shall include a listing of the reports that are being certified. Any report submitted pursuant to Rule 213(3)(c)(ii) that will be certified on a monthly basis pursuant to this paragraph shall include a statement that certification of the report will be provided within 30 days following the end of the calendar month.
6. Semiannually for the term of the ROP as detailed in the special conditions, or more frequently if specified, the permittee shall submit certified reports of any required monitoring to the appropriate AQD District Office. All instances of deviations from ROP requirements during the reporting period shall be clearly identified in the reports. **(R 336.1213(3)(c)(i))**
7. On an annual basis, the permittee shall report the actual emissions, or the information necessary to determine the actual emissions, of each regulated air pollutant as defined in Rule 212(6) for each emission unit utilizing the emissions inventory forms provided by the department. **(R 336.1212(6))**
8. The permittee shall provide notice of an abnormal condition, start-up, shutdown, or malfunction that results in emissions of a hazardous or toxic air pollutant which continue for more than one hour in excess of any applicable standard or limitation, or emissions of any air contaminant continuing for more than two hours in excess of an applicable standard or limitation, as required in Rule 912, to the appropriate AQD District Office. The notice shall be provided not later than two business days after the start-up, shutdown, or discovery of the abnormal conditions or malfunction. Notice shall be by any reasonable means, including electronic, telephonic, or oral communication. Written reports, if required under Rule 912, must be submitted to the appropriate AQD District Supervisor within 10 days after the start-up or shutdown occurred, within 10 days after the abnormal conditions or malfunction has been corrected, or within 30 days of discovery of the abnormal conditions or malfunction, whichever is first. The written reports shall include all of the information required in Rule 912(5) and shall be certified by a Responsible Official in a manner consistent with the CAA.2 **(R 336.1912)**

## Permit Shield

1. Compliance with the conditions of the ROP shall be considered compliance with any applicable requirements as of the date of ROP issuance if either of the following provisions is satisfied. **(R 336.1213(6)(a)(i), R 336.1213(6)(a)(ii))**
   1. The applicable requirements are included and are specifically identified in the ROP.
   2. The permit includes a determination or concise summary of the determination by the department that other specifically identified requirements are not applicable to the stationary source.

Any requirements identified in Part E of this ROP have been identified as non-applicable to this ROP and are included in the permit shield.

1. Nothing in this ROP shall alter or affect any of the following:
   1. The provisions of Section 303 of the CAA, emergency orders, including the authority of the USEPA under Section 303 of the CAA. **(R 336.1213(6)(b)(i))**
   2. The liability of the owner or operator of this source for any violation of applicable requirements prior to or at the time of this ROP issuance. **(R 336.1213(6)(b)(ii))**
   3. The applicable requirements of the acid rain program, consistent with Section 408(a) of the CAA. **(R 336.1213(6)(b)(iii))**
2. The ability of the USEPA to obtain information from a source pursuant to Section 114 of the CAA. **(R 336.1213(6)(b)(iv))**
3. The permit shield shall not apply to provisions incorporated into this ROP through procedures for any of the following:
   1. Operational flexibility changes made pursuant to Rule 215. **(R 336.1215(5))**
   2. Administrative Amendments made pursuant to Rule 216(1)(a)(i)-(iv). **(R 336.1216(1)(b)(iii))**
   3. Administrative Amendments made pursuant to Rule 216(1)(a)(v) until the amendment has been approved by the department. **(R 336.1216(1)(c)(iii))**
   4. Minor Permit Modifications made pursuant to Rule 216(2). **(R 336.1216(2)(f))**
   5. State-Only Modifications made pursuant to Rule 216(4) until the changes have been approved by the department. **(R 336.1216(4)(e))**
4. Expiration of this ROP results in the loss of the permit shield. If a timely and administratively complete application for renewal is submitted not more than 18 months, but not less than 6 months, before the expiration date of the ROP, but the department fails to take final action before the end of the ROP term, the existing ROP does not expire until the renewal is issued or denied, and the permit shield shall extend beyond the original ROP term until the department takes final action. **(R 336.1217(1)(c), R 336.1217(1)(a))**

## Revisions

1. For changes to any process or process equipment covered by this ROP that do not require a revision of the ROP pursuant to Rule 216, the permittee must comply with Rule 215. **(R 336.1215, R 336.1216)**
2. A change in ownership or operational control of a stationary source covered by this ROP shall be made pursuant to Rule 216(1). **(R 336.1219(2))**
3. For revisions to this ROP, an administratively complete application shall be considered timely if it is received by the department in accordance with the time frames specified in Rule 216. **(R 336.1210(10))**
4. Pursuant to Rule 216(1)(b)(iii), Rule 216(2)(d) and Rule 216(4)(d), after a change has been made, and until the department takes final action, the permittee shall comply with both the applicable requirements governing the change and the ROP terms and conditions proposed in the application for the modification. During this time period, the permittee may choose to not comply with the existing ROP terms and conditions that the application seeks to change. However, if the permittee fails to comply with the ROP terms and conditions proposed in the application during this time period, the terms and conditions in the ROP are enforceable. **(R 336.1216(1)(c)(iii), R 336.1216(2)(d), R 336.1216(4)(d))**

## Reopenings

1. A ROP shall be reopened by the department prior to the expiration date and revised by the department under any of the following circumstances:
   1. If additional requirements become applicable to this stationary source with three or more years remaining in the term of the ROP, but not if the effective date of the new applicable requirement is later than the ROP expiration date. **(R 336.1217(2)(a)(i))**
   2. If additional requirements pursuant to Title IV of the CAA become applicable to this stationary source. **(R 336.1217(2)(a)(ii))**
   3. If the department determines that the ROP contains a material mistake, information required by any applicable requirement was omitted, or inaccurate statements were made in establishing emission limits or the terms or conditions of the ROP. **(R 336.1217(2)(a)(iii))**
   4. If the department determines that the ROP must be revised to ensure compliance with the applicable requirements. **(R 336.1217(2)(a)(iv))**

## Renewals

1. For renewal of this ROP, an administratively complete application shall be considered timely if it is received by the department not more than 18 months, but not less than 6 months, before the expiration date of the ROP. **(R 336.1210(9))**

## Stratospheric Ozone Protection

1. If the permittee is subject to Title 40 of the Code of Federal Regulations (CFR), Part 82 and services, maintains, or repairs appliances except for motor vehicle air conditioners (MVAC), or disposes of appliances containing refrigerant, including MVAC and small appliances, or if the permittee is a refrigerant reclaimer, appliance owner or a manufacturer of appliances or recycling and recovery equipment, the permittee shall comply with all applicable standards for recycling and emissions reduction pursuant to 40 CFR Part 82, Subpart F.
2. If the permittee is subject to 40 CFR Part 82 and performs a service on motor (fleet) vehicles when this service involves refrigerant in the MVAC, the permittee is subject to all the applicable requirements as specified in 40 CFR Part 82, Subpart B, Servicing of Motor Vehicle Air Conditioners. The term “motor vehicle” as used in Subpart B does not include a vehicle in which final assembly of the vehicle has not been completed by the original equipment manufacturer. The term MVAC as used in Subpart B does not include the air-tight sealed refrigeration system used for refrigerated cargo or an air conditioning system on passenger buses using Hydrochlorofluorocarbon-22 refrigerant.

## Risk Management Plan

1. If subject to Section 112(r) of the CAA and 40 CFR Part 68, the permittee shall register and submit to the USEPA the required data related to the risk management plan for reducing the probability of accidental releases of any regulated substances listed pursuant to Section 112(r)(3) of the CAA as amended in 40 CFR 68.130. The list of substances, threshold quantities, and accident prevention regulations promulgated under 40 CFR Part 68, do not limit in any way the general duty provisions under Section 112(r)(1).
2. If subject to Section 112(r) of the CAA and 40 CFR Part 68, the permittee shall comply with the requirements of 40 CFR Part 68, no later than the latest of the following dates as provided in 40 CFR 68.10(a):
   1. June 21, 1999,
   2. Three years after the date on which a regulated substance is first listed under 40 CFR 68.130, or
   3. The date on which a regulated substance is first present above a threshold quantity in a process.
3. If subject to Section 112(r) of the CAA and 40 CFR Part 68, the permittee shall submit any additional relevant information requested by any regulatory agency necessary to ensure compliance with the requirements of 40 CFR Part 68.
4. If subject to Section 112(r) of the CAA and 40 CFR Part 68, the permittee shall annually certify compliance with all applicable requirements of Section 112(r) as detailed in Rule 213(4)(c)). **(40 CFR Part 68)**

## Emission Trading

1. Emission averaging and emission reduction credit trading are allowed pursuant to any applicable interstate or regional emission trading program that has been approved by the Administrator of the USEPA as a part of Michigan’s State Implementation Plan. Such activities must comply with Rule 215 and Rule 216. **(R 336.1213(12))**

## Permit to Install (PTI)

1. The process or process equipment included in this permit shall not be reconstructed, relocated, or modified unless a PTI authorizing such action is issued by the department, except to the extent such action is exempt from the PTI requirements by any applicable rule.2 **(R 336.1201(1))**
2. The department may, after notice and opportunity for a hearing, revoke PTI terms or conditions if evidence indicates the process or process equipment is not performing in accordance with the terms and conditions of the PTI or is violating the department’s rules or the CAA.2 **(R 336.1201(8), Section 5510 of Act 451)**
3. The terms and conditions of a PTI shall apply to any person or legal entity that now or hereafter owns or operates the process or process equipment at the location authorized by the PTI. If a new owner or operator submits a written request to the department pursuant to Rule 219 and the department approves the request, this PTI will be amended to reflect the change of ownership or operational control. The request must include all of the information required by Subrules (1)(a), (b) and (c) of Rule 219. The written request shall be sent to the appropriate AQD District Supervisor, EGLE.2**(R 336.1219)**
4. If the installation, reconstruction, relocation, or modification of the equipment for which PTI terms and conditions have been approved has not commenced within 18 months of the original PTI issuance date, or has been interrupted for 18 months, the applicable terms and conditions from that PTI, as incorporated into the ROP, shall become void unless otherwise authorized by the department. Furthermore, the person to whom that PTI was issued, or the designated authorized agent, shall notify the department via the Supervisor, Permit Section, EGLE, AQD, P. O. Box 30260, Lansing, Michigan 48909, if it is decided not to pursue the installation, reconstruction, relocation, or modification of the equipment allowed by the terms and conditions from that PTI.2 **(R 336.1201(4))**

**Footnotes:**

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# B. SOURCE-WIDE CONDITIONS

Part B outlines the Source-Wide Terms and Conditions that apply to this stationary source. The permittee is subject to these special conditions for the stationary source in addition to the general conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited. If a specific condition type does not apply to this source, NA (not applicable) has been used in the table. If there are no Source-Wide Conditions, this section will be left blank.

**SOURCE-WIDE CONDITIONS**

**DESCRIPTION**

All process equipment at the stationary source including equipment covered by other permits, grandfathered equipment, and exempt equipment.

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. SO2 | 224.9 tpy\*,2 | 12-month rolling time period as determined at the end of each calendar month | SOURCE-WIDE | SC VI.2 | **R 336.1205(1)(a) & (3)** |

\*The enforceable restrictions that are associated with SC I.3 are found in the following emission unit and flexible group conditions: EUFBCOOLER, SC II.1; EUDDGSSILO, SC II.1; FGDDGDRYERS, SC II.1; and EUBOILER operating at 8,760 hours per year, and EUGENTSET operating at 500 hours per year.

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

The permittee shall implement and maintain, a malfunction abatement plan (MAP) as described in Rule 911(2).The MAP shall, at a minimum, specify the following:

a. A complete preventative maintenance program including identification of the supervisory personnel responsible for overseeing the inspection, maintenance, and repair of air-cleaning devices, a description of the items or conditions that shall be inspected, the frequency of the inspections or repairs, and an identification of the major replacement parts that shall be maintained in inventory for quick replacement.

b. An identification of the source and air-cleaning device operating variables that shall be monitored to detect a malfunction or failure, the normal operating range of these variables, and a description of the method of monitoring or surveillance procedures.

c. A description of the corrective procedures or operational changes that shall be taken in the event of a malfunction or failure to achieve compliance with the applicable emission limits.

If at any time the MAP fails to address or inadequately addresses an event that meets the characteristics of a malfunction, the permittee shall amend the MAP within 45 days after such an event occurs. The permittee shall also amend the MAP within 45 days, if new equipment is installed or upon request from the District Supervisor. The permittee shall submit the MAP and any amendments to the MAP to the AQD District Supervisor for review and approval. If the AQD does not notify the permittee within 90 days of submittal, the MAP or amended MAP shall be considered approved. Until an amended plan is approved, the permittee shall implement corrective procedures or operational changes to achieve compliance with all applicable emission limits. **(R 336.1911, R 336.1912(6))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall complete all required calculations in a format acceptable to the AQD District Supervisor by the 30th day of the calendar month, for the previous calendar month, unless otherwise specified in any monitoring/recordkeeping special condition.2 **(R 336.1205(1)(a) & (3))**

1. The permittee shall calculate and keep, in a satisfactory manner, monthly and 12-month rolling total SO2 mass emission records as required by SC I.1. The permittee shall keep all records on file and make them available to the Department upon request.2 **(R 336.1205(1)(a) & (3))**
2. The permittee shall keep the following information on a monthly basis for SO2 emissions:

a. Gallons or pounds of each sulfur containing or SO2 emitting material used.

b. Sulfur content, in pounds per gallon or pounds per pound, of each sulfur containing material used or SO2 emission factors used as approved by the AQD District Supervisor.

c. SO2 emission calculations determining the monthly emission rate in tons per calendar month.

d. SO2 emission calculations determining the annual emission rate in tons per 12-month rolling time period as determined at the end of each calendar month.

The permittee shall keep the records using mass balance, or an alternative method and format acceptable to the AQD District Supervisor. The permittee shall keep all records on file and make them available to the Department upon request. **(R 336.1213(3))**

The permittee shall keep in a satisfactory manner, records of monitoring and maintenance conducted to demonstrate that process equipment and any control device are operated and maintained according to the approved MAP in SC III.1 and SC III.2. The permittee shall keep all records on file and make them available to the department upon request. **(R 336.1213(3))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

NA

**Footnotes:**

1This condition is state-only enforceable and was established pursuant to Rule 201(1)(b).

2This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# C. EMISSION UNIT SPECIAL CONDITIONS

Part C outlines terms and conditions that are specific to individual emission units listed in the Emission Unit Summary Table. The permittee is subject to the special conditions for each emission unit in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited. If a specific condition type does not apply, NA (not applicable) has been used in the table. If there are no conditions specific to individual emission units, this section will be left blank.

## EMISSION UNIT SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| **Emission Unit ID** | **Emission Unit Description**  **(Including Process Equipment & Control Device(s))** | **Installation**  **Date/**  **Modification Date** | **Flexible Group ID** |
| --- | --- | --- | --- |
| EUCORNPIT | Corn dump pit and auger | 11-04-2002 | FGCORN-DDGS |
| EUCORNELEV1 | Corn elevator from corn dump pit | 11-04-2002 | FGCORN-DDGS |
| EUCORNBIN1 | Corn bin 1 | 11-04-2002 | FGCORN-DDGS |
| EUCORNBIN2 | Corn bin 2 | 11-04-2002 | FGCORN-DDGS |
| EUCORNBIN3 | Corn bin 3 | 11-04-2002 | FGCORN-DDGS |
| EUCORNBIN4 | Corn bin 4 | 11-04-2002 | FGCORN-DDGS |
| EUCORNBIN5 | Corn bin 5 | 10-15-2007 | FGCORN-DDGS |
| EUCORNBIN6 | Corn bin 6 | 10-15-2007 | FGCORN-DDGS |
| EUCORNBIN7 | Corn bin 7 | 10-15-2007 | FGCORN-DDGS |
| EUDDGSPIT | Dried Distiller’s Grains and Soluble (DDGS) dump pit and auger | 11-04-2002 | FGCORN-DDGS |
| EUDDGSELEV | Dried Distiller’s Grains and Soluble (DDGS) elevator | 11-04-2002 | FGCORN-DDGS |
| EUDDGCONV | Dried Distiller’s Grains and Soluble (DDGS) fill conveyor | 11-04-2002 | FGCORN-DDGS |
| EURAILLOAD1 | Rail load spout #1 (for DDGS) | 11-04-2002 | FGCORN-DDGS |
| EUTRUCKLOAD1 | Truck load spout #1 (for DDGS) | 11-04-2002 | FGCORN-DDGS |
| EUCORNELEV2 | Corn elevator from corn bins | 11-04-2002 | FGSCALP |
| EUSCALPER | Scalper | 11-04-2002 | FGSCALP |
| EUHAMMERMILL1 | Hammermill #1 | 10-20-2005 | FGFLOUR |
| EUHAMMERMILL2 | Hammermill #2 | 10-20-2005 | FGFLOUR |
| EUHAMMERMILL3 | Hammermill #3 | 10-20-2005 | FGFLOUR |
| EUHAMMERMILL4 | Hammermill #4 | 10-20-2005 | FGFLOUR |
| EUHAMMERMILL5 | Hammermill #5 | 04-01-2016 | FGFLOUR |
| EUFLOURELEV | Flour elevator | 11-04-2002 /  04-01-2016 | FGFLOUR |
| EUFLOURCONV | Flour conveyor | 11-04-2002 /  04-01-2016 | FGFLOUR |
| EUFERMENTER1 | Fermenter #1 | 11-04-2002 | FGFERM&DIST  FGNSPSVVa |
| EUFERMENTER2 | Fermenter #2 | 11-04-2002 | FGFERM&DIST  FGNSPSVVa |
| EUFERMENTER3 | Fermenter #3 | 11-04-2002 | FGFERM&DIST  FGNSPSVVa |
| EUFERMENTER4 | Fermenter #4 | 11-04-2002 | FGFERM&DIST  FGNSPSVVa |
| EUFERMENTER5 | Fermenter #5 | 10-20-2005 | FGFERM&DIST  FGNSPSVVa |
| EUFERMENTER6 | Fermenter #6 | 10-20-2005 | FGFERM&DIST  FGNSPSVVa |
| EUFERMENTER7 | Fermenter #7 | 04-01-2016 | FGFERM&DIST  FGNSPSVVa |
| EUFERMENTER8 | Fermenter #8 | TBD | FGFERM&DIST, FGNSPSVVa |
| EUBEERWELL | Beer well | 11-04-2002 | FGFERM&DIST  FGNSPSVVa |
| EUBEERSTRIP | Beer stripper | 11-04-2002 | FGFERM&DIST  FGNSPSVVa |
| EUBEERSTRIP2 | Beer stripper #2 | 04-01-2016 | FGFERM&DIST  FGNSPSVVa |
| EURECTIFIER | Rectifier | 11-04-2002 | FGFERM&DIST  FGNSPSVVa |
| EUSIDESTRIP | Side stripper | 11-04-2002 | FGFERM&DIST FGNSPSVVa |
| EUSIEVE | Molecular sieve | 11-04-2002 | FGFERM&DIST FGNSPSVVa |
| EUSIEVE2 | Molecular sieve #2 | 04-01-2016 | FGFERM&DIST FGNSPSVVa |
| EUYEAST | Yeast tank | 11-04-2002 | FGFERM&DIST |
| EUEVAPORATOR | Evaporator | 11-04-2002 /  04-01-2016 | FGFERM&DIST |
| EURTO | Regenerative Thermal Oxidizer | 10-20-2005 | FGDDGSDRYERS |
| EUTO&HRB | Thermal oxidizer and heat recovery boiler | 10-20-2005 | FGDDGSDRYERS |
| EUDDGSDRYER1 | Dried Distiller’s Grains and Soluble (DDGS) dryer | 11-04-2002 | FGDDGSDRYERS |
| EUDDGSDRYER2 | Dried Distiller’s Grains and Soluble (DDGS) dryer | 11-04-2002 | FGDDGSDRYERS |
| EUCENTRIFUGE1 | Centrifuge #1 | 11-04-2002 | FGDDGSDRYERS |
| EUCENTRIFUGE2 | Centrifuge #2 | 11-04-2002 | FGDDGSDRYERS |
| EUCENTRIFUGE3 | Centrifuge #3 | 11-04-2002 | FGDDGSDRYERS |
| EUCENTRIFUGE4 | Centrifuge #4 | 11-04-2002 | FGDDGSDRYERS |
| EUCENTRIFUGE5 | Centrifuge #5 | 10-01-2005 | FGDDGSDRYERS |
| EUCENTRIFUGE6 | Centrifuge #6 | 04-01-2016 | FGDDGSDRYERS |
| EUFBCOOLER | Fluidized Bed Cooler with fabric filter collector | 11-04-2002 /  05-20-2019 | NA |
| EUDDGSSILO | Dried Distiller’s Grains and Soluble (DDGS) silo w/ Fabric filter collectors (F-849 & F-620)) | 11-04-2002 | NA |
| EUTRUCKLOAD3 | Truck load spout #3 (for ethanol, including E85) | 11-04-2002 /  05-22-2009 | FGETHLOAD  FGNSPSVVa |
| EUTRUCKLOAD4 | Truck load spout #4 (for ethanol, including E85) | 11-04-2002 /  05-22-2009 | FGETHLOAD  FGNSPSVVa |
| EURAILLOAD2 | Rail load spout #2 (for ethanol, including E85) | 11-04-2002 /  05-22-2009 | FGETHLOAD  FGNSPSVVa |
| EUGENSET | Diesel fuel-fired Emergency Stationary reciprocating internal combustion engine (RICE) 1129 BHP subject to 40 CFR 63, Subpart ZZZZ. | 11-04-2002 | FGGENSET |
| EUBOILER | Natural gas-fired Package Boiler with a 99.9 MMBTU/hr heat input rate. | 10-20-2005 | NA |
| EUINHIBITANK | Storage tank for corrosion inhibitor | 11-04-2002 | NA |
| EUNATGASTANK1 | Storage tank T-802 for denaturant (natural gasoline) | 03-12-2008 | FGNSPSTANKS  FGNSPSVVa |
| EU200TANK1 | Storage tank T-803 for 200 proof ethanol | 03-12-2008 | FGETHANOLTANKS  FGNSPSVVa |
| EU200TANK2 | Storage tank T-804 for 200 proof ethanol | 03-12-2008 | FGETHANOLTANKS  FGNSPSVVa |
| EU190TANK | Storage tank T-801 for 190 proof ethanol | 11-04-2002 | FGETHANOLTANKS  FGNSPSVVa |
| EUNATGASTANK2 | Storage tank T-805 for denaturant (natural gasoline) | 03-12-2008 | FGNSPSTANKS  FGNSPSVVa |
| EUSTILLAGETANK | Whole Stillage Tank | 04-01-2016 | FGDDGSDRYERS |
| EUDDGSSILO | Dried Distiller’s Grains and Soluble (DDGS) silo | 11-04-2002 | NA |

## EUFBCOOLER

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

Fluidized bed cooler with fabric filter collector.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

Fabric filter collector (CE008)

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. PM | 0.0060 lbs per 1000 lbs of gasa,2 | Hourly | EUFBCOOLER | SC V.1, VI.2 | **R 336.1331** |
| 1. PM10 | 0.65 lb/hr2 | Hourly | EUFBCOOLER | SC V.1, VI.2 | **40 CFR 52.21(c) & (d)** |
| 1. PM 2.5 | 0.65 lb/hr2 | Hourly | EUFBCOOLER | SC V.1, VI.2 | **40 CFR 52.21(c) & (d)** |
| 1. VOC | 7.54 lb/hr2 | Hourly | EUFBCOOLER | SC V.1, VI.1 | **R 336.1225, R 336.1702(a)** |
| 1. SO2 | 3.81 lb/hr2 | Hourly | EUFBCOOLER | SC V.2 | **40 CFR 52.21 (c) & (d)** |

a Calculated on a dry gas basis

**II. MATERIAL LIMIT(S)**

| **Material** | **Limit** | **Time Period / Operating Scenario** | **Equipment** | **Monitoring /**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. Sodium Bisulfite | 504,000 gallons/year2 | 12-month rolling time period as determined at the end of each calendar month | EUFBCOOLER | SC VI.3 | **R 336.1205(3),**  **R 336.1225,**  **40 CFR 52.21(c) & (d)** |

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall not operate EUFBCOOLER unless the fabric filter collector (CE008) is installed, maintained, and operated in a satisfactory manner.2 **(R 336.1331, R 336.1910, 40 CFR 52.21(c) & (d))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. Upon request of the AQD District Supervisor, the permittee shall verify PM, PM10, PM2.5, and VOC emission rates from EUFBCOOLER by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in the table below:

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| PM | 40 CFR Part 60, Appendix A; Part 10 of the Michigan Air Pollution Control Rules |
| PM10/PM2.5 | 40 CFR Part 51, Appendix M |
| VOCs | 40 CFR Part 60, Appendix A |

An alternate method, or a modification to the approved EPA Method, may be specified in an AQD approved Test Protocol. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2 **(R 336.1225, R 336.1331, R 336.1702, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

1. Within 180 days after permit issuance, the permittee shall verify SO2 emission rates from EUFBCOOLER by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in the table below:

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| SO2 | 40 CFR Part 60, Appendix A |

An alternate method, or a modification to the approved EPA Method, may be specified in an AQD approved Test Protocol and must meet the requirements of the federal Clean Air Act, all applicable state and federal rules and regulations, and be within the authority of the AQD to make the change. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2 **(R 336.1205, R 336.1225, R 336.1902, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

1. Within 180 days after permit issuance or before, the permittee shall verify the PM, PM10, PM2.5, and VOC emission rates from EUFBCOOLER, at a minimum, every five years from the date of the last test, thereafter. **(R 336.1213(3), R 336.2001, R 336.2003, R 336.2004)**
2. The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor not less than 30 days before testing of the time and place performance tests will be conducted. **(R 336.1213(3))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall keep production records on a monthly basis and other records necessary to demonstrate compliance with the VOC emission rate limit. The VOC emission rate shall be calculated based upon monthly records prorated to an hourly rate.2 **(R 336.1225, R 336.1702(a))**
2. The permittee shall monitor and record the pressure drop and/or a visible emission check of the fabric filter collector (CE008) on a daily basis, during days of operation, and will inspect the fabric filter collector (CE008) on an annual basis to confirm satisfactory operation. For the purpose of this condition, a visible emission check does not have to be in accordance with Method 9. If a check reveals any visible emissions from the vent (excluding uncombined water vapor), the permittee shall perform any maintenance required to eliminate visible emissions. The permittee shall keep records of the results of the visible emission check and of any maintenance performed after visible emissions are observed.2 **(R 336.1331, 40 CFR 52.21(c) & (d))**
3. The permittee shall monitor and record the sodium bisulfite (SBS) usage in gallons into EUFBCOOLER, on a monthly and 12-month rolling time period basis, in a manner acceptable to the AQD District Supervisor.2 **(R 336.1205(3),** **R 336.1225, 40 CFR 52.21(c) & (d))**
4. The permittee shall record once daily non-certified visual opacity observation, as an indicator of proper operation of the dust collector. The indicator is the presence of visible emissions. **(40 CFR 64.6(c)(1)(i) and (ii))**
5. For each control device in operation, the permittee shall conduct bypass monitoring for each bypass line such that the valve or closure method cannot be opened without creating an alarm condition for which a record shall be made. Records of the bypass line that was opened and the length of time the bypass line was opened shall be kept on file. **(40 CFR 64.3(a)(2))**
6. An excursion is the presence of visible emissions during the observation period. **(40 CFR 64.6(c)(2))**
7. Upon detecting an excursion or exceedance, the permittee shall restore operation of the pollutant-specific emissions unit (including the control device and associated capture system) to its normal or usual manner of operation as expeditiously as practicable in accordance with good air pollution control practices for minimizing emissions. The response shall include minimizing the period of any startup, shutdown or malfunction and taking any necessary corrective actions to restore normal operation and prevent the likely recurrence of the cause of an excursion or exceedance (other than those caused by excused startup or shutdown conditions). If visible emissions are observed, the permittee shall perform any maintenance required to eliminate visible emissions. **(40 CFR 64.7(d))**
8. Except for, as applicable, monitoring malfunctions, associated repairs, and required quality assurance or control activities (including, as applicable, calibration checks and required zero and span adjustments), the permittee shall conduct all monitoring in continuous operation (or shall collect data at all required intervals) at all times that the pollutant-specific emissions unit is operating. Data recorded during monitoring malfunctions, associated repairs, and required quality assurance or control activities shall not be used for purposes of this part, including data averages and calculations or fulfilling a minimum data availability requirement, if applicable. The owner or operator shall use all the data collected during all other periods in assessing the operation of the control device and associated control system. A monitoring malfunction is any sudden, infrequent, not reasonably preventable failure of the monitoring to provide valid data. Monitoring failures that are caused in part by poor maintenance or careless operation are not malfunctions. **(40 CFR 64.6(c)(3), 40 CFR 64.7(c))**
9. The permittee shall maintain records of monitoring data, monitor performance data, corrective actions taken, any written quality improvement plan and any activities undertaken to implement a quality improvement plan, and other information such as data used to document the adequacy of monitoring, or records of monitoring maintenance or corrective actions. **(40 CFR 64.9(b)(1))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

1. The permittee shall submit any performance test reports to the AQD Technical Programs Unit and District Office, in a format approved by the AQD. **(R 336.1213(3)(c), R 336.2001(5))**
2. Each semiannual report of monitoring and deviations shall include summary information on the number, duration and cause of excursions and/or exceedances and the corrective actions taken. If there were no excursions and/or exceedances in the reporting period, then this report shall include a statement that there were no excursions and/or exceedances. **(40 CFR 64.9(a)(2)(i))**
3. Each semiannual report of monitoring and deviations shall include a description of the actions taken to implement a Quality Improvement Plan (QIP) during the reporting period (if appropriate). If a QIP has been completed, the report shall include documentation that the plan has been implemented and if it has reduced the likelihood of excursions or exceedances. **(40 CFR 64.9(a)(2)(iii))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV007 | 372 | 352 | **R 336.1225,**  **40 CFR 52.21(c) & (d)** |

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all applicable requirements of 40 CFR Part 64. **(40 CFR Part 64)**
2. If the permittee identifies a failure to achieve compliance with an emission limitation or standard for which the approved monitoring did not provide an indication of an excursion or exceedance while providing valid data, or the results of compliance or performance testing document a need to modify the existing indicator ranges or designated conditions, the permittee shall promptly notify the AQD and if necessary, submit a proposed modification of the ROP and CAM Plan to address the necessary monitoring changes. Such a modification may include but is not limited to, reestablishing indicator ranges or designated conditions, modifying the frequency of conducting monitoring and collecting data, or the monitoring of additional parameters. **(40 CFR 64.7(e))**
3. The permittee shall submit a QIP if 9 excursions occur in any 6- month period. **(40 CFR 64.8(a))**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a)

## EUDDGSSILO

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

Dried Distiller’s Grains and Soluble (DDGS) silo.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

* Fabric filter collector (F-849 – associated with the silo and vent no. SV008). Product is discharged to either the silo or flat storage, but not both.
* Fabric filter collector (F-620 – associated with flat storage that exhausts into the silo and vent no. SV008).

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. PM | 0.0080 lbs per 1000 lbs of gasa,2 | Hourly | EUDDGSSILO | SC V.1, VI.1 | **R 336.1331** |
| 1. PM10 | 0.15 lb/hr2 | Hourly | EUDDGSSILO | SC V.1, VI.1 | **40 CFR 52.21(c) & (d)** |
| 1. PM2.5 | 0.07 lb/hr2 | Hourly | EUDDGSSILO | SC V.1, VI.1 | **40 CFR 52.21(c) & (d)** |
| 1. SO2 | 1.0 lb/hr2 | Hourly | EUDDGSSILO | SC V.2 | **40 CFR 52.21 (c) & (d)** |

a Calculated on a dry gas basis

**II. MATERIAL LIMIT(S)**

| **Material** | **Limit** | **Time Period / Operating Scenario** | **Equipment** | **Monitoring /**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. Sodium Bisulfite | 504,000 gallons/year2 | 12-month rolling time period as determined at the end of each calendar month | EUDDGSSILO | SC VI.2 | **R 336.1205(3),**  **R 336.1225,**  **40 CFR 52.21(c) & (d)** |

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall not operate EUDDGSSILO unless the fabric filter collectors (F-849 & F-620) are installed, maintained, and operated in a satisfactory manner.2 **(R 336.1331, R 336.1910, 40 CFR 52.21(c) & (d))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. Upon request of the AQD District Supervisor, the permittee shall verify PM, PM10, and PM2.5 emission rates from EUDDGSSILO by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in Reference Test Method Table #2. An alternate method, or a modification to the approved EPA Method may be specified in an AQD approved Test Protocol. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2  **(R 336.1225, R 336.1331, R 336.1702, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

**Reference Test Method Table #2**

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| PM | 40 CFR Part 60, Appendix A; Part 10 of the Michigan Air Pollution Control Rules |
| PM10/PM2.5 | 40 CFR Part 51, Appendix M |

1. Within 180 days after permit issuance, the permittee shall verify SO2 emission rates from EUDDGSSILO by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in the table below:

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| SO2 | 40 CFR Part 60, Appendix A |

An alternate method, or a modification to the approved EPA Method, may be specified in an AQD approved Test Protocol and must meet the requirements of the federal Clean Air Act, all applicable state and federal rules and regulations, and be within the authority of the AQD to make the change. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2 **(R 336.1205, R 336.1225, R 336.1902, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

1. The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor not less than 30 days before testing of the time and place performance tests will be conducted. **(R 336.1213(3))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall monitor and record the pressure drop and/or a visible emissions check of fabric filter collector F-620 or F-849 on a daily basis, during days of operation, and will inspect the fabric filter collectors   
   (F-620 & F-849) on an annual basis to confirm satisfactory operation. For the purpose of this condition, a visible emission check does not have to be in accordance with Method 9. If a check reveals any visible emissions from the vent (excluding uncombined water vapor), the permittee shall perform any maintenance required to eliminate visible emissions. The permittee shall keep records of the results of the visible emission check and of any maintenance performed after visible emissions are observed.2 **(R 336.1301, R 336.1331, R 336.1910)**
2. The permittee shall monitor and record the sodium bisulfite (SBS) usage in gallons into EUDDGSSILO, on a monthly and 12-month rolling time period basis, in a manner acceptable to the AQD District Supervisor.2 **(R 336.1205(3),** **R 336.1225, 40 CFR 52.21(c) & (d))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**
2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**
3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**
4. The permittee shall submit any performance test reports to the AQD Technical Programs Unit and District Office, in a format approved by the AQD. **(R 336.1213(3)(c), R 336.2001(5))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height**  **Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV008a | 16 x 182 | 1122 | **40 CFR 52.21(c) & (d)** |

a Discharges horizontally

**IX. OTHER REQUIREMENT(S)**

NA

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EUINHIBITANK

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

Storage tank for corrosion inhibitor.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall not fill EUINHIBITANK unless it is equipped with submerged fill piping.2 **(R 336.1225, R 336.1702(a), R 336.1910)**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall keep records in a satisfactory manner of the amount of material loaded into EUINHIBITANK on a calendar month basis. **(R 336.1213(3))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

NA

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EUGENSET

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

Diesel fuel-fired Emergency Stationary reciprocating internal combustion engine (RICE) 1129 BHP subject to 40 CFR 63, Subpart ZZZZ.

**Flexible Group ID:** FGGENSET

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

NA

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height**  **Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV017 | 82 | 122 | **R 336.1225,**  **40 CFR 52.21(c) & (d)** |

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all applicable requirements of the National Emission Standards for Hazardous Air Pollutants, as specified in 40 CFR Part 63, Subparts A and ZZZZ for Stationary Reciprocating Internal Combustion Engines. **(40 CFR Part 63, Subparts A and ZZZZ)**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## EUBOILER

**EMISSION UNIT CONDITIONS**

**DESCRIPTION**

Natural gas-fired Package Boiler with a 99.9 MMBTU/hr heat input rate.

**Flexible Group ID:** NA

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/Operating Scenario** | **Equipment** | **Monitoring/**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. PM10 | 7.6 LB/MMft3 natural gas consumed2 | Hourly | EUBOILER | SC V.1 | **40 CFR 52.21(c) & (d)** |

**II. MATERIAL LIMIT(S)**

1. The permittee shall only use sweet natural gas as fuel in EUBOILER.2  **(40 CFR 52.21(c) and (d))**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

NA

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. Upon request of the AQD District Supervisor, the permittee shall verify PM10 emission rates from EUBOILER by testing at owner's expense, in accordance with the Department requirements. Testing shall be performed using an approved USEPA Method listed in:

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| PM10 | 40 CFR Part 51, Appendix M |

An alternate method, or a modification to the approved USEPA Method, may be specified in an AQD-approved Test Protocol and must meet the requirements of the federal Clean Air Act, all applicable state and federal rules and regulations, and be within the authority of the AQD to make the change. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.  **(R 336.1213(3), R 336.2001, R 336.2003, R 336.2004)**

1. The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor not less than 30 days before testing of the time and place performance tests will be conducted. **(R 336.1213(3))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall keep records of the natural gas consumed by EUBOILER on a daily basis. The permittee shall keep these records on file and make them available to the Department upon request.2 **(40 CFR 52.21(c) and (d), 40 CFR Part 60, Subparts A and Dc, 40 CFR 60.48c(g)(1))**

2. The permittee shall maintain records from the fuel supplier which document that the gaseous fuel meets the definition of natural gas as defined in 40 CFR 60.41c. **(R 336.1213(3))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**
2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**
3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked or received by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**
4. The permittee shall submit any performance test reports to the AQD Technical Programs Unit and District Office, in a format approved by the AQD. **(R 336.1213(3)(c), R 336.2001(5))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height**  **Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV023 | 482 | 752 | **40 CFR 52.21(c) & (d)** |

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all provisions of the federal Standards of Performance for Stationary Sources as specified in 40 CFR Part 60, Subparts A and Dc, as they apply to the equipment in EUBOILER.2 **(40 CFR Part 60, Subparts A and Dc)**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

# D. FLEXIBLE GROUP SPECIAL CONDITIONS

Part D outlines the terms and conditions that apply to more than one emission unit. The permittee is subject to the special conditions for each flexible group in addition to the General Conditions in Part A and any other terms and conditions contained in this ROP.

The permittee shall comply with all specific details in the special conditions and the underlying applicable requirements cited. If a specific condition type does not apply, NA (not applicable) has been used in the table. If there are no special conditions that apply to more than one emission unit, this section will be left blank.

## FLEXIBLE GROUP SUMMARY TABLE

The descriptions provided below are for informational purposes and do not constitute enforceable conditions.

| **Flexible Group ID** | **Flexible Group Description** | **Associated**  **Emission Unit IDs** |
| --- | --- | --- |
| FGCORN-DDGS | Corn and DDGS handling area with fabric filter collector (CE001). This flexible group is subject to the requirements of 40 CFR Part 60, Subpart DD. | EUCORNPIT, EUCORNELEV1, EUCORNBIN1, EUCORNBIN2, EUCORNBIN3, EUCORNBIN4, EUCORNBIN5, EUCORNBIN6, EUCORNBIN7, EUDDGSPIT, EUDDGSELEV, EUDDGCONV, EURAILLOAD1, EUTRUCKLOAD1 |
| FGSCALP | Scalper unit with fabric filter collector (CE002). | EUCORNELEV2, EUSCALPER |
| FGFLOUR | Milling area with baghouses. (Hammermill 1-5) | EUFLOURELEV, EUFLOURCONV, EUHAMMERMILL1, EUHAMMERMILL2 EUHAMMERMILL3, EUHAMMERMILL4, EUHAMMERMILL5 |
| FGFERM&DIST | Fermentation and Distillation processes that exhaust to one of two packed-bed wet scrubbers (CE004 or CE014). This flexible group is subject to the requirements of 40 CFR Part 60, Subpart VVa. | EUFERMENTER1, EUFERMENTER2, EUFERMENTER3, EUFERMENTER4, EUFERMENTER5, EUFERMENTER6, EUFERMENTER7, EUFERMENTER8, EUBEERWELL, EUBEERSTRIP, EUBEERSTRIP2, EURECTIFIER, EUSIDESTRIP, EUSIEVE, EUSIEVE2, EUYEAST, EUEVAPORATOR |
| FGDDGSDRYERS | Dried Distiller’s Grains with Soluble (DDGS) Dryers and Centrifugation with the following air pollution control equipment:   * Thermal Oxidizer & Heat Recovery Boiler (TO&HRB) (CE010) * Regenerative Thermal Oxidizer (RTO) (CE012) | EUDDGSDRYER1, EUDDGSDRYER2,  EUTO&HRB, EURTO, EUCENTRIFUGE1, EUCENTRIFUGE2,  EUCENTRIFUGE3, EUCENTRIFUGE4,  EUCENTRIFUGE5, EUCENTRIFUGE6  EUSTILLAGETANK |
| FGETHLOAD | Ethanol truck and rail load out subject to the requirements of 40 CFR Part 60, Subpart VVa. | EUTRUCKLOAD3, EUTRUCKLOAD4, EURAILLOAD2 |
| FGNSPSTANKS | Denaturant storage with/ tank nos. T-802 and T-805 subject to the requirements of 40 CFR Part 60, Subpart Kb. | EUNATGASTANK1, EUNATGASTANK2 |
| FGNSPSVVa | All pumps, valves and pressure relief devices in light liquid and heavy liquid service; all valves and pressure relief devices in gas/vapor service; each open-ended valve or line and all associated closed vent systems and control devices subject to the requirements of Standards of Performance for Equipment Leaks of VOC in the Synthetic Organic Chemicals Manufacturing Industry for Which Construction, Reconstruction, or Modification Commenced After November 7, 2006 of 40 CFR Part 60, Subpart VVa. | EUFERMENTER1, EUFERMENTER2, EUFERMENTER3, EUFERMENTER4, EUFERMENTER5, EUFERMENTER6, EUFERMENTER7, EUFERMENTER8, EUBEERWELL, EUBEERSTRIP, EUBEERSTRIP2, EURECTIFIER, EUSIDESTRIP, EUSIEVE, EUSIEVE2, EUTRUCKLOAD3, EUTRUCKLOAD4, EURAILLOAD2, EUNATGASTANK1, EUNATGASTANK2, EU190TANK, EU200TANK1, EU200TANK2 |
| FGETHANOLTANKS | Ethanol storage tank nos. T-801, T-803 and T-804 subject to the requirements of 40 CFR Part 60, Subpart Kb. | EU190TANK, EU200TANK1, EU200TANK2 |
| FGGENSET | An existing emergency stationary reciprocating internal combustion engine (RICE) located at an Area Source of Hazardous Air Pollutants (HAP) emissions, subject to 40 CFR Part 63, Subpart ZZZZ for Stationary RICE. | EUGENSET |

## FGCORN-DDGS

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Corn and DDGS handling area with fabric filter collector (CE001). This flexible group is subject to the requirements of 40 CFR Part 60, Subpart DD.

**Emission Units:** EUCORNPIT, EUCORNELEV1, EUCORNBIN1, EUCORNBIN2, EUCORNBIN3, EUCORNBIN4, EUCORNBIN5, EUCORNBIN6, EUCORNBIN7, EUDDGSPIT, EUDDGSELEV, EUDDGCONV, EURAILLOAD1, EUTRUCKLOAD1

**POLLUTION CONTROL EQUIPMENT**

Fabric filter collector (CE001)

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/Operating Scenario** | **Equipment** | **Monitoring/**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. PM | 0.0050 lbs per 1000 lbs of gasa,2 | Hourly | FGCORN-DDGS | SC V.1 | **R 336.1331(1)(c)** |
| 1. PM10 | 0.56 lb/hr2 | Hourly | FGCORN-DDGS | SC V.1 | **40 CFR 52.21(c) & (d)** |
| 1. PM2.5 | 0.36 lb/hr2 | Hourly | FGCORN-DDGS | SC V.1 | **40 CFR 52.21(c) & (d)** |

a Calculated on a dry gas basis.

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall not exceed a throughput of 9,700 tons of grain per day in EUCORNELEV1.2 **(R 336.1331, 40 CFR 52.21(c) & (d))**

2. The permittee shall not operate any equipment in FGCORN-DDGS unless the fabric filter collector (CE001) is installed, maintained, and operated in a satisfactory manner.2 **(R 336.1331, R 336.1910, 40 CFR 52.21(c) & (d))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. Upon request of the AQD District Supervisor, the permittee shall verify PM, PM10, and PM2.5 emission rates from FGCORN-DDGS by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in Reference Test Method Table #3. An alternate method, or a modification to the approved EPA Method, may be specified in an AQD approved Test Protocol. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2 **(R 336.1225, R 336.1331, R 336.1702, R 336.1702, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

**Reference Test Method Table #3**

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| PM | 40 CFR Part 60, Appendix A; Part 10 of the Michigan Air Pollution Control Rules |
| PM10/PM2.5 | 40 CFR Part 51, Appendix M |

1. The permittee shall verify the PM, PM10, and PM2.5 emission rates from FGCORN-DDGS, at a minimum, every five years from the date of the last test. **(R 336.1213(3), R 336.2001, R 336.2003, R 336.2004)**
2. The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor not less than 30 days before testing of the time and place performance tests will be conducted. **(R 336.1213(3))**

**See Appendix 5**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall keep, in a satisfactory manner, records of the tons of grain processed in EUCORNELEV1 on a daily basis, as required by SC III.1.2 **(R 336.1331, R 336.1910, 40 CFR 52.21(c) and (d))**
2. The permittee shall monitor and record the pressure drop and/or a visible emissions check of the fabric filter collector (CE001) on a daily basis and will inspect the fabric filter collector (CE001) an annual basis to confirm satisfactory operation. For the purpose of this condition, a visible emission check does not have to be in accordance with Method 9. If a check reveals any visible emissions from the vent (excluding uncombined water vapor), the permittee shall perform any maintenance required to eliminate visible emissions. The permittee shall keep records of the results of the visible emission check and of any maintenance performed after visible emissions are observed. **(R 336.1213(3))**
3. The permittee shall record once per day visible emissions observations as an indicator of proper operation of the dust collector. The indicator is the presence of visible emissions. **(40 CFR 64.6(c)(1)(i) and (ii))**
4. For each control device in operation, the permittee shall conduct bypass monitoring for each bypass line such that the valve or closure method cannot be opened without creating an alarm condition for which a record shall be made. Records of the bypass line that was opened and the length of time the bypass line was opened shall be kept on file. **(40 CFR 64.3(a)(2))**
5. An excursion is the presence of visible emissions during the observation period. **(40 CFR 64.6(c)(2))**
6. Upon detecting an excursion or exceedance, the owner or operator shall restore operation of the pollutant-specific emissions unit (including the control device and associated capture system) to its normal or usual manner of operation as expeditiously as practicable in accordance with good air pollution control practices for minimizing emissions. The response shall include minimizing the period of any startup, shutdown or malfunction and taking any necessary corrective actions to restore normal operation and prevent the likely recurrence of the cause of an excursion or exceedance (other than those caused by excused startup or shutdown conditions). If visible emissions are observed, the permittee shall perform any maintenance required to eliminate visible emissions. **(40 CFR 64.7(d))**
7. Except for, as applicable, monitoring malfunctions, associated repairs, and required quality assurance or control activities (including, as applicable, calibration checks and required zero and span adjustments), the permittee shall conduct all monitoring in continuous operation (or shall collect data at all required intervals) at all times that the pollutant-specific emissions unit is operating. Data recorded during monitoring malfunctions, associated repairs, and required quality assurance or control activities shall not be used for purposes of this part, including data averages and calculations or fulfilling a minimum data availability requirement, if applicable. The owner or operator shall use all the data collected during all other periods in assessing the operation of the control device and associated control system. A monitoring malfunction is any sudden, infrequent, not reasonably preventable failure of the monitoring to provide valid data. Monitoring failures that are caused in part by poor maintenance or careless operation are not malfunctions. **(40 CFR 64.6(c)(3), 40 CFR 64.7(c))**
8. The permittee shall maintain records of monitoring data, monitor performance data, corrective actions taken, any written quality improvement plan and any activities undertaken to implement a quality improvement plan, and other information such as data used to document the adequacy of monitoring, or records of monitoring maintenance or corrective actions. **(40 CFR 64.9(b)(1))**

**VII. REPORTING**

* + - 1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**
      2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**
      3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**
      4. The permittee shall submit any performance test reports to the AQD Technical Programs Unit and District Office, in a format approved by the AQD. **(R 336.1213(3)(c), R 336.2001(5))**
      5. Each semiannual report of monitoring and deviations shall include summary information on the number, duration and cause of excursions and/or exceedances and the corrective actions taken. If there were no excursions and/or exceedances in the reporting period, then this report shall include a statement that there were no excursions and/or exceedances. **(40 CFR 64.9(a)(2)(i))**
      6. Each semiannual report of monitoring and deviations shall include a description of the actions taken to implement a Quality Improvement Plan (QIP) during the reporting period (if appropriate). If a QIP has been completed, the report shall include documentation that the plan has been implemented and if it has reduced the likelihood of excursions or exceedances. **(40 CFR 64.9(a)(2)(iii))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV001 | 362 | 1052 | **40 CFR 52.21(c) & (d)** |

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all provisions of the federal NSPS Standards of Performance for Grain Elevators as specified in 40 CFR Part 60, Subparts A and DD, as they apply to the equipment in FGCORNDDGS.2 **(40 CFR Part 60, Subparts A and DD)**
2. The permittee shall comply with all applicable requirements of 40 CFR Part 64. **(40 CFR Part 64)**
3. If the permittee identifies a failure to achieve compliance with an emission limitation or standard for which the approved monitoring did not provide an indication of an excursion or exceedance while providing valid data, or the results of compliance or performance testing document a need to modify the existing indicator ranges or designated conditions, the permittee shall promptly notify the AQD and if necessary, submit a proposed modification of the ROP and CAM Plan to address the necessary monitoring changes. Such a modification may include but is not limited to, reestablishing indicator ranges or designated conditions, modifying the frequency of conducting monitoring and collecting data, or the monitoring of additional parameters. **(40 CFR 64.7(e))**
4. The permittee shall submit a QIP if 9 excursions occur in any 6- month period. **(40 CFR 64.8(a))**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGSCALP

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Scalper unit with fabric filter collector (CE002).

**Emission Units:** EUCORNELEV2, EUSCALPER

**POLLUTION CONTROL EQUIPMENT**

Fabric filter collector (CE002)

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. PM | 0.010 lbs per 1000 lbs of gasa, 2 | Hourly | FGSCALP | SC V.1 | **R 336.1331(1)(c)** |
| 1. PM10 | 0.09 lb/hr2 | Hourly | FGSCALP | SC V.1 | **40 CFR 52.21(c) & (d)** |
| 1. PM2.5 | 0.04 lb/hr2 | Hourly | FGSCALP | SC V.1 | **40 CFR 52.21(c) & (d)** |

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall not operate any equipment in FGSCALP unless the fabric filter collector (CE002) is installed, maintained, and operated in a satisfactory manner.2 **(R 336.1331, R 336.1910, 40 CFR 52.21(c) & (d))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. Upon request of the AQD District Supervisor, the permittee shall verify PM, PM10, and PM2.5 emission rates from FGSCALP by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in Reference Test Method Table #4. An alternate method, or a modification to the approved EPA Method may be specified in an AQD approved Test Protocol. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2 **(R 336.1225, R336.1331, R336.1702, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

**Reference Test Method Table #4**

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| PM | 40 CFR Part 60, Appendix A; Part 10 of the Michigan Air Pollution Control Rules |
| PM10/PM2.5 | 40 CFR Part 51, Appendix M |

1. The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor not less than 30 days before testing of the time and place performance tests will be conducted. **(R 336.1213(3))**

**See Appendix 5**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall monitor and record the pressure drop and/or a visible emissions check of the fabric filter collector (CE002) on a daily basis and will inspect the fabric filter collector (CE002) an annual basis to confirm satisfactory operation. For the purpose of this condition, a visible emission check does not have to be in accordance with Method 9. If a check reveals any visible emissions from the vent (excluding uncombined water vapor), the permittee shall perform any maintenance required to eliminate visible emissions. The permittee shall keep records of the results of the visible emission check and of any maintenance performed after visible emissions are observed.2 **(R 336.1301, R 336.1331, R 336.1910, 40 CFR 52.21(c) & (d))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**
2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**
3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**
4. The permittee shall submit any performance test reports to the AQD Technical Programs Unit and District Office, in a format approved by the AQD. **(R 336.1213(3)(c), R 336.2001(5))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV002a | 122 | 682 | **40 CFR 52.21(c) & (d)** |

**a** This stack discharges horizontally.

**IX. OTHER REQUIREMENT(S)**

NA

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGFLOUR

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Milling area with baghouses (Hammermill 1-5).

**Emission Units:** EUFLOURELEV, EUFLOURCONV, EUHAMMERMILL1, EUHAMMERMILL2, EUHAMMERMILL3, EUHAMMERMILL4, EUHAMMERMILL5

**POLLUTION CONTROL EQUIPMENT**

Hammermill-1 baghouse (F-110), Hammermill-2 baghouse (F-111), Hammermill-3 baghouse (F-112), Hammermill-4 baghouse (F-113), Hammermill-5 baghouse (F114)

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/**  **Operating Scenario** | **Equipment** | **Monitoring/**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. PM | 0.0040 lbs per 1000 lbs of gasa2 | Hourly | FGFLOUR | SC V.1, VI.1 | **R 336.1331(1)(c)** |
| 1. PM10 | 1.10 lb/hr2 | Hourly | EUHAMMERMILL1-5 | SC V.1, VI.1 | **40 CFR 52.21(c) & (d)** |
| 1. PM2.5 | 0.93 lb/hr2 | Hourly | EUHAMMERMILL1-5 | SC V.1, VI.1 | **40 CFR 52.21(c) & (d)** |

a Calculated on a dry gas basis. The emission limit applies to the combined emissions of all emission units in the flexible group.

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall not operate any equipment in FGFLOUR unless its associated baghouses (Hammermill 1-5) are installed, maintained, and operated in a satisfactory manner.2 **(R 336.1331, R 336.1910, 40 CFR 52.21(c) & (d))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

NA

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. Upon request of the AQD District Supervisor, the permittee shall verify PM, PM10, and PM2.5 emission rates from FGFLOUR by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in Reference Test Method Table #5. An alternate method, or a modification to the approved EPA Method may be specified in an AQD approved Test Protocol. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2 **(R 336.1225, R336.1331, R336.1702, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

**Reference Test Method Table #5**

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| PM | 40 CFR Part 60, Appendix A; Part 10 of the Michigan Air Pollution Control Rules |
| PM10/PM2.5 | 40 CFR Part 51, Appendix M |

1. The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor not less than 30 days before testing of the time and place performance tests will be conducted. **(R 336.1213(3))**

**See Appendix 5**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall monitor and record the pressure drop and/or conduct a visible emissions check of each baghouse (Hammermill 1–5) on a daily basis and will inspect the baghouses on an annual basis to confirm satisfactory operation. For the purpose of this condition, a visible emission check does not have to be in accordance with Method 9. If a check reveals any visible emissions from the vents (excluding uncombined water vapor), the permittee shall perform any maintenance required to eliminate visible emissions. The permittee shall keep records of the results of the visible emission check and of any maintenance performed after visible emissions are observed.2 **(R 336.1301, R 336.1910, 40 CFR 52.21(c) & (d))**
2. The permittee shall record once per day visual emissions observations as an indicator of proper operation of the dust collector. The indicator is the presence of visible emissions. **(40 CFR 64.6(c)(1)(i) and (ii))**
3. For each control device in operation, the permittee shall conduct bypass monitoring for each bypass line such that the valve or closure method cannot be opened without creating an alarm condition for which a record shall be made. Records of the bypass line that was opened and the length of time the bypass line was opened shall be kept on file. **(40 CFR 64.3(a)(2))**
4. An excursion is the presence of visible emissions during the observation period. **(40 CFR 64.6(c)(2))**
5. Upon detecting an excursion or exceedance, the owner or operator shall restore operation of the pollutant-specific emissions unit (including the control device and associated capture system) to its normal or usual manner of operation as expeditiously as practicable in accordance with good air pollution control practices for minimizing emissions. The response shall include minimizing the period of any startup, shutdown or malfunction and taking any necessary corrective actions to restore normal operation and prevent the likely recurrence of the cause of an excursion or exceedance (other than those caused by excused startup or shutdown conditions). If visible emissions are observed, the permittee shall perform any maintenance required to eliminate visible emissions. **(40 CFR 64.7(d))**
6. Except for, as applicable, monitoring malfunctions, associated repairs, and required quality assurance or control activities (including, as applicable, calibration checks and required zero and span adjustments), the owner or operator shall conduct all monitoring in continuous operation (or shall collect data at all required intervals) at all times that the pollutant-specific emissions unit is operating. Data recorded during monitoring malfunctions, associated repairs, and required quality assurance or control activities shall not be used for purposes of this part, including data averages and calculations or fulfilling a minimum data availability requirement, if applicable. The owner or operator shall use all the data collected during all other periods in assessing the operation of the control device and associated control system. A monitoring malfunction is any sudden, infrequent, not reasonably preventable failure of the monitoring to provide valid data. Monitoring failures that are caused in part by poor maintenance or careless operation are not malfunctions. **(40 CFR 64.6(c)(3), 40 CFR 64.7(c))**
7. The permittee shall maintain records of monitoring data, monitor performance data, corrective actions taken, any written quality improvement plan and any activities undertaken to implement a quality improvement plan, and other information such as data used to document the adequacy of monitoring, or records of monitoring maintenance or corrective actions. **(40 CFR 64.9(b)(1))**

**VII. REPORTING**

Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

The permittee shall submit any performance test reports to the AQD Technical Programs Unit and District Office, in a format approved by the AQD. **(R 336.1213(3)(c), R 336.2001(5))**

Each semiannual report of monitoring and deviations shall include summary information on the number, duration and cause of excursions and/or exceedances and the corrective actions taken. If there were no excursions and/or exceedances in the reporting period, then this report shall include a statement that there were no excursions and/or exceedances. **(40 CFR 64.9(a)(2)(i))**

Each semiannual report of monitoring and deviations shall include a description of the actions taken to implement a Quality Improvement Plan (QIP) during the reporting period (if appropriate). If a QIP has been completed, the report shall include documentation that the plan has been implemented and if it has reduced the likelihood of excursions or exceedances. **(40 CFR 64.9(a)(2)(iii))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV035 | 542 | 482 | **40 CFR 52.21(c) & (d)** |

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all applicable requirements of 40 CFR Part 64. **(40 CFR Part 64)**
2. If the permittee identifies a failure to achieve compliance with an emission limitation or standard for which the approved monitoring did not provide an indication of an excursion or exceedance while providing valid data, or the results of compliance or performance testing document a need to modify the existing indicator ranges or designated conditions, the permittee shall promptly notify the AQD and if necessary, submit a proposed modification of the ROP and CAM Plan to address the necessary monitoring changes. Such a modification may include but is not limited to, reestablishing indicator ranges or designated conditions, modifying the frequency of conducting monitoring and collecting data, or the monitoring of additional parameters.  **(40 CFR 64.7(e))**
3. The permittee shall submit a QIP if 9 excursions occur in any 6- month period.  **(40 CFR 64.8(a))**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGFERM&DIST

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Fermentation and Distillation processes that exhaust to one of two packed-bed wet scrubbers (CE004 or CE014). This flexible group is subject to the requirements of 40 CFR Part 60, Subpart VVa.

**Emission Units:** EUFERMENTER1, EUFERMENTER2, EUFERMENTER3, EUFERMENTER4, EUFERMENTER5, EUFERMENTER6, EUFERMENTER7, EUFERMENTER8, EUBEERWELL, EUBEERSTRIP, EUBEERSTRIP2, EURECTIFIER, EUSIDESTRIP, EUSIEVE, EUSIEVE2, EUYEAST, EUEVAPORATOR

**POLLUTION CONTROL EQUIPMENT**

Packed-bed wet scrubbers (CE004 or CE014). These are CAM subject control devices.

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. VOC | 19.66 lb/hr2 | Hourly | FGFERM&DIST | SC IV.1, IV.2, V.1, VI.1, VI. 2, VI.3, VI.4 | **R 336.1225,**  **R 336.1702(a)** |
| 1. Acetaldehyde (CAS No. 75-07-0) | 1.50 lb/hr1 | Hourly | FGFERM&DIST | SC IV.1, IV.2, V.1 | **R 336.1225** |

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall maintain a minimum overall VOC control efficiency of 97.0 percent across the scrubbers (CE004 and CE014).2 **(R 336.1225, R 336.1702(a))**

1. The permittee shall not operate the scrubber (CE004 or CE014) at a reduced water flow rate unless a revised malfunction abatement plan (MAP) has been developed and implemented for FGFERM&DIST. The revised plan shall be updated as necessary to reflect changes in equipment, to implement corrective actions and to address malfunctions. The MAP shall be made available to the AQD upon request.2 **(R 336.1910, R 336.1912)**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The permittee shall not operate any equipment in FGFERM&DIST unless the chiller associated with the scrubber in operation (CE004 or CE014) is installed, maintained, and operated in a satisfactory manner. Satisfactory operation of the chiller includes maintaining the exhaust temperature of the scrubber in the range identified in the MAP as constituting satisfactory operation.2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

2. The permittee shall not operate any equipment in FGFERM&DIST unless one of the scrubbers (CE004 or CE014) is installed, maintained, and operated in a satisfactory manner. Satisfactory operation of the scrubber includes maintaining the scrubber liquid flow rate and pressure drop in the range identified in the MAP as constituting satisfactory operation.2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

1. The permittee shall equip and maintain each scrubber (CE004 and CE014) with a liquid flow rate indicator capable of accurately indicating the scrubber liquid flow rate over the entire range of flow rates that constitutes satisfactory operation, as described in the MAP. This includes, but is not limited to, maintaining necessary parts for routine repairs of the monitoring equipment, and maintaining the device according to manufacturer’s specifications (e.g., equipment calibration, etc.).2 **(R 336.1225, R 336.1702(a), R 336.1910)**
2. The permittee shall equip and maintain each scrubber (CE004 and CE014) with a pressure drop measuring device. This includes, but is not limited to, maintaining necessary parts for routine repairs of the monitoring equipment, and maintaining the device according to manufacturer’s specifications (e.g., equipment calibration, etc.).2 **(R 336.1225, R 336.1702(a), R 336.1910)**
3. The permittee shall equip and maintain each scrubber (CE004 and CE014) with a temperature indicator that is capable of accurately indicating the exhaust temperature over the entire range of temperatures that constitutes satisfactory operation as described in the MAP.2 **(R 336.1225, R 336.1702(a), R 336.1910)**

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. On or before six months of the ROP expiration date, the permittee shall verify VOC and Acetaldehyde emission rates from FGFERM&DIST by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in Reference Test Method Table #6. An alternate method, or a modification to the approved EPA Method, may be specified in an AQD approved Test Protocol. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2  **(R 336.1225, R 336.1702(a), R 336.1902, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

**Reference Test Method Table #6**

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| VOCs | 40 CFR Part 60, Appendix A |
| Acetaldehyde | 40 CFR Part 63, Appendix A |

1. The permittee shall verify the VOC and Acetaldehyde emission rates from FGFERM&DIST, at a minimum, every five years from the date of the last test. **(R 336.1213(3), R 336.2001, R 336.2003, R 336.2004)**
2. The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor not less than 30 days before testing of the time and place performance tests will be conducted. **(R 336.1213(3))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

The permittee shall complete all required calculations in a format acceptable to the AQD District Supervisor by the 15th day of the calendar month, for the previous calendar month, unless otherwise specified in any monitoring/recordkeeping special condition.2 **(R 336.1225, R 336.1702(a))**

The permittee shall monitor the scrubber liquid flow rate and exhaust temperature of the operational scrubber (CE004 or CE014) on a continuous basis during operation of FGFERM&DIST.2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

The permittee shall record the scrubber liquid flow rate, exhaust temperature and pressure drop of the operational scrubber (CE004 or CE014) on a daily basis. The data point recorded shall be the average of all data collected during the operating day.2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

The permittee shall keep production records on a monthly basis and other records necessary to demonstrate compliance with the VOC emission rate limit listed in SC I.1. The VOC emission rate shall be calculated based upon monthly records, prorated to an hourly rate. The permittee shall keep these records on file for a period of at least five years and make them available to the Department upon request.2 **(R 336.1225, R 336.1702(a))**

The permittee shall continuously measure following parameters and record hourly as indicators of proper operation of the packed-bed wet scrubber (CE004). Indicators and indicator ranges are as follows unless revised in an AQD approved MAP as required in SC III.2: **(40 CFR 64.6I(1)(i) and (ii))**

|  |  |
| --- | --- |
| **Indicators** | **Indicator range** |
| Scrubber liquid flow rate | 3-hour average flow rate of minimum 25 GPM with mash online, and for at least 36 hours with mash flow off and 3-hour average of minimum 15 GPM after 36 hours with mash off |
| Exhaust Temperature | 3-hour average temperature less than 65oF |
| Bisulfite Addition | Minimum 22 GPD for at least 36 hours after mash flow off and shut off bisulfite flow after 36 hours of mash flow off |
| Differential pressure | 3-hour average pressure drop less than 9 inches of water column |

The permittee shall continuously measure following parameters and record hourly as indicators of proper operation of the packed-bed wet scrubber (CE014). Indicators and indicator ranges are as follows unless revised in an AQD approved MAP as required in SC III.2: **(40 CFR 64.6I(1)(i) and (ii))**

|  |  |
| --- | --- |
| **Indicators** | **Indicator range** |
| Scrubber liquid flow rate | 3-hour average flow rate of minimum 45 GPM with mash online, and for at least 36 hours with mash flow off and 3-hour average of minimum 23 GPM after 36 hours with mash off |
| Exhaust Temperature | 3-hour average temperature less than 65oF |
| Bisulfite Addition | Minimum 22 GPD for at least 36 hours after mash flow off and shut off bisulfite flow after 36 hours of mash flow off |
| Differential pressure | 3-hour average pressure drop less than 9 inches of water column |

For each control device in operation, the permittee shall conduct bypass monitoring for each bypass line such that the valve or closure method cannot be opened without creating an alarm condition for which a record shall be made. Records of the bypass line that was opened and the length of time the bypass line was opened shall be kept on file. **(40 CFR 64.3(a)(2))**

The liquid flow meters, temperature monitors, and pressure gauges shall continuously monitor the scrubber liquid flow rate, Bisulfite addition, exhaust temperature and differential pressure across the scrubber. The averaging period is 3-hour block average for scrubber liquid flow rate, exhaust temperature and differential pressure and daily average for the bisulfite addition. The monitor shall be calibrated annually or according to manufacturer recommendations, whichever is more frequent. **(40 CFR 64.6(c)(1)(iii))**

An excursion is defined as any three-hour block average where the scrubber liquid flow, or the exhaust temperature falls below, the differential pressure exceeds, or the bisulfite addition based on daily average falls below the indicator ranges specified in SC VI.5 and SC VI.6. **(40 CFR 64.6(c)(2))**

Upon detecting an excursion or exceedance, the owner or operator shall restore operation of the pollutant-specific emissions unit (including the control device and associated capture system) to its normal or usual manner of operation as expeditiously as practicable in accordance with good air pollution control practices for minimizing emissions. The response shall include minimizing the period of any startup, shutdown or malfunction and taking any necessary corrective actions to restore normal operation and prevent the likely recurrence of the cause of an excursion or exceedance (other than those caused by excused startup or shutdown conditions). Excursions trigger an internal investigation, corrective action(s) and a CAM excursion summary reporting requirement. Upon detection of excursions, the permittee shall implement corrective actions specified in the facility’s malfunction abatement plan. **(40 CFR 64.7(d))**

Except for, as applicable, monitoring malfunctions, associated repairs, and required quality assurance or control activities (including, as applicable, calibration checks and required zero and span adjustments), the permittee shall conduct all monitoring in continuous operation (or shall collect data at all required intervals) at all times that the pollutant-specific emissions unit is operating. Data recorded during monitoring malfunctions, associated repairs, and required quality assurance or control activities shall not be used for purposes of this part, including data averages and calculations or fulfilling a minimum data availability requirement, if applicable. The owner or operator shall use all the data collected during all other periods in assessing the operation of the control device and associated control system. A monitoring malfunction is any sudden, infrequent, not reasonably preventable failure of the monitoring to provide valid data. Monitoring failures that are caused in part by poor maintenance or careless operation are not malfunctions. **(40 CFR 64.6(c)(3), 40 CFR 64.7(c))**

The permittee shall properly maintain the monitoring system, including keeping necessary parts for routine repair of the monitoring equipment. **(40 CFR 64.7(b))**

The permittee shall maintain records of monitoring data, monitor performance data, corrective actions taken, any written quality improvement plan and any activities undertaken to implement a quality improvement plan, and other information such as data used to document the adequacy of monitoring, or records of monitoring maintenance or corrective actions. **(40 CFR 64.9(b)(1))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

1. The permittee shall submit any performance test reports to the AQD Technical Programs Unit and District Office, in a format approved by the AQD. **(R 336.1213(3)(c), R 336.2001(5))**
2. Each semiannual report of monitoring and deviations shall include summary information on the number, duration and cause of excursions and/or exceedances and the corrective actions taken. If there were no excursions and/or exceedances in the reporting period, then this report shall include a statement that there were no excursions and/or exceedances. **( 40 CFR 64.9(a)(2)(i))**
3. Each semiannual report of monitoring and deviations shall include summary information on monitor downtime. If there were no periods of monitor downtime in the reporting period, then this report shall include a statement that there were no periods of monitor downtime. **(40 CFR 64.9(a)(2)(ii))**
4. Each semiannual report of monitoring and deviations shall include a description of the actions taken to implement a Quality Improvement Plan (QIP) during the reporting period (if appropriate). If a QIP has been completed, the report shall include documentation that the plan has been implemented and if it has reduced the likelihood of excursions or exceedances. **(40 CFR 64.9(a)(2)(iii))**
5. Within 30 days after completion of the installation, construction, reconstruction, relocation, or modification authorized by this Permit to Install, the permittee or the authorized agent pursuant to Rule 204, shall notify the AQD District Supervisor, in writing, of the completion of the activity. Completion of the installation, construction, reconstruction, relocation, or modification is considered to occur not later than commencement of trial operation of EUFERMENTER8.2 **(R 336.1201(7)(a))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV004 | 241 | 831 | **R 336.1225** |
| 1. SV029 | 241 | 611 | **R 336.1225** |

**IX. OTHER REQUIREMENT(S)**

The permittee shall comply with all provisions of the federal NSPS Standards of Performance for Equipment Leaks of VOC in the Synthetic Organic Chemicals Manufacturing Industry for Which Construction, Reconstruction, or Modification Commenced After November 7, 2006, as specified in 40 CFR Part 60, Subparts A and VVa, as they apply.2 **(40 CFR Part 60, Subparts A and VVa)**

1. The permittee shall comply with all applicable requirements of 40 CFR Part 64. **(40 CFR Part 64)**
2. If the permittee identifies a failure to achieve compliance with an emission limitation or standard for which the approved monitoring did not provide an indication of an excursion or exceedance while providing valid data, or the results of compliance or performance testing document a need to modify the existing indicator ranges or designated conditions, the permittee shall promptly notify the AQD and if necessary, submit a proposed modification of the ROP and CAM Plan to address the necessary monitoring changes. Such a modification may include but is not limited to, reestablishing indicator ranges or designated conditions, modifying the frequency of conducting monitoring and collecting data, or the monitoring of additional parameters. **(40 CFR 64.7(e))**
3. The permittee shall submit a QIP if the number of excursions exceeds 5 percent duration of the emission unit’s operating time in the reporting period. **(40 CFR 64.8(a))**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGDDGSDRYERS

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Dried Distiller’s Grains with Soluble (DDGS) Dryers and Centrifugation with the following air pollution control equipment:

* Thermal Oxidizer & Heat Recovery Boiler (TO&HRB) (CE010)
* Regenerative Thermal Oxidizer (RTO) (CE012)

**Emission Units:** EUDDGSDRYER1, EUDDGSDRYER2, EUTO&HRB, EURTO, EUCENTRIFUGE1, EUCENTRIFUGE2, EUCENTRIFUGE3, EUCENTRIFUGE4, EUCENTRIFUGE5, EUCENTRIFUGE6, EUSTILLAGETANK

**POLLUTION CONTROL EQUIPMENT**

Thermal Oxidizer & Heat Recovery Boiler (TO & HRB) (CE010), Regenerative Thermal Oxidizer (RTO) (CE012).

**I. EMISSION LIMIT(S)**

| **Pollutant** | **Limit** | **Time Period/ Operating Scenario** | **Equipment** | **Monitoring/**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. PM | 4.00 lb/hr2 | Hourly | EUTO&HRB | SC V.2 | **R 336.1331(1)(c)** |
| 1. PM10 | 4.00 lb/hr2 | Hourly | EUTO&HRB | SC V.1 | **40 CFR 52.21(c) & (d)** |
| 1. PM 2.5 | 4.00 lb/hr2 | Hourly | EUTO&HRB | SC V.1 | **40 CFR 52.21(c) & (d)** |
| 1. PM | 6.00 lb/hr2 | Hourly | EURTO | SC V.2 | **R 336.1331(1)(c)** |
| 1. PM10 | 6.00 lb/hr2 | Hourly | EURTO | SC V.1 | **40 CFR 52.21(c) & (d)** |
| 1. PM2.5 | 6.00 lb/hr2 | Hourly | EURTO | SC V.1 | **40 CFR 52.21(c) & (d)** |
| 1. VOC | 9.00 lb/hr combined\*\*2 | Hourly | FGDDGSDRYERS | SC V.1, VI.1, VI.2, VI.3, VI.4 | **R 336.1225, R 336.1702(a), R 336.1901** |
| 1. VOC | 6.13 lb/hr combined\*\*\*2 | Hourly | EUCENTRIFUGE1 to 6 and EUSTILLAGETANK | SC V.3, VI.1, VI.2, VI.3, VI.5 | **R 336.1225, R 336.1702(a), R 336.1901** |
| 1. NOX | 0.10 lb/MMBTU2 | Hourly | FGDDGSDRYERS | SC V.1 | **40 CFR 52.21(c) & (d)** |
| 1. SO2 | 36.00 lb/hr | Hourly | EURTO | SC V.4 | **40 CFR 52.21(c) & (d)** |
| 1. SO2 | 12.50 lb/hr | Hourly | EUTO&HRB | SC V.4 | **40 CFR 52.21(c) & (d)** |

\*\*Combined refers to TO & HRB stack and RTO stack.

\*\*\*Combined refers to stack 025 when producing wet cake and TO & HRB and RTO are not operating.

**II. MATERIAL LIMIT(S)**

| **Material** | **Limit** | **Time Period / Operating Scenario** | **Equipment** | **Monitoring /**  **Testing Method** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- | --- | --- |
| 1. Sodium Bisulfite | 504,000 gallons/year2 | 12-month rolling time period as determined at the end of each calendar month | EUDDGSDRYER1, EUDDGSDRYER2  each | SC VI.8 | **R 336.1205(3),**  **R 336.1225,**  **40 CFR 52.21(c) & (d)** |

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall only use sweet natural gas as fuel in EUDDGSDRYER1 and EUDDGSDRYER2.2 **(40 CFR 52.21(c) & (d))**

2. The permittee shall only use sweet natural gas as supplemental fuel in the thermal oxidizer EUTO&HRB (CE010) and in the regenerative thermal oxidizer EURTO (CE012).2 **(40 CFR 52.21(c) & (d))**

1. The permittee shall comply with all provisions of the federal Standards of Performance for New Stationary Sources as specified in 40 CFR Part 60, Subparts A and Dc, as they apply to the equipment in FGDDGSDRYERS.2 **(40 CFR Part 60, Subparts A & Dc)**
2. The permittee shall only exhaust emissions from EUCENTRIFUGE1 to 6 and EUSTILLAGETANK to stack SV025 when wet cake is produced. Otherwise, the permittee shall not operate EUCENTRIFUGE1 to 6 and EUSTILLAGETANK unless EUTO&HRB (CE010) or EURTO (CE012) are installed, maintained and operated in a satisfactory manner according to the MAP.2 **(R 336.1225, R 336.1702(a), R 336.1901)**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The permittee shall not feed materials to either dryer in FGDDGSDRYERS unless either the thermal oxidizer EUTO&HRB (CE010) or the regenerative thermal oxidizer EURTO (CE012) is installed, maintained, and operated in a satisfactory manner and overall operation complies with a scenario in SC IV.2(c). Satisfactory operation includes taking the actions listed below:2 **(R 336.1225, R 336.1331, R 336.1702(a), R 336.1901, R 336.1910, 40 CFR 52.21(c) & (d))**

a. Satisfactory operation of the thermal oxidizer (CE010) includes maintaining it according to the MAP, attaining a minimum VOC destruction efficiency of 95.0 percent by weight, and maintaining a minimum temperature consistent with satisfactory operation, as described in the MAP;

b. Satisfactory operation of the regenerative thermal oxidizer (CE012) includes maintaining it according to the MAP, attaining a minimum VOC destruction efficiency of 95.0 percent by weight, and maintaining a minimum temperature consistent with satisfactory operation, as described in the MAP;

c. Acceptable operating scenarios for each dryer and oxidizer in FGDDGSDRYERS are the following:

i. If both oxidizers are operating, the permittee may operate one or both dryers;

ii. If the thermal oxidizer (CE010) is the only oxidizer operating, the permittee may operate one or both dryers;

iii. If the regenerative thermal oxidizer (CE012) is the only oxidizer operating, the permittee shall not operate more than one dryer.

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. On or before six months of the ROP expiration date, the permittee shall verify PM, PM10, PM2.5, VOC, and NOx emission rates from EUTO&HRB (CE010) and EURTO (CE012) by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in Reference Test Method Table #7. An alternate method, or a modification to the approved EPA Method, may be specified in an AQD approved Test Protocol. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2  **(R 336.1331, R 336.1702, R 336.1902, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

**Reference Test Method Table #7**

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| PM | 40 CFR Part 60, Appendix A; Part 10 of the Michigan Air Pollution Control Rules |
| PM10/PM2.5 | 40 CFR Part 51, Appendix M |
| NOx | 40 CFR Part 60, Appendix A |
| VOCs | 40 CFR Part 60, Appendix A |

1. Upon request of the AQD District Supervisor, the permittee shall verify PM emission rates from EUTO&HRB (CE010) and EURTO (CE012) by testing at the owner’s expense in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in 40 CFR Part 60, Appendix A or Part 10 of the Michigan Air Pollution Control Rules. An alternate method, or a modification to the approved EPA Method, may be specified in an AQD approved Test Protocol. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2 **(R 336.1331, R 336.1902, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**
2. Upon request of the AQD District Supervisor, the permittee shall verify VOC emission rates from EUCENTRIFUGE1 to 6 and EUSTILLAGETANK by testing at the owner’s expense in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in 40 CFR Part 60, Appendix A. An alternate method, or a modification to the approved EPA Method, may be specified in an AQD approved Test Protocol. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2  **(R 336.1225, R 336.1702, R 336.1902, R 336.2001, R 336.2003, R 336.2004)**
3. Within 180 days after permit issuance, the permittee shall verify SO2 emission rates from EURTO and EUTO&HRB by testing at the owner’s expense, in accordance with Department requirements. Testing shall be performed using an approved EPA Method listed in the table below:

|  |  |
| --- | --- |
| **Pollutant** | **Test Method Reference** |
| SO2 | 40 CFR Part 60, Appendix A |

An alternate method, or a modification to the approved EPA Method, may be specified in an AQD approved Test Protocol and must meet the requirements of the federal Clean Air Act, all applicable state and federal rules and regulations, and be within the authority of the AQD to make the change. No less than 30 days prior to testing, the permittee shall submit a complete test plan to the AQD Technical Programs Unit and District Office. The AQD must approve the final plan prior to testing, including any modifications to the method in the test protocol that are proposed after initial submittal. The permittee must submit a complete report of the test results to the AQD Technical Programs Unit and District Office within 60 days following the last date of the test.2 **(R 336.1205, R 336.1225, R 336.1902, R 336.2001, R 336.2003, R 336.2004, 40 CFR 52.21(c) & (d))**

1. The permittee shall verify the PM10, PM2.5, and VOC emission rates from EUTO&HRB (CE010) and EURTO (CE012), at a minimum, every five years from the date of the last test. **(R 336.1213(3), R 336.2001, R 336.2003, R 336.2004)**
2. The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor not less than 30 days before testing of the time and place performance tests will be conducted. **(R 336.1213(3))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall install, calibrate, maintain, and operate in a satisfactory manner a device to monitor and record on a continuous basis the minimum temperature to which exhaust gases from the dryers are exposed in the thermal oxidizer EUTO&HRB (CE010).2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

2. The permittee shall install, calibrate, maintain, and operate in a satisfactory manner a device to monitor and record on a continuous basis the minimum temperature to which exhaust gases from the dryers are exposed in the regenerative thermal oxidizer EURTO (CE012).2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

1. The permittee shall keep, in a satisfactory manner, continuous records of the minimum temperature to which exhaust gases from the dryers are exposed in the thermal oxidizer EUTO&HRB (CE010) and the regenerative thermal oxidizer EURTO (CE012).2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

4. The permittee shall keep monthly production records, monthly records of the ethanol content of distillation bottoms, and other records necessary to demonstrate compliance with the VOC emission rate limit listed in SC I.7 from FGDDGSDRYERS. The emission rate shall be calculated based upon monthly records, prorated to an hourly rate. The permittee shall keep these records on file and make them available to the Department upon request.2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

5. The permittee shall keep monthly wet cake production records and other records necessary to demonstrate compliance with the VOC emission rate limit listed in SC I.8 when EUCENTRIFUGE1 to 6 and EUSTILLAGETANK are not being vented to EUTO&HRB (CE010) or EURTO (CE012). The emission rate shall be calculated based upon monthly records, prorated to an hourly rate based on actual hours operated manufacturing wet cake when EUCENTRIFUGE1 to 6 and EUSTILLAGETANK are not being vented to EUTOHRB (CE010) or EURTO (CE012). The permittee shall keep these records on file and make them available to the Department upon request.2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

6. The permittee shall keep, in a satisfactory manner, records of the natural gas consumed by EUTO&HRB on a daily basis. The permittee shall keep these records on file and make them available to the Department upon request.2 **(R 336.1331, 40 CFR Part 60, Subparts A and Dc, 40 CFR 60.48c(g)(1))**

1. The permittee shall continuously monitor the temperature of the thermal oxidizer EUTO&HRB (CE010) and the regenerative thermal oxidizer EURTO (CE012). Continuous shall be defined as sampling at least every 15 minutes.2 **(R 336.1225, R 336.1331, R 336.1702(a), R 336.1901, R 336.1910, 40 CFR 52.21(c) & (d))**
2. The permittee shall monitor and record the sodium bisulfite (SBS) usage in gallons into each EUDDGSDRYER1 and EUDDGSDRYER2, on a monthly and 12-month rolling time period basis, in a manner acceptable to the AQD District Supervisor.2 **(R 336.1205(3),** **R 336.1225, 40 CFR 52.21(c) & (d)**
3. The permittee shall maintain records from the fuel supplier which document that the gaseous fuel meets the definition of natural gas as defined in 40 CFR 60.41c. **(R 336.1213(3))**
4. The permittee shall continuously monitor combustion chamber temperature and record hourly as an indicator of proper operation of the TO & Heat Recovery Boiler (TO&HRB). The indicator range is as follows: 3-hour average combustion chamber temperature greater than 800oF with dryers up, not fed; and 3-hour combustion chamber temperature greater than 1454oF with dryers fed more than 45 min. **(40 CFR 64.6(c)(1)(i) and (ii))**
5. The permittee shall continuously monitor combustion chamber temperature and record as an indicator of proper operation of the RTO. The indicator range is greater than 1637oF based on a 3-hour average unless revised in AQD approved MAP. **(40 CFR 64.6(c)(1)(i) and (ii))**
6. For each control device in operation, the permittee shall conduct bypass monitoring for each bypass line such that the valve or closure method cannot be opened without creating an alarm condition for which a record shall be made. Records of the bypass line that was opened and the length of time the bypass line was opened shall be kept on file. **(40 CFR 64.3(a)(2))**
7. The temperature monitors shall continuously monitor the combustion chamber temperature of the TO & HRB and the RTO. The averaging period is 3-hour block average. The monitor shall be calibrated annually or based on manufacturer recommendations, whichever is more frequent. **(40 CFR 64.6(c)(1)(iii))**
8. An excursion is defined as any three-hour block average where the combustion chamber temperature of the TO&HRB (CE010) or the combustion chamber temperature of RTO (CE012) falls below the normal operating values specified in SC VI. 8 and 9, respectively. **(40 CFR 64.6(c)(2))**
9. Upon detecting an excursion or exceedance, the owner or operator shall restore operation of the pollutant-specific emissions unit (including the control device and associated capture system) to its normal or usual manner of operation as expeditiously as practicable in accordance with good air pollution control practices for minimizing emissions. The response shall include minimizing the period of any startup, shutdown or malfunction and taking any necessary corrective actions to restore normal operation and prevent the likely recurrence of the cause of an excursion or exceedance (other than those caused by excused startup or shutdown conditions). Excursions trigger an internal investigation, corrective action(s) and a CAM excursion summary reporting requirement. Upon detection of excursions, the permittee shall implement corrective actions specified in the facility’s malfunction abatement plan. **(40 CFR 64.7(d))**
10. Except for, as applicable, monitoring malfunctions, associated repairs, and required quality assurance or control activities (including, as applicable, calibration checks and required zero and span adjustments), the permittee shall conduct all monitoring in continuous operation (or shall collect data at all required intervals) at all times that the pollutant-specific emissions unit is operating. Data recorded during monitoring malfunctions, associated repairs, and required quality assurance or control activities shall not be used for purposes of this part, including data averages and calculations or fulfilling a minimum data availability requirement, if applicable. The owner or operator shall use all the data collected during all other periods in assessing the operation of the control device and associated control system. A monitoring malfunction is any sudden, infrequent, not reasonably preventable failure of the monitoring to provide valid data. Monitoring failures that are caused in part by poor maintenance or careless operation are not malfunctions. **(40 CFR 64.6(c)(3), 40 CFR 64.7(c))**
11. The permittee shall properly maintain the monitoring system, including keeping necessary parts for routine repair of the monitoring equipment. **(40 CFR 64.7(b))**
12. The permittee shall maintain records of monitoring data, monitor performance data, corrective actions taken, any written quality improvement plan and any activities undertaken to implement a quality improvement plan, and other information such as data used to document the adequacy of monitoring, or records of monitoring maintenance or corrective actions. **(40 CFR 64.9(b)(1))**

**VII. REPORTING**

Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

1. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**
2. The permittee shall submit any performance test reports to the AQD Technical Programs Unit and District Office, in a format approved by the AQD. **(R 336.1213(3)(c), R 336.2001(5))**
3. Each semiannual report of monitoring and deviations shall include summary information on the number, duration and cause of excursions and/or exceedances and the corrective actions taken. If there were no excursions and/or exceedances in the reporting period, then this report shall include a statement that there were no excursions and/or exceedances. **(40 CFR 64.9(a)(2)(i))**
4. Each semiannual report of monitoring and deviations shall include summary information on monitor downtime. If there were no periods of monitor downtime in the reporting period, then this report shall include a statement that there were no periods of monitor downtime. **(40 CFR 64.9(a)(2)(ii))**
5. Each semiannual report of monitoring and deviations shall include a description of the actions taken to implement a Quality Improvement Plan (QIP) during the reporting period (if appropriate). If a QIP has been completed, the report shall include documentation that the plan has been implemented and if it has reduced the likelihood of excursions or exceedances. **(40 CFR 64.9(a)(2)(iii))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV006 | 802 | 1252 | **R 336.1225, 40 CFR 52.21(c) & (d)** |
| 1. SV024 | 442 | 1002 | **R 336.1225, 40 CFR 52.21(c) & (d)** |
| 1. SV025 | 61 | 351 | **R 336.1225** |

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all provisions of the federal Standards of Performance for New Stationary Sources as specified in 40 CFR Part 60, Subparts A and Dc, as they apply to the equipment in FGDDGSDRYERS.2 **(40 CFR Part 60, Subparts A and Dc)**
2. The permittee shall comply with all applicable requirements of 40 CFR Part 64. **(40 CFR Part 64)**
3. If the permittee identifies a failure to achieve compliance with an emission limitation or standard for which the approved monitoring did not provide an indication of an excursion or exceedance while providing valid data, or the results of compliance or performance testing document a need to modify the existing indicator ranges or designated conditions, the permittee shall promptly notify the AQD and if necessary, submit a proposed modification of the ROP and CAM Plan to address the necessary monitoring changes. Such a modification may include but is not limited to, reestablishing indicator ranges or designated conditions, modifying the frequency of conducting monitoring and collecting data, or the monitoring of additional parameters. **(40 CFR 64.7(e))**
4. The permittee shall submit a QIP if the number of excursions exceeds 5 percent duration of the emission unit’s operating time in the reporting period. **(40 CFR 64.8(a))**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGETHLOAD

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Ethanol truck and rail load out subject to the requirements of 40 CFR Part 60, Subpart VVa.

**Emission Units:** EUTRUCKLOAD3, EUTRUCKLOAD4, EURAILLOAD2

**POLLUTION CONTROL EQUIPMENT**

Thermal oxidizer EUTO&HRB (CE010) for truck load out.

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

1. The FGETHLOAD throughput shall not exceed the following:

a. 5,000,000 gallons per 12-month rolling time period of natural gasoline, hereinafter “denaturant;”

b. 95,000,000 gallons per 12-month rolling time period of total ethanol and denaturant, combined;

c. A total of 5,000,000 gallons per 12-month rolling time period of total ethanol and denatured ethanol, combined under all of the following conditions combined:

i. While the displaced vapor contents from loading trucks through EUTRUCKLOAD3 and EUTRUCKLOAD4 are not being controlled by the thermal oxidizer (CE010);

ii. While transferring through EURAILLOAD2 to receiving railcars that last transported denaturant.

Each annual throughput limit above shall be based on a rolling 12-month time period as determined at the end of each calendar month.2 **(R 336.1225, R 336.1227(2), R 336.1702(a))**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall not load trucks through EUTRUCKLOAD3 (SV014) while the vapor recovery system fan is not operating.1 **(R 336.1225, R 336.1227(2))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The permittee shall not transfer material through EURAILLOAD2 unless the receiving railcar has been certified as dedicated to transporting ethanol, including denatured ethanol, except as allowed by SC II.1.c.ii.1 **(R 336.1225, R 336.1227(2))**

1. Except as allowed by SC II.1.c.i, the permittee shall not load trucks through EUTRUCKLOAD3 and EUTRUCKLOAD4 unless the thermal oxidizer (CE010) is installed, maintained, and operated in a satisfactory manner. Satisfactory operation of the thermal oxidizer (CE010) is specified in FGDDGSDRYERS SC IV.2.a.2 **(R 336.1225, R 336.1702(a), R 336.1901, R 336.1910)**

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall keep, in a satisfactory manner, the following records for FGETHLOAD for each calendar month and for the rolling 12-month time period ending each calendar month:1 **(R 336.1225, R 336.1227(2))**

a. Throughput of denaturant, ethanol, and denatured ethanol for FGETHLOAD;

b. Throughput of total ethanol and denatured ethanol for EUTRUCKLOAD3 and EUTRUCKLOAD4 combined while displaced vapor contents of the trucks being loaded are exhausted through SV014 or SV015;

c. Throughput of total ethanol and denatured ethanol for EURAILLOAD2 to receiving railcars that last transported denaturant;

d. Total of throughputs recorded for SC VI.1.b and SC VI.1.c;

e. Railcars receiving material through EURAILLOAD2 each month and which railcars have been certified as dedicated to transporting ethanol, including denatured ethanol.

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

The exhaust gases from the stacks listed in the table below shall be discharged unobstructed vertically upwards to the ambient air unless otherwise noted:

| **Stack & Vent ID** | **Maximum Exhaust Diameter / Dimensions**  **(inches)** | **Minimum Height Above Ground**  **(feet)** | **Underlying Applicable Requirements** |
| --- | --- | --- | --- |
| 1. SV006 | 801 | 1251 | **R 336.1225** |
| 1. SV014 | 121 | 101 | **R 336.1225** |
| 1. SV015 | 121 | 101 | **R 336.1225** |
| 1. SV016 | 41 | 251 | **R 336.1225** |

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all provisions of the federal NSPS Standards of Performance for Equipment Leaks of VOC in the Synthetic Organic Chemicals Manufacturing Industry for Which Construction, Reconstruction, or Modification Commenced After November 7, 2006, as specified in 40 CFR Part 60, Subparts A and VVa, as they apply.2 **(40 CFR Part 60, Subparts A and VVa)**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGNSPSTANKS

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Denaturant storage with/ tank nos. T-802 and T-805 subject to 40 CFR Part 60, Subpart Kb.

**Emission Units:** EUNATGASTANK1 (T-802), EUNATGASTANK2 (T-805)

**POLLUTION CONTROL EQUIPMENT**

Floating roof

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

NA

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The permittee shall equip and maintain each storage tank in FGNSPSTANKS with an internal floating roof that meets or exceeds the requirements of 40 CFR 60.112b(a)(1).2 **(R 336.1225, R 336.1702(b), R 336.1910, 40 CFR 60.112b(a)(1))**

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. For each storage tank in FGNSPSTANKS, in accordance with the federal NSPS as specified in 40 CFR Part 60, Subparts A and Kb, the permittee shall do both of the following:

a. Keep records of inspections and operating information;

b. Report defects found during inspections.

The permittee shall keep the records on file and make them available to the Department upon request. All defect reports required to be submitted to the Administrator shall be submitted to the District Supervisor, Air Quality Division, within 30 days of the inspection in which the defect was discovered.2 **(R 336.1225, R 336.1702(b), 40 CFR 60.115b(a))**

2. For each storage tank in FGNSPSTANKS, the permittee shall keep a record of the tank’s dimensions and an analysis showing the tank’s capacity in accordance with the federal NSPS as specified in 40 CFR Part 60, Subparts A and Kb. The permittee shall keep each tank’s record and analysis on file for the life of the tank and make the records and analyses available to the Department upon request.2 **(40 CFR 60.116b(b))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all provisions of the federal Standards of Performance for New Stationary Sources as specified in 40 CFR Part 60, Subparts A and Kb, as they apply to each storage tank in FGNSPSTANKS.2 **(40 CFR Part 60, Subparts A and Kb)**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGNSPSVVa

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

All pumps, valves and pressure relief devices in light liquid and heavy liquid service; all valves and pressure relief devices in gas/vapor service; each open-ended valve or line and all associated closed vent systems and control devices subject to the requirements of Standards of Performance for Equipment Leaks of VOC in the Synthetic Organic Chemicals Manufacturing Industry for Which Construction, Reconstruction, or Modification Commenced After November 7, 2006, of 40 CFR Part 60, Subpart VVa.

**Emission Units:** EUFERMENTER1, EUFERMENTER2, EUFERMENTER3, EUFERMENTER4, EUFERMENTER5, EUFERMENTER6, EUFERMENTER7, EUFERMENTER8, EUBEERWELL, EUBEERSTRIP, EUBEERSTRIP2, EURECTIFIER, EUSIDESTRIP, EUSIEVE, EUSIEVE2, EUTRUCKLOAD3, EUTRUCKLOAD4, EURAILLOAD2, EUNATGASTANK1, EUNATGASTANK2, EU190TANK, EU200TANK1, EU200TANK2

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee shall operate each pressure relief device in gas/vapor service with no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, as determined by the methods specified in 40 CFR 60.485a(c), except during pressure releases and as provided in 40 CFR 60.482-4a(c) and (d). After each pressure release, the permittee shall return the pressure relief device to a condition of no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, as soon as practicable, but no later than five calendar days after the pressure release, except as provided in 40 CFR 60.482-9a. No later than five calendar days after the pressure release, the permittee shall monitor the pressure relief device to confirm the conditions of no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background.2 **(****40 CFR 60.482-4a(a) and (b))**
2. The permittee shall design and operate enclosed combustion devices used to comply with 40 CFR Part 60, Subpart VVa to reduce the VOC emissions vented to them with an efficiency of 95 percent or greater, or to an exit concentration of 20 ppmv, on a dry basis, corrected to 3 percent oxygen, whichever is less stringent or to provide a minimum residence time of 0.75 seconds at a minimum temperature of 816 C.2 **(40 CFR 60.482-10a(c))**
3. The permittee shall, if evidence of a potential leak is found by visual, audible, olfactory, or any other detection method at pumps and valves in heavy liquid service, pressure relief devices in light liquid or heavy liquid service, and connectors, follow either one of the following procedures:2 **(40 CFR 60.482-8a(a))**
4. Monitor the equipment within 5 days by the method specified in 40 CFR 60.485a(b). If an instrument reading of 10,000 ppm or greater is measured, a leak is detected. **(40 CFR 60.482-8a(a)(1))**
5. When a leak is detected, the permittee shall repair it as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in 40 CFR 60.482-9a. The first attempt at the repair shall be made no later than five calendar days after each leak is detected. First attempts at repair include, but are not limited to, the best practices described in 40 CFR 60.482-7a(e). **(40 CFR 60.482-8a(b) through (d))**
   1. Eliminate the visual, audible, olfactory, or other indication of a potential leak. **(40 CFR 60.482-8a(a)(2))**
6. The permittee may delay repair of equipment for which leaks have been detected if: **(40 CFR 60.482-9a)**
7. Repair within 15 days is technically infeasible without a process unit shutdown. Repair of this equipment shall occur before the end of the next process unit shutdown. **(40 CFR 60.482-9a(a))**
8. The equipment is isolated from the process and does not remain in VOC service. **(40 CFR 60.482-9a(b))**
9. The permittee demonstrates that emissions of purged material resulting from immediate repair are greater than the fugitive emissions likely to result from delay of repair and when repair procedures are affected, the purged material is collected and destroyed or recovered in a control device complying with 40 CFR 60.482-10a. **(40 CFR 60.482-9a(c))**
10. For pumps, if repair requires the use of a dual mechanical seal system that includes a barrier fluid system and repair is completed as soon as practicable, but not later than six months after the leak was detected. **(40 CFR 60.482-9a(d))**

Delay of repair beyond a process unit shutdown will be allowed for a valve, if valve assembly replacement is necessary during the process unit shutdown, valve assembly supplies have been depleted, and valve assembly supplies had been sufficiently stocked before the supplies were depleted. Delay of repair beyond the next process unit shutdown will not be allowed unless the next process unit shutdown occurs sooner than six months after the first process unit shutdown.2 **(40 CFR 60.482-9a(e))**

1. The permittee shall repair leaks of a closed vent system, as indicated by an instrument reading greater than 500 ppmv above background or by visual inspections, as soon as practicable except as provided below. A first attempt at repair shall be made no later than five calendar days after the leak is detected. Repair shall be completed no later than 15 calendar days after the leak is detected.2 **(40 CFR 60.482-10a(g))**
2. Delay of repair of a closed vent system for which leaks have been detected is allowed if the repair is technically infeasible without a process unit shutdown or if the permittee determines that emissions resulting from immediate repair would be greater than the fugitive emissions likely to result from delay of repair. Repair of such equipment shall be complete by the end of the next process unit shutdown. **(40 CFR 60.482-10a(h))**

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The permittee shall equip each open-ended valve or line with a cap, blind flange, plug or a second valve, except as provided in 40 CFR 60.482-1a(c); 40 CFR 60.482-6a(d) or (e), which shall seal the open end at all times except during operations requiring process fluid flow through the open-ended valve or line. In addition, the permittee shall ensure that:2 **(40 CFR 60.482-6a)**
   1. Each open-ended valve or line equipped with a second valve shall be operated in a manner such that the valve on the process fluid end is closed before the second valve is closed; **(40 CFR 60.482-6a(b))**
   2. When a double block-and-bleed system is being used, the bleed valve or line may remain open during operations that require venting the line between the block valves but shall comply with 40 CFR 60.482-6a(a) at all other times. **(40 CFR 60.482-6a(c))**
2. The permittee shall operate closed vent systems and control devices used to comply with 40 CFR Part 60, Subpart VVa at all times when emissions may be vented to them.2 **(40 CFR 60.482-10a(m))**
3. The permittee shall, when each leak is detected as specified in 40 CFR 60.482-2a, 60.482-7a, 60.482-8a, 60.482-10a do the following:2 **(****40 CFR 60.486a)**
   1. Attach a weatherproof and readily visible identification, marked with the equipment identification number, to the leaking equipment. The identification on a valve may be removed after it has been monitored for two successive months as specified in 40 CFR 60.482-7a(c) and no leak has been detected during those two months. The identification on equipment except on a valve, may be removed after it has been repaired. **(40 CFR 60.486a(b))**
   2. Record the following information in a log that shall be kept for 5 years in a readily accessible location:   
      **(40 CFR 60.486a(c))**
      1. The instrument and operator identification numbers and the equipment identification number;
      2. The date the leak was detected and the dates of each attempt to repair the leak;
      3. Repair methods applied in each attempt to repair the leak;
      4. “Above 10,000” if the maximum instrument reading measured by the methods specified in   
         40 CFR 60.485a(a) after each repair attempt is equal to or greater than 10,000 ppm;
      5. “Repair delayed” and the reason for the delay if a leak is not repaired within 15 calendar days after discovery of the leak;
      6. The signature of the permittee (or designate) whose decision it was that repair could not be affected without a process shutdown;
      7. The expected date of successful repair of the leak if a leak is not repaired within 15 days;
      8. Dates of process unit shutdowns that occur while the equipment is unrepaired;
      9. The date of successful repair of the leak.

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

* 1. The permittee shall demonstrate compliance with the requirements of 40 CFR Part 60, Subparts A and VVa within 180 days of initial startup. All required testing shall be at the owner’s expense. The permittee shall notify the AQD District Supervisor in writing within 15 days of the date of commencement of trial operation in accordance with 40 CFR 60.7(a)(3). Performance testing procedures shall be in accordance with the applicable federal Reference Methods, 40 CFR Part 60, Appendix A. No less than 60 days prior to testing, a complete test plan shall be submitted to the AQD. The final plan must be approved by the AQD prior to testing. Compliance with 40 CFR 60.482-1a through 40 CFR 60.482-10a will be determined by review of records and reports, review of performance test results, and inspection using the methods and procedures specified in 40 CFR 60.485a. Equipment that is in vacuum service is excluded from the requirements of 40 CFR 60.482-2a to 40 CFR 60.482-10a if it is identified as required in 40 CFR 60.486a(e)(5).2 **(R 336.1225, R 336.1702(b), 40 CFR Part 60, Subparts A and VVa, 40 CFR 60.482-1a,** **40 CFR 60.485a)**

1. The permittee shall notify the AQD Technical Programs Unit Supervisor and the District Supervisor not less than 30 days before testing of the time and place performance tests will be conducted. **(R 336.1213(3))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall monitor each pump in light liquid service as follows:
   1. Check, by visual inspection, each calendar week for indications of liquids dripping from the pump seal, except as provided in 40 CFR 60.482-1a(f). If there are indications of liquids dripping from the pump seal, the permittee shall follow the procedure specified in 40 CFR 60.482-2a(b)(2)(i) or 40 CFR 60.482-2a(b)(2)(ii). **(40 CFR 60.482-2a(a)(2) and 40 CFR 60.482(a)(b)(2))**
   2. Monitor monthly to detect leaks by the methods specified in 40 CFR 60.485a(b), except as provided in   
      40 CFR 60.482-1a(c) and (f) and 40 CFR 60.482-2a(d), (e), and (f). If an instrument reading of 2,000 ppm or greater is measured, a leak is detected. **(40 CFR 60.482-2a(a)(1) and 40 CFR 60.482-2a(b)(1)(ii))**

When a leak is detected, the permittee shall repair it as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in 40 CFR 60.482-9a. A first attempt at repair shall be made no later than five calendar days after each leak is detected.2 **(40 CFR 60.482-2a(c))**

1. The permittee shall monitor each valve in gas/vapor service and in light liquid service monthly to detect leaks by the methods specified in 40 CFR 60.485a(b) and shall comply with the following, except as provided in 40 CFR 60.482-7a(f), (g) and (h); 40 CFR 60.482-1a(c) and (f); 40 CFR 60.483-1a and 40 CFR 60.483-2a:2 **(40 CFR 60.482-7a)**
   1. If an instrument reading of 500 ppm or greater is measured, a leak is detected; **(40 CFR 60.482-7a(b))**
   2. Any valve for which a leak is not detected for two successive months may be monitored for the first month of every quarter, beginning with the next quarter, until a leak is detected. If a leak is detected, the valve shall be monitored monthly until a leak is not detected for two successive months; **(40 CFR 60.482-7a(c))**
   3. When a leak is detected, it shall be repaired as soon as practicable, but no later than 15 calendar days after the leak is detected, except as provided in 40 CFR 60.482-9a. A first attempt at repair shall be made no later than five calendar days after each leak is detected. **(40 CFR 60.482-7a(d))**
   4. First attempts at repair include, but are not limited to, the following best practices where practicable:  
      **(40 CFR 60.482-7a(e))**
      1. Tightening of bonnet bolts;
      2. Replacement of bonnet bolts;
      3. Tightening of packing gland nuts;
      4. Injection of lubricant into lubricated packing.
   5. Any value that is designated, as described in 40 CFR 60.486a(e)(2), for no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, is exempt from the monthly monitoring if the valve has no external actuating mechanism in contact with the process fluid, is operated with emissions less than 500 ppm above background as determined by the method specified in 40 CFR 60.485a(c) and is tested for compliance with the 500 ppm above background instrument reading initially upon designation, annually, and at other times requested by the AQD District Supervisor; **(40 CFR 60.482-7a(f))**
   6. Any value that is designated, as described in 40 CFR 60.486a(f)(1), as an unsafe-to-monitor valve is exempt from the monthly monitoring if the permittee demonstrates that the valve is unsafe to monitor because monitoring personnel would be exposed to an immediate danger as a consequence of performing monthly monitoring, and the permittee adheres to a written plan that requires monitoring of the valve as frequently as practicable during safe-to-monitor times; **(40 CFR 60.482-7a(g))**
   7. Any value that is designated, as described in 40 CFR 60.486a(f)(2), as a difficult-to-monitor valve is exempt from the monthly monitoring if: **(40 CFR 60.482-7a(h))**
      1. The permittee demonstrates that the valve cannot be monitored without elevating the monitoring personnel more than 2 meters above a support surface;
      2. Has less than 3% of its total number of valves designated as difficult-to-monitor;
      3. The permittee follows a written plan that requires monitoring of the valve at least once per calendar year.
2. The permittee shall monitor control devices used to comply with 40 CFR Part 60, Subpart VVa to ensure that they are operated and maintained in conformance with their designs.2 **(40 CFR 60.482-10a(e))**
3. The permittee shall inspect each closed vent system according to the procedures and schedule specified in   
   40 CFR 60.482-10a(f), except as follows:2 **(40 CFR 60.482-10a(f))**
4. The vapor collection system or closed vent system is operated under a vacuum; **(40 CFR 60.482-10a(i))**
5. Any parts of the closed vent system that are designated, as described in 40 CFR 60.482-10a(I)(1), as unsafe to inspect are exempt from the inspection requirements if the comply with the following: **(40 CFR 60.482-10a(j))**
   1. The permittee determines that the equipment is unsafe to inspect because inspecting personnel would be exposed to an imminent or potential danger; and
   2. The permittee has a written plan that requires inspection of the equipment as frequently as practicable during safe-to-inspect times;
6. Any parts of the closed vent system that are designated, as described in 40 CFR 60.482-10a(l)(2), as difficult to inspect are exempt from the inspection requirements if they comply with the following: **(40 CFR 60.482-10a(k))**
   * 1. The permittee demonstrates that the equipment cannot be monitored without elevating the monitoring personnel more than 2 meters above a support surface;
     2. Has less than 3% of the total number of closed vent system equipment designated as difficult to inspect;
     3. The permittee follows a written plan that requires inspection of the equipment at least once every five years. A closed vent system is exempt from inspection if it is operated under a vacuum.
7. The permittee shall record the following information:2 **(40 CFR 60.482-10a(l))**
8. Identification of all parts of the closed vent system that are designated as unsafe to inspect, an explanation of why the equipment is unsafe to inspect, and the plan for inspecting the equipment;
9. Identification of all parts of the closed vent system that are designated as difficult to inspect, an explanation of why the equipment is difficult to inspect, and the plan for inspecting the equipment;
10. For each inspection during which a leak is detected, a record of the information specified in 40 CFR 60.486a(c);
11. For each inspection conducted in accordance with 40 CFR 60.485a(b) during which no leaks are detected, a record that the inspection was performed, the date of the inspection, and a statement that no leaks were detected;
12. For each visual inspection conducted in accordance with 40 CFR 60.482-10a(f)(1)(ii) during which no leaks are detected, a record that the inspection was performed, the date of the inspection, and a statement that no leaks were detected.
13. The permittee shall record the following information pertaining to the design requirements for closed vent systems and control devices described in 40 CFR 60.482-10a. This information shall be kept in a readily accessible location:2 **(40 CFR 60.486a(d))**
    1. Detailed schematics, design specifications, and piping and instrumentation diagrams;
    2. The dates and descriptions of any changes in the design specifications;
    3. A description of the parameter or parameters monitored, as required in 40 CFR 60.482-10a(e). To ensure that control devices are operated and maintained in conformance with their design and an explanation of why that parameter (or parameters) was selected for the monitoring;
    4. Periods when the closed vent systems and control devices required in 40 CFR 60.482-2a and 40 CFR 60.482-4a are not operated as designed, including periods when a flare pilot light does not have a flame;
    5. Dates of startups and shutdowns of the closed vent systems and control devices required in 40 CFR 60.482-2a and 40 CFR 60.482-4a.
14. The permittee shall record the following information pertaining to all equipment subject to the requirements in 40 CFR 60.482-1a to 40 CFR 60.482-10a. This information shall be kept in a readily accessible location:2 **(40 CFR 60.486a(e))**
15. A list of identification numbers for equipment subject to the requirements in 40 CFR Part 60, Subpart VVa;
16. A list of identification numbers for equipment that are designated for no detectable emissions under the provisions of 40 CFR 60.482-2a(e) and 40 CFR 60.482-7a(f). The designation of this equipment shall be signed by the permittee;
17. A list of equipment identification numbers for pressure relief devices required to comply with 40 CFR 60.482-4a;
18. The dates of each compliance test as required in 40 CFR 60.482-2a(e), 60.482-4a, and 60.482-7a(f), the background level measured during each compliance test, and the maximum instrument reading measured at the equipment during each compliance test;
19. A list of identification numbers for equipment in vacuum service.
20. The permittee shall record the following information pertaining to all valves subject to the requirements of 40 CFR 60.482-7a(g) and (h) and to all pumps subject to the requirements of 40 CFR 60.482-2a(g). This information shall be kept in a readily accessible location:2 **(40 CFR 40.486a(f))**
21. A list of identification numbers for valves and pumps that are designated as unsafe-to-monitor, an explanation for each valve or pump stating why the valve or pump is unsafe-to-monitor, and the plan for monitoring each valve or pump;
22. A list of identification numbers for valves that are designated as difficult-to-monitor, an explanation for each valve stating why the valve is difficult-to-monitor, and the schedule for monitoring each valve.
23. The permittee shall record a schedule of monitoring and the percent of valves found leaking during each monitoring period for valves complying with 40 CFR 60.483-2a.2 **(40 CFR 60.486a(g))**
24. The permittee shall record the design criterion required in 40 CFR 60.482-2a(d)(5) and an explanation of the design criterion and any changes to this criterion and the reasons for the changes. This information shall be kept in a readily accessible location.2 **(40 CFR 60.486a(h))**
25. The permittee shall record the following information for use in determining exemptions as provided in 40 CFR 60.480a(d). This information shall be kept in a readily accessible location:2 **(40 CFR 60.486a(i))**
26. An analysis demonstrating the design capacity of the affected facility;
27. A statement listing the feed or raw materials and products from the affected facilities and an analysis demonstrating whether these chemicals are heavy liquids or beverage alcohol; and
28. An analysis demonstrating that equipment is not in VOC service.
29. The permittee shall record information and data used to demonstrate that a piece of equipment is not in VOC service. This information shall be kept in a readily accessible location.2 **(40 CFR 60.486a(j))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

1. The permittee shall submit any performance test reports to the AQD Technical Programs Unit and District Office, in a format approved by the AQD. **(R 336.1213(3)(c), R 336.2001(5))**
2. The permittee shall submit reports as required to comply with the federal NSPS as specified in 40 CFR Part 60, Subparts A and VVa. Information required to be submitted to the Administrator shall be submitted to the AQD District Supervisor in an acceptable format within 30 days following the end of the semiannual period in which the data were collected. Information required to be submitted includes semiannual reports, beginning six months after the initial startup date. The initial semiannual report shall include the information listed in 40 CFR 60.487a(b) and all semiannual reports shall include the information listed in 40 CFR 60.487a(c). The permittee shall keep all records on file and make them available to the Department upon request.2 **(****40 CFR 60.487a)**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all provisions of the federal Standards of Performance for New Stationary Sources as specified in the 40 CFR Part 60, Subparts A and VVa, as they apply to the equipment in FGNSPSVVa.2 **(40 CFR Part 60, Subparts A and VVa)**
2. The permittee shall comply with all provisions of the federal NSPS as specified in 40 CFR Part 60, Subparts A and Kb, Standards of Performance for Volatile Organic Liquid Storage Vessels (Including Petroleum Liquid Storage Vessels) for Which Construction, Reconstruction, or Modification Commenced After July 23, 1984, as they apply.2 **(40 CFR Part 60, Subparts A and Kb)**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGETHANOLTANKS

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

Ethanol storage tank nos. T-801, T-803 and T-804 subject to the requirements of 40 CFR Part 60, Subpart Kb.

**Emission Units:** EU190TANK (T-801), EU200TANK1 (T-803), EU200TANK2 (T-804)

**POLLUTION CONTROL EQUIPMENT**

Floating roof

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

NA

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

NA

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The permittee shall not operate EU190TANK, EU200TANK1, or EU200TANK2 unless the associated internal floating roof is installed, maintained, and operated in a satisfactory manner.Satisfactory operation includes maintaining the internal floating roofs for EU190TANK, EU200TANK1, and EU200TANK2 according to the MAP.2 **(R 336.1225, R 336.1702(a), R 336.1910)**

2. The permittee shall equip and maintain EU190TANK, EU200TANK1, and EU200TANK2 with internal floating roofs that meet or exceed the requirements of 40 CFR 60.112b(a)(1).2 **(R 336.1225, R 336.1702(a), R 336.1910)**

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

NA

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. The permittee shall keep, in a satisfactory manner, a continuing record of inspections of the floating roofs in EU190TANK, EU200TANK1, and EU200TANK2. The record shall include descriptions of the defects or malfunctions, if any, that were discovered during such inspections, and of the corrective action taken. The permittee shall keep these records on file and make them available to the Department upon request.2 **(R 336.1225, R 336.1702(a), R 336.1910)**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all applicable requirements of the Standards of Performance for Volatile Organic Liquid Storage Vessels (Including Petroleum Liquid Storage Vessels) for Which Construction, Reconstruction, or Modification Commenced After July 23, 1984 as specified in 40 CFR Part 60, Subparts A and Kb. **(40 CFR Part 60, Subparts A and Kb)**

**Footnotes:**

1 This condition is state only enforceable and was established pursuant to Rule 201(1)(b).

2 This condition is federally enforceable and was established pursuant to Rule 201(1)(a).

## FGGENSET

**FLEXIBLE GROUP CONDITIONS**

**DESCRIPTION**

**40 CFR Part 63, Subpart ZZZZ** - National Emission Standards for Hazardous Air Pollutants for Stationary Reciprocating Internal Combustion Engines (RICE), located at an area source of HAP emissions, existing emergency, compression ignition (CI) RICE greater than 500 brake hp. A RICE is existing if the date of installation is before June 12, 2006.

**Emission Unit:** EUGENSET

**POLLUTION CONTROL EQUIPMENT**

NA

**I. EMISSION LIMIT(S)**

NA

**II. MATERIAL LIMIT(S)**

1. The permittee shall burn only diesel fuel in each engine with a maximum sulfur content of 15 ppm (0.0015 percent) by weight and a minimum Cetane index of 40 or a maximum aromatic content of 35 volume percent. **(****40 CFR 63.6604(b), 40 CFR 1090.305)**

**III. PROCESS/OPERATIONAL RESTRICTION(S)**

1. The permittee must comply with the requirements in Item 4 of Table 2d of 40 CFR Part 63, Subpart ZZZZ which apply to each engine in FGGENSET as specified in the following:

1. Change oil and filter every 500 hours of operation or annually, whichever comes first, except as allowed in SC III.2;
2. Inspect the air cleaner every 1,000 hours of operation or annually, whichever comes first, and replace as necessary; and
3. Inspect all hoses and belts every 500 hours of operation or annually, whichever comes first, and replace as necessary.

If the emergency engine is being operated during an emergency and it is not possible to shut down the engine to perform the management practice requirements on the schedule required, or if performing the work practice on the required schedule would otherwise pose an unacceptable risk under federal, state, or local law, the management practice can be delayed until the emergency is over or the unacceptable risk under federal, state, or local law has abated. The management practice should be performed as soon as practicable after the emergency has ended or the unacceptable risk under Federal, State or local law has been abated. Sources must report any failure to perform the management practice on the schedule required and the Federal, State or local law or which the risk was deemed unacceptable.  **(****40 CFR 63.6603(a), 40 CFR Part 63, Subpart ZZZZ, Table 2d.4)**

2. The permittee may utilize an oil analysis program in order to extend the specified oil change requirement in SC lll.1. The oil analysis must be performed at the same frequency specified for changing the oil in SC lll.1. **(****40 CFR 63.6625(j))**

3. The permittee shall operate and maintain each engine in FGGENSET and after-treatment control device (if any) according to the manufacturer's emission-related written instructions or develop a maintenance plan which must provide to the extent practicable for the maintenance and operation of the engine in a manner consistent with good air pollution control practice for minimizing emissions. **(40 CFR 63.6605, 40 CFR 63.6625(e), 40 CFR 63.6640(a), 40 CFR Part 63, Subpart ZZZZ, Table 6.9)**

4. For each engine in FGGENSET, the permittee shall minimize the engine’s time spent at idle during startup and minimize the engine’s startup time to a period needed for appropriate and safe loading of the engine, not to exceed 30 minutes, after which time the emission standards applicable to all times other than startup apply. **(40 CFR 63.6625(h))**

5. The permittee may operate each engine in FGGENSET for no more than 100 hours per calendar year for the purpose of necessary maintenance checks and readiness testing, provided that the tests are recommended by Federal, State, or local government, the manufacturer, the vendor, the regional transmission organization or equivalent balancing authority and transmission operator, or the insurance company associated with the engine. The permittee may petition the Department for approval of additional hours to be used for maintenance checks and readiness testing. A petition is not required if the owner or operator maintains records indicating that Federal, State, or local standards require maintenance and testing of emergency internal combustion engines beyond 100 hours per calendar year. **(40 CFR 63.6640(f)(2))**

6. Each engine in FGGENSET may be operated for up to 50 hours per calendar year in non-emergency situations. The 50 hours of operation in non-emergency situations are counted as part of the 100 hours per calendar year for maintenance and testing provided in **SC lll.5**. The 50 hours per calendar year for non-emergency situations cannot be used for peak shaving or non-emergency demand response, or to generate income for the permittee to supply power to an electric grid or otherwise supply power as part of a financial arrangement with another entity.

**IV. DESIGN/EQUIPMENT PARAMETER(S)**

1. The permittee shall equip and maintain each engine in FGGENSET with non-resettable hours meters to track the operating hours. **(40 CFR 63.6625(f))**

**V. TESTING/SAMPLING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. If using the oil analysis program, the permittee must at a minimum analyze the following three parameters: Total Base Number, viscosity, and percent water content. The condemning limits for these parameters are as follows: Total Base Number is less than 30% of the Total Base Number of the oil when new; viscosity of the oil has changed by more than 20% from the viscosity of the oil when new; or percent water content (by volume) is greater than 0.5. If all these condemning limits are not exceeded, the permittee is not required to change the oil. If any of the limits are exceeded, the permittee must change the oil within 2 business days of receiving the results of the analysis; if the engine is not in operation when the results of the analysis are received, the permittee must change the oil within 2 business days or before commencing operation, whichever is later. The permittee must keep records of the parameters that are analyzed as part of the program, the results of the analysis, and the oil changes for the engine. The analysis program must be part of the maintenance plan for the engine. **(40 CFR 63.6625(i))**

**VI. MONITORING/RECORDKEEPING**

Records shall be maintained on file for a period of five years. **(R 336.1213(3)(b)(ii))**

1. For each engine in FGGENSET, the permittee shall keep in a satisfactory manner the following:

1. A copy of each notification and report that was submitted to comply with 40 CFR Part 63, Subpart ZZZZ, including all documentation supporting any Initial Notification or Notification of Compliance Status that was submitted,
2. Records of the occurrence and duration of each malfunction of operation or the air pollution control and monitoring equipment,
3. Records of performance tests and performance evaluations,
4. Records of all required maintenance performed on the air pollution control and monitoring equipment,
5. Records of actions taken during periods of malfunction to minimize emissions, including corrective actions to restore malfunctioning process and air pollution control and monitoring equipment to its normal or usual manner of operation.

The permittee shall keep all records on file and make them available to the department upon request. **(****40 CFR 63.6655(a), 40 CFR 63.6660)**

2. For each engine in FGGENSET, the permittee shall keep in a satisfactory manner, records to demonstrate continuous compliance with the operation and maintenance of the engine according to the manufacturer’s emission-related operation and maintenance instructions; or develop and follow a maintenance plan that provides to the extent practicable for the maintenance and operation of the engine in a manner consistent with good air pollution control practice for minimizing emissions. The permittee shall keep all records on file and make them available to the department upon request. **(40 CFR 63.6655(d), 40 CFR 63.6660, 40 CFR Part 63, Subpart ZZZZ, Table 6.9)**

3. For each engine in FGGENSET, the permittee shall keep in a satisfactory manner, records of the maintenance conducted to demonstrate that the engine and after-treatment control device (if any) were operated and maintained according to the developed maintenance plan. The permittee shall keep all records on file and make them available to the department upon request. **(40 CFR 63.6655(e), 40 CFR 63.6660)**

4. The permittee shall monitor and record, the total hours of operation for each engine in FGGENSET on a monthly basis, and the hours of operation during emergency and non-emergency service that are recorded through the non-resettable hour meter for each engine in FGGENSET on a calendar year basis, in a manner acceptable to the AQD District Supervisor. The permittee shall document how many hours are spent for emergency operation, including what classified the operation as emergency and how many hours are spent for non-emergency operation. The permittee shall keep all records on file and make them available to the department upon request. **(R 336.1213(3), 40 CFR 63.6655(f), 40 CFR 63.6660)**

5. The permittee shall keep, in a satisfactory manner, fuel supplier certification records or fuel sample test data, for each delivery of diesel fuel oil used in FGGENSET, demonstrating that the fuel meets the requirement of SC ll.1. The certification or test data shall include the name of the oil supplier or laboratory, the sulfur content, and cetane index or aromatic content of the fuel oil. The permittee shall keep all records on file and make them available to the department upon request. **(R 336.1213(3), 40 CFR 1090.305)**

6. The permittee’s records must be in a form suitable and readily available for expeditious review according to 40 CFR 63.10(b)(1). **(40 CFR 63.6660(a))**

7. As specified in 40 CFR 63.10(b)(1), the permittee must keep each record for 5-years following the date of each occurrence, measurement, maintenance, corrective action, report, or record. **(40 CFR 63.6660(b))**

**VII. REPORTING**

1. Prompt reporting of deviations pursuant to General Conditions 21 and 22 of Part A. **(R 336.1213(3)(c)(ii))**

2. Semiannual reporting of monitoring and deviations pursuant to General Condition 23 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for reporting period July 1 to December 31 and September 15 for reporting period January 1 to June 30. **(R 336.1213(3)(c)(i))**

3. Annual certification of compliance pursuant to General Conditions 19 and 20 of Part A. The report shall be postmarked orreceived by the appropriate AQD District Office by March 15 for the previous calendar year. **(R 336.1213(4)(c))**

**See Appendix 8**

**VIII. STACK/VENT RESTRICTION(S)**

NA

**IX. OTHER REQUIREMENT(S)**

1. The permittee shall comply with all applicable requirements of the National Emission Standards for Hazardous Air Pollutants, as specified in 40 CFR Part 63, Subparts A and ZZZZ for Stationary Reciprocating Internal Combustion Engines. **(40 CFR Part 63, Subparts A and ZZZZ)**

# E. NON-APPLICABLE REQUIREMENTS

At the time of the ROP issuance, the AQD has determined that no non-applicable requirements have been identified for incorporation into the permit shield provision set forth in the General Conditions in Part A pursuant to Rule 213(6)(a)(ii).

|  |
| --- |
| **APPENDICES** |

## Appendix 1. Acronyms and Abbreviations

|  |  |  |  |
| --- | --- | --- | --- |
| **Common Acronyms** | | **Pollutant / Measurement Abbreviations** | |
| AQD | Air Quality Division | acfm | Actual cubic feet per minute |
| BACT | Best Available Control Technology | BTU | British Thermal Unit |
| CAA | Clean Air Act | °C | Degrees Celsius |
| CAM | Compliance Assurance Monitoring | CO | Carbon Monoxide |
| CEM | Continuous Emission Monitoring | CO2e | Carbon Dioxide Equivalent |
| CEMS | Continuous Emission Monitoring System | dscf | Dry standard cubic foot |
| CFR | Code of Federal Regulations | dscm | Dry standard cubic meter |
| COM | Continuous Opacity Monitoring | °F | Degrees Fahrenheit |
| Department/  department | Michigan Department of Environment, Great Lakes, and Energy | gr | Grains |
| HAP | Hazardous Air Pollutant |
| EGLE | Michigan Department of Environment, Great Lakes, and Energy | Hg | Mercury |
| hr | Hour |
| EU | Emission Unit | HP | Horsepower |
| FG | Flexible Group | H2S | Hydrogen Sulfide |
| GACS | Gallons of Applied Coating Solids | kW | Kilowatt |
| GC | General Condition | lb | Pound |
| GHGs | Greenhouse Gases | m | Meter |
| HVLP | High Volume Low Pressure\* | mg | Milligram |
| ID | Identification | mm | Millimeter |
| IRSL | Initial Risk Screening Level | MM | Million |
| ITSL | Initial Threshold Screening Level | MW | Megawatts |
| LAER | Lowest Achievable Emission Rate | NMOC | Non-methane Organic Compounds |
| MACT | Maximum Achievable Control Technology | NOx | Oxides of Nitrogen |
| MAERS | Michigan Air Emissions Reporting System | ng | Nanogram |
| MAP | Malfunction Abatement Plan | PM | Particulate Matter |
| MSDS | Material Safety Data Sheet | PM10 | Particulate Matter equal to or less than 10 microns in diameter |
| NA | Not Applicable |
| NAAQS | National Ambient Air Quality Standards | PM2.5 | Particulate Matter equal to or less than 2.5  microns in diameter |
| NESHAP | National Emission Standard for Hazardous Air Pollutants | pph | Pounds per hour |
| ppm | Parts per million |
| NSPS | New Source Performance Standards | ppmv | Parts per million by volume |
| NSR | New Source Review | ppmw | Parts per million by weight |
| PS | Performance Specification | % | Percent |
| PSD | Prevention of Significant Deterioration | psia | Pounds per square inch absolute |
| PTE | Permanent Total Enclosure | psig | Pounds per square inch gauge |
| PTI | Permit to Install | scf | Standard cubic feet |
| RACT | Reasonable Available Control Technology | sec | Seconds |
| ROP | Renewable Operating Permit | SO2 | Sulfur Dioxide |
| SC | Special Condition | TAC | Toxic Air Contaminant |
| SCR | Selective Catalytic Reduction | Temp | Temperature |
| SDS | Safety Data Sheet | THC | Total Hydrocarbons |
| SNCR | Selective Non-Catalytic Reduction | tpy | Tons per year |
| SRN | State Registration Number | µg | Microgram |
| TEQ | Toxicity Equivalence Quotient | µm | Micrometer or Micron |
| USEPA/EPA | United States Environmental Protection Agency | VOC | Volatile Organic Compounds |
| yr | Year |
| VE | Visible Emissions |  |  |

\*For HVLP applicators, the pressure measured at the gun air cap shall not exceed 10 psig.

## Appendix 2. Schedule of Compliance

The permittee certified in the ROP application that this stationary source is in compliance with all applicable requirements and the permittee shall continue to comply with all terms and conditions of this ROP. A Schedule of Compliance is not required. **(R 336.1213(4)(a), R 336.1119(a)(ii))**

## Appendix 3. Monitoring Requirements

Specific monitoring requirement procedures, methods or specifications are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Therefore, this appendix is not applicable.

## Appendix 4. Recordkeeping

Specific recordkeeping requirement formats and procedures are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Therefore, this appendix is not applicable.

## Appendix 5. Testing Procedures

There are no specific testing requirement plans or procedures for this ROP. Therefore, this appendix is not applicable.

## Appendix 6. Permits to Install

The following table lists any PTIs issued or ROP revision applications received since the effective date of the previously issued ROP No. MI-ROP-N6996-2018. Those ROP revision applications that are being issued concurrently with this ROP renewal are identified by an asterisk (\*). Those revision applications not listed with an asterisk were processed prior to this renewal.

Source-Wide PTI No MI-PTI-N6996-2018a is being reissued as Source-Wide PTI No. MI-PTI-N6996-2024.

| **Permit to Install Number** | **ROP Revision**  **Application Number** | **Description of Equipment or Change** | **Corresponding Emission Unit(s) or**  **Flexible Group(s)** |
| --- | --- | --- | --- |
| 39-19 | 202200002 /  March 29, 2022 | Incorporation of PTI No. 39-19 into the ROP to modify the existing ethanol production facility. The modifications and installations included installing an 8th fermentation tank, which exhausts similar to the existing seven fermenters (wet scrubber with bypass to RTO); Increased the combined ethanol and denaturant loadout limit to 95 MMGPY; Re-routes of the whole stillage tank from the wet scrubber to the RTO/TO; increased a VOC emission limit on EUFBCOOLER to 7.54 lbs/hr based on a recent stack test; and modified stack vent #25 to a vertical discharge for FGDDGSDRYERS. | EUFBCOOLER EUFERMENTER1  EUFERMENTER2  EUFERMENTER3  EUFERMENTER4  EUFERMENTER5  EUFERMENTER6  EUFERMENTER7  EUFERMENTER8  EUBEERWELL  EUBEERSTRIP  EUBEERSTRIP2  EURECTIFIER  EUSIDESTRIP  EUSIEVE  EUSIEVE2  EUYEAST  EUEVAPORATOR  EURTO  EUTO&HRB  EUDDGSDRYER1  EUDDGSDRYER2  EUCENTRIFUGE1  EUCENTRIFUGE2  EUCENTRIFUGE3  EUCENTRIFUGE4  EUCENTRIFUGE5  EUCENTRIFUGE6  EUTRUCKLOAD3  EUTRUCKLOAD4  EURAILLOAD2  EUNATGASTANK1  EUNATGASTANK2  EU190TANK  EU200TANK1  EU200TANK2  EUSTILLAGETANK  FGFERM&DIST  FGDDGSDRYERS  FGETHLOAD  FGNSPSVVa |
| 39-19B | 202400114\* | To incorporate PTI No. 39-19B into the ROP which is for the addition of sodium bisulfite as a processing aid resulting in SO2 emissions from SV006, SV024, SV007, and SV008 and an SO2 PSD opt-out. Also, includes administrative changes to the existing ethanol production facility approved in PTI No. 39-19A. | EUFBCOOLER EUFERMENTER1  EUFERMENTER2  EUFERMENTER3  EUFERMENTER4  EUFERMENTER5  EUFERMENTER6  EUFERMENTER7  EUFERMENTER8  EUBEERWELL  EUBEERSTRIP  EUBEERSTRIP2  EURECTIFIER  EUSIDESTRIP  EUSIEVE  EUSIEVE2  EUYEAST  EUEVAPORATOR  EURTO  EUTO&HRB  EUDDGSDRYER1  EUDDGSDRYER2  EUCENTRIFUGE1  EUCENTRIFUGE2  EUCENTRIFUGE3  EUCENTRIFUGE4  EUCENTRIFUGE5  EUCENTRIFUGE6  EUTRUCKLOAD3  EUTRUCKLOAD4  EURAILLOAD2  EUNATGASTANK1  EUNATGASTANK2  EU190TANK  EU200TANK1  EU200TANK2  EUSTILLAGETANK  EUDDGSSILO  FGFERM&DIST  FGDDGSDRYERS  FGETHLOAD  FGNSPSVVa |

## Appendix 7. Emission Calculations

There are no specific emission calculations to be used for this ROP. Therefore, this appendix is not applicable.

## Appendix 8. Reporting

**A. Annual, Semiannual, and Deviation Certification Reporting**

The permittee shall use EGLE, AQD, Report Certification form (EQP 5736) and EGLE, AQD, Deviation Report form (EQP 5737) for the annual, semiannual and deviation certification reporting referenced in the Reporting Section of the Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Alternative formats must meet the provisions of Rule 213(4)(c) and Rule 213(3)(c)(i), respectively, and be approved by the AQD District Supervisor.

**B. Other Reporting**

Specific reporting requirement formats and procedures are detailed in Part A or the appropriate Source-Wide, Emission Unit and/or Flexible Group Special Conditions. Therefore, Part B of this appendix is not applicable.